Tender documentation - forms

The tender documentation consists of the documents listed below, which in terms of content and form must correspond to the forms and other instructions in the tender documentation. The bid must be made in accordance with the requirements of the Contracting Authority, signed and stamped, where indicated.

Tender documentation must be completed, as required by the instructions in the form, or derived from their text. In case the bidder does not submit complete documentation (or does not submit it at the request of the Contracting Authority, if such a request is possible by the provisions of Public Procurement Act (Official gazette no. 91/15, 14/18), or if the submitted document is contrary to the requirements of the tender documentation, the Contracting Authority will reject such tender as inadmissible.

| No. | Form name | Note |
| --- | --- | --- |
| 1 | Offer | Completed, signed and stamped. The form must be uploaded in the e-JN application into the »Other attachments « section. |
| 1.1 | Price offer (Pro-forma invoice) | Completed, signed and stamped. The form must be uploaded in the e-JN application into the »Pro-forma invoice« section. |
| 2 | Offer declaration | Completed, signed and stamped. The offer declaration must be uploaded in the e-JN application into the »Declaration-Tenderer« section. |
| 2.1. | ESPD form | Completed. The form must be uploaded in the e-JN application into the »ESPD« section. |
| 3 | Statement of ownership shares | Complete, signed and stamped. The form must be uploaded in the e-JN application into »Other attachments« section. |
| 4a | Bill of exchange statement Sample (for Tender security) and Envelope - Tender security guarantee | Complete, signed and stamped. Attached blank bill of exchange, signed and stamped. Envelope - Complete, glued to the envelope The bill of exchange statement and the blank bill of exchange must be send by post or delivered in person in physical form in accordance with the requirements of the contracting authority in the tender documentation and must arrive at the contracting authority's address by the deadline for submission of tenders. |
| 4b | Tender security guarantee sample | Complete. The tender security guarantee must be send in accordance with the requirements of the contracting authority in the tender documentation and must arrive at the contracting authority's address by the deadline for submission of tenders. |
| 5 | Performance Guarantee Sample | No need to enclose the form in the offer. By submitting a tender the tenderer agrees (in Form No. 2: Offer declaration) that in case he is selected as the economically most advantageous, he will obtain a financial insurance in the amount of ten percent (10,00 %) of the total tender value. |
| 6 | Warranty Guarantee sample | No need to enclose the form in the offer. By submitting a tender the tenderer agrees (in Form No. 2: Offer declaration) that in case he is selected as the economically most advantageous, he will obtain a financial insurance in the amount of five percent (5,00 %) of the total tender value. |
| 7 | Statement of the inclusion of subcontractors (the form must be submitted only in case of subcontracting) | Completed, signed and stamped. The form must be uploaded in the e-JN application into »Other attachments« section. |
| 8 | Statement by the representatives of the subcontractor in relation to meeting the mandatory conditions (the form must be submitted only in case of subcontracting) | Completed, signed and stamped. The form must be uploaded in the e-JN application into »Other attachments« section. |
| 9 | Statement by the subcontractor (the form must be submitted only in case of subcontracting) | Complete, signed and stamped. The form must be uploaded in the e-JN application into »Other attachments« section. |
| 10 | Reference List of the Tenderer | Completed, signed and stamped. The form must be uploaded in the e-JN application into the » Other attachments« section. |
| 11 | Tender specification | Completed, signed and stamped. The form must be uploaded in the e-JN application into the » Other attachments« section. |
| Attachments | The tenderer's specification of the equipment offered (at least with the indication of all individual components of the equipment offered, quantity and price of all components and the name of the equipment manufacturer) AND Technical documentation (prospectus, catalogues) of equipment offered. | Prepares the Tenderer himself. Documents must be loaded in application e-JN into the »Other attachments« section. |
| Attachments | The certificate/extract from the Business Registers Agency, i.e. certificate from the competent Commercial Court* *applies only for foreign tenderers | Copy submitted Documents must be loaded in application e-JN into the »Other attachments« section. |
| Attachments | Annual financial statements for the last three completed financial years (2017, 2018 and 2019) before the deadline for submission of tenders or adequate proof | Copy submitted Documents must be loaded in application e-JN into the »Other attachments« section. |
| Attachments | Draft contract | Initialized, signed and stamped. The form must be uploaded in the e-Oddaja application into the »Other attachments« section. |

Form No.: 1

Offer

On the basis of the invitation to tender »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests« we make an offer, as follows:

I. Offer number: _______________

| NAME OF THE TENDERER: |  |
| --- | --- |
| ADDRESS OF THE TENDERER: |  |

We are submitting this offer (please mark the appropriate box and fill out the data, when applicable):

individually

with partners in a joint venture (name of the partner): ___________________________________

with subcontractors (name of the subcontractor): ________________________________

by using the capacities of other entities (name of the entity): _____________________________

II. Offer conditions

On the basis of this public procurement we state the following:

- That in the calculation of the final price offer, we have accounted for all costs related to the implementation of the public procurement, such as staff costs, costs of material, training costs, travel costs and per diem costs, unforeseen costs and other costs that can affect the price calculation,

- That, while calculating the price, we have considered all terms and conditions of the client stated in the tender documentation,

- We are aware of the fact that the price is fixed,

- We are offering a warranty period for the offered equipment for a duration that is at least as long as the client requested in the technical specifications and starts on the day of the acquisition of the equipment,

- That all other terms are compliant with the draft of the contract, which is a part of the tender documentation,

- We are aware of the fact, that the client will not accept any price increase during the duration of contract, except, if the client requests additional services not listed in the tender documentation and that are not the subject of the public procurement or our offer.

III. Validity period of the offer

The offer must be valid for at least 90 days from the final deadline for submission of offers.

Offer validity less than this duration is grounds for rejecting the offer.

IV. Data about the bidder

| CONTACT PERSON: |  |
| --- | --- |
| E-MAIL OF THE CONTACT PERSON: |  |
| TELEPHONE: |  |
| FAX: |  |
| VAT NUMBER: |  |
| THE RESPONSIBLE TAX OFFICE: |  |
| REGISTRATION NUMBER OF THE BIDDER: |  |
| BANK ACCOUNT NUMBERS: |  |
| PERSON AUTHORIZED TO SIGN OFFER AND CONTRACTS: |  |
| COMPANY SIZE ACCORDING TO THE COMPANIES ACT: (micro, small, medium or large company) |  |
| AUTHORIZED PERSON TO RECEIVE SERVICE: Name and surname, street address and house number, town in the Republic of Slovenia (to be filled out by a bidder who is not established in the Republic of Slovenia) |  |

| Place and date: | Name and surname: _____________________ |
| --- | --- |
|  | (stamp and signature) |

Form No.: 2

Offer declaration

In relation to the public contract » Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«,

_________________________________________________________________________________,

(title of the tenderer, partner in a joined venture)

we declare with full responsibility, that:

- The equipment offered fully meets all the requirements of the Contracting Authority; - all copies of the documents attached to the offer correspond the original documents; - we will not have any claims for damages from the Contracting Authority of the relevant call for tender if we are not selected as the best bidder or in case of termination of the procedure, rejection of all bids or withdrawal from the execution of the public contract. We will not require reimbursement of any costs that were accrued in the preparation of tender documentation; - all indications from the bid correspond to the actual situation – the bidder authorizes the Contracting Authority to verify them with the competent authorities, for which we will submit adequate authorizations at the request of the Contracting Authority; - we fully accept the terms of the invitation to tender and all conditions specified in the tender documentation, under which we submit our tender, and we agree that these conditions are a fully integral part of the contract; - in the preparation of the bid we have complied and in the implementation of the contract we will comply with the obligations arising from the regulations on safety at work, employment and working conditions applicable in the Republic of Slovenia or country of origin of the tenderer; - we are a reliable supplier, capable of management, with experience, reputation and employees who are capable of performing scheduled work, and we possess sufficient technical and staff capacities for execution of the public contract; - we have registered activities in the Articles of the memorandum / statute that are the subject of the public procurement contract, for which we will submit the memorandum / statute or other evidence at the request of the Contracting Authority; - we will carry out all the work with the required expertise and quality according to the rules of the profession and in accordance with applicable regulations (laws, regulations, standards, technical approvals), technical instructions, recommendations and standards as well as environmental regulations; - the offered equipment fulfils all the requirements specified by the Contracting Authority, for which we attach appropriate evidence (the Contracting Authority reserves the right to invite tenderers to complete and clarify the tenders for demonstrating the suitability of the equipment offered); - we will implement the public procurement with professionally trained and skilled employees; - in case of replacement or notified subcontractors or personnel we will obtain the written consent of the Contracting Authority prior to their substitution; - in the event of the introduction of new subcontractors that are not included in the offer, we will obtain the prior written consent of the Contracting Authority; - any new subcontractors that are not listed in the offer will meet all conditions of the authority that must be met by subcontractors; - any new subcontractors replacing those originally included in the bid must guarantee equal or greater capacities than the original subcontractors; these capacities must provide for equal recognition of qualifications to the original subcontractors; - we fully agree and accept the conditions of the Contracting Authority stated in the tender documents, we submit our bid for the execution of the tender according to them, and that we will execute the contract in compliance with these conditions; - we will submit all the required insurance of the operation; - in formulating our bid we reviewed all available tender documentation; - we are fully acquainted with all the relevant legislation to be considered in the submission of this contract; - we are fully acquainted with the scope and complexity of the contract; - we will fulfil all obligations in the prescribed quantity, quality and deadlines, as is apparent from the tender documentation for the submission of this tender; - in the formulation of the bid we considered the obligations to our eventual subcontractors; - for us there is no absolute ban on business with the Contracting Authority, according to Article 35 of ZintPK (INTEGRITY AND PREVENTION OF CORRUPTION ACT) - the information provided in the tender and its annexes is true and authentic. We declare, that we meet the following mandatory conditions in accordance with regulatory requirements and the requirements of the Contracting Authority: - we have permission to carry out activities which are the subject of the public contract, - we are entered in the professional or commercial register in our home country, - we have not been convicted of a criminal offense listed in the first paragraph of Article 75 of the Public Procurement Act (Official gazette Republic of Slovenia, no. 91/15 and 14/18), - we are not excluded from public procurement procedures due to inclusion in the register of economic entities with negative references, - we do not have on the day the tender was submitted, in accordance with the regulations of the country where we are established, overdue, unpaid compulsory levies and other financial non-tax obligations in accordance with the law governing financial administration, collected by the tax authority in accordance with provisions of the country, in the amount of EUR 50 or more, - we do not have any unsubmitted accounts of income tax withholdings from employment for the last five years to the date of the award of tenders or requests, - in the last three years before the deadline to submit tenders the economic we were not imposed a fine twice on account of an offence relating to payment for work, working hours, rest periods, work on the basis of civil law contracts, despite the existence of elements of an employment relationship, or in relation to undeclared employment, in a final judgement of a competent authority of the Republic of Slovenia or another Member State or third country, - no agreement was made with other operators whose objective or effect is the prevention, restriction or distortion of competition, - we have not been judged by a final judgment in any country of any offense concerning professional conduct, - when providing the information in this or the previous procedures, we have not deliberately given a misleading interpretation or have not provided this information, - we fulfil all other conditions for the execution of the contract, which are specified by the tender documentation.. By signing this statement, we declare that we fulfil all the conditions of the tender documentation, for which it is stated that compliance is demonstrated by signing this statement! Place and date: Name and surname: __________________ (stamp and signature)

Form. No: 2.1.

ESPD

The Tenderer shall import the ESPD form (.xml file) of the contracting authority on the website Public Contracts portal/ESPD: http://www.enaročanje.si/ESPD/.

The tenderer in the e-JN system shall place its ESPD in the "ESPD - Tenderer" section, and the the other participants (partners, subcontractors) shall load ESPD in the "ESPD - Other Participants" section. A tenderer who submits the tender in the e-JN system shall submit the electronically signed ESPD into xml. form or unsigned ESPD in xml. Form. In the latter case, in accordance with the General Conditions of Use of the e-JN Information System, unsigned ESPD in xml. is a legally binding document, which has the same validity as the signed one.

For other participants, the signed ESPD in the .pdf file is attached to the "ESPD - Other Participants" section.)

Form No.: 3

Statement of ownership shares

In accordance with the provisions of Article 14 of the Law on integrity and prevention of corruption the undersigned legal representative of the company:

- declares, that the partners of the company (information on the participation of natural and legal persons in the ownership of economic entity, including the participation of silent partners) are:

| Name and surname or Firm and registered office of the legal person | Address of residence or Tax and registration number | Ownership share or Ownership share of economic operator |
| --- | --- | --- |

- I declare that the companies, which, according to the provisions of the law governing companies, deemed to be related companies with our company are:

| Firm and registered office | Tax and registration number | Ownership share of economic operator |
| --- | --- | --- |

or if in the above table no company is listed, I declare that there are no other companies, which in accordance with the provisions of the law governing companies are deemed to be related companies.

|  | Name and surname: _____________________ |
| --- | --- |
| Place and date: | (stamp and signature) |

NOTE: In case of joint participation of several partners, each of the partners must submit this statement. In case of more data a new form shall be submitted setting out the remaining data.

Form No: 4a

Bill of exchange statement Sample (Tender security guarantee)

Bill of exchange statement

As a guarantee for seriousness od the Tender in the public contract:

»Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

we submit this blank bill of exchange and this statement granting contracting authority to fulfil and redeem the bill of exchange.

We hereby authorize ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana, to complete the attached blank bill of exchange with an amount 15.000,00 Euros,

and with all other necessary data and redeem it on our account in the event that:

- the offer is withdrawn after the deadline for submission of offers or withdrawn from the offer or

- we do not submit the required evidence or explanations for the statements in the offer within the specified deadline, or

- we do not agree with the elimination of errors in the offer or

- we do not enter into a contract within a specified period or

- after concluding the contract, we do not provide guarantee for the good performance of contractual obligations within the specified period.

This bill of exchange is valid from its signature until the expiration of the validity period of this tender security guarantee, i.e. no later than ____________ (date - at least 90 days after the deadline for submission of tenders).

The bill of exchange is redeemable at (bank): _______________

from the transaction account (No.): _______________

Attachment:

- blank bill of exchange, signed and stamped

| Place and date: | Name and surname: _____________________ |
| --- | --- |
|  | (stamp and signature) |

Obrazec št: 4a

Envelope – tender security guarantee

odreži / cut ------------------------------------------------------------------------------------- DO NOT OPEN - Tender security guarantee Tender subject: »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests« Tenderer: ______________________________ ______________________________ Contact person:________________ Phone:_______________________ E-mail:______________________; Addressee: ZAVOD ZA GRADBENIŠTVO SLOVENIJE, DIMIČEVA ULICA 12 SI-1000 LJUBLJANA (completed by the contracting authority): Date of arrival:________________ Hour of arrival:___________________ No. of tender:__________ Signature: _______________________. ------------------------------------------------------------------------------------- odreži / cut

Form No: 4b

Tender security guarantee

Header with information about the guarantor (bank) or SWIFT key

To: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

Date: 	(please enter the date of issue)

TYPE OF INSURANCE: 	(please enter type of insurance: bank guarantee/Insurance bond)

NUMBER: 	(please enter the number of insurance)

THE GUARANTOR: 	(please enter the name and address of the insurance company /bank at the place of issue)

THE APPLICANT: 	(please enter the name and address of the entity taking out the guarantee, i.e. the tenderer in the public procurement procedure)

THE BENEFICIARY: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

BASIC TRANSACTION: the Applicant's obligation from his offer no. ____, dated ___(enter the number and date of the tender) submitted in the public procurement procedure no. ____ (enter the number of the publication of the public procurement procedure), for procurement »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«,

AMOUNT AND CURRENCY:  __ EUR (in words: __ /100 euros)

DOCUMENTS TO BE ENCLOSED TO A PAYMENT REQUEST IN ADDITION TO THE STATEMENT AND WHICH ARE EXPRESSLY REQUESTED IN THE TEXT BELOW: /

LANGUAGE IN THE REQUESTED DOCUMENTS: Slovenian or English

FORM SUBMISSION: in paper form with registered mail or in electronic form according to the SWIFT system to the address ____ (specify the SWIFT address of the guarantor)

PLACE OF SUBMISSION: ___ (the Guarantor enters the address of the subsidiary where the paper documents are submitted or the email address for submission in electronic form, such as the Guarantor's SWIFT address)

DATE OF VALIDITY: DD / MM / YYYY (please enter the maturity date of the guarantee)

THE PARTY OBLIGED TO SETTLE THE COSTS: 	(please enter the name and address of the entity taking out the guarantee, i.e. the successful tenderer in the public procurement procedure)

With this Guarantee, we as the Guarantor irrevocably and unconditionally undertake to disburse to the Beneficiary any amount up to the guarantee amount when the Beneficiary submits a payment request in the above-mentioned form of submission, signed by the authorised signatory(ies), along with other documents listed in paragraph above, and in all cases, along with the beneficiary's statement that is either included in the wording of the payment request or in a separate signed document that is enclosed to the payment request or refers to the latter, indicating in what sense the applicant failed to fulfil its obligations from the Contract mentioned above under Basic transaction.

This guarantee may be cashed in for the following reasons, which must be stated in the beneficiary's declaration or request for payment:

1. the Applicant withdrew the application / tender after the deadline for receipt of applications / tenders or inadmissibly changed the tender during its validity; or

2. the selected Applicant did not sign the contract at the request of the beneficiary; or

3. the selected Applicant has not provided required performance guarantee in accordance with the terms of the contract.

This guarantee shall be governed by and construed in accordance with the laws of the Republic of Slovenia and all parties shall submit to the exclusive jurisdiction of the courts of the Republic of Slovenia.

This Guarantee is issued subject to the Uniform Rules for Demand Guarantees (URDG 2010 REVISION, ICC Publication No 758).

|  | Guarantor |
| --- | --- |
|  | (stamp and sign) |

Form No: 5

Performance Guarantee Sample

Header with information about the guarantor (bank) or SWIFT key

To: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

Date: 	(please enter the date of issue)

TYPE OF INSURANCE: 	(please enter type of insurance: performance bank guarantee/Insurance bond)

NUMBER: 	(please enter the number of insurance)

THE GUARANTOR: 	(please enter the name and address of the insurance company /bank at the place of issue)

THE APPLICANT: 	(please enter the name and address of the entity taking out the guarantee, i.e. the successful tenderer in the public procurement procedure)

THE BENEFICIARY: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

BASIC TRANSACTION: the Applicant's obligation for a guarantee deriving from Contract (please enter the number and date of the contract on the implementation of a public contract) as concluded based on procedure No. ____ for procurement »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«,

AMOUNT AND CURRENCY:  __ EUR (in words: __ /100 euros)

DOCUMENTS TO BE ENCLOSED TO A PAYMENT REQUEST IN ADDITION TO THE STATEMENT AND WHICH ARE EXPRESSLY REQUESTED IN THE TEXT BELOW: /

LANGUAGE IN THE REQUESTED DOCUMENTS: Slovenian or English

FORM SUBMISSION: in paper form with registered mail or in electronic form according to the SWIFT system to the address ____ (specify the SWIFT address of the guarantor)

PLACE OF SUBMISSION: ___ (the Guarantor enters the address of the subsidiary where the paper documents are submitted or the email address for submission in electronic form, such as the Guarantor's SWIFT address)

DATE OF VALIDITY: DD / MM / YYYY (please enter the maturity date of the guarantee)

THE PARTY OBLIGED TO SETTLE THE COSTS: 	(please enter the name and address of the entity taking out the guarantee, i.e. the successful tenderer in the public procurement procedure)

With this Guarantee, we as the Guarantor irrevocably and unconditionally undertake to disburse to the Beneficiary any amount up to the guarantee amount when the Beneficiary submits a payment request in the above-mentioned form of submission, signed by the authorised signatory(ies), along with other documents listed in paragraph above, and in all cases, along with the beneficiary's statement that is either included in the wording of the payment request or in a separate signed document that is enclosed to the payment request or refers to the latter, indicating in what sense the applicant failed to fulfil its obligations from the Contract mentioned above under Basic transaction.

Any payment request must be received on the validity date of the guarantee or prior to it in the above mentioned place of submission.

This guarantee shall be governed by and construed in accordance with the laws of the Republic of Slovenia and all parties shall submit to the exclusive jurisdiction of the courts of the Republic of Slovenia.

This Guarantee is issued subject to the Uniform Rules for Demand Guarantees (URDG 2010 REVISION, ICC Publication No 758).

|  | Guarantor |
| --- | --- |
|  | (stamp and sign) |

Form No. 6

Warranty Guarantee Sample

Header with information about the guarantor (bank / insurance company) or SWIFT key

To: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

Date: 	(please enter the date of issue)

TYPE OF INSURANCE: 	(please enter type of insurance: warranty guarantee/Insurance bond)

NUMBER: 	(please enter the number of insurance)

THE GUARANTOR: 	(please enter the name and address of the insurance company /bank at the place of issue)

THE APPLICANT: 	(please enter the name and address of the entity taking out the guarantee, i.e. the successful tenderer in the public procurement procedure)

THE BENEFICIARY: ZAVOD ZA GRADBENIŠTVO SLOVENIJE (SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE), DIMIČEVA ULICA 12, 1000 Ljubljana

BASIC TRANSACTION: the Applicant's obligation for a guarantee deriving from Contract ___ (please enter the number and date of the contract on the implementation of a public contract) as concluded based on procedure No. _________ for procurement »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

AMOUNT AND CURRENCY: __ EUR (in words: __ /100 euros)

DOCUMENTS TO BE ENCLOSED TO A PAYMENT REQUEST IN ADDITION TO THE STATEMENT AND WHICH ARE EXPRESSLY REQUESTED IN THE TEXT BELOW: __ (none / insert any additional document required in support of the demand for payment)

LANGUAGE IN THE REQUESTED DOCUMENTS: Slovenian or English

FORM SUBMISSION: in paper form with registered mail or in electronic form according to the SWIFT system to the address ____ (specify the SWIFT address of the guarantor)

PLACE OF SUBMISSION: 	(the Guarantor enters the address of the subsidiary where the paper documents are submitted or the email address for submission in electronic form, such as the Guarantor's SWIFT address)

DATE OF VALIDITY: DD / MM / YYYY 	(please enter the maturity date of the guarantee)

THE PARTY OBLIGED TO SETTLE THE COSTS: ___ (please enter the name and address of the entity taking out the guarantee, i.e. the successful tenderer in the public procurement procedure)

With this Guarantee, we as the Guarantor irrevocably and unconditionally undertake to disburse to the Beneficiary any amount up to the guarantee amount when the Beneficiary submits a payment request in the above-mentioned form of submission, signed by the authorised signatory(ies), along with other documents listed in paragraph above, and in all cases, along with the beneficiary's statement that is either included in the wording of the payment request or in a separate signed document tat is enclosed to the payment request or refers to the latter, indicating in what sense the applicant failed to fulfil its obligations from the Contract mentioned above under Basic transaction.

Any payment request must be received on the validity date of the guarantee or prior to it in the above-mentioned place of submission.

This guarantee shall be governed by and construed in accordance with the laws of the Republic of Slovenia and all parties shall submit to the exclusive jurisdiction of the courts of the Republic of Slovenia.

This Guarantee is issued subject to the Uniform Rules for Demand Guarantees (URDG 2010 REVISION, ICC Publication No 758).

|  | Guarantor |
| --- | --- |
|  | (stamp and sign) |

Form No: 7

Statement of the appearance of subcontractors

For the purpose of the implementation of tender »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«,

______________________________________________________________

(title of tenderer)

We state that (mark appropriate selection):

[   ] subcontractors will be used

[   ] subcontractors will not be used:

| Subcontractor 1(name, address): |  |
| --- | --- |
| TYPE OF SERVICE (subject, quantity): | Description of services used: Percentage of the final offer price, used by the subcontractor: ____ |
| Subcontractor 2 (name, address): |  |
| TYPE OF SERVICE (subject, quantity): | Description of services used: Percentage of the final offer price, used by the subcontractor: ____ |

We state, that in case of a possible replacement or introduction of a new subcontractor, that is not stated in the tender's documentation, prior written consent from the contract authority will be obtained. We are aware that the contract authority has the right to terminate the contract, if the tender does not state all subcontractors, or if it is subsequently found that the tender is using subcontractors or using subcontractors not stated.

| Place and date: | Name, Last name: _____________________ |
| --- | --- |
|  | (stamp and signature) |

Note: In case the tender uses several subcontractors, the form should be adequately extended.

Form No: 8

Statement by the representatives of the subcontractor in relation to meeting the mandatory conditions

Acknowledging criminal and material liability, we state that our Company, _______________  (name of company), _________________(address), with registration number: _______________  was never legally convicted for criminal acts, that are stated in the first paragraph of Article 75 of the Public Procurement Act of Slovenia.

We also state the following:

- That on the day of offer submission, based on the legislation of the country we are based in, we do not have any overdue, unpaid mandatory charges or any other monetary untaxed obligations required by law governing the financial administration, that are collected by a tax authority in accordance with national legislation, valued at 50 EUR or more, - The bidder does not have unpaid income tax liabilities resulting from employment relationships for the period of the last five years from the date of the submission of our offer, - As of the final eligible date for offer submission, we are not excluded from any process of public procurement offer submission due to appearing on the list of companies with negative references, - That in the last three years before the deadline to submit tenders we were not imposed a fine twice on account of an offence relating to payment for work, working hours, rest periods, work on the basis of civil law contracts, despite the existence of elements of an employment relationship, or in relation to undeclared employment, in a final judgement of a competent authority of the Republic of Slovenia or another Member State ot third country, - We are listed in a list of business entities in our country of origin, - The Contracting Authority can acquire confirmations, related to statements written above, from official records, kept by national bodies, local authorities or public service providers, especially from criminal records and records of issued infringements, - If required by the Contracting Authority, we will deliver all appropriate certificates or confirmations in the set deadlines, that relate to the items stated above and that are not kept in public records, which are kept by national bodies, local authority bodies or public service bodies.

By signing this statement, we declare, that we fulfil all the conditions of the tender documentation, where it is stated that compliance is demonstrated by signing this statement.

Place and name:                                                                      Name and surname: _____________

(stamp and signature)

Form No: 9

Statement by the subcontractor

Regarding the procurement of »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

_________________________________________________________________,

(name of subcontractor)

states, that in case a company listing our organisation as a subcontractor is selected, we will participate in the implementation of the public procurement process in the amount of ______________ EUR in accordance with tender conditions.

We state (choose appropriate item),

[   ] we request direct payments and therefore give consent to the Contracting Authority to settle financial obligations of the tender, made while implementing the public procurement, to us as subcontractors.

[   ] we do not request direct payments.

| Place and date: | Name and surname: |
| --- | --- |
|  | (stamp and signature) |

Note:

In case of more than one subcontractors, the form shall be photocopied.

Form No. 10

Reference list of the Tenderer

In relation to the public contract »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

________________________________________________________________________________,

(title and address of the tenderer)

we declare that prior to the publication of this public procurement contract on the Public Procurement Portal, we have successfully completed below mentioned references:

- at least one supply and installation of a suction system with an exhaust fan at elevated temperature, with a capacity of at least 100,000 m3 / h.

| Reference No. 1 |  |
| --- | --- |
| Reference subscriber / user of equipment (name, address) |  |
| Subject of delivery (detailed description of the subject of the delivery, name of the equipment) |  |
| Capacity in m3/h |  |
| The subject of the contract included the supply and installation of equipment | Yes No |
| Time of realization (from month / year to month / year) |  |
| Contact person of the equipment subscriber (name and e-mail) |  |

- at least one supply and installation of measuring equipment in accordance with ISO 9705-1: 2016 and ISO 24473: 2008 for the analysis of oxygen concentration O2 (paramagnetic), carbon dioxide CO2 (NDIR) and carbon monoxide CO (NDIR), with uncertainty of the gas analyzer 0.05% for oxygen (or better), and 0.1% (or better) for CO and CO2

| Reference No. 1 |  |
| --- | --- |
| Reference subscriber / user of equipment (name, address) |  |
| Subject of delivery (detailed description of the subject of the delivery, name of the equipment and an indication of which analysis is used and the uncertainty of the analyzers) |  |
| compliance with ISO 9705-1: 2016 and ISO 24473: 2008 | Yes No |
| The subject of the contract included the supply and installation of equipment | Yes No |
| Time of realization (from month / year to month / year) |  |
| Contact person of the equipment subscriber (name and e-mail) |  |

- at least one supply and installation of a measuring system for sampling, transport and analysis of flue gases, in accordance with the requirements of ISO 19702: 2015 (FTIR)

| Reference No. 1 |  |
| --- | --- |
| Reference subscriber / user of equipment (name, address) |  |
| Subject of delivery (detailed description of the subject of the delivery) |  |
| compliance with ISO 19702:2015 | Yes No |
| The subject of the contract included the supply and installation of equipment | Yes No |
| Time of realization (from month / year to month / year) |  |
| Contact person of the equipment subscriber (name and e-mail) |  |

|  | Name and surname: _____________________ |
| --- | --- |
| Place and date: | (stamp and signature) |

Form No: 11

Tender specification

In relation to the public contract »Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

________________________________________________________________________________,

(title and address of the tenderer)

we declare that the equipment we offer meets all the minimum technical requirements of the Contracting Authority, which follows from the following information:

General

|  | Description of requirements | Offered |
| --- | --- | --- |
| 1 | The equipment consist of all necessary devices for the instrumentation of the exhaust ducts of room corner test and the large open calorimeter and an additional gas sampling probe for each setup (room corner or large open calorimeter). Additionally part of the equipment is also a system (e.g. FTIR) for gas composition analysis. | yes no |
| 2 | The use of the room corner test and the large open calorimeter is not simultaneous. The measuring equipment (analyzer, FTIR and connected equipment, e.g. pumps, sampling lines, etc.) must be easily mobile. | yes no |
| 3 | All instruments and devices must be able to communicate with a MS Windows based PC, using USB or LAN connection. Communication protocols must be supplied with the instruments. | yes no |
| 4 | Outputs of the instrumentation (O2, CO2, CO) for heat release, smoke density properties, flow and temperature: the equipment for measuring all quantities, except gas composition (FTIR) must provide analog DCV output of the measured signals. | yes no |
| 5 | Output of the gas composition analyzer (FTIR): data export (IR spectra) must be available. | yes no |

Room corner test

| 6 | The instrumentation of the exhaust duct must comply to ISO 9705 -1:2016 and ISO 9750-2:2016, in particular (but not limited to) clause 8 and Annex D | yes no |
| --- | --- | --- |
| 7 | Additional gas sampling probe to be connected to FTIR, as described in ISO 19702:2015, clause 5.4 must be provided | yes no |

Calorimeter

| 8 | The instrumentation of the exhaust duct must comply to ISO 24473:2008, in particular (but not limited to) clause 6 and annexes B and D. | yes no |
| --- | --- | --- |
| 9 | Additional gas sampling probe to be connected to FTIR, as described in ISO 19702:2015, clause 5.4 must be provided | yes no |

Gas composition measuring system

| 10 | The instrument (FTIR) and sampling lines with all parts (e.g. filters, pumps, controls…) must comply to ISO 19702:2015, in particular (but not limited to) Clauses 5 and 6, as well as Annex E of the ISO 19702:2015. | yes no |
| --- | --- | --- |
| 11 | Part of the system must be software for the gas composition analysis with preloaded spectra for gases, given in ISO 19702:2015 with option for addition of other reference spectra (for other gases). | yes no |

Exhaust (hoods, ducts)

| 12 | Total maximum electrical power of the whole system when in use is limited to 140 kW. | yes no Offered: ______________________________ |
| --- | --- | --- |
| 13 | For the room corner test: the ventilation system must fully comply to the requirements of the standard ISO 9705-1: 2016, in particular (but not limited to) clause 5 and annex A. | yes no |
| 14 | For the room corner test: extraction rate, provided by the equipment must be minimum 3,5m3/s or 12.600m3/h (at 25°C) | yes no Offered: _______________________________________ |
| 15 | For the room corner test: sampling points of gases and measuring point for other sensors must comply to ISO 9705-1:2016. | yes no |
| 16 | For the large calorimeter: The ventilation system must fully comply to the requirements of the standard ISO 24473:2008 for nominal power 10 MW with expected maximum gas temperature at 300°C. | yes no |
| 17 | For the large calorimeter: The extraction rate must be adjustable. The maximum required extraction rate that must be provided by the equipment is 154.000m3/h at 300 °C; larger maximum extraction capacity may be offered. The minimum required extraction rate that must be provided by the equipment is 75.000m3/h at 300°C; lower minimum extraction capacity may be offered. | yes no Offered: _______________________________________ |
| 18 | For the large calorimeter: sampling points of gases and measuring point for other sensors must comply to ISO 24473:2008. | yes no |
| 19 | For the large calorimeter: the equipment must provide variable height of the lowest point of extraction: - minimum height from the floor: 3 m - maximum height from the floor: 9 m minimum clearance from the floor, when fully retracted to allow the crane to pass: 13,10m | yes no Offered: _______________________________________ |
| 20 | For the large calorimeter: minimum hood dimensions 6m by 6m; maximum weight of the hung extraction system: 10 tons and complying to the building’s limitations (see the attachements - design part of the tender documentation). | yes no Offered: _______________________________________ |

Other:

| Description of requirements | Contracting Authority's requirements | Offered |
| --- | --- | --- |
| Delivery of prepared documentation for equipment | No later than 4 weeks after concluding the contract | _ weeks after concluding the contract |
| Delivery of equipment to the Contracting Authority's location (DDP) | No later than 16 weeks after concluding the contract | _ weeks after concluding the contract |
| Installation | No later than 21 weeks after concluding the contract | _ weeks after concluding the contract |
| Commissioning and site acceptance test (SAT) | No later than 22 weeks after concluding the contract | _ weeks after concluding the contract |
| Training of Contracting Authority's staff | No later than 23 weeks after concluding the contract | _ weeks after concluding the contract |
| Final performance test of both systems after connection to the treatment plant | No later than 38 weeks after concluding the contract | _ weeks after concluding the contract |
| Warranty period | min. 24 months from the date of signature of the Handover protocol | _ months from the date of signature of the Handover protocol |
| We declare that we will ensure the performance of services of equipment and the provision of spare (mechanical and electrical) parts for a minimum of 10 years after the successful handover of all equipment. |  | yes no |
| We declare that the offered equipment meets all the required conditions and also includes the submission of all necessary technical documents, certificates, operating and maintenance instructions and safe work (markings on the equipment) and other certificates of conformity of equipment and technical documentation (as defined in Chapter III. of Technical specifications) |  | yes no |
| We declare that Plans of equipment with all associated drawings (including mechanical and electrical installations) will be submitted in confirmation to the Contracting Authority within 4 weeks after signing the contract. |  | yes no |

| Place and date: | Name and surname: _____________________ |
| --- | --- |
|  | (stamp and signature) |

Instructions for completion:

- the tenderer in the column "Offered" indicates whether the subject of the tender meets the contracting authority's requirements or writes information about the offered equipment. In the event that individual data is not entered or marked and the Contracting Authority fails to determine on the basis of the submitted bid whether the offered equipment meets the required conditions, the Contracting Authority will consider that the Tenderer does not offer it and will exclude such bid as incomplete.

Mandatory attachments in the offer:

- Technical documentation in Slovene or English, from which the technical characteristics of the offered equipment will be evident, in accordance with the Contracting Authority's requirements.

Draft Contract

CONTRACTING AUTHORITY: SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE, Dimičeva ulica 12, 1000 Ljubljana, Slovenia, represented by director doc. Aleš Žnidarič, PhD

| Registration No: | 5866324000 |
| --- | --- |
| Tax Identification No: | SI 43950019 |

and

CONTRACTOR: ___________________________________,
represented by ___________________________________,

| Registration No: |  |
| --- | --- |
| Tax Identification No: |  |
| Account No: |  |

conclude the following

## Contract No. ________ for

»Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests«

I. GENERAL PROVISION

Article 1

Contracting parties initially conclude that it was on the basis of: - the Invitation to tender published on the Official Journal of Republic of Slovenia (www.e-narocanje.si), No. ___________, dated _________, and - the Decision No. ________________, dated ______________, published on the Official Journal of Republic of Slovenia, No. ___________, dated _________,. the Contractor selected as the most economically advantageous tenderer based on the procurement procedure, which is why this contract is concluded.

Article 2

This contract is concluded in compliance with the General Terms and Conditions of the Slovenian National Building and Civil Engineering Institute in class C purchases (P.S.14-003 (Issue: 1), dated 1.2.2021). The provisions of these terms and conditions are an integral part of this contract and are binding on the contracting parties, unless otherwise stipulated by this contract.

II. SUBJECT OF THE CONTRACT

Article 3

The subject of the contract is the Supply of a set of devices for determining the dynamics of combustion or for large-scale fire tests, under the terms and conditions stipulated by this contract and the Tender documentation and technical specifications, No. _________, dated __________. The contracting authority undertakes to pay the purchase price to the Contractor in the contract value referred to in Article 7 of this contract.

Article 4

The Contractor will supply the equipment specified in Article 3 in accordance with and within the scope specified by the following documents: - Contractor's Offer No. _____________, dated ____________; - Tender documentation, dated __________, with all modifications and attachments.. These documents are an integral part of this contract.

Article 5

The Contractor undertakes to supply the equipment specified in Article 3 in a package that fully protects the goods from mechanical, chemical and other damage during transport. Packaging is included in the contract price.

Article 6

Additional supplies not defined by this contract may not be performed by the Contractor without the prior written consent of the Contracting Authority. For additional purchases or replacement purchases that would prove necessary only after the conclusion of this contract, the Contracting Authority may award the contract to the Contractor of the base order subject to the provisions of the applicable legislation. In case above, an annex to the concluded contract or a new contract is concluded with the Contractor.

III. CONTRACT VALUE

Article 7

The contract value is agreed upon on the basis of the Contractor's tender as follows: _____________________________________________ EUR (without VAT) Funds for the subject of the contract are co-financed within the project “Renewable Materials and Healthy Environments Research and Innovation Center of Excellence – InnoRenew CoE”. The operation is partially co-financed by the European Union from the European Regional Development Fund and the Ministry of Education, Science and Sport. The operation is carried out under Priority Axis 1: “International Competitiveness of Research, Innovation and Technological Development in accordance with the Smart Specialization for Greater Competitiveness and Greening of the Economy” Priority Investment 1.1 “Strengthening the infrastructure for research and innovation and capacity to develop excellence in this field, including the promotion of competent centers, in particular those of European interest “in the framework of the Operational Program for the Implementation of the European Cohesion Policy 2014-2020. The operation is also funded by the Horizon 2020 Framework Programme of the European Union; H2020 WIDESPREAD-1-2014 Teaming.

Article 8

Payments will be made on the basis of invoices issued by the contractor as shown in the table below: Milestone description; Payment amount; Estimated date. 1; Delivery of equipment to the Contracting Authority's location (DDP); 50 %; T0 + 16 weeks. 2; Complete installation execution; 30 %; T0 + 21 weeks. 3; Commissioning and site acceptance test (SAT); 15 %; T0 + 23 weeks. Training of Contracting Authority's staff. 4; Final performance test of both systems after connection to the treatment plant; 5 %; T0 + 38 weeks. Final report and handover of documentation and confirmation of the Contracting Authority by signing the handover protocol. 100 %. T0 = effective date of contract The payment deadline is 30 days from the date of receipt of the invoice. The Contracting Authority undertakes to settle the contract price for proper and timely delivery, that also includes installation of the equipment, commissioning of the equipment and site acceptance test (SAT) and training of the Contracting Authority's staff, which is confirmed by signing the handover protocol.

Article 9

The Contractor shall issue an invoice in accordance with the provisions of Article 8 of this Contract. The contract price includes all costs (including transport, customs and other costs) and discounts, and cannot be increased for any reason, unless there are legally established reasons. The price cannot be increased, even the event of unforeseen costs, while the submitted offer remains valid. The Contractor shall issue an invoice in electronic form (e-invoice) via the UJPnet web portal. As the official receipt of the invoice, the date of entry of the account into the UJPnet system is considered. (NOT APPLICABLE TO TENDERERS THAT ARE FOREIGN LEGAL ENTITIES) The invoice must be addressed and sent to: SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE, Dimičeva ulica 12, 1000 Ljubljana, Slovenia. The Contracting Authority has 8 working days to refuse the invoice. If the Contracting Authority does not refuse the invoice in this timeframe, it is considered confirmed. Payments will be made to the transaction account the Contractor indicates on the invoice. The payment deadline begins on the day following the official receipt of the invoice. The payment day is considered the day on which the Contracting Authority delivers a payment order to the Contractor’s organization.

IV. DELIVERY TERMS

Article 10

The contractual deadline for the execution of the subject of the contract is 38 weeks from the conclusion of the contract, of which the key milestones are the following: Milestone description; Delivery schedule. 1; Contract signature; T0. 2; Delivery of prepared documentation for equipment; T0 + 4 weeks. 3; Delivery of equipment to the Contracting Authority's location (DDP); T0 + 16 weeks. 4; Complete installation execution; T0 + 21 weeks. 5; Commissioning and site acceptance test (SAT); T0 + 22 weeks. 6; Training of Contracting Authority's staff; T0 + 23 weeks. 7; Final performance test of both systems after connection to the treatment plant; T0 + 38 weeks. 8; Final report and handover of documentation and confirmation of the Contracting Authority by signing the handover protocol; T0 + 38 weeks. T0 = effective date of contract The delivery deadline is an essential element of this contract. The deadlines for the delivery, installation, commissioning and testing of equipment are interdependently related to the implementation of construction works under the Contract for the construction of the fire laboratory, where the deadline for completion of works is no later than 12.5.2021. If the supply, installation, commissioning and testing of equipment due to the execution of construction works for the fire laboratory will not be possible in accordance with the above defined deadlines, the Contracting Authority and the equipment supplier will adjust the execution deadlines accordingly. The final performance test of both systems after connection to the treatment plant is planned for 31st January 2022 at the latest. The operation of both systems shall be checked in accordance with ISO 9705-1, point 9 for the corner room test and ISO 24473, point 11 for the open calorimeter. The Contracting Authority is obliged to inform the Contractor about any change or extension of the deadline for delivery of equipment for reasons on the part of the Contracting Authority. If there are reasons on the part of the Contracting Authority that prevent the timely delivery of equipment to the Contractor in accordance with the deadlines in the table above, the Contracting authority will extend the deadlines to the Contractor. Until the final handover of the equipment the Contracting Authority is not responsible for storage and possible damage of the equipment. Until signing the handover protocol all obligations of the Contractor must be completed, including the installation of equipment, Commissioning and site acceptance test (SAT), the submission of all technical, test and attestation documentation and staff training. At the termination of the contractual obligations of the Contractor, the Contractor and the Contractor Authority sign a handover protocol. The DDP delivery clause (INCOTERMS 2010) applies at the Contractor Authority’s premises (ZAG LJUBLJANA, Dimičeva 12, 1000 Ljubljana – Požarni laboratorij, Industrijska cona Dolenji Logatec), unless another place of delivery is expressly specified. Before signing the handover protocol the Contractor must also submit to the Contracting Authority: - instructions for operation and maintenance and safe work (markings on equipment) - spare parts catalog, - a technical description of the equipment with plans and sufficient information on the individual components to enable service after the expiry of the warranty period, - 2 copies of the software and at least one license key, if applicable, - warranty statement (at least 2 years general warranty), - proof that the equipment is new, if this is not evident from the certified warranty statement, - and other certificates of the suitability of equipment and technical documentation in the Slovenian language. All associated equipment certificates, declaration of conformity of equipment - CE certificate in the Slovenian language, must be submitted to Contracting Authority's not later than upon delivery of the equipment to the Contracting Authority's location. Plans of equipment with all associated drawings (including mechanical and electrical installations) must be submitted in confirmation to the Contracting Authority from the Contractor within 4 weeks after signing this contract. Exceptionally, in the event that the Contractor, for objective reasons, can no longer deliver certain equipment, the Contractor must provide the Contracting Authority replacement equipment, subject to the Contracting Authority’s approval, which must meet the technical requirements of the tender documentation. The Contractor must also provide the Contracting Authority with the explanation for the replacement of the equipment and all the necessary documentation, which will show that the equipment meets the requirements of the tender documentation. Prices for equipment replacement must be the same as the originally offered equipment, replacement equipment can also be of a better quality. The Contractor is obliged to inform the Contracting Authority about the date of delivery and installation date of the equipment at least four (4) working days before the day of delivery or installation of the equipment, otherwise the Contracting Authority is not obliged to take over the equipment.

_. SUBCONTRACTORS

Note: This Article applies only when the Contractor is acting with subcontractor(s)

Article _

The Contractor shall execute the Contract using the following subcontractor(s): Subcontractor 1 (name, address):. TYPE OF SERVICE (subject, quantity):; Description of services used: Percentage of the final offer price, used by the subcontractor: ____. Subcontractor 2 (name, address):. TYPE OF SERVICE (subject, quantity):; Description of services used: Percentage of the final offer price, used by the subcontractor: ____.

V. OBLIGATIONS AND WARRANTIES OF THE CONTRACTOR

Article 11

The Contractor undertakes: - to deliver all equipment under this Contract diligently according to the rules of the profession and taking into account the provisions of the contract, the constituent parts of this contract, as well as all applicable regulations, while ensuring that the delivery will be carried out economically within the terms of this contract and any additional arrangements between the contracting parties, - to complete all deliveries within the contractual deadlines; - to fulfil all requirements in addition to the delivery in accordance with the tender documentation and within the terms of this contract and any additional arrangements between the contract parties; - to provide the Contracting Authority with further information on the progress of delivery or other obligations of the Contractor; - to warn the Contracting Authority promptly of any delays or obstacles to delivery or other obligations of the Contractor; - to protect the Contracting Authority's interests. The Contractor also guarantees that: - the supplied equipment is faultless and has no technical defects; - the supplied equipment is new; - the supplied equipment has no legal defects; - the supplied equipment fully corresponds to all the technical descriptions, characteristics and specifications given in the scope of the tender documentation and that are annexed to this contract; - that the contracting authority will acquire all equipment-related rights, and the Contractor will perform all equipment related obligations without fault. The Contractor's warranty for hidden equipment defects is valid for 180 days after the goods are taken over. If during this period any deviations or errors are indicated for any piece of equipment supplied, the Contracting Authority may terminate the contract in whole or in part. In the event of the cancellation of the Contract, the Contracting Authority shall notify the Contractor in writing, indicating in which location and during which time the supplied equipment will be handed over to them, and will set a time limit for the return of the purchase price..

VI. COORDINATION

Article 12

The following persons are responsible for the coordination of obligations under this contract: on the part of the Contracting Authority ___________________________, on the part of the Contractor ___________________________________. The representative of the Contracting authority is authorized to represent the Contracting Authority in all matters relating to the supply agreed with this Contract. The authorized representative of the Contractor is authorized to represent the Contractor in all matters relating to the supply under this Contract.

VII. CONTRACTUAL PENALTY

Article 13

If the Contractor fails to comply with the contractual deadlines, the Contracting Authority may, for each day of delay, demand payment of a contractual penalty of 0,2 % of the the total contractual value for each day of delay, but not more than 8 % of the total contractual value. A contractual penalty is charged on final payment for performed contractual obligations. If any damage, exceeding the value of the contractual penalty, is caused to the Contracting Authority due to the Contractor's delay, the Contracting Authority shall have the right to recover any damage above the amount of the contractual penalty. The compensation will be reimbursed by the Contracting Authority according to the general principles of liability, irrespective of the enforcement of the contractual penalty.

VIII. ERROR CORRECTIONS AND WARRANTY PERIOD, SPARE PARTS AND SERVICE

Article 14

In case of quantitative or qualitative derogations, which are determined by the takeover record, the Contractor undertakes to eliminate the errors free of charge within 14 (fourteen) working days from the date of signing of the handover protocol. In the event that failure cannot be remedied within the deadline, the Contractor must replace the defective equipment free of charge with equipment of at least the same quality as the replaced equipment; otherwise the Contracting Authority may lower the contract value or withdraw from the contract. In all cases, the Contractor is obliged to reimburse the Contracting Authority for any damage incurred.

Article 15

The warranty period for the delivered equipment under this contract is 24 months after both parties sign the handover portocol. The warranty is based on normal conditions of use and adequate professional maintenance. The Contractor is obliged to ensure the functionality of the equipment, irrespective of the process of finding and remedying the error. If the error is material and affects the use of equipment and is caused by the fault of the Contractor or its subcontractor(s) or co-operator(s), the Contractor is obliged to compensate the Contracting Authority for any damage incurred. If during the warranty period the Contracting Authority finds the equipment or any part of it defective or there is an installation error, it must immediately inform the Contractor.

Article 16

The Contractor provides free repairs and maintenance of the equipment during the warranty period. In case of malfunction the Contractor shall ensure service activities within a maximum period of 14 days after the information of malfunction. In the event that, due to complexity, the error correction is not possible within the specified time, the contracting parties agree on an extended deadline for the correction. In the event that failure cannot be remedied within the deadline or the same error occurs on the same equipment during the warranty period twice, the supplier must replace the defective equipment free of charge with equipment of at least the same quality as the replaced equipment. All costs (e.g. spare parts, labour costs, travel costs, etc.) incurred during servicing the equipment within the warranty period shall be recovered by the Contractor.

Article 17

Any inappropriate supplied equipment, which does not meet the conditions specified in the tender or does not comply with the provisions and specifications of this Contract, will be rejected by the Contracting Authority. Due to this, the Contractor will be delayed. The same applies if an inadequacy is found for any document that should be supplied with the equipment.

Article 18

The Contracting Parties agree on the provisions of the Code of Obligations of the Republic of Slovenia (Official Gazette of the Republic of Slovenia, no. 97/07 – official consolidated text – 1) to be used in case of the occurrence of latent defects.

Article 19

The Contractor must ensure the performance of services of equipment and the provision of spare (mechanical and electrical) parts for a minimum of 10 years after the successful handover of all equipment. The Contractor undertakes to provide a service for the repair of the supplied equipment during the warranty period at Contracting Authority’s location at its own expense. In case of repair, the warranty period is extended for the time of repair. The Contractor must only install spare parts guaranteed by the manufacturer of the equipment. The Contractor undertakes to replace the defective equipment with equivalent new equipment if repairs take longer than allowed by this Contract, or if the same error occures two or more times on the same piece of equipment. All shipping and other costs related to repair during the warranty period are charged to the Contractor.

IX. FORCE MAJEURE

Article 20

"Force majeure" shall mean any unforeseeable exceptional situation or event beyond the parties' control, which prevents either of them from fulfilling any of their obligations under this Contract, which was not attributable to error or negligence on their part and which proves to be inevitable despite exercising all due diligence. A party faced with force majeure shall formally notify the other party, stating the nature, likely duration and foreseeable effects, no later than two days after the appearance or termination of force majeure. Upon termination of the force majeure, the Contracting Parties shall record, in writing, the possible changes in the obligations arising from this Contract and conclude an appropriate Annex to this Contract. If the Contracting Parties cannot agree on concluding an Annex, the party not faced with force majeure, has the right to withdraw from the contract by giving written notice to the other party. Should the Contract be terminated, both parties shall fulfill any current obligations arising from actions taken under the Contract to the date the contract is terminated.

X. FINANCIAL INSURANCE

Article 21

Performance guarantee:

Insurance instrument: __________________________

Insurance amount: _________________________ (10,00 % of total contractual value)

Date of validity: at least 30 days after the deadline for the execution of all contractual obligations

The Contractor must submit the required financial insurance to the Contracting Authority within 10 (ten) working days after signing the Contract in the amount of 10 % of total contractual value. The signed contract is valid under a deferral condition for submitting the required insurance.

The Contracting Authority will enforce the financial collateral in all cases of breaches of the contractual obligations related to the performance of the contract, and in respect of the level of redemption, take into account the nature and extent of the breach of contractual obligations.

If the deadline for the execution of the order is extended, the contractor undertakes to extend the validity of this insurance accordingly.

This provision of financial guarantee is a condition for the validity of this contract.

Warranty guarantee:

Insurance instrument: __________________________

Insurance amount: _________________________ (5,00 % of total contractual value)

Date of validity: at least 30 days after the expiration of the warranty period

The Contractor must submit the required warranty guarantee within 10 (ten) working days after signing the handover protocol in the amount of 5,00 % of total contractual value.

The required warranty guarantee serves the Contracting Authority as a guarantee for the diligent fulfilment of the Contractor's obligations during the warranty period. If the warranty period is extended, the validity period for the required warranty guarantee must also be extended for the same period.

The Contracting Authority will enforce the financial collateral if the Contractor fails to execute the guaranteed warranty obligations.

XI. TERMINATION OF THE CONTRACT

Article 22

If a contract is terminated after the fault of one of the contracting parties, the incurred costs shall be borne by the contracting party that caused the termination of the contract. The Contracting Authority has the right to withdraw from the contract at any time, without any consequences for the Contracting Authority in case of: - the Contractor arrives in such a financial situation that would prevent him from fulfilling the contractual obligations; - the Contractor is late with the delivery (service rendered) more than 20 days; - the Contractor fails to reach the contractually agreed quality and standards by contract and cannot establish it within the agreed time limit set by the Contracting Authority, - the Contractor does not fulfil the contractual obligations in the manner foreseen in the contract for the execution of a public contract.. During the validity of the contract the Contracting Authority may, regardless of the provisions of the act regulating obligations, withdraw from the contract in the following circumstances: - the public procurement has been substantially amended, which requires a new procurement procedure; - at the time of the award of the contract, the Contractor was in a situation which would have legally obliged the Contracting Authority to exclude them from the procurement procedure, and the Contracting Authority was not aware of this status during the procurement procedure; - due to serious violations of obligations under the TEU (The Treaty on European Union), TFEU The Treaty on the Functioning of the European Union) and Public Procurement Act (Official gazette of the Republic of Slovenia, no. 91/15, 14/18), which were established by the Court of Justice of the European Union in accordance with the procedure laid down in Article 258 of the TFEU, the contract should not have been awarded to the Contractor.. The termination of the Contract shall take effect on the date which the Contractor receives a written declaration from the Contracting Authority of the withdrawal. If the Contractor withdraws from the Contract after the conclusion of the Contract or after order confirmation and thus fails to fulfil the contractual obligations on their part, the provision on contractual penalties of this Contract also applies to the non-receipt of goods.

XII. TERMINATION CONDITION

Article 23

This contract is concluded under a termination condition that will be met if one of the following circumstances is met: - if the contracting authority is aware that the court has determined by a final decision the violation of the obligations of labor, environmental or social legislation by the contractor or subcontractor, or - if the contracting authority is aware that the competent national authority at the contractor or subcontractor has found at least two infringements in connection with a payment for work, working hours, rest periods, performance of work under civil law contracts, despite the existence of elements of an employment relationship or in connection by illegal employment, and for which a fine for a misdemeanor has been imposed by a final decision or several final decisions, and provided that it has remained for at least six months after the acquaintance with the violation and until the expiry of the validity of the contract or if the contractor acts with the subcontractor, even if the contractor does not replace or replace the subcontractor with the established infringement in the manner set out in in accordance with Article 94 of the ZJN-3, and determined these contracts within 30 days from the acquaintance with the infringement. If the circumstances and conditions referred to in the preceding paragraph are fulfilled, the contract shall be deemed to have been dissolved from the date of conclusion of a new contract for the performance of a public contract for the contract in question. The contracting authority will notify the contractor of the date of conclusion of the new contract. If the contracting authority does not initiate a new public procurement procedure within 30 days of becoming aware of the infringement, the contract shall be deemed to have been dissolved on the thirtieth day after the acquaintance with the infringement.

XIII. AUDIT TRAIL

Article 24

All documentation related to the execution of the Contract must be kept in such a way as to provide an auditable trail of the supply of goods. The Contractor shall keep all documentation related to the delivery of goods in accordance with the applicable legislation or at least for a specified period, communicated by the Contracting Authority to the Contractor after fulfilling the contractual obligations for the purposes of subsequent verifications. Delivery documentation is the basis for monitoring and controlling the execution of the supply. The Contractor undertakes to provide access to all documentation relating to the supply to the competent Ministry, the Managing Authority, the Certifying Authority, the Audit Authority and other supervisory authorities involved in the implementation, management, control or audit of the public tender and their authorized persons, even after completing contractual obligations or after the expiration of the delivery contract. The audit trail must enable the presentation of a timetable of all events related to the execution of a particular supply activity and of events recorded in accounting and other records. The audit trail is a set of all the information needed to present a historical record of important events or activities related to stored data and information, and systems for collecting, processing and archiving data. The information contained in the audit trail must be sufficient to demonstrate the uncontested nature of the information stored. Their formation and preservation must ensure their unquestionability and usability throughout the information storage period.

XIV. ANTI-CORRUPTION CLAUSE

Article 25

This contract is void if anyone acting on behalf or for the account of the Contractor promises offers or gives any kind of non-allowed benefit to a representative of the Contracting Authority or agent of the Contracting Authority for: - Awarding the contract or; - Concluding the contract under more favourable conditions or; - Omission of requested supervision on the implementation of the obligations from the contract or; - For any other act or omission which causes damage to the Contracting Authority or enables acquisition of a non-allowed benefit to a representative of the Contracting Authority, agent of the Contracting Authority, to the Contractor or their representative or their agent.

XV. SETTLEMENT OF DISPUTES

Article 26

The Contractual Parties undertake to try to solve all disputes arising from this contract mutually through direct talks between authorized representatives of both contractual parties. If an agreement cannot be reached between the parties, it is agreed that the competent court in the seat of the Contracting Authority shall decide on the disputes arising from this contract.

XVI. FINAL PROVISIONS

Article 27

If any provision is or becomes invalid, this does not affect other contractual provisions. An invalid provision is replaced by a valid one, which must be as close as possible to the purpose pursued by the invalid provision.

Article 28

This contract is drawn up in quadruplicate, and both parties shall receive two copies. This contract is subject to a deferral condition for the submission of the required performance guarantee.

Attachements:

- Contractor's Offer No. _____________, dated ____________;

- Tender documentation, dated __________, with all modifications and attachments

- General Terms and Conditions of the Slovenian National Building and Civil Engineering Institute in class C purchases, P.S.14-003 (Issue: 1), dated 1.2.2021

Place, date ___________________	  	        Place, date _____________________

| The Contractor: | The Contracting Authority: |
| --- | --- |
| _____________________________ | SLOVENIAN NATIONAL BUILDING AND CIVIL ENGINEERING INSTITUTE |
| _____________________________ | Director, assoc. prof. Aleš Žnidarič, PhD |
| _____________________________ | _____________________________ |