Project title: Upgrading of national research infrastructures - RIUM

DECLARATION ON MEETING THE MINIMUM TECHNICAL REQUIREMENTS OF THE CLIENT AND SPECIFICATIONS OF THE EQUIPMENT OFFERED

Naziv ponudnika:

Naslov ponudnika:

Subject of the public Contract: Procurement of a fully automated device for coating flat substrates with different technological systems and drying methods in the same unit.

Procurement code: 302/18 – RIUM39-FS12/2021

# INSTRUCTION:

# This annex no. 2 shall be completed and signed. The bidder must indicate whether the offered equipment meets (or exceeds) the required technical specifications of the offered equipment according to all requirements of the client.

# The bidder shall load this Annex no. 2 in Word and PDF format (including attached evidence of compliance with technical requirements) in the e-JN information system in the section "Other annexes".

We declare that the offered equipment fully meets the minimum technical requirements of the contracting authority for the subject of the public procurement entitled Procurement of a fully automated device for coating flat substrates with different technological systems and drying methods in the same unit, and that we are ready to realize the public procurement according to the following specification:

| EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item nuber | Number of pieces | REQUIRED | OFFERED | PROOF |
| 1.1 | 1 | PROCUREMENT OF A FULLY AUTOMATED DEVICE FOR COATING FLAT SUBSTRATES WITH DIFFERENT TECHNOLOGICAL SYSTEMS AND DRYING METHODS IN THE SAME UNIT |  |  |
|  |  | Laboratory unit that allows controlled clamping, fixing and linear movement of a flat substrate of sizes from DIN A10 to at least DIN A3 and thicknesses up to at least 3 mm. | YES NO |  |
|  |  | A system that allows vacuum-controlled fixing and transport of the substrate on the guide with connection to compressed air at a pressure of up to 6 bar, including a control valve and vacuum gauge. | YES NO |  |
|  |  | A system that allows the use of various modules for the application of coatings on surfaces ranging in size from DIN A10 to at least DIN A3, ie. At least: - Screen printing, and - Slot-die coating | YES NO |  |
|  |  | A system that allows at least one method of drying, ie. At least: - NIR irradiation | YES NO |  |
|  |  | Computer-aided automated system that enables a controlled and repeatable sequential way of applying the coating with the selected module and drying using the selected method, in the same unit, without interfering with the operator in the process. | YES NO |  |
|  |  | A system that allows screen/ Slot-die positioning alignment and real-time monitoring. | YES NO |  |
|  |  | A system that allows the management and dosing of the coating liquid / ink according to the module used, the method and speed of coating. | YES NO |  |
|  |  | System that allows adjustment of the screen / Slot-die from the substrate surface in the tolerance range +/- 4 m. | YES NO |  |
|  |  | System that allows setting the accuracy of repeated / consecutive application in the tolerance range +/- 20 m. | YES NO |  |
|  |  | A system that allows setting of the coating speed according to the selected module, ie. at least between 0.4 - 4 m / min for Slot-die coating mode, and at least between 0.4 - 25 m / min for print coating mode. | YES NO |  |
|  |  | Unit with an operation display on the operating screen (at least 8-inch color touch screen with English navigation). | YES NO |  |
|  |  | Housing for Laboratory unit made of solvent-resistant stainless material with included lighting and safety system for prevention of explosive conditions (Lower Explosive Limit - LEL detector) and system for controlled air extraction from the unit. | YES NO |  |
| 1.2 | 1 | PRINTING MODULE |  |  |
|  |  | At least one screen with 60 mesh pore size mesh for coating on a DIN A4 surface sample, and at least one squeegee / blade with pneumatic, automated and controlled ink supply. | YES NO |  |
| 1.3 | 1 | SLOT-DIE COATING MODULE |  |  |
|  |  | Stainless steel module for applying a layer of surface at least 190 mm wide and with the possibility of using washers (shim masks) for applying strips at least 50 m wide, with a gap clearance accuracy in the tolerance range between +/- 2.5 m. | YES NO |  |
|  |  | A system that allows the application of liquid / ink with a viscosity of at least 1-10,000 mPas and a thickness of at least 0.05-80 m. | YES NO |  |
|  |  | System that enables automated and controlled dosing of liquid / ink into the slot, and thus uniformity of application in the tolerance range +/- 5%. | YES NO |  |
| 1.4 | 1 | UNIT FOR DRYING OF COATING WITH NIR IRRADIATION |  |  |
|  |  | Unit with a heating power of 3 transmitters of at least 2.5 kW, equipped with a sensor system for controlling radiation power and with glare protection. | YES NO |  |
| / | / | The entire device is up to 3300 cm (length) x 1500 cm (width) x 2100 cm (height). | YES NO |  |
| / | / | The device must enable subsequent / later upgrades (mechanical and software) - by other methods of application, at least by: - flexo printing mode, - gravure printing, - gravure-ofset printing, and - lamination. - by other means of drying, at least by: - UV radiation based on LED or mercury light source. without further interference with the size of the device. | YES NO |  |
| 1.5 | 1 | PACKAGING, TRANSPORT and INSTALLING IN THE LABORATORY |  |  |
|  |  | The provider will ensure the appropriate packaging and transport of the device from the provider / manufacturer to the place of installation with transport insurance. | YES NO |  |
|  |  | The provider will also provide unloading of equipment and installation in the Laboratory. | YES NO |  |
| 1.6 | 1 | COMMISSIONING and TRAINING |  |  |
|  |  | The provider will ensure the connection of all necessary elements for the operation and verification of the operation of the device at the delivery location. | YES NO |  |
|  |  | After installation, the provider will conduct training of at least 3 users for at least 2 days after 8 hours by demonstrating the operation of equipment for working with individual methods of application and drying, including all hardware and software units, at the user's location. | YES NO |  |
|  |  | OTHER REQUIREMENTS |  |  |
| 1.7 | 1 | The provider will provide all documentation (in electronic or physical form) necessary for the use and maintenance of the device and its elements, at least in English. | YES NO |  |
| 1.8 | 1 | The warranty period is at least 2 years from the signing of the acceptance report for the delivered equipment. | YES NO |  |
|  |  | During this warranty period, the provider provides hardware and software maintenance and support, including: - Elimination of faults (repair or replacement) in case of failure no later than 10 working days from the reporting of the fault. - Supply of new software versions or update as soon as they are available from the manufacturer. - Electronic technical support. - Guaranteed access to the manufacturer's technical support center for all equipment the maintenance of which is the subject of a public tender. | YES NO |  |
|  |  | The bidder must provide spare parts and support for at least 5 years after the end of the warranty period. | YES NO |  |
| 1.9 | 1 | The provider will provide software for control and monitoring of the device via the user interface on the control screen of the device in English. The software must also enable the export of process data in excel, at least in CSV format. | YES NO |  |

|  | Stamp: |
| --- | --- |
| Place and date: |  | Signature of the responsible person: |

The operation is co-financed by the Republic of Slovenia, the Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. Direct validation of the operation is carried out under the Operational Programme for the Implementation of the European Cohesion Policy 2014-2020 under Priority Axis 1: "International competitiveness of research, innovation and technological development in line with smart specialisation for greater competitiveness and greening of the economy", investment priority 1.1. infrastructure for research and innovation and capacity to develop excellence in this field, as well as the promotion of competent centres, especially those of European importance ", specific objective 1.1.1 Effective use of research infrastructure and development of knowledge / competences for better national and international cooperation in the knowledge triangle”.

The bidder must indicate whether the offered equipment meets (or exceeds) the required technical specifications of the offered equipment according to all requirements of the client.

The tenderer must state the name of the attached catalog or prospectus of the equipment manufacturer and the page number indicating the relevant technical specification. Exceptionally, the tenderer may also provide a link to the equipment manufacturer's website stating the relevant technical specifications. In the case of a link to an online document, the tenderer must provide a page number indicating the relevant technical specification. The bidder shall attach to this Annex 2, along with the bid, evidence of compliance with the minimum technical requirements and, in the case of a link to the website, ensure their adequacy and activity in word form.