Project title: Upgrading of national research infrastructures - RIUM

DECLARATION ON MEETING THE MINIMUM TECHNICAL REQUIREMENTS OF THE CLIENT AND SPECIFICATIONS OF THE EQUIPMENT OFFERED

Naziv ponudnika:

Naslov ponudnika:

Subject of the public Contract: Machining and monitoring equipment for cutting and forming processes.

Procurement code: 302/2 – RIUM34-FS09-1/2021

INSTRUCTION:

- This annex no. 2 shall be completed and signed. The bidder must indicate whether the offered equipment meets (or exceeds) the required technical specifications of the offered equipment according to all requirements of the client.

- The bidder shall load this Annex no. 2 in Word and PDF format (including attached evidence of compliance with technical requirements) in the e-JN information system in the section "Other annexes".

We declare that the offered equipment fully meets the minimum technical requirements of the contracting authority for the subject of the public procurement entitled "Machining and monitoring equipment for cutting and forming processes", Lot3: Laser measuring systems for machine tools and coordinate measuring machines, and that we are ready to realize the public procurement according to the following specification:

| EQUIPMENT |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item nuber | Number of pieces | REQUIRED |  | OFFERED |  | PROOF |  |
| 3.1 | 1 | - Three-channel laser-interferometer; - at least 40MHz sampling rate per channel, parallel processing, - stabilized DFB diode laser (1510nm -1560nm), - working distance: up to 1000mm, - position measurement of travelling targets: up to 1 m/s, - USB interface, - Pilot-laser for simple aligning (650nm). |  | YES NO |  |  |  |
|  |  | - Windows interface (LabVIEW driver and Windows DLL). |  | YES NO |  |  |  |
|  |  | - Environmental module sensors for temperature, pressure and humidity |  | YES NO |  |  |  |
|  |  | - 3 x sensor head: working distance up to 650 mm or more. |  | YES NO |  |  |  |
|  |  | - Mounting components for interferometers. | YES NO |  |  |  |
|  |  | - Maintenance and repair support. | YES NO |  |  |  |
|  |  | - Technical support. | YES NO |  |  |  |
| 3.2 | 1 | Delivery and installation: - delivery of equipment to the address Smetanova 17, 2000 Maribor, laboratory C101. | YES NO |  |  |  |
| 3.3 | 1 | Warranty: - at least 1 year. | YES NO |  |  |  |
| 3.4 |  | Delivery time: - max. 60 days from the entry into force of the contract | YES NO |  |  |  |

|  | Stamp: |
| --- | --- |
| Place and date: |  | Signature of the responsible person: |

The operation is co-financed by the Republic of Slovenia, the Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. Direct validation of the operation is carried out under the Operational Programme for the Implementation of the European Cohesion Policy 2014-2020 under Priority Axis 1: "International competitiveness of research, innovation and technological development in line with smart specialisation for greater competitiveness and greening of the economy", investment priority 1.1. infrastructure for research and innovation and capacity to develop excellence in this field, as well as the promotion of competent centres, especially those of European importance ", specific objective 1.1.1 Effective use of research infrastructure and development of knowledge / competences for better national and international cooperation in the knowledge triangle”.

The bidder must indicate whether the offered equipment meets (or exceeds) the required technical specifications of the offered equipment according to all requirements of the client.

The tenderer must state the name of the attached catalog or prospectus of the equipment manufacturer and the page number indicating the relevant technical specification. Exceptionally, the tenderer may also provide a link to the equipment manufacturer's website stating the relevant technical specifications. In the case of a link to an online document, the tenderer must provide a page number indicating the relevant technical specification. The bidder shall attach to this Annex 2, along with the bid, evidence of compliance with the minimum technical requirements and, in the case of a link to the website, ensure their adequacy and activity in word form.