Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS OF THE OFFERED EQUIPMENT – lot 2

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: Purchase of Advanced Equipment for Development of Special Optical Fibers

Lot 2: System for applying primary coating onto optical fiber

Designation of the public procurement: 302/41 - RIUM56-FERI 03.1/2021

INSTRUCTIONS:

- This Annex No. 2 must be completed and signed. The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements.

- The tenderer shall upload this Annex No. 2 to the e-JN information system in the section “Other Annexes”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled “Purchase of Advanced Equipment for Development of Special Optical Fibers” - Lot 2, and that we are ready to realize the order according to the following specification:

|  | EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  |  | DATASHEET |
| 1 | Chamber and vacuum subsystem: |  |  |  |  |
|  | - 3 x coating applicator body: - Maximal weight: m_max ≤ 1200 g - Maximal dimensions: LxWxH ≤ 80x80x45 mm | - YES |  | - NO |  |
|  | - 3 x technical solution to prevent bubble formation during coating application process: - Maximal weight: m_max ≤ 100 g - Maximal dimensions: LxWxH ≤ 50x50x30 mm | - YES | - NO |  |  |
|  | - 2 x aligning tool | - YES | - NO |  |  |
|  | - 3x Entrance die: - Aperture diameter = 500 μm | - YES |  | - NO |  |
|  | - 3x Entrance die: - Aperture diameter = 1000 μm | - YES |  | - NO |  |
|  | - 3x Exit die: - Aperture diameter = 140 μm | - YES | - NO |  |  |
|  | - 3x Exit die: - Aperture diameter = 180 μm | - YES | - NO |  |  |
|  | - 3x Exit die: - Aperture diameter = 250 μm | - YES | - NO |  |  |
|  | - 2x Exit die: - Aperture diameter = 320 μm | - YES | - NO |  |  |
|  | - 2x Exit die:Aperture - diameter = 450 μm | - YES | - NO |  |  |
|  | - 1x Exit die: - Aperture diameter = 600 μm | - YES | - NO |  |  |
|  | - 1x Exit die: - Aperture diameter = 750 μm | - YES | - NO |  |  |
|  | Delivery time - at the latest 120 (one hundred and twenty) days from the day of entry into force of the contract. | - YES | - NO |  |  |
|  | Warranty - At the least 1-year warranty | - YES | - NO |  |  |

| Place and date: | Seal: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1: ''International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy'', priority investment 1.1 ''Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance'', specific objective 1.1.1 ''Efficient use of research infrastructure and development of knowledge / competences for better national and international cooperation in the knowledge triangle'' under the Operational Program for implementation of the European cohesion policy 2014-2020.

The tenderer must indicate the actual technical specifications of the equipment offered in accordance with all requirements.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.