Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS OF THE OFFERED EQUIPMENT - CORRECTION NO. 1

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: The laser lithography system

Designation of the public procurement: 302/42 - RIUM57-FERI 03.3 JN2/2021

INSTRUCTIONS:

- This Attachment No. 2 must be completed and signed. The tenderer must indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

- The tenderer shall upload this Attachment No. 2 in Word and PDF format (including attached evidence of compliance with all technical requirements) to the e-JN information system in the section “Other attachments”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled " The laser lithography system ", and that we are ready to realize the order according to the following specification:

|  | EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  |  | DATASHEET |
| 1 | Laser source and video system: |  |  |  |  |
|  | - Wavelength: 375 nm. | - YES |  | - NO |  |
|  | - Feature size: minimal 2 μm | Feature size: _____________ μm |  |  |  |
|  | - Laser lifetime: ≤ 10000 hours | Lifetime: _____________ h |  |  |  |
|  | - Laser power/intensity: ≥ 60 mW. | Power: mW |  |  |  |
|  | - Laser auto focus system or a motorized focus stage. | - YES | - NO |  |  |
|  | - High resolution camera system for alignment: ≥ resolution 1600 x 1200 pixels | Resolution: _____________ x _____________ pixles |  |  |  |
|  | - Alignment accuracy precision: ≤ 1 um. | Accuracy: _____________ μm |  |  |  |
|  | Stage system and substrate/sample properties: |  |  |  |  |
|  | - Motorized X and Y stage | - YES | - NO |  |  |
|  |  | Working area: ≥ 100 x 100 mm | Working area: _____________ x _____________ mm |  |  |
|  | - Stage resolution: ≤ 100 nm. | Resolution: ______________ nm |  |  |  |
|  | - Substrate size: from 3 x 3 mm^2; to 125 x 125 mm^2 | - YES |  | - NO |  |
|  | - Substrate thickness: ≥ 0.1 mm and ≤ 10 mm | Minimal: _____________ mm |  |  |  |
|  |  | Maximal: _____________ mm |  |  |  |
|  | - Vacuum chunk for clamping substrate with dimensions up to 125 x 125 mm^2 | - YES |  | - NO |  |
|  | Performance requirements: |  |  |  |  |
|  | - Write mode: vector and raster or scanning and combination of both. | - Vector and raster | - Scanning |  |  |
|  | - Write speed in vector exposure mode: ≥ 100 mm/s | Speed: _____________ mm/s |  |  |  |
|  | - Write speed in raster exposure or scanning mode: ≥ 4 mm^2/min. | Speed: _____________ mm^2/min |  |  |  |
|  | - Number of grey levels in raster exposure mode: minimal 500 levels. | Number of gray levels: ________________ |  |  |  |
|  | - Critical dimension uniformity with raster or scanning exposure mode: ≤ 200 nm. | Uniformity: _____________ nm |  |  |  |
|  | - Line uniformity with vector exposure mode: ≤ 50 nm. | Uniformity: _____________ nm |  |  |  |
|  | The laser lithography system control/software: |  |  |  |  |
|  | - Software for controlling the machine | - YES |  | - NO |  |
|  | - Software for on-the-fly processing of the jobs/recipes. | - YES |  | - NO |  |
|  | - Software for conversion of the following file formats: Bitmaps, TIFF, GDSII, DXF, CIF, GDSII, and Gerber files | - YES |  | - NO |  |
|  | - Software must support conversion for 3D source files from Grayscale bitmaps and parametric, such as STEP, STL, SVG, DXF and OBJ | - YES |  | - NO |  |
|  | - Software must support drawing basic shapes without source files. | - YES |  | - NO |  |
|  | - Software must support free definitions of process and substrate recipes | - YES |  | - NO |  |
|  | - Software must support remote support | - YES |  | - NO |  |

| Place and date: | Seal: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1: ''International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy'', priority investment 1.1 ''Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance'', specific objective 1.1.1 ''Efficient use of research infrastructure and development of knowledge / competences for better national and international cooperation in the knowledge triangle'' under the Operational Program for implementation of the European cohesion policy 2014-2020.

The tenderer must indicate the actual technical specifications of the equipment offered in accordance with all requirements.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.