## Technical Specifications
Microscopy Image Analysis Software
|  | The tender includes: | The title of the technical documentation: | Page number in the tehnical documentation:
Software should:
Enable reading and processing of microscopic data.
Interactively render massive surfaces & millions of spots.
Create Surfaces & Spots from extremely large images.
Classify & label Spots and Surfaces using Machine Learning Classifier or interactive filters.
Measure intensity on a per channel basis.
Color-code detected objects based on any calculated parameter.
Calculate the distance and the overlap between objects.
Object attraction and repulsion measurements compared to random distribution.
Build and measure 3D objects based on 2D contours.
Automatically track objects in 2D or 3D + time.
Automatically correct translational and rotational drift .
Co-localisation tool.
Two-way data exchange with Matlab and Python or equivalent.
Software should process 3D and 4D microscopy images in the life sciences.
Software should perform at very high speeds irrespective of image size - hundreds of GB up to TB data sets should be loaded and visualized interactively.
Software should allow for direct interaction with individual objects in the 3D view by simple mouse clicks and should enable the user to zoom, pan and rotate the scene with simple mouse commands even during the reproduction of a time series, thus allowing real-time interaction with 3D and 4D images without the need for substantial precalculation.
Software should have excellent visualization quality and should enable for volume rendering with transparency and shadows as well as surface rendering with transparency and reflection.
A battery of clipping planes and orthogonal slices should be easily applied to expose the parts of the data set of most interest.
Snapshot (TIFF, jpg or equivalent) and movie generation (avi. mp4, tiff series or equivalent) should be built in functions of software.
Software should load and open all files types, regardless of the number of channels, used by the main microscope manufactures. The software should load and open image files from any imaging platform (Leica, Zeiss, Nikon, Olympus or equivalent).
Software should offer the ability to simultaneously visualize multiple 2D, 3D or 4D images with differing spatial or temporal dimensions and resolutions.
Software should have object object based analysis tools that are available for all images and this functionality, along with alignment tools to rotate and translate the images relative to one another, provide a solution for researchers performing correlative microscopy across multiple imaging modalities.
Software should have effective range of automatic, semi-automatic and manual segmentation tools (i.e. surface, spots, region growing and surface scissors) thus allowing the user to identify and study how individual object behave (3D and 4D).
Software should allow to segment 3D shaped isosurface object, effective quantification, and Spots and Surface visualization of objects within datasets of hundreds of gigabytes.
Software should allow interactively render massive Surfaces consisting of billions of triangles. Surfaces ahould be be rendered on a slicer (xy, xz, yz or oblique).
Software should allow elliptic spot detection in z-dimension.
Software should allow the user to sequentially sort and regroup segmented objects according to their characteristics (e.g. number, volume, intensity, sphericity), thus facilitating their classification into logical groupings.
Automated classification of Spots and Surfaces components should be included in the object creation wizards enabling classification based on selected statistic (1D) or the combination of 2 features (2D) and a trainable Machine Learning Classifier (ML). In addition to automatically determining a wide range of parameters, software should also enable the user to make measurements between volumes and/or segmented objects. For every Surfaces and Spots object software should natively calculate the shortest distance to any other Surfaces or Spots.
Software should allow that all determined parameters can be exported in preformatted tables in xls (Excel or Open Office) or in CSV format.
Software should allow to manually segment 3D structures on nonfluorescent datasets (EM, widefield), but also on fluorescent datasets.
Software should allow creating region of interests for instance to measure FRAP.
Software should provide a large range of sophisticated yet user-friendly automated object tracking tools (i.e. Brownian motion, autoregressive motion, autoregressive motion expert, connected components, and lineage), which create tracks with high robustness, quality and accuracy.
Software should be able to track objects detected with the Spots tool or track generated IsoSurfaces, thus allowing studying shape changes over time (volume, area, sphericity…) in combination with the migration of the object. Moreover, the user can interact with individual tracks and can sort/classify them in relation to their characteristics (e.g. track length, speed, displacement, XYZ position, straightness…), or statistically color map them.
Software should allow a very fast tuning of the tracking parameters which can then be applied on a whole 4D dataset.
Software should allow for accurate automated or manual tracking of dividing cells in 2D/3D time series. It should enable creation of an interactive lineage tree where the cell fate can be traced from one progenitor cell to the final generation. Software should allow statistic measures relevant for cell studies are included such as: Cell Cycle Duration, Generation, Time Since First Division, Time Since Previous Division.
Software should allow an interactive colocalisation tool for 3D and 4D data sets, furthermore it should provide real-time statistics update. Software should allow creation of a new channel with the colocalised elements only. Software should have an automatic and semi-automatic threshold method implemented allowing for accurate colocalization analysis.
Software should allow that the image data (segmented and original) can be visualized in five dimensions and should allow the researchers to dissect their multi-dimensional, multi-object images by creating series of fully customizable plots for better understanding of hidden relationships and associations between calculated parameters, objects or groups of objects.
Software should enable array of statistics to annotate objects in the image with the calculated key statistical parameters. Software should enable to visualize univariate statistics for one or more groups. Software should let the user split values by their labels to facilitate a simple visual comparison. With these options one can very easily see the statistical differences between classes of objects.
Software should allow new ways of analyzing 3D/4D microscopy image in terms of spatial and dynamic analysis. Software should provide useful tools to study the question: “Is there an interaction between spots and surfaces?” and the follow up question: “At what distances do we observe attraction/repulsion?”
Software should allow that videos and snapshots can easily be created depicting the fully annotated data sets.
Software should allow to be extended with custom built algorithms while still working in a user-friendly environment.
Software should allow that 4D datasets can also be processed through the use of dedicated Fiji/ImageJ or equivalent and extensions can be uploaded and shared between users of software.
Software should enable for the analysis of 2D, 3D, and 4D images of cells and their components. Software should enable researchers to qualitatively and quantitatively examine micro relationships that exist between cells. Software should enable researchers to map organelles and other cellular components within individual cells, then examine the relationships between those components. Software should allow to detect cells according to either a cytoplasmic staining or a membrane staining. It should be possible to detect cell boundaries based on a membrane signal only even if no nucleus signal is available. It should be also possible to track dividing cells to produce lineages based on solely a membrane staining.
The package includes advanced functionality to detect cells and their major compartments, discover intracellular relationships, study motion, explore cell differentiation using an interactive lineage tree.
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
yes
yes
yes
yes
no
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no

## Splošni pogoji
SPLOŠNI POGOJI
Življenjska doba:
najmanj 10 let
Garancijski rok:
1 leto
Lokacija inštalacije:
NIB, Večna pot 111, Ljubljana, 1 nadstropje
Prevoz opreme do mesta inštalacije:
mora biti vključeno: ni fizičnega prenosa, programska oprema se prenese preko spletne strani
Inštalacija v predviden prostore:
mora biti vključeno: ni fizične inštalacije, programska oprema se prenese preko spletne strani
Primopredaja in prevzem opreme:
po izvedenem šolanju online.
Delovna navodila za uporabo opreme:
morajo biti predana naročniku ob dobavi programske opreme
Usposabljanje kadra naročnika za delo z opremo:
mora biti zagotovljeno za vsaj enga udeleženca preko spleta
usposabljanje za končnega uporabnika za nameščeno programsko opremo je treba izvesti v najmanj 5 urah
oddaljena podpora za poskusno nastavitev in odpravljanje težav v garancijskem obdobju: brezplačno
priloženi morajo biti certifikati, navodila za uporabo in vzdrževanje programske opreme in vsa druga dokumentacija
Brezplačna programska oprema in njene posodobitve:
morajo biti zagotovljene tekom celotne življenjske dobe programske opreme
da
ne
ne
ne
ne
ne
ne
ne
no
ne
da
da
da
da
da
da
da
ne
da
da
ne
da
da
ne
ne
da
ne

## General Conditions
The life time of the equipment:
minimum 10 years
Warranty period:
1 year
Installation location:
NIB, Večna pot 111, Ljubljana, 1st floor
Transportation of equipment to the installation location:
should be included-online
Installation in the foreseen space:
should be included-online
Commissioning and hand over of the equipment:
after online training.
Instructions for use:
should be delivered upon delivery of the software
Training:
on-line training should be provided for at least 1 attendee
end user training for the software installed should be carried out in at least 5 hours
remote support for experimental setup and troubleshooting during warranty period: free of charge
certificates, instructions for use and maintenance of the software and all other documentation must be attached
Free software and updates:
should be provided for the whole life time of the software
no
no
no
no
no
no
no
no
no
no
no
no
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
no