Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS OF THE OFFERED EQUIPMENT - CORRECTION NO. 1

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: Purchase of Scanning Infrared Laser Vibrometer for Measurement of Vibration on Specimens, Machine’s Components and Devices

Designation of the public procurement: 302/45 – RIUM60-FS11.2/2021

INSTRUCTIONS:

- This Annex No. 2 must be completed and signed. The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

- The tenderer shall upload this Attachment No. 2 in Word and PDF format (including attached evidence of compliance with all technical requirements) to the e-JN information system in the section “Other attachments”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled "Purchase of Scanning Infrared Laser Vibrometer for Measurement of Vibration on Specimens, Machine’s Components and Devices”, and that we are ready to realize the order according to the following specification:

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 1 | Measurement laser |  |  |  |
|  | Wave length 1550 nm (±20 nm) | - YES | - NO |  |
|  | - output power not more than 10 mW | - YES | - NO |  |
|  | protection class 1 (eye-safe) according to EN 60825-1 | - YES | - NO |  |
| 2 | Target laser is green diode | - YES | - NO |  |
|  | walve length 520 nm (±10 nm) | - YES | - NO |  |
|  | output power no more than 1 mW | - YES | - NO |  |
|  | protection class 2 (eye-safe) according to EN 60825-1 | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 3 | Digital Camera |  |  |  |
|  | Full HD with minimum resolution (1920 x 1080 pixels) | - YES | - NO |  |
|  | At least 30 x optical zoom | - YES | - NO |  |
|  | vibrometer scanning angle in high must be equal to or greater than 40° and the wide angle equal to or greater than 50 ° | Scanning angle in height: _______________ ° Scanning angle in wide: ________________ ° |  |  |
|  | camera viewing angle should be equal or more than 63° (wide end) to equal or less 2.5°(tele end) | Camera viewing angle: _______________ ° Camera tele end angle: ________________ ° |  |  |
|  | camera live video stream in scanning and single-point mode | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 4 | Interfaces |  |  |  |
|  | RJ-45 Ethernet digital output with at least 1Gbit/s (53 Msampels/s with 16-bit signal) | - YES | - NO |  |
|  | Ethernet digital connection for remote control of vibrometer via PC | - YES | - NO |  |
|  | 4 x BNC analog outputs (for displacement, velocity, acceleration and signal-generator output) | - YES | - NO |  |
|  | 3 x BNC analog inputs: (measurements input, 2x reference input and TTL-trigger input)) | - YES | - NO |  |
|  | USB 2.0/3.0 (camera control, data acqusition) | - YES | - NO |  |
|  | establish remote control, data acquisition, data analysis with software for scanning mode | - YES | - NO |  |
|  | Channels for DC, AC, additonal accelerometer and modal hammer | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 5 | Signal Generator |  |  |  |
|  | Internal signal generator with at least 6 number of pre-defined functions and arbitrary signal import funcionality | Number of pre-defined functions: _______ |  |  |
|  | Filter should cover ranges from 2.5 Hz up to 100 kHZ | - YES | - NO |  |
|  | Tracking filter should has two option: slow / fast | - YES | - NO |  |
|  | Displacement High Pass Filter should cover ranges from 10 Hz up to 160 kHz | - YES | - NO |  |
|  | LED Colour touch display and range knobs on the unit to control the vibrometer | - YES | - NO |  |
|  | power supply should be 110-240V AC or 12V DC | - YES | - NO |  |
|  | operation tempearture of instruments should be at least 0°C or lower and at least +40°C or more. | Minimum operation temperature : _____ °C Maximum operation temperature : ____ °C |  |  |
|  | maximum weight of total instrument should be less than 14 kg | - YES | - NO |  |
|  | EQUIPMENT |  |  |  |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 6 | Accessories: |  |  |  |
|  | Transport case | - YES | - NO |  |
|  | Power supply unit for connection to a 110 - 240 V AC | - YES | - NO |  |
|  | Ethernet cable for connecting the vibrometer to a standard PC | - YES | - NO |  |
|  | Manuals for software and hardware as PDF files | - YES | - NO |  |
| 7 | Modal Hammer |  |  |  |
|  | Modal hammer for measurement range larger than 2000 N with a frequency range > 10kHz. | - YES | - NO |  |
|  | Force Sensor integrated in head | - YES | - NO |  |
|  | Coupling: at least from 2 to 4 mA, IEPE | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 8 | Digital decoder for signal processing in real time |  |  |  |
|  | Data rate should be at least 100 MS/s analog output | - YES | - NO |  |
|  | Decoder should consists simultaneous analog and digital output of velocity at range since 0.0245 up to 5 m/s or more | - YES | - NO |  |
|  | enable frequncy range at least up to 100kHz and velocity range at least up to 5m/s or more | - YES | - NO |  |
|  | resoultion at least down to 12nm / s√Hz | - YES | - NO |  |
|  | maximum error of not more than 0.5%. | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 9 | Analysis software for remote control of measurements and scanning anylsis |  |  |  |
|  | Software should enable remotely control of all vibrometer settings via ethernet | - YES | - NO |  |
|  | 64-bit, multithreaded, fast-responsive software architecture | - YES | - NO |  |
|  | Analysis of data in offline post-processing | - YES | - NO |  |
|  | Freely choose measurement geometry and individual point positions | - YES | - NO |  |
|  | Import various file formats: .csv ASCII- or .wav audio files for signal generator | - YES | - NO |  |
|  | Pre-defined signals: sine, rectangle, chirp, random, | - YES | - NO |  |
|  | Live video stream to monitor the measurement progress | - YES | - NO |  |
|  | Calculation of FRF, FFT, Auto-Sprectrum, Cross-Spectrum, Coherence | - YES | - NO |  |
|  | 3D-animation of mode shapes at selected frequencies | - YES | - NO |  |
|  | 2D-Heatmap of the amplitude and phase of the frequency response function of the measured velocity, displacement or acceleration | - YES | - NO |  |
|  | 2D-Heatmap of the FFT of the measurement (vel./disp./accel.) channel and all reference channels | - YES | - NO |  |
|  | 2D-Heatmap of the root mean square of the time data | - YES | - NO |  |
|  | 2D-Heatmap of the coherence between measurement and reference channels | - YES | - NO |  |
|  | High-speed autofocus and configurable speckle-tracking for automatic increase of measurement data quality (Coherance check feature) | - YES | - NO |  |
|  | multithreaded export of ODS data, time data, geometry data, all frequency functions, and data of reference channels | - YES | - NO |  |
|  | Export of time data as .wav audio-files | - YES | - NO |  |
|  | Export animations of time data (wave-propagation) and selected mode-shapes as high resolution video file | - YES | - NO |  |
|  | Create tracking shots for automatic camera movements (synchronization with video record possible) between individually customizable scenes in the 3D-animation | - YES | - NO |  |
|  | Digital filtering, signal averaging, FFT windows (including rectangle, epxonential, Hanning, etc.) | - YES | - NO |  |
|  | Export data as .uff, .hdf5, .mat and .wav files | - YES | - NO |  |

| 10 | Tripod |  |  |  |
| --- | --- | --- | --- | --- |
|  | Tripod with Fluid Videohead (3-way) is supplied | - YES | - NO |  |
|  | Adapter half shell | - YES | - NO |  |
|  | padded bag | - YES | - NO |  |

|  | EQUIPMENT |  |  |  |
| --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  | DATASHEET |
| 11 | Notebook or PC computer |  |  |  |
|  | Dedicated notebook or PC with pre-installed Microsoft Windows 10 Professional 64-bit or equivalent or newer with intel i7 CPU | - YES | - NO |  |
|  | Monitor: equivalent or better than 17” HD | - YES | - NO |  |
|  | RAM at least 16 GB | - YES | - NO |  |
|  | Disk SSD at least 1TB | - YES | - NO |  |
|  | All necessary software for vibrometer operation and control pre-installed on the dedicated PC | - YES | - NO |  |
|  | All necessary software for the analysis of captured measured data pre-installed on the dedicated PC | - YES | - NO |  |
|  | Provide at last 6 Instalation of Software license for Analysis and interpation results of measurement in faculty | - YES | - NO |  |

|  | Especial requirements: |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1. Personal computers shall comply with the latest Energy Star energy efficiency standards in force on the date of publication of the public tender’s notice or on the date of the invitation for submitting the tender, or equivalent standards | - YES | - NO |  |  |
|  | 2. Personal computers must be designed in such a way that the hard disk and memory are easily accessible using universally available tools (i.e. with a screwdriver, spatula, pliers, or tweezers) and are replaceable | - YES | - NO |  |  |
|  | 3. The volume of the personal computer must be measured in accordance with the SIST EN ISO 7779 standard and must not exceed 26 dB at the time of writing to the hard disk. The data must be labelled with the designation LpAm in dB | - YES | - NO |  |  |
|  | 4. Screens shall meet the latest Energy Star energy efficiency standards in force on the date of publication of the public tender’s notice or on the date of the invitation for submitting the tender, or equivalent standards. | - YES | - NO |  |  |

| Place and date: | Seal: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1: ''International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy'', priority investment 1.1 ''Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance'', specific objective 1.1.1 ''Efficient use of research infrastructure and development of knowledge / competences for better national and international cooperation in the knowledge triangle'' under the Operational Program for implementation of the European cohesion policy 2014-2020.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements and indicate whether the offered equipment meets (or exceeds) required technical specifications of the equipment offered in accordance with all technical requirements of the Contracting Authority.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.

For the Computer Software and Hardware (PC) item, the tenderer shall indicate a proof for meeting the requirements of the Decree on Green Public Procurement (Official Gazette of the Republic of Slovenia, No 51/17 and 64/19), as stated in Point 3 of the Technical Specifications that are part of these procurement documents.

ENERGY STAR standards: http://www.eu-energystar.org/. The version valid at the time of publication of these environmental examples and criteria is 6.1, and updates are available at http://www.eu-energystar.org/specifications.htm.

Hard Drive Operating.

LpAm (Low power AM) is the designation for the sound emission pressure.

Energy Star Standards: http://www.eu-energystar.org/. The version valid at the time of publication of these environmental examples and criteria is 7.0, and updates are available at http://www.eu-energystar.org/specifications.htm.