## Technical specifications
TECHNICAL SPECIFICATIONS - ALGAE SHAKER INCUBATOR - 1 piece
|  | The tender includes: | The title of the technical documentation: | Page number in the technical documentation:
The system must meet the following standards: • adjustable light and temperature, (separately controlled) • several shelves (at least 2) with adjustable lighting and with adjustable orbital shakers (30-500 rpm, capacity at least 4 kg) for different dimensions of flasks for growing algae and cyanobacteria (at least Erlenmeyer flasks 100, 200 and 400 mL)
The stand-alone incubator must be designed with at least two independently illuminated shelfs. The lighting of each shelf must be controlled separately by intensity. It should allow automation of changes such as time, light intensity, temperature and orbit rotation.
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no

## Tehnične specifikacije
TEHNIČNE SPECIFIKACIJE - INKUBATOR S STRESALNIKI ZA ALGE - 1 kos
|  | Ponudnik ponuja (DA/NE): | Naslov tehnične dokumantacije: | Številka strani v tehnični dokumentaciji:
Sistem mora izpolnjevati naslednje standarde: • nastavljivo svetlobo in temperaturo, (ločeno krmiljene) • več polic (vsaj 2) s prilagodljivo osvetlitvijo in s prilagodljivimi orbitalnimi stresalniki (30-500 obratov na minuto, kapacitete vsaj 4 kg) za različne dimenzije posodic za gojenje alg in cianobakterij (vsaj erlenmajerice 100, 200 in 400 mL)
Samostoječi inkubator mora biti zasnovan z vsaj dvemi neodvisno osvetljenimi policami. Osvetlitev vsake police mora biti ločeno nadzorovana po jakosti. Omogoča naj avtomatizacijo sprememb, kot so čas, intenzivnost svetlobe, temperaturo in hitrost rotiranja.
da
da
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
yes
ne
no
ne
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no
no

## General conditions
General Conditions - ALGAE SHAKER INCUBATOR - 1 piece
Warranty period of the equipment:
24 months.
Post-warranty maintenance can be enabled at least for the life of the equipment.
Installation of equipment:
performed by the tenderer at the NIB location, Večna pot 111, Ljubljana.
Transport of equipment to the installation site, which also includes the entry of equipment into the laboratory.
Training of staff to work with equipment at the contracting authority's location for at least 2 hours:
The training should be carried out in one day (several may be recommended by the manufacturer).
The training will be available for at least 5 users and will be conducted for all users at the same time.
Attach tests, certificates, operating and maintenance instructions for the use of the equipment, software and any other documentation.
Service and spare parts:
services for all offered equipment must be provided by the tenderer during the warranty period,
if the defect is rectified later than within 21 days, the warranty period shall run from the beginning when the defect has been rectified,
replacement with new equipment: if the repair within the warranty period lasts more than 45 days from the reporting of the defect, the tenderer undertakes to replace the equipment with the same new one within 4 weeks.
no
no
no
no
no
no
no
yes
yes
yes
yes
yes
yes
yes
no
yes
no
yes
no
yes

## Splošni pogoji
Splošni pogoji - INKUBATOR S STRESALNIKI ZA ALGE - 1 kos |  | DA / NE
Garancijsko obdobje opreme:
24 mesecev.
Po-garancijsko vzdrževanje je lahko omogočeno vsaj za čas življenjske dobe opreme.
Inštalacija opreme:
izvede se s strani ponudnika na lokaciji NIB, Večna pot 111, Ljubljana.
Transport opreme do mesta inštalacije, kar vključuje tudi vnos opreme v laboratorij.
Usposabljanje kadra naročnika za delo z opremo na lokaciji naročnika v trajanju najmanj 2 ur:
Usposabljanje naj bo izvedeno v enem dnevu (ob priporočilu proizvajalca lahko več).
Usposabljanje bo omogočeno za vsaj 5 uporabnikov in bo izvedeno za vse uporabnike hkrati.
Priložiti teste, certifikate, navodila za obratovanje in vzdrževanje oz. delovna navodila za uporabo opreme, programsko opremo
ter morebitno ostalo dokumentacijo.
Servis in rezervni deli:
storitve za vso ponujeno opremo mora ponudnik zagotoviti v garancijskem obdobju,
če se pomanjkljivost odpravi kasneje kot v 21 dneh, začne garancijski rok teči od začetka, ko je napaka odpravljena,
zamenjava z novo opremo: v kolikor popravilo v garancijskem roku traja nad 45 dni od prijave napake, se ponudnik zaveže opremo zamenjati z enako novo v roku 4 tednov.
ne
ne
ne
ne
ne
ne
ne
da
da
da
da
da
da
da
ne
da
ne
da
ne
da