Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS

OF THE OFFERED EQUIPMENT

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: Purchase of a system for working with semiconductor photonic and other slices – Lot 1

Designation of the public procurement: 302/20 – RIUM8-FERI03.5/2020

| Is the tenderer also the manufacturer of the offered equipment? | YES ☐ | NO ☐* |
| --- | --- | --- |
| *If the answer is NO, enter the equipment manufacturer's name and address: |  |  |

INSTRUCTIONS:

- This Annex No. 2 must be completed and signed. The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements.

- The tenderer shall upload this Annex No. 2 to the e-JN information system in the section “Other Attachments”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled " Purchase of a system for working with semiconductor photonic and other slices – Lot 1", and that we are ready to realize the order according to the following specification:

| EQUIPMENT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  |  | DATASHEET |
| 1 | Photolithographic system |  |  |  |  |
|  | 1.st: Spin coater |  |  |  |  |
|  | - Maximum dimensions (WxDxH): 360 x 450 x 450 mm3 | - YES | - NO |  |  |
|  | - Spinner module for wafers up to 200 mm round or up to 150 mm square substrates | - YES | - NO |  |  |
|  | - Vacuum chuck with centering pins for 4” wafers | - YES | - NO |  |  |
|  | - Vacuum chuck with centering pins for laboratory slides 75x25 mm | - YES | - NO |  |  |
|  | - Vacuum chuck for pieces of small dimensions for sample size diameter 12 mm or larger | - YES | - NO |  |  |
|  | - Controlling system with GUI | - YES | - NO |  |  |
|  | - Bowl cover made of safety glass | - YES | - NO |  |  |
|  | - Process bowl | - YES | - NO |  |  |
|  | - Digital vacuum gauge | - YES | - NO |  |  |
|  | - Waste bottle: volume ≥ 0.5l | - YES | - NO |  |  |
|  | - Cover open interlock | - YES | - NO |  |  |
|  | - Speed: programable speed setting from at least 50 rpm to max. 8000 rpm (tolerance +/- 1 rpm) | - YES | - NO |  |  |
|  | - Max. acceleration ≥ 4000 rpm/s | - YES | - NO |  |  |
|  | - Spinning time: Programmable from at least 1s to at least 999 s | - YES | - NO |  |  |
|  | - At least 150 recipes | - YES | - NO |  |  |
|  | - Exhaust connection | - YES | - NO |  |  |
|  | - Cover with Support of additional capabilities | Center and edge coating | ☐YES | ☐NO |  |
|  |  | Edge Bead Removal (EBR) | ☐YES | ☐NO |  |
|  |  | Nitrogen drying | ☐YES | ☐NO |  |
|  |  | DI water rinse | ☐YES | ☐NO |  |
|  |  | Developer dispense option | ☐YES | ☐NO |  |
|  | 2.nd: Hotplate |  |  |  |  |
|  | - Maximum dimensions (WxDxH): 380x470x630 mm3 | - YES | - NO |  |  |
|  | - Tabletop hot plate for wafer from Ø 2'' up to 200 mm minimum or substrates up to 6'' x 6'' minimum | ☐YES | ☐NO |  |  |
|  | - Lifting pins for substrate handling with micrometer resolution | - YES | - NO |  |  |
|  | - Temperature range: 60 ≥ T ≥ 250 °C | - YES | - NO |  |  |
|  | - Temperature uniformity: Max.: +/- 1 % | - YES | - NO |  |  |
|  | - Controller with touch panel | - YES | - NO |  |  |
|  | - Number of recipes: ≥ 150 | - YES | - NO |  |  |
|  | - Number of steps per recipe: ≥ 40 | - YES | - NO |  |  |
|  | - Programmable temperature ramps: ≥ 10°C/min (heating) | - YES | - NO |  |  |
|  | - 230 VAC power supply with EU power plug | - YES | - NO |  |  |

| Place and date: | Stamp: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1 of the Operational Program for Implementation of the European Cohesion Policy 2014–2020: “International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy”, priority investment 1.1 “Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance”, specific objective 1.1.1 “Efficient use of research infrastructure and development of knowledge/competences for better national and international cooperation in the knowledge triangle”.

The tenderer must indicate the actual technical specifications of the equipment offered in accordance with all requirements.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.