Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS

OF THE OFFERED EQUIPMENT

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: Purchase of a system for working with semiconductor photonic and other slices – Lot 4

Designation of the public procurement: 302/20 – RIUM8-FERI03.5/2020

| Is the tenderer also the manufacturer of the offered equipment? | YES ☐ | NO ☐* |
| --- | --- | --- |
| *If the answer is NO, enter the equipment manufacturer's name and address: |  |  |

INSTRUCTIONS:

- This Annex No. 2 must be completed and signed. The tenderer must indicate the actual technical specifications of the equipment offered in line with all requirements.

- The tenderer shall upload this Annex No. 2 to the e-JN information system in the section “Other Attachments”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled "Purchase of a system for working with semiconductor photonic and other slices – Lot 4", and that we are ready to realize the order according to the following specification:

| EQUIPMENT |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | REQUIREMENTS |  | OFFERED |  |  |  | DATASHEET |
| 1 | Basic properties: |  |  |  |  |  |  |
|  | - Wire bonder size: Bench Top |  | - YES |  | - NO |  |  |
|  | - Type: Semi-Automatic |  | - YES |  | - NO |  |  |
|  | - System size ≤ 70x70x55 cm (width, depth, height) |  | Width: _______________ cm, Depth: _______________ cm, Height: _______________ cm |  |  |  |  |
|  | - 210 to 230 VAC power supply with EU power plug |  | - YES |  | - NO |  |  |
|  | - Weight of the system ≤ 45 kg |  | e) Weight: _________________ kg |  |  |  |  |
|  | - Touch screen display ≥ 6” with user interface. |  | - YES |  | - NO |  |  |
|  | Magnifying system: |  |  |  |  |  |  |
|  | - Stereomicroscope or digital microscope with screen. |  | - YES |  | - NO |  |  |
|  | - Light illumination of the sample |  | - YES |  | - NO |  |  |
|  | Bonding parameters: |  |  |  |  |  |  |
|  | - Must support gold and aluminum wire |  | - YES |  | - NO |  |  |
|  | - wire diameters between 17 and 75 µm |  | - YES |  | - NO |  |  |
|  | - One bond head for Wedge and ball bond tools (wedge and capillary |  | - YES |  | - NO |  |  |
|  | - Includes tools for wedge bonds. |  | - YES |  | - NO |  |  |
|  | - Includes tools for ball bonds. |  | - YES |  | - NO |  |  |
|  | - Deep access wiring |  | - YES |  | - NO |  |  |
|  |  |  | Bonding depth ≥ 9 mm |  | Depth: _________________ mm |  |  |
|  | - Programmable loop profiles |  | - YES |  | - NO |  |  |
|  | - Storage of loop profiles |  | - YES |  | - NO |  |  |
|  | Positioning parameters: |  |  |  |  |  |  |
|  | - Motorized Z and Y axis. |  | - YES |  | - NO |  |  |
|  | - Motorized Z-axis movement ≥ 12 mm |  | Z-axis movement: ________________ mm |  |  |  |  |
|  | - Motorized Y-axis movement ≥ 10 mm |  | Y-axis movement: ________________ mm |  |  |  |  |
|  | Workpiece stage: |  |  |  |  |  |  |
|  | - Stage dimensions: ≥ 50x50 mm or diameter ≥ 50 mm |  | Dimensions: ________________ x ________________ mm or diameter: ________________ mm |  |  |  |  |
|  | - Clamping width ≥ 35 mm. |  | Width: ________________ mm |  |  |  |  |
|  | - Regulated temperature |  | - YES |  | - NO |  |  |
|  | - Max temperature ≤ 250 °C |  | Max. Temperature: ________________ °C |  |  |  |  |
|  | - Adjustable height ≥ 15 mm |  | Height: ________________ mm |  |  |  |  |
|  | Ultrasonic System: |  |  |  |  |  |  |
|  | - An ultrasonic system with frequency between 60 kHz and 70 kHz. |  | Frequency: ________________ kHz |  |  |  |  |
|  | - Maximum ultrasonic power ≥ 2,5 W |  | Power: _____________________ W |  |  |  |  |
|  | - Maximum bonding time ≥ 1 s |  | Time: ______________ s |  |  |  |  |
|  | - Min. bonding force ≥ 10 cN |  | Force: __________________ cN |  |  |  |  |
|  | - Max bonding force ≤ 250 cN |  | Force: __________________ cN |  |  |  |  |
| Initial consumables and tools: (datasheet not required) |  |  |  |  |  |
| 1x Gold wire 25 um diameter, 100 m length |  | - YES |  | - NO |  |
| 1x Aluminum wire 33 um, 100 m length |  | - YES |  | - NO |  |
| 3x Gold wedge 25 um |  | - YES |  | - NO |  |
| 3x Capillary 25 um, 11 mm long |  | - YES |  | - NO |  |
| 3x Aluminum wedge 33 um |  | - YES |  | - NO |  |
| 25x Unplugging probe needle |  | - YES |  | - NO |  |
| 10x Unplugging tungsten wire |  | - YES |  | - NO |  |

| Place and date: | Stamp: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1 of the Operational Program for Implementation of the European Cohesion Policy 2014–2020: “International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy”, priority investment 1.1 “Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance”, specific objective 1.1.1 “Efficient use of research infrastructure and development of knowledge/competences for better national and international cooperation in the knowledge triangle”.

The tenderer must indicate the actual technical specifications of the equipment offered in accordance with all requirements.

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.