I

| Pos | Number | Quantity |
| --- | --- | --- |
|  | Description |  |
|  | Preventive Maintenance & Retrofitting |  |
|  | 2x Charger & 2x UPS & lx MPS |  |
|  | Material for 2x Charger BDT 220VDC/300A |  |
| 10 | A1033 | 2 |
|  | BDT PS/DR-16 POWER SUPPLY CARD PB133 |  |
| 20 | E0008 | 8 |
|  | FAN 230VAC |  |
|  | Material for 2x UPS S3300-80kVA |  |
| 30 | U1094 | 2 |
|  | POWER SUPPLY IN:220VDC/230VAC OUT:24VDC 30A |  |
| 40 | E0137 | 12 |
|  | FAN LARGE 24VDC S3000 |  |
| 50 | U1089 | 2 |
|  | RECTIFIER CARD PSU 1-PHASE |  |
| 60 | U1150 | 2 |
|  | BACKUP BATTERY FOR S3000 CONTROLLER |  |

Material for 1xMPS24V DC/415A

70 FAN for PSR312 24VdC 									10