Project title: Upgrading National Research Infrastructures – RIUM

COMPLIANCE DECLARATION WITH MINIMUM TECHNICAL REQUIREMENTS

OF THE OFFERED EQUIPMENT

Name of the tenderer:

Address of the tenderer:

Subject of the public procurement: Equipment for refining and reshaping semiconductor, photonic and other slices- Lot 2

LOT 2: Dicing saw

Designation of the public procurement: 302/43 - RIUM83-FERI03.5_P20_20/2022

| Is the tenderer also the manufacturer of the offered equipment? | YES ☐ | NO ☐* |
| --- | --- | --- |
| *If the answer is NO, enter the equipment manufacturer's name and address: |  |  |

INSTRUCTIONS:

- This Annex No. 2 must be completed and signed.The tenderer must mark whether the offered equipment is meeting (or exceeding) the required technical specifications of the offered equipment according to all Contracting Authority’s requirements.

- The tenderer uploads this Attachment No. 2 in Word and PDF format (including the enclosed means of proof for meeting all technical requirements) to the e-JN information system, section “Other attachments”.

We declare that the offered equipment fully meets the minimum technical requirements of the client for the public procurement titled " Equipment for refining and reshaping semiconductor, photonic and other slices – Lot 2", and that we are ready to realize the order according to the following specification:

| EQUIPMENT |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | REQUIREMENTS | OFFERED |  |  |  |  |  |  | DATASHEET |
| 1 | Spindle: |  |  |  |  |  |  |  |  |
|  | - 2 kW spindle with ≤40000 rpm or 1.8 kW spindle with ≤60000 rpm | Power: _____________ kW |  | Revolutions: _____________ rpm |  |  |  |  |  |
|  | - Water-cooled spindle | ☐YES |  |  | ☐NO |  |  |  |  |
|  | Blade: |  |  |  |  |  |  |  |  |
|  | - 2’’ (two inch) blade size | ☐YES |  |  | ☐NO |  |  |  |  |
|  | - Flange for hub blade. | ☐YES |  |  |  | ☐NO |  |  |  |
|  | - Flange for hubbless blade | ☐YES |  |  |  | ☐NO |  |  |  |
|  |  | Outer diameter of 52 mm | ☐YES |  |  |  |  | ☐NO |  |
|  | - System for the Dress of the blade on process chuck table | ☐YES |  |  |  | ☐NO |  |  |  |
|  | - Non-contact blade tip setup to check blade tip position and wear amount during automatic operation | ☐YES |  |  |  | ☐NO |  |  |  |
|  | Turn table: |  |  |  |  |  |  |  |  |
|  | - Degree of rotation ≥320°. | Max rotation: ________________ ° |  |  |  |  |  |  |  |
|  | - Porous ceramic chuck table suitable for 6" wafers. | ☐YES |  |  | ☐NO |  |  |  |  |
|  | Cutting performance: |  |  |  |  |  |  |  |  |
|  | - Cutting range on X-axis: ≥ 155 mm | X-axis cutting range: ________________ mm |  |  |  |  |  |  |  |
|  | - Max X-axis moving (operating) speed: ≥ 750 mm/s | X-axis moving speed: __________________ mm/s |  |  |  |  |  |  |  |
|  | - Max X-axis return speed: ≥ 750 mm/s | X-axis return speed: __________________ mm/s |  |  |  |  |  |  |  |
|  | - Y-axis stroke: ≥ 160 mm | Y-axis stroke: ________________ mm |  |  |  |  |  |  |  |
|  | - Max Y-axis feed speed: ≥ 180 mm/s | Y-axis feed speed: __________________ mm/s |  |  |  |  |  |  |  |
|  | - Y axis accuracy ≤ 5 µm over max range | Accuracy: __________________ µm |  |  |  |  |  |  |  |
|  | - Z axis stroke: ≥ 30 mm | Stroke: ________________ mm |  |  |  |  |  |  |  |
|  | - Z-axis max feed speed: ≥ 80 mm/s | Z-axis feed speed: __________________ mm/s |  |  |  |  |  |  |  |
|  | - Z axis repeatability: ≤1 µm | Repeatability: __________________ µm |  |  |  |  |  |  |  |
|  | Vision System: |  |  |  |  |  |  |  |  |
|  | - Microscope with low magnification | ☐YES |  |  |  | ☐NO |  |  |  |
|  |  | Optical magnification ≤ x4 or magnification on monitor ≤ 40x | Optical magnification: ________________ x |  |  |  |  | Magnification on monitor: ________________ x |  |
|  |  | Auto focus | ☐YES |  |  |  |  | ☐NO |  |
|  | - Microscope with high magnification | ☐YES |  |  |  | ☐NO |  |  |  |
|  |  | Optical magnification ≥ x7 or magnification on monitor ≥ 210x | Optical magnification: ________________ x |  |  |  |  | Magnification on monitor: ________________ x |  |
|  |  | Auto focus | ☐YES |  |  |  |  | ☒NO |  |
|  | - Light illumination during alignment and positioning. | ☐YES |  |  |  | ☐NO |  |  |  |
|  | System size: |  |  |  |  |  |  |  |  |
|  | - Height (including status indicator): ≤ 215 cm. | Height: ________________ cm |  |  |  |  |  |  |  |
|  | - Width: ≤ 50 cm | Width: ________________ cm |  |  |  |  |  |  |  |
|  | - Depth: ≤ 90 cm. | Depth: ________________ cm |  |  |  |  |  |  |  |
|  | User interface and control software: |  |  |  |  |  |  |  |  |
|  | - Graphic user interface with touch panel. | ☐YES |  |  | ☐NO |  |  |  |  |
|  |  | Screen: ≥ 15” | Screen size: ________________ “ |  |  |  |  |  |  |
|  | - Software for control and programing of the machine | ☐YES |  |  | ☐NO |  |  |  |  |
|  |  | Recovery guidance in case of an error | ☐YES |  |  |  |  | ☐NO |  |
|  |  | Storage of more than 3000 cutting data (recepies) | ☐YES |  |  |  |  | ☐NO |  |
|  |  | Machine status indicators | ☐YES |  |  |  |  | ☐NO |  |
|  |  | Kerf Check Function | ☐YES |  |  |  |  | ☐NO |  |
|  |  | Display of blade position during cutting | ☐YES |  |  |  |  | ☐NO |  |
|  | - Automatic operation | ☐YES |  |  | ☐NO |  |  |  |  |
|  |  | Automatic determination of cutting positions | ☐YES |  |  |  |  | ☐NO |  |
|  | - Semi-automatic operation | ☐YES |  |  | ☐NO |  |  |  |  |
|  |  | Feed speed, and height can be set manually for each individual cutting line | ☐YES |  |  |  |  | ☐NO |  |
|  | - USB input for external memory | ☐YES |  |  | ☐NO |  |  |  |  |
|  | - User interface in English language | ☐YES |  |  | ☐NO |  |  |  |  |
|  | Power, air, and water requirements: |  |  |  |  |  |  |  |  |
|  | - Power: 380 VAC, 3-phase | ☐YES |  |  |  |  | ☐NO |  |  |
|  | - Air | Min pressure ≥ 0.5 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Max pressure ≤ 0.8 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Average air consumption ≤ 180 l/min |  |  |  |  | Air consumption: ________________ l/min |  |  |
|  | - Cutting water | Min pressure ≥ 0.2 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Max pressure ≤ 0.5 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Average flow rate ≤ 4 l/min |  |  |  |  | Flow rate: ________________ l/min |  |  |
|  | - Cooling water | Min pressure ≥ 0.2 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Max pressure ≤ 0.5 MPa |  |  |  |  | Pressure: ________________ Mpa |  |  |
|  |  | Flow rate ≤ 2 l/min |  |  |  |  | Flow rate: ________________ l/min |  |  |

| Initial consumables and tools: (datasheet not required) |  |  |
| --- | --- | --- |
| 1x Maintenance tool kit | ☐YES | ☐NO |
| 1x Tools for blade replacement | ☐YES | ☐NO |
| 3x Hub blade suitable for silicon | ☐YES | ☐NO |
| 3x Hubless blade suitable for glass | ☐YES | ☐NO |
| 2x Hub blade suitable for silicon carbide | ☐YES | ☐NO |
| 2x Hub blade suitable for ceramic materials | ☐YES | ☐NO |
| 1x R-Type flange for hubbless blade Φ52 | ☐YES | ☐NO |
| 1x Tooling for R-Type flange | ☐YES | ☐NO |
| 10x Dresser boards | ☐YES | ☐NO |
| 5x 6" frames for chuck table | ☐YES | ☐NO |
| 1x At least 20 m tape roll for workpiece fixation | ☐YES | ☐NO |

| Place and date: | Stamp: | Authorized signature: |
| --- | --- | --- |

The operation is co-financed by the Republic of Slovenia, Ministry of Education, Science and Sport and the European Union from the European Regional Development Fund. The operation is carried out under priority axis 1 of the Operational Program for Implementation of the European Cohesion Policy 2014–2020: “International competitiveness of research, innovation and technological development, in line with smart specialization for increased competitiveness and greening of the economy”, priority investment 1.1 “Strengthening R&D infrastructure and capacity to develop excellence in this and the promotion of competent centers, especially those of European importance”, specific objective 1.1.1 “Efficient use of research infrastructure and development of knowledge/competences for better national and international cooperation in the knowledge triangle”.

The tenderer must mark whether the offered equipment is meeting (or exceeding) the required technical specifications of the offered equipment according to all Contracting Authority’s requirements..

The tenderer must give the name of the attached catalogue or brochure of the equipment manufacturer and the page number(s), together with the relevant technical specification. In exceptional cases, the tenderer may also provide a link to the equipment manufacturer's website with the relevant technical specification. Where a link to the online document is provided, the tenderer shall indicate a page number, indicating the relevant technical specification.