## Rekapitulacija
SKUPNA REKAPITULACIJA
BLAGO
I. Blago 1 /Sklop 1: Optomehanske komponente (Optomechanical components) | 0
II. Blago 2 /Sklop 2: Splošna optična oprema (General Optics Equipment) | 0
III. Blago 3 /Sklop 3: Svetlobni viri (Light sources) | 0
IV. Blago 4 /Sklop 4: Detektorji (detectors) | 0
Skupaj: | 0

## Blago 1
SPECIFIKACIJA BLAGA 1 /Sklop 1: Optomehanske komponente (Optomechanical components)
postavka | natančnejši opis postavke | enota | (Predvidena) količina | Cena na enoto (brez DDV v EUR) | Skupaj (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR)
Nabava Blaga 1 | Mounting Base, 25mm x 10mm | kos | 1 |  |  | 22%
Nabava Blaga 1 | Breadboard 200 mm x 200 mm x 12.7 mm 40 x 24 x 5 cm | kos | 1 |  |  | 22%
Nabava Blaga 1 | Breadboard 150 mm x 150 mm x 12.7 mm 26 x 20 x 2 cm | kos | 1 |  |  | 22%
Nabava Blaga 1 | Aluminium Breadboard 300 x 100 x 12.7mm M6/25mm 45 x 19 x 5 cm | kos | 1 |  |  | 22%
Nabava Blaga 1 | Breadboard 100 mm x 150 mm x 12.7 mm 26 x 20 x 2 cm | kos | 1 |  |  | 22%
| Lens mount for 25.4mm optic | kos | 2 |  |  | 22%
| Stackable lens mount for 1" optic-usable depth 1/2 | kos | 2 |  |  | 22%
| Stackable Lens Mount For 1" Optic-Usable Depth 2 | kos | 2 |  |  | 22%
| Metric Base Plate for PT Seires | kos | 1 |  |  | 22%
| Motorized 1" Translation Stage | kos | 1 |  |  | 22%
| M27 X 0.5 Ext to SM1 Int Adapter | kos | 1 |  |  | 22%
| 1" Stackable Lens Tube | kos | 1 |  |  | 22%
| SM1 Lens Tube Coupler, 3.0" Long | kos | 2 |  |  | 22%
| Kinesis Brushed Motor Controller | kos | 1 |  |  | 22%
| Stackable 2.50” Lens tube | kos | 2 |  |  | 22%
| Mounting Base, 25mm x 10mm Pack of 5 | kos | 4 |  |  | 22%
| Mounting Base, 50mm x 75mm x 10mm Pack of 5 | kos | 2 |  |  | 22%
| Mounting Base, 25mm x 75mm x 10mm Pack of 5 | kos | 8 |  |  | 22%
| 1/2" Stackable Lens Tube, 0.5" | kos | 5 |  |  | 22%
| Stackable 1/2 inch LensTube, 1" | kos | 5 |  |  | 22%
| Kinematic Mirror Mount for inch Optics | kos | 10 |  |  | 22%
| Kinematic Mirror Mount For 2 inch Optics | kos | 4 |  |  | 22%
| 0.50 SM1 Lens Tube, 5 pack | kos | 1 |  |  | 22%
| Metric Lens mounting ring for 1" dia optic, 5 pack | kos | 1 |  |  | 22%
| Metric 30.0mm Cage Plate to M9 Lens Adapter | kos | 1 |  |  | 22%
| TTN010247, Extension Rod 2 inch, Pack of 4 | kos | 3 |  |  | 22%
| Metric Threaded Cage Plate | kos | 5 |  |  | 22%
| TTN010249, Extension Rod 4 inch, Pack of 4 | kos | 1 |  |  | 22%
| TTN010250, Extension Rod 6 inch, Pack of 4 | kos | 1 |  |  | 22%
| Lens mount for 12.7mm optic | kos | 2 |  |  | 22%
| Ø25.0mm X 50.0 mm Pedestal Pillar Post, M4 x 0.7 | kos | 20 |  |  | 22%
| Ø25.0mm X 50.0 mm Pedestal Pillar Post, M4 x 0.7 | kos | 20 |  |  | 22%
| 50mm Metric Post Holder Pack of 5 | kos | 2 |  |  | 22%
| 50mm Metric Post Holder Pack of 5 | kos | 8 |  |  | 22%
| 1.00 SM1 Lens Tube, 5 Pack | kos | 1 |  |  | 22%
| OD 15.0mm,ID 9mm, 3.2mm thick ring chips with wires,150V | kos | 2 |  |  | 22%
| Ø1.0" X 12.5 mm Pedestal Pillar Post, M4 x 0.7 | kos | 10 |  |  | 22%
| Ø1.0" X 19.0 mm Pedestal Pillar Post, M4 x 0.7 | kos | 20 |  |  | 22%
| Ø25 mm X 25.0 mm Pedestal Pillar Post, M4 x 0.7 | kos | 10 |  |  | 22%
| TTN043755, Small Univ. Clamping Fork. 1.24” counterbored slot, 5 pack | kos | 3 |  |  | 22%
| Large Univ. Clamping Fork. 1.76” counterbored slot, 5 pack | kos | 3 |  |  | 22%
| TTN109873, Compact clamping fork, 0.375in slot, pack of 5 | kos | 2 |  |  | 22%
| Clamp 'L' shape 0.68" x 0.75", 5 Pack Quantity : 6.00 | kos | 6 |  |  | 22%
| 20mm Metric Post Holder Pack of 5 Quantity : 2.00 | kos | 2 |  |  | 22%
| 40mm Metric Post Holder Pack of 5 Quantity : 8.00 | kos | 8 |  |  | 22%
| 75mm Metric Post Holder Pack of 5 Quantity : 8.00 Delivery Note No. : MP22248962 Ship Date : 2/14/2022 Commodity: 9033 0090 Country of Origin: USA EU Control: Not-Listed ECCN: EAR99 RoHS: A (compliant 2011/65/EU) | kos | 8 |  |  | 22%
| 150mm Metric Post Holder | kos | 20 |  |  | 22%
| 12.7mm Dia . 30mm Long: Pack of 5 Post | kos | 6 |  |  | 22%
| 12.7mm Dia . 40mm Long: Pack of 5 Post | kos | 4 |  |  | 22%
| 12.7mm Dia . 50mm Long: Pack of 5 Post | kos | 4 |  |  | 22%
| 12.7mm Dia . 150mm Long: Pack of 5 Post | kos | 4 |  |  | 22%
| 0347-001 Rev E, Post 12.7mm x 250mm with SS4MS12-1 | kos | 20 |  |  | 22%
| Metric Right Angle Post Clamp, 5 pack | kos | 4 |  |  | 22%
| M4 to M6 Threaded Adapter | kos | 50 |  |  | 22%
| SM1 FC/APC Adapter | kos | 10 |  |  | 22%
| Laser Safety Screen Straight 12" x 12" | kos | 10 |  |  | 22%
| Laser Safety Screen Straight 24" x 12" | kos | 5 |  |  | 22%
| Beam block: active area 19mm x 38mm | kos | 4 |  |  | 22%
SKUPAJ PONUDBENA CENA (z DDV)

## Blago 2
SPECIFIKACIJA BLAGA 2 /Sklop 2: Splošna optična oprema (General Optics Equipment)
postavka | natančnejši opis postavke | enota | (Predvidena) količina | Cena na enoto (brez DDV v EUR) | Skupaj (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR)
Delo Blaga 2 | Bandpass Filter, CWL = 850, FWHM = 10 | kos | 1 |  |  | 22%
Delo Blaga 2 | Bandpass Filter, CWL = 650, FWHM = 10 | kos | 1 |  |  | 22%
Delo Blaga 2 | D=25.4 F=150.0 N-BK7 Plano Convex Lens | kos | 2 |  |  | 22%
Delo Blaga 2 | NA=0.79, Ø25.4mm, F=16mm, B270 Asph Condenser, Uncoated | kos | 2 |  |  | 22%
Delo Blaga 2 | 15 V, 2.4 A Power Supply Unit for One K-Cube or T-Cube | kos | 1 |  |  | 22%
Delo Blaga 2 | D=25.4 F=50.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
Delo Blaga 2 | D=25.4 F=125.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=150.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=175.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=400.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=100.0 N-BK7 B Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=75.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=75.0 N-BK7 B Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=25.4 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=200.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=25.4 N-BK7 C Coated Plano Convex Lens | kos | 5 |  |  | 22%
| Ø50.8mm Mirror, Protected Silver | kos | 4 |  |  | 22%
| 700-1100nm Broadband Beam Splitter Cube | kos | 2 |  |  | 22%
| 1100-1600nm Broadband Beam Splitter Cube | kos | 2 |  |  | 22%
| 10 Pack of Ø1" Protected Silver Mirror | kos | 1 |  |  | 22%
| D-1.0 Mounted NIR Absorptive Neutral Density Filter | kos | 3 |  |  | 22%
| D-2.0 Mounted NIR Absorptive Neutral Density Filter | kos | 3 |  |  | 22%
| D-3.0 Mounted NIR Absorptive Neutral Density Filter | kos | 3 |  |  | 22%
| Ø2.5 mm Single Mode (FC/PC, SC/PC, or ST®/PC) Ceramic Ferrule, Ø126 µm Bore Size (10 Pack) | kos | 4 |  |  | 22%
| Mounted Ø=6.33mm, f=4.51mm, NA=0.55 DZLaF52LA Asphere,-A | kos | 1 |  |  | 22%
| Bandpass Filter, CWL = 1310, FWHM = 12 | kos | 1 |  |  | 22%
| Mounted Ø1" N-BK7 Plano-Convex Lens, f = 40 mm, -A Coated | kos | 1 |  |  | 22%
| 400-700nm Broadband Beam Splitter Cube 20mmX20mmX20mm | kos | 1 |  |  | 22%
| Mounted UVFS Plano-Convex Lens, Ø1" , f = 75mm, -C | kos | 5 |  |  | 22%
| 50 MC-5 Lens Tissue in a Closeable Box | kos | 1 |  |  | 22%
| D-1.0 Mounted NIR Absorptive Neutral Density Filter | kos | 2 |  |  | 22%
| Premium Bandpass Filter, CWL: 1550nm, FWHM: 30nm | kos | 1 |  |  | 22%
| 30mm Cage Mounted Non-Pol BS Cube 50:50 400-700nm, M4 Tap | kos | 1 |  |  | 22%
| FC/APC to FC/APC Mating Sleeve, Narrow Key (2.0mm), D-Hole | kos | 20 |  |  | 22%
| Ø12.7 mm Concave Mirror, f=50.0mm, -E03 Coated, Back Polish | kos | 2 |  |  | 22%
| Fiber Collimation Package λ=532nm, f=10,90 mm. FC/APC | kos | 2 |  |  | 22%
| D=25.4 F=100.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=50.0 N-BK7 B Coated Plano Convex Lens | kos | 2 |  |  | 22%
| D=25.4 F=250.0 N-BK7 A Coated Plano Convex Lens | kos | 2 |  |  | 22%
| Fiber Collimation Package λ=1310nm, f=11,26 mm. FC/APC | kos | 5 |  |  | 22%
| KURIOS-XL1/M - Tunable Filter, Fixed Narrow Bandpass, Ø35 mm CA, 430 - 730 nm, M4 Taps | kos | 1 |  |  | 22%
SKUPAJ PONUDBENA CENA (z DDV) | [6 empty] | 0

## Blago 3
SPECIFIKACIJA BLAGA 3 /Sklop 3: Svetlobni viri (Light sources)
postavka | natančnejši opis postavke | enota | (Predvidena) količina | Cena na enoto (brez DDV v EUR) | Skupaj (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR)
Delo Blaga 3 | Benchtop Laser Photo Diode Amplifier REACH: SVHC MULT | kos | 1 |  |  | 22%
Delo Blaga 3 | LD and TEC controller | kos | 2 |  |  | 22%
Delo Blaga 3 | 2-slot modular benchtop chassis | kos | 1 |  |  | 22%
Delo Blaga 3 | LD and TEC controller | kos | 4 |  |  | 22%
Delo Blaga 3 | 8-slot modular benchtop chassis | kos | 1 |  |  | 22%

## Blago 4
SPECIFIKACIJA BLAGA 4 /Sklop 4: Detektorji (detectors)
postavka | natančnejši opis postavke | enota | (Predvidena) količina | Cena na enoto (brez DDV v EUR) | Skupaj (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR)
Delo Blaga 3 | 25mm EFL, F/1.4 w/Lock | kos | 1 |  |  | 22% | 0
Delo Blaga 3 | EUR Adapter for BG0273 | kos | 1 |  |  | 22%
Delo Blaga 3 | Z8 Series Extension cable 2.5m | kos | 1 |  |  | 22%
Delo Blaga 3 | Si, 350-1100 nm, 12 MHz BW, 13 mm2, Switchable Gain | kos | 1 |  |  | 22%
Delo Blaga 3 | Pockels Cell Driver EU Control | kos | 1 |  |  | 22%
| Benchtop Laser Photo Diode Amplifier REACH: SVHC MULT | kos | 2 |  |  | 22%
| SM05 Mounted Si-Photodiode, A-Type, 320-1100nm | kos | 2 |  |  | 22%
| SM05 Mounted Si-Photodiode, 350-1100nm, REACH: SVHC TBD | kos | 1 |  |  | 22%
SKUPAJ PONUDBENA CENA (z DDV)