## 1. KEMIKALIJE IN REAGENTI
SKLOP 1: KEMIKALIJE IN REAGENTI
IZPOLNI PONUDNIK
Zap. št. | Oznaka A/R | ARTIKEL | CAS številka | Zahtevana Kat. št. | Kot na primer Kat. št. | Največja enota pakiranja | (Predvidena) letna količina | ZAHTEVA: Proizvajalec mora biti akreditiran po ISO 17034 | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | R | (+)-Cyclosativene, 99% | 22469-52-9 |  | 448559 Sigma-Aldrich | 100 mg | 100 mg
2 | A | (+)-y-Tocopherol analytical standard, ampule of 25 mg | 54-28-4 | Supelco 47785 |  | ampule po 25 mg | 2 ampuli | DA
3 | R | (+)-α-Pinene, analytical standard, Synonym: (1R,5R)-2-Pinene, (1R,5R)-2,6,6-Trimethylbicyclo[3.1.1]hept-2-ene | 7785-70-8 |  | 80605 Supelco | 1 mL | 1 mL
4 | R | (±)-2-Octanol, analytical standard, Synonym: Hexyl methyl carbinol | 123-96-6 |  | 42277 Supelco | 1 mL | 1 mL
5 | R | (E)-2-decenal, oz. trans-2-decenal, analytical standard | 3913-81-3 |  | 91309 Supelco | 1 mL | 5 mL
6 | R | (E,E)-2,4-hexadienal, oz. trans, trans-2,4-hexadienal, analytical standard, Synonym: Sorbaldehyde, Sorbic aldehyde | 142-83-6 |  | 74198 Supelco | 1 mL | 5 mL
7 | R | (R)-(+)-Limonene ≥93% Synonym(s): (R)-(+)-Limonene, (+)-p-Mentha-1,8-diene, (+)-Carvene, (R)-4-Isopropenyl-1-methyl-1-cyclohexene | 5989-27-5 |  | W263303-SAMPLE-K Sigma-Aldrich | sample | sample
8 | R | 1-(2-METHOXYPHENYL)PIPERAZINE, 98% | 35386-24-4 |  | M22601 Sigma-Aldrich | 5 g | 5 g
9 | R | 1,1,2,2,-Tetrachloroethane, 1,1,2,2-Tetrachloroethane for synthesis. Molar mass 167.85 g/mol. | 79-34-5 |  | 8.43948 Sigma-Aldrich | 250 ml | 250 ml
10 | R | 1,2,3,6-Tetrahydropyridine, 97% | 694-05-3 |  | 134759 Sigma-Aldrich | 1 g | 1 g
11 | R | 1,3-Dinonadecanoin, čistost ≥95%, analytical standard Synonym: 1,3-Dinonadecanoylglycerol, 1,3-Dinonadecanoyl-rac-glycerol, DG(19:0/0:0/19:0) [rac], Glyceryl dinonadecanoate | 372490-74-9 |  | 68633 Supelco | 25 mL | 100 mg
12 | R | 1,7-Octadiene, 98% | 3710-30-3 |  | O2501 Sigma-Aldrich | 100 g | 100 g
13 | R | 1-Butanol, 1-Butanol for liquid chromatography LiChrosolv®. CAS 71-36-3, chemical formula CH₃(CH₂)₃OH.Synonym: Butan-1-ol, n-Butyl alcohol, BuOH, Butan-1-ol, n-Butyl alcohol, BuOH | 71-36-3 |  | 1.01988 Supelco | 1 L | 1 L
14 | R | 1-Decene, analytical standard | 872-05-9 |  | 30649 Supelco | 5 mL | 5 mL
15 | R | 1-Docosanol 98%, Synonym: Behenyl alcohol | 661-19-8 |  | 169102 Sigma-Aldrich | 50 g | 50 g
16 | A | 1-Eicosanol, čistost ~98% ali boljša | 629-96-9 |  | 234494 Sigma Aldrich | 5 g | 15 g | DA
17 | R | 1-Heptacosanol, approx. 98 % | 2004-39-9 |  | H6764 Sigma Aldrich | 100 mg | 100 mg
18 | R | 1-Heptanol, analytical standard, Synonym: Heptyl alcohol | 111-70-6 |  | 72954 Supelco | 1 mL | 2 mL
19 | R | 1-Hexacosanol, ≥97% (capillary GC), Synonym: Ceryl alcohol, Hexacosyl alcohol | 506-52-5 |  | H2139 Sigma-Aldrich | 250 mg | 250 mg
20 | R | 1-Hexanol, analytical standard, Synonym: Hexyl alcohol | 111-27-3 |  | 73117 Supelco | 1 mL | 5 mL
21 | R | 1-Nonanol, 98%, Synonym: Alcohol C9, Nonyl alcohol | 143-08-8 |  | 131210 Sigma-Aldrich | 100 mL | 100 mL
22 | R | 1-Octacosanol, ≥99% (GC) | 557-61-9 |  | O3379 Sigma-Aldrich | 1 g | 1 g
23 | R | 1-Octanol, analytical standard, Synonym: Alcohol C8, Capryl alcohol, Octyl alcohol, | 111-87-5 |  | 95446 Supelco | 1 mL | 2 mL
24 | R | 1-Octanol, analytical standard, Synonym: Alcohol C8, Capryl alcohol, Octyl alcohol, | 111-87-5 |  | 95446 Supelco | 1 mL | 1 mL
25 | R | 1-Octen-3-ol, ≥98%, FCC, FG, Synonym: Pentyl vinyl carbinol | 3391-86-4 |  | W280518 Sigma-Aldrich | sample | sample
26 | R | 1-Octen-3-one, 96% | 4312-99-6 |  | 777064 Sigma Aldrich | 1g | 2 g
27 | R | 1-Pentanol, puriss. p.a., ACS reagent, ≥99.0% (GC), Synonym: n-Amyl alcohol, Pentyl alcohol | 71-41-0 |  | 76929 Sigma-Aldrich | 250 ml | 250 ml
28 | R | 1-Penten-3-ol, 99%, Synonym: Ethyl vinyl carbinol | 616-25-1 |  | P8602 Sigma-Aldrich | 5 g | 5 g
29 | R | 1-Penten-3-one, contains ~0.1% BHT as stabilizer, analytical standard, Synonym: Ethyl vinyl ketone | 1629-58-9 |  | 76723 Supelco | 1 mL | 2 mL
30 | R | 1-Propanol, for analysis EMSURE® ACS,Reag. Ph Eur, Synonym: n-Propyl alcohol, Propan-1-ol | 71-23-8 |  | 1.00997 Supelco ali 33538 Honeywell Riedel de Haen | 1 L | 1 L
31 | R | 1-Triacontanol, ≥98% (capillary GC), Synonym: 1-Hydroxytriacontane, Melissyl alcohol | 593-50-0 |  | T-3777 Sigma-Aldrich | 100 mg | 1 g
32 | R | 1-TRICOSANOL | 450350 |  | T9524 Sigma Aldrich | 50 mg | 50 mg
33 | A | 2-(4-hydroxyphenyl)ethanol, (tyrosol), čistost ≥97% | 501-94-0 |  | 188255 Sigma Aldrich | 5 g | 20 g | DA
34 | R | 2,2,3,3-Tetramethylbutane, ≥94%, Synonym: Hexamethylethane, NSC 62039 | 594-82-1 |  | 540846 Sigma-Aldrich | 1 g | 1 g
35 | A | 2,2,4-Trimethylpentane, Assay (GC) min. 99 % Non-volatile matter max. 0.0005 % Water (Karl Fischer) max. 0.01 % Suitability for residue analysis max. 5 ng/L | 540-84-1 | 34499 Honeywell Riedel de Haen |  | 1 L ali 2,5 L | 30 L
36 | R | 2,3,5,6-Tetramethylpyrazine, 98% | 1124-11-4 |  | 183938 Sigma-Aldrich | 25 g | 25 g
37 | R | 2,3,5-Trimethylpyrazine, ≥99%, FCC, FG, Synonym: Potato pyrazine | 14667-55-1 |  | W324418 Sigma-Aldrich | sample | sample
38 | R | 2,3-Butanediol, analytical standard, mixture of racemic and meso forms. Synonym: 2,3-Butylene glycol | 513-85-9 |  | 42038 Supelco | 250 mg | 250 mg
39 | R | 2,3-Butanedione, 97%, Synonym: Biacetyl, Diacetyl | 431-03-8 |  | B85307 Sigma-Aldrich | 5 mL | 5 mL
40 | R | 2,3-Dimethylpyrazine, 99% | 5910-89-4 |  | 199400 Sigma-Aldrich | 10 g | 10 g
41 | R | 2,5-Dimethylpyrazine, ≥98%, FG | 123-32-0 |  | W327204 Sigma-Aldrich | sample | sample
42 | R | 2,6-Dimethylpyrazine, ≥98%, FG | 108-50-9 |  | W327301 Sigma-Aldrich | sample | sample
43 | A | 2,7-diklorofluorescein, ~90% (TLC), crystalline | 76-54-0 |  | D6665 Sigma Aldrich | 5 g | 10 g
44 | R | 2-Acetylpyrrole, ReagentPlus®, 99%, Synonym: Methyl 2-pyrrolyl ketone | 1072-83-9 |  | 247359 Sigma-Aldrich | 5 g | 5 g
45 | R | 2-Butanol, for analysis EMSURE®, Synonym: sec-Butyl alcohol | 78-92-2 |  | 1.09630 Supelco | 1 L | 1 L
46 | R | 2-Butanone, analytical standard, Synonym: Ethyl methyl ketone, MEK, Methyl ethyl ketone | 78-93-3 |  | 02469 Supelco | 5 mL | 5 mL
47 | R | 2-Ethyl-1-hexanol, analytical standard, Synonym: Isooctyl alcohol | 104-76-7 |  | 08607 Supelco | 1 mL | 1 mL
48 | R | 2-Heptanol, analytical standard, Synonym: Methyl pentyl carbinol | 543-49-7 |  | 55587 Supelco | 1 mL | 2 mL
49 | R | 2-heptenal, (E) ali trans 2-heptenal, ≥95%, stabilized, FG, Synonym: (E)-2-Heptenal | 18829-55-5 |  | W316504 Sigma Aldrich | 200 g | 200 g
50 | R | 2-Hexanol, 99%, Synonym: (±)-2-Hexanol, Butyl methyl carbinol | 626-93-7 |  | 128570 Sigma-Aldrich | 25 g | 25 g
51 | R | 2-Hexen-1-ol, (E) ali trans-2-hexenol | 928-95-0 |  | 132667 Sigma-Aldrich | 25 g | 75 g
52 | R | 2-Hexenal, (E) ali trans -2-hexenal, 98% | 6728-26-3 |  | 132659 Sigma-Aldrich | 25 g | 75 g
53 | A | 2-hydroxycinnamic acid, predominantly trans, 97%, Synonym: o-Coumaric acid, trans-2-Hydroxycinnamic acid | 614-60-8 |  | H22809 Sigma Aldrich | 5 g | 10 g
54 | R | 2-Isobutyl-3-methoxypyrazine, analytical standard | 24683-00-9 |  | 06224 Supelco | 1 mL | 1 mL
55 | R | 2-Isopropyl-3-methoxypyrazine, 97% | 25773-40-4 |  | 243132 Sigma-Aldrich | 1g | 1g
56 | R | 2-Mercaptoethanol, ≥99.0%, (Synonym(s): β-Mercaptoethanol, 2-Hydroxyethylmercaptan, BME, Thioethylene glycol | 60-24-2 |  | M6250-100ML Sigma-Aldrich | 100 mL | 100 mL
57 | R | 2-methyl furan (stabilised) for synthesis, molar mass 82.10 g/mol | 534-22-5 |  | 8.207980250 Sigma Aldrich | 250 mL | 500 mL
58 | R | 2-Methyl-1-butanol, analytical standard | 137-32-6 |  | 52566 Supelco | 1 mL | 1 mL
59 | R | 2-Methyl-1-propanol, analytical standard, Synonym: Isobutanol, Isobutyl alcohol, | 78-83-1 |  | 82059 Supelco | 1 mL | 1 mL
60 | R | 2-Methylbutyraldehyde, analytical standard | 96-17-3 |  | 61904 Supelco | 100 mg | 100 mg
61 | R | 2-Methylfuran, analytical standard, Synonym: Silvan | 534-22-5 |  | 39587 Supelco | 1 mL | 1 mL
62 | R | 2-Methylpyrazine, ≥99% | 109-08-0 |  | M75608 Sigma-Aldrich | 25 g | 25 g
63 | R | 2-Nonanone, ≥99%, Synonym: Heptyl methyl ketone | 821-55-6 |  | 108731 Sigma-Aldrich | 5 g | 5 g
64 | R | 2-Octanone, ≥99.5%, analytical standard, Synonym: Hexyl methyl ketone | 111-13-7 |  | 02479 Supelco | 1 mL | 2 mL
65 | R | 2-Pentanol, analytical standard, Synonym: (±)-2-Pentanol, sec-Pentyl alcohol, Methyl propyl carbinol | 6032-29-7 |  | 44759 Supelco | 1 mL | 1 mL
66 | R | 2-Pentanone, ≥98%, FCC, FG, Synonym: Methyl propyl ketone | 107-87-9 |  | W284203 Sigma-Aldrich | sample | sample
67 | A | 2-propanol (izopropanol) p.a. ACS reagent, reag. ISO, reag. Ph. Eur., čistost ≥ 99,8% | 67-63-0 | 33539 Honeywell ali 33539-M Sigma Aldrich |  | 1 ali 2,5 L | 15 L
68 | R | 3-(Methylthio)propionaldehyde, 96%, Synonym: 3-(Methylmercapto)propionaldehyde, 3-(Methylthio)propanal, Methional, NSC 15874 | 3268-49-3 |  | 277460 Sigma-Aldrich | 5 mL | 5 mL
69 | R | 3,4-Dihydroxybenzoic acid, ≥97.0% (T), Synonym: Protocatechuic acid | 99-50-3 |  | 37580 Sigma-Aldrich | 25 g | 25 g
70 | R | 3,4-Dihydroxyphenylacetic acid, 98%, Synonym: DOPAC, Homoprotocatechuic acid | 102-32-9 |  | 850217 Sigma-Aldrich | 5 g | 5 g
71 | R | 3-ethylphenol, ≥95.0% (GC) | 620-17-7 |  | 04688 Sigma Aldrich | 25 mL | 25 mL
72 | R | 3-Hexen-1-ol acetate, (Z) ali cis-3-hexenyl acetate | 3681-71-8 |  | 74597 Supelco | 1 mL | 4 mL
73 | R | 3-Hexen-1-ol, (E) ali trans-3-hexenol, 97% | 928-97-2 |  | 224715 Sigma-Aldrich | 5 g | 20 g
74 | R | 3-Hexen-1-ol, (Z) ali cis-3-hexenol, 98% | 928-96-1 |  | H12900 Sigma-Aldrich | 10 g | 20 g
75 | R | 3-Hydroxy-2-butanone, 3-Hydroxy-2-butanone for synthesis. chemical formula (CH₃CH(OH)COCH₃)₂. Synonym: Acetyl methyl carbinol, Acetoin, Acetyl methyl carbinol, Acetoin | 51555-24-9 |  | 8.20664 Sigma-Aldrich | 100 g | 100 g
76 | A | 3-hydroxytyrosol, čistost ≥98% | 10597-60-1 |  | H4291 Sigma Aldrich | 25 mg | 25 mg
77 | R | 3-Methoxy-1-butanol, 99% | 2517-43-3 |  | M12207 Sigma-Aldrich | 1 L | 1 L
78 | hlapne | 3-methyl-1-butanol, analytical standard, Synonym: Isoamyl alcohol, Isopentyl alcohol | 123-51-3 |  | 77664 Supelco | 1 mL | 5 mL
79 | R | 3-Octanol, natural, ≥97%, FCC, FG, Synonym: Ethyl pentyl carbinol | 589-98-0 |  | W358126 Sigma-Aldrich | 100 g | 100 g
80 | R | 3-Octanone, ≥98%, Synonym: Ethyl amyl ketone, Ethyl pentyl ketone | 106-68-3 |  | 136913 Sigma-Aldrich | 25 g | 25 g
81 | R | 3-Pentanol, 98%, Synonym: sec-inact.-Pentyl alcohol, Diethyl carbinol | 584-02-1 |  | P8025 Sigma-Aldrich | 25 mL | 25 mL
82 | R | 3-Pentanone, ≥99%, Synonym: Diethyl ketone | 96-22-0 |  | W510106 Sigma-Aldrich | sample | sample
83 | R | 4-Hexen-1-ol, ≥96%, predominantly trans, FG, Synonym: 4-Hexen-1-ol, predominantly trans | 928-92-7 |  | W343005 Sigma-Aldrich | sample | sample
84 | A | 4-hydroxyphenylacetic acid 98 % | 156-38-7 |  | H50004 Sigma Aldrich | 5 g | 10 g
85 | R | 4-Methoxy-2-methyl-2-butanethiol, analytical standard, Synonym: 2-Mercapto-4-methoxy-2-methylbutane | 94087-83-9 |  | 41162 Supelco | 250 mg | 250 mg
86 | R | 4-Methyl-2-pentanol, 98%, Synonym: 3-MIC, Isobutyl methyl carbinol, MAOH, MIBC, | 108-11-2 |  | 109916 Sigma-Aldrich | 100 mL | 100 mL
87 | R | 4-Methyl-2-pentanone, ≥99%, FCC, Synonym: Isobutyl methyl ketone, Isopropylacetone, MIBK, Methyl isobutyl ketone | 108-10-1 |  | W273104 Sigma-Aldrich | sample | sample
88 | R | 4-tert-Butylcatechol, ≥99.0% | 98-29-3 |  | 19671 Sigma-Aldrich | 100 g | 100 g
89 | A | 5-alfa-cholestan-3-beta-ol, ≥95% | 80-97-7 | D6128 Sigma Aldrich |  | 10 g | 20 g | DA
90 | R | 5-α-Cholestane, ≥97.0% (HPLC) | 481-21-0 |  | C8003 Sigma-Aldrich | 100 mg | 100 mg
91 | R | 6-methyl-5-hepten-2-one, analytical standard | 110-93-0 |  | 67397 Supelco | 1 mL | 5 mL
92 | R | Acetaldehyde-2,4-DNPH, analytical standard, Synonym: Acetaldehyde-2,4-dinitrophenylhydrazone | 1019-57-4 |  | 442434 Supelco | 100 mg | 100 mg
93 | R | ACETIC ACID 50 %, FOR HPLC | 64-19-7 |  | 45754 Sigma Aldrich | 100 mL | 100 mL
94 | R | Acetic acid, 50 %, FOR HPLC |  |  | 45754-100ML-F Supelco | 100 mL | 2 X 100 mL
95 | A | Aceton za HPLC, Assay (GC) min. 99.8 % Non-volatile matter max. 0.0005 % Water (Karl Fischer) max. 0.2 % Suitability for residue analysis max. 5 ng/l | 67-64-1 |  | 34480 Honeywell Riedel de Haen | 1 L ali 2,5 L | 15 L
96 | A | Acetonitril, čistost: gradient grade | 75-05-8 | 34851 Honeywell Riedel de Haen |  | 2,5 L | 40 L
97 | R | Alkane standard solution C8-C20, analytical standard, contains C8-C20, ~40 mg/L each, in hexane, EC Number 203-777-6 |  |  | 04070 Supelco | 1 mL | 5 mL
98 | A | Alpha tocopherol, pharmaceutical secondary standard, Certified Reference Material, ali analytical standard | 10191-41-0 |  | PHR1031 Supelco | do 500 mg | 500 mg | DA
99 | R | Ammonium acetate, for HPLC LiChropur® | 631-61-8 |  | 5.43834 Supelco | 250 g | 250 g
100 | R | Ammonium formate eluent additive for LC-MS, LiChropur™, >= 99.0 % ¦ 540-69-2 ¦ Sigma-Aldrich (sigmaaldrich.com) |  |  | 70221-25G-F Sigma-Aldrich | 25 g | 25 g
101 | R | AMMONIUM FORMATE, FOR MASS SPECTROMETRY | 540-69-2 |  | 70221 Supelco | 25 g | 25 g
102 | A | Apigenin, analytical standard, Synonym: 4′,5,7-Trihydroxyflavone, 5,7-Dihydroxy-2-(4-hydroxyphenyl)-4-benzopyrone | 520-36-5 |  | 42251 Sigma Aldrich | 10 mg | 40 mg
103 | A | Apigenin-7-O-glucoside , čistost ≥ 95% | 578-74-5 |  | 44692 Sigma Aldrich | 5 mg | 10 mg
104 | R | Benzaldehyde, ≥98%, FG, FCC | 100-52-7 |  | W212709-SAMPLE-K Sigma-Aldrich | sample | sample
105 | R | Benzaldehyde, analytical standard, Synonym: Bitter almond | 100-52-7 |  | 09143 Supelco | 5 mL | 10 mL
106 | A | Benzo[b]chrysene 10 µg/mL in Acetonitrile | 214-17-5 |  | BCR046 Sigma Aldrich ali DRE-L20550000AL, LGC | 10 mL | 10 mL
107 | R | Benzyl alcohol, for analysis EMSURE®, Synonym: Phenylcarbinol | 100-51-6 |  | 1.09626 Supelco | 1 L | 1 L
108 | R | beta-Myrcene solution, certified reference material, 2000 μg/mL in hexane, ampule of 1 mL | 123-35-3 |  | CRM42262 Supelco | ampule of 1 mL | ampule of 1 mL
109 | R | Betulin, ≥98%, Synonym: Betulinic alcohol, Betulinol, Betulol, Lup-20(29)-ene-3β,28-diol, Trochol-3 | 473-98 |  | B9757 Sigma-Aldrich | 1 g | 1 g
110 | R | Boron trifluoride-methanol solution ~10% (~1.3 M), for GC derivatization, LiChropur™ | 373-57-9 |  | 15716 Supelco | 100 mL | 100 mL
111 | R | Brassicasterol from semisynthetic, Synonym: 5,22-Cholestadien-24β-methyl-3β-ol, | 474-67-9 |  | B4936 Sigma-Aldrich | 5 mg | 5 mg
112 | R | BSTFA (with 1% TMCS), kit of 10 × 1 mL | 25561-30-2 | B-023-10X1ML Sigma-Aldrich |  | 1 paket (10 x 1 mL) | 1 paket
113 | R | buprofezin | 69327-76-0 | 37886 Supelco |  | 100 mg | 100 mg
114 | R | Butyl acetate, analytical standard | 123-86-4 |  | 73285 Supelco | 1 mL | 1 mL
115 | R | Butyl butyrate, 98% | 109-21-7 |  | 281964 Sigma-Aldrich | 250 mL | 250 mL
116 | R | Butyl formate, ≥97%, FG, Synonym: n-Butyl formate, Butyl menthanoate, Formic acid butyl ester | 592-84-7 |  | W219606 Sigma-Aldrich | sample | sample
117 | R | Butyl methanoate ali butyl formate, 97%,Synonym: Formic acid butyl ester, | 592-84-7 |  | 261521 Sigma Aldrich | 250 mL | 250 mL
118 | R | Butyraldehyde, analytical standard, contains ~0.1% 2,6-di-tert-butyl-4-methylphenol and ~1% water as stabilizer, Synonym: Butanal | 123-72-8 |  | 94194 Supelco | 1 mL | 2 mL
119 | R | Butyric acid, ≥99% | 107-92-6 |  | B103500-100ML Sigma-Aldrich | 100 mL | 100 mL
120 | R | Butyric acid, analytical standard | 107-92-6 |  | 19215 Supelco | 5 mL | 5 mL
121 | A | CAFFEIC ACID, ≥98.0% (HPLC), Synonym: 3,4-Dihydroxybenzeneacrylic acid, 3,4-Dihydroxycinnamic acid, 3-(3,4-Dihydroxyphenyl)-2-propenoic acid | 331-39-5 |  | C0625 Sigma Aldrich | 5 g | 10 g
122 | R | Caffeine powder, ReagentPlus® | 58-08-2 |  | C0750 Sigma-Aldrich | 100 g | 100 g
123 | R | Calcium chloride dihydrate, ACS, Reag. Ph Eur | 10035-04-8 |  | 1.02382 Supelco | 250 g | 1 kg
124 | R | Campesterol, phyproof® Reference Substance, Synonym: 24α-Methyl-5-cholesten-3β-ol, 24(R)-Ergost-5-en-3β-ol | 474-62-4 |  | PHL89514 Supelco | 10 mg | 10 mg
125 | R | Caproic acid, purum, ≥98.0% (GC), Synonym: Acid C6, Hexanoic acid | 142-62-1 |  | 21530 Sigma Aldrich | 100 mL | 100 mL
126 | R | Chloroform (Trichloromethane) puriss. p.a., Reag. ISO, Reag. Ph. Eur., 99.0-99.4% | 67-66-3 |  | 32211 Honeywell Riedel de Haen | 1 L | 5 L
127 | R | Chlorophyll a from spinach | 479-61-8 |  | C5753 Sigma-Aldrich | 5 mg | 5 mg
128 | R | Chlorpyrifos-D10 (diethyl D10) |  |  | C11600100*EHR | 25 mg | 25 mg
129 | A | Cholesterol, Sigma Grade, ≥99% | 57-88-5 |  | C8667 Sigma-Aldrich | 5 g | 10 g
130 | R | Cholesteryl palmitate, ≥98% | 601-34-3 | C6072-1G Sigma-Aldrich |  | 1 g | 1 g
131 | R | Cholesteryl stearate, 96%, Synonym: 5-Cholesten-3β-yl octadecanoate | 35602-69-8 |  | C79409 Sigma-Aldrich | 5 g | 5 g
132 | R | Cis/trans-Ocimene solution, certified reference material, 2000 μg/mL in methanol, ampule of 1 mL | 13877-91-3 |  | CRM40748 Supelco | ampule of 1 mL | ampule of 1 mL
133 | R | cis-2-Hexen-1-ol, ≥96%, stabilized, FG, Synonym: (Z)-2-Hexen-1-ol | 928-94-9 |  | W392405 Sigma-Aldrich | sample | sample
134 | R | cis-2-Penten-1-ol, ≥96%, stabilized, FG | 1576-95-0 |  | W430500-SAMPLE-K | sample | sample
135 | R | cis-3-Hexen-1-ol, 98% | 928-96-1 |  | H12900 Sigma-Aldrich | 10 g | 10 g
136 | R | cis-3-Hexenal solution, 50% in triacetin, stabilized, Synonym: (Z)-3-hexenal solution | 6789-80-6 |  | W256102 Sigma-Aldrich | sample | sample
137 | R | cis-3-Hexenyl acetate, analytical standard, Synonym: (3Z)-3-Hexen-1-ol acetate, (3Z)-C-3-Hexenyl acetate, Leaf acetate | 3681-71-8 |  | 74597 Supelco | 1 mL | 5 mL
138 | R | CIS-4-hepten-1-al, analytical standard | 6728-31-0 |  | 00931 Sigma Aldrich | 5 mL | 10 mL
139 | R | cis-4-Heptenal, ≥98%, stabilized, FCC, FG | 6728-31-0 |  | W328901 Sigma-Aldrich | sample | sample
140 | R | Citric acid monohydrate, reagent grade, ≥98% (GC/titration) | 5949-29-1 |  | C7129-100G Sima-Aldrich | 100 g | 100 g
141 | R | Cyclohexane, puriss. p.a., ACS reagent, ≥99.5% (GC) | 110-82-7 |  | 33117-M Sigma-Aldrich | 1 L | 1 L
142 | R | Cyclohexanecarboxylic acid, 98% | 98-89-5 |  | 101834-5G Sigma-Aldrich | 5 g | 5 g
143 | R | Cyclohexanecarboxylic acid, 98%, Synonym(s): Hexahydrobenzoic acid | 98-89-5 |  | 101834-100G Sigma-Aldrich | 100 g | 100 g
144 | R | Decanal, analytical standard, Synonym: Caprinaldehyde, Decyl aldehyde | 112-31-2 |  | 59581 Supelco | 1 mL | 2 mL
145 | R | Decane, analytical standard | 124-18-5 |  | 442669 Supelco | 1 g | 1 g
146 | R | delta-Decalactone,analytical standard, Synonym: δ-Decanolactone, (±)-δ-Pentyl-δ-valerolactone, (±)-5-Decanolide, (±)-6-Pentyltetrahydro-2H-pyran-2-one, 5-Hydroxydecanoic acid δ-lactone | 705-86-2 |  | 74026 Supelco | 100 mg | 100 mg
147 | R | Dichloromethane, Puriss. p.a., ACS Reagent, Reag. ISO, ≥99.9% (GC), Methylene Chloride, DCM,ACS Reagent, Reag. ISO | 75-09-2 | 32222 Honeywell |  | 2,5 L | 10 L
148 | A | Diethyl ether for gas chromatography ECD and FID SupraSolv®. chemical formula (C₂H₅)₂O. | 60-29-7 |  | 1.00931 Supelco | 1 L | 30 L
149 | A | Diethyl ether R.G., Puriss. P.A, ACS ISO, brez peroksidov, stabiliziran za analizo, | 60-29-7 | 32203 Honeywell |  | 1 L ali 2,5 L | 50 L
150 | R | Diethylene glycol monoethyl ether, ReagentPlus®, 99%, Synonym: 2-(2-Ethoxyethoxy)ethanol, CARBITOL™, Diethylene glycol, ethyl ether, Ethyldiglycol | 111-90-0 |  | 537616 Sigma-Aldrich | 1 L | 1 L
151 | R | dimethoate | 60-51-5 | 45449 Supelco |  | 100 mg | 100 mg
152 | R | dimethoate | 60-51-5 | 52994 Supelco |  | 100 mg | 100 mg
153 | R | Dimethoate, PESTANAL®, analytical standard | 60-51-5 |  | 45449 Supelco | 100 mg | 100 mg
154 | R | dimethyl disulfide, >=99.0%, Synonym: DMDS, Methyl disulfide | 624-92-0 |  | 471569 Sigma Aldrich | 250 mL | 250 mL
155 | R | dimethyl sulfide, ≥99%, Synonym: DMS, Methyl sulfide | 75-18-3 |  | 471577 Sigma Aldrich | 25 mL | 50 mL
156 | R | Dimethyl sulfoxide, Dimethyl sulfoxide for headspace gas chromatography SupraSolv®. CAS 67-68-5, chemical formula (CH₃)₂SO. Synonym: Methanesulfinylmethane, Methyl sulfoxide, Dimethyl(oxido)sulfur, DMSO |  |  | 1.01900 Supelco | 0,5 L | 0,5 L
157 | R | Dimethyl trisulfide, analytical standard, | 3658-80-8 |  | 79592 Supelco | 10 mg | 10 mg
158 | R | Dodecane, analytical standard | 112-40-3 |  | 44010 Supelco | 5 mL | 5 mL
159 | A | Dodecyl arachidate, ≥99%, Synonym: Eicosanoic acid dodecyl ester, Lauryl arachidate | 42232-82-6 | A8671 Sigma Aldrich |  | 100 mg | 200 mg | DA
160 | R | Elaidic acid, analytical standard, Synonym: trans-9-Octadecenoic acid, trans-Oleic acid | 112-79-8 |  | 45089 Supelco | 1 g | 1 g
161 | R | EPA 610-N PAH Kit, analytical standard |  |  | 47351 Supelco | 1 | 2
162 | R | ERYTHRODIOL, analytical standard, Synonym: Olean-12-ene-3β,28-diol | 545-48-2 |  | 09258 Supelco | 10 mg | 10 mg
163 | A | Etanol 96 % brez trošarine Puriss. p.a., ACS Reagent, Reag. Ph. Eur., 96% (v/v) | 64-17-5 |  | 32294 Honeywell ali 1.00971 SAFC(Merck) | 2,5 ali 5 L | 80 L
164 | R | Etanol 96% denaturirani, tehnološki |  |  |  | 5 L | 30 L
165 | A | Etanol absolutni brez trošarine, puriss. p.a., absolute, ≥99.8% (GC), plastic bottle | 64-17-5 |  | 32221 Honeywell | 1 L | 5 L
166 | R | Ethyl 2-methylbutyrate, 99% | 7452-79-1 |  | 306886 Sigma-Aldrich | 5 mL | 5 mL
167 | A | Ethyl acetate, Puriss. P.a., ACS reagent, Reag. ISO, Reag. Ph. Eur., ≥99% | 141-78-6 |  | 33211 Honeywell Riedel de Haen | 1 L | 2 L
168 | R | Ethyl butyrate natural, ≥98%, FCC, FG Synonym(s): Butyric acid ethyl ester | 105-54-4 |  | W242713-SAMPLE-K Sigma-Aldrich | sample | sample
169 | R | Ethyl butyrate, analytical standard, Synonym: Butyric acid ethyl ester | 105-54-4 |  | 75563 Supelco | 1 mL | 2 mL
170 | R | Ethyl isobutyrate, analytical standard | 97-62-1 |  | 19536 Supelco | 1 mL | 1 mL
171 | R | Ethyl isovalerate, 98% | 108-64-5 |  | 112283 Sigma-Aldrich | 100 mL | 100 mL
172 | R | Ethyl linoleate, ≥99%, Synonym: Linoleic acid ethyl ester | 544-35-4 |  | L1751 Sigma-Aldrich | 1 g | 1 g
173 | R | Ethyl oleate, 98%, Synonym: Oleic acid ethyl ester | 111-62-6 |  | 268011 Sigma-Aldrich | 5 g | 5 g
174 | R | Ethyl palmitate, ≥99%, Synonym: Ethyl hexadecanoate, Palmitic acid ethyl ester, | 628-97-7 |  | P9009 Sigma-Aldrich | 5 g | 5 g
175 | R | Ethyl phenylacetate, analytical standard | 101-97-3 |  | 91224 Supelco | 1 mL | 1 mL
176 | R | Ethyl propionate, analytical standard | 105-37-3 |  | 96727 Supelco | 1 mL | 5 mL
177 | R | Ethyl stearate, analytical standard, Synonym: Ethyl octadecanoate, Stearic acid ethyl ester | 111-61-5 |  | 18377 Supelco
178 | R | Ethylene glycol monobutyl ether Ethylene glycol monobutyl ether for synthesis. EC Number 203-905-0, chemical formula C₄H₉OCH₂CH₂OH. Synonym: 2-Butoxyethanol, Butyl glycol, 2-Butoxyethanol, Butyl glycol | 111-76-2 |  | 8.01554 Sigma-Aldrich | 1 L | 1 L
179 | R | Ethylpyrazine, 98% | 13925-00-3 |  | 250384 Sigma-Aldrich | 5 g | 5 g
180 | R | Eucalyptol, 99%, Synonym: 1,3,3-Trimethyl-2-oxabicyclo[2.2.2]octane, 1,8-Cineole, 1,8-Epoxy-p-menthane | 470-82-6 |  | C80601 Sigma-Aldrich | 5 mL | 5 mL
181 | R | Eugenol, natural, ≥98%, FG | 97-53-0 |  | W246719-SAMPLE-K Sigma-Aldrich | sample | sample
182 | R | Farnesene, mixture of isomers, stabilized |  |  | W383902 Sigma-Aldrich | sample | sample
183 | R | FENTHION PESTANAL®, analytical standard, Synonym: O,O′-Dimethyl O″-[3-methyl-4-(methylthio)phenyl] thiophosphate | 55-38-9 |  | 36552 Supelco | 250 mg | 250 mg
184 | A | Folin & Ciocalteu’s phenol reagent 2 M (with respect to acid), MDL number MFCD00132625 |  |  | 47641 Sigma Aldrich | 100 mL | 100 mL
185 | R | Formaldehyde-2,4-DNPH, analytical standard, Synonym: Formaldehyde-2,4-dinitrophenylhydrazone | 1081-15-8 |  | 442597 Supelco | 100 mg | 100 mg
186 | R | Fucosterol, ≥93%, Synonym: 3β-Hydroxy-5,24(28)-stigmastadiene, 5,24(28)-Stigmastadien-3β-ol | 17605-67-3 |  | F5379 Sigma-Aldrich | 5 mg | 5 mg
187 | R | Glyceryl tripalmitate, ≥99% Synonym: Glycerol tripalmitate, TG(16:0/16:0/16:0), Tripalmitin | 555-44-2 |  | T5888 Supelco | 500 mg | 500 mg
188 | R | Guaiacol, Pharmaceutical Secondary Standard; Certified Reference Material, Synonym: 2-Methoxyphenol, Catechol, monomethyl ether, Pyrocatechol monomethyl ether | 90-05-1 |  | PHR1136 Supelco | 1,5 g | 1,5 g
189 | A | Heksan čistosti za kromatografijo, for HPLC, ≥97.0% (GC) | 110-54-3 | 34859 Honeywell ali 34859-M Sigma Aldrich |  | 1 ali 2,5 L | 80 L
190 | R | Heksan, ACS Puriss P.A., pH Eur | 110-54-3 | 32293 Honeywell ali 32293-M Sigma Aldrich |  | 1 ali 2,5 L | 30 L
191 | A | Heptan (purum) čistosti za HPLC | 142-82-5 | 34873 Honeywell ali 34873-M Sigma Aldrich |  | 1 ali 2,5 L | 30 L
192 | R | Heptanal, ≥95%, FCC, FG, Synonym: 1-Heptanal, Aldehyde C7, Enanthaldehyde, Heptaldehyde, Oenanthaldehyde | 111-71-7 |  | W254002 Sigma-Aldrich | sample | sample
193 | R | Heptanoic acid, ≥99.0% (GC), Synonym: Enanthic acid, Oenanthic acid | 111-14-8 |  | 75190 Sigma-Aldrich | 100 mL | 100 mL
194 | R | Hexanal, analytical standard, Synonym: Aldehyde C6, Caproaldehyde, Hexyl aldehyde | 66-25-1 |  | 18109 Supelco | 1 mL | 5 mL
195 | R | Hexanal-d12, ≥98 atom % D, ≥96% (CP) |  |  | 732338 Sigma-Aldrich | 250 mg | 250 mg
196 | R | Hexanenitrile, 98% | 628-73-9 |  | 166650 Sigma-Aldrich | 5 g | 5 g
197 | R | Hexanoic acid, ≥99%, Synonym: Acid C6, Caproic acid | 142-62-1 |  | 153745 Sigma-Aldrich | 2,5 g | 5 g
198 | R | Hexyl acetate, 99%, Synonym: Capryl acetate | 142-92-7 |  | 108154 Sigma-Aldrich | 25 mL | 50 mL
199 | A | Hidroksitirosol, 100 mg, Extrasynthese | 10597-60-1 |  | Extrasynthese 4999 S | 50 mg | 100 mg
200 | A | Holesta-3,5-dien (min. 93%) HPLC | 747-90-0 | C6012 Sigma Aldrich |  | do 25 mg | 50 mg | DA
201 | A | Hydrochloric acid solution 4 M HCl in H2O | 7647-01-0 |  | 84435 Honeywell Fluka | 1 L | 1 L
202 | R | Hydroxyacetone, contains ≤500 ppm sodium carbonate as stabilizer, technical grade, 90%, Synonym: 1-Hydroxy-2-propanone, Acetol | 116-09-6 |  | 138185 Sigma-Aldrich | 5 g | 5 g
203 | R | Iron(II) sulfate heptahydrate for analysis EMSURE® ACS,ISO,Reag. Ph Eur | 7782-63-0 |  | 1.03965 Supelco | 100 g | 100 g
204 | R | Isoamyl acetate, natural, ≥97%, FCC, FG, Synonym: Acetic acid 3-methylbutyl ester, Isoamyl acetate, Isopentyl acetate | 123-92-2 |  | W205532 Sigma-Aldrich | sample | sample
205 | R | Isobutyl butyrate, analytical standard, Synonym: 2-Methylpropyl butanoate, 2-Methylpropyl butyrate, Isobutyl butanoate, NSC 406938 | 539-90-2 |  | 94888 Supelco | 1 mL | 1 mL
206 | R | Isovaleraldehyde, analytical standard, Synonym: 3-Methylbutyraldehyde, 3-Methylbutanal, NSC 404119 | 590-86-3 |  | 61848 Supelco | 100 mg | 100 mg
207 | R | Isovaleric acid, analytical standard, Synonym: 3-Methylbutanoic acid, 3-Methylbutyric acid | 503-74-2 |  | 78651 Supelco | 1 mL | 1 mL
208 | A | Kalijev hidrogen ftalat, certificiran, certificiran referenčni standard, ≥99,5% | 877-24-7 |  | 60357 Supelco | do 50 g | 100 g | DA
209 | A | Kalijev hidroksid: Potassium hydrokside (KOH), Puriss, Ph. Eur, peleti, | 1310-58-3 |  | 30603 Honeywell | 1 kg | 5 kg
210 | A | Kalijev jodat, certificiran, certificiran referenčni standard, ≥99,5% | 7758-05-6 |  | 60386 Supelco | do 50 g | 100 g | DA
211 | A | Kalijev jodid puriss. p.a., reag. ISO, reag. Ph. Eur., ≥99.5% | 7681-11-0 | 30315-M Sigma Aldrich |  | 100 g | 500 g
212 | A | Kalijev kromat: Potassium chromate, Puriss. P.a., ACS Reagent, Reag. Ph. Eur, ≥99,5% | 7789-00-6 |  | 31250 Honeywell Fluka | 250 g | 250 g | DA
213 | A | Klorovodikova kislina - HCl (37 %) | 7647-01-0 |  | 30721 Honeywell ali 30721-M Sigma Aldrich | 1 L | 2 L
214 | R | Lactic acid 85%, FCC, Synonym(s): DL-Lactic acid, 2-Hydroxypropionic acid | 50-21-5 |  | W261106-1KG Sigma-Aldrich | 1 kg | 1kg
215 | R | Lauric aldehyde, analytical standard, Synonym: Aldehyde C12, Dodecanal, Lauraldehyde, Laurinaldehyde | 112-54-9 |  | 55977 Supelco | 1 mL | 1 mL
216 | R | L-Glutamic acid monosodium salt hydrate, ≥99% (HPLC), powder | 142-47-2 |  | G1626 Sigma-Aldrich | 100 g | 100 g
217 | R | Lignoceryl alcohol, ≥99% (capillary GC), Synonym: 1-Tetracosanol | 506-51-4 |  | L3507 Sigma-Aldrich | 250 mg | 250 mg
218 | R | Linalool, analytical standard, Synonym: (±)-3,7-Dimethyl-1,6-octadien-3-ol, (±)-3,7-Dimethyl-3-hydroxy-1,6-octadiene | 78-70-6 |  | 51782 Supelco | 1 mL | 1 mL
219 | R | Linalyl formate, FCC | 115-99-1 |  | W264202 Sigma-Aldrich | sample | sample
220 | A | Linoleic Acid Methyl Ester Mix, cis/trans, certified reference material, 10 mg/mL in dichloromethane |  | CRM47791 Supelco |  | ampule po 1 mL | 2 mL
221 | R | LINOLEIC ACID METHYL ESTER, CIS/TRANS ISOMERS |  |  | L8404 Sigma-Aldrich | 250 mg | 250 mg
222 | R | Linoleic acid, analytical standard, Synonym: 9-cis,12-cis-Linoleic acid, cis-9,cis-12-Octadecadienoic acid, Telfairic acid | 60-33-3 |  | 62230 Supelco | 5 mL | 5 mL
223 | A | Linolenic Acid Methyl Ester Isomer Mix, certified reference material |  | CRM47792 Supelco |  | ampule po 1 mL | 2 mL
224 | R | Lipase from porcine pancreas | 9001-62-1 |  | L3126 Sigma Aldrich | 25 g | 50 g
225 | R | L-Menthol, natural, ≥99%, FCC, FG, Synonym(s): (1R,2S,5R)-(−)-Menthol, (−)-Menthol, (1R,2S,5R)-2-Isopropyl-5-methylcyclohexanol, 5-Methyl-2-(1-methylethyl)cyclohexanol | 2216-51-5 |  | W266523-SAMPLE-K Sigma-Aldrich | sample | sample
226 | R | Luteolin 7-glucoside, analytical standard, Synonym(s): Luteolin 7-O-β-D-glucoside, 3′,4′,5,7-Tetrahydroxyflavone 7-glucoside, Cynaroside, Glucoluteolin, Glucosylluteolin, Luteoloside | 5373-11-5 |  | 49968 Supelco | 10 mg | 20 mg
227 | R | Luteolin, ≥98% (TLC), powder,Synonym: 3′,4′,5,7-Tetrahydroxyflavone | 491-70-3 |  | Extrasynthese 1125 S ali L9283 Sigma Aldrich | 10 mg | 20 mg
228 | A | Metanol for gradient elution, za HPLC, ACS, ≥ 99,9%, z manj kot 0,5% vode | 67-56-1 | 34885 Honeywell ali 34885-M Sigma Aldrich |  | 2,5 ali 5 L | 100 L
229 | A | Metanol za spektroskopijo uvasol, ≥ 99,9% (GC) | 67-56-1 |  | 106002 SUPELCO | 500 mL | 500 mL
230 | R | Methanesulfonyl chloride, ≥99.7%, Synonym: Mesyl chloride, Methyl sulfonyl chloride | 124-63-0 |  | 471259 Sigma-Aldrich | 100 mL | 100 mL
231 | R | methidathion | 950-37-8 | 36158 Supelco |  | 100 mg | 100 mg
232 | R | methidathion | 950-37-8 | 74189 Supelco |  | 50 mg | 50 mg
233 | R | Methidathion, certified reference material, TraceCERT® | 950-37-8 |  | 74189 Supelco | 50 mg | 50 mg
234 | R | Methyl acetate, analytical standard | 79-20-9 |  | 45997 Supelco | 1 mL | 1 mL
235 | R | Methyl benzoate, 99% | 93-58-3 |  | M29908 Sigma-Aldrich | 25 g | 25 g
236 | R | Methyl butyrate, analytical standard | 623-42-7 |  | 19358 Supelco | 1 mL | 1 mL
237 | A | Methyl heptadecanoate, analytical standard, Synonym: Heptadecanoic acid methyl ester, Methyl margarate | 1731-92-6 |  | 51633 Supelco | 1 g | 1 g | DA
238 | R | Methyl linoleate, analytical standard, Synonym: Linoleic acid methyl ester, Methyl cis,cis-9,12-octadecadienoate | 112-63-0 |  | 62280 Supelco | 5 mL | 5 mL
239 | R | Methyl octanoate 99%, Synonym: Caprylic acid methyl ester, Methyl caprylate , | 111-11-5 |  | 260673 Sigma-Aldrich | 25 g | 25 g
240 | R | Methyl oleate, analytical standard, Synonym: Methyl cis-9-octadecenoate, Oleic acid methyl ester | 112-62-9 |  | 75160 Supelco | 5 ml | 5 ml
241 | R | Methyl palmitate, analytical standard, Synonym: n-Hexadecanoic acid methyl ester, Methyl hexadecanoate, Palmitic acid methyl ester | 112-39-0 |  | 76159 Supelco | 1g | 1g
242 | R | Methyl propionate, analytical standard | 554-12-1 |  | 81988 Supelco | 1 mL | 1 mL
243 | R | Methyl salicylate, analytical standard, Synonym: 2-Hydroxybenzoic acid methyl ester, Methyl 2-hydroxybenzoate, Oil of wintergreen, Wintergreen oil | 119-36-8 |  | 76631 Supelco | 1 mL | 1 mL
244 | R | Methyl stearate, ~99% (GC), Synonym: Methyl octadecanoate, Stearic acid methyl ester | 112-61-8 |  | S5376 Sigma-Aldrich | 10 g | 10 g
245 | R | METHYL TRIDECANOATE, ≥97% (GC), Synonym: Tridecanoic acid methyl ester | 1731-88-0 |  | T0627 Sigma-Aldrich | 1 g | 1 g
246 | A | Metil heptadekanoat, čistost ≥99%, powder | 1731-92-6 | H4515 Sigma Aldrich |  | do 100 mg | 200 mg | DA
247 | A | Mravljična kislina: formic acid for mass spectrometry, čistost ≥98% | 64-18-6 | 94318 Honeywell |  | 250 mL | 1000 mL
248 | R | N,N′-(Methylenediphenylene)bis{4-(2-pyridinyl)-1-piperazinecarboxamide} (derivative of 4,4′-MDIP) certified reference material, 1000 μg/mL in DMSO (as the derivative), EC Number 200-664-3 |  |  | 48147 Supelco | 1 ml | 1 ml
249 | R | N,N-Dimethylformamide, anhydrous, 99.8%, Synonym: DMF, NSC 5356 | 68-12-2 |  | 227056 Sigma-Aldrich | 1 L | 1 L
250 | R | Natrijev hidroksid: Sodium hydroxide (NaOH), puriss. p.a., ACS reagent, reag. Ph. Eur., K ≤0.02%, ≥98%, pellets | 1310-73-2 |  | 30620 Honeywell | 1 kg | 10 kg
251 | R | Natrijev karbonat: Sodium carbonate anhydrous, free-flowing, Redi-Dri™, ACS reagent, ≥99.5%, Synonym: Calcined soda, Carbonic acid disodium salt, Soda ash | 497-19-8 |  | 791768 Sigma Aldrich | 500 g | 500 g
252 | A | Natrijev sulfat, brezvodni, PH Eur, Reag. P.A., ≥99,0% | 7757-82-6 |  | 31481-M Sigma Aldrich | 1 kg | 25 kg
253 | R | n-Decane, n-Decane for synthesis. EC Number 204-686-4, chemical formula CH₃(CH₂)₈CH₃. | 124-18-5 |  | 8.03405 Sigma-Aldrich | 250 ml | 250 ml
254 | R | nicarbazine certified 0,1 G |  |  | C15508000*EHR | 100 mg | 100 mg
255 | R | N-Methyl-N-trimethylsilylheptafluorobutyramide for GC derivatization, LiChropur™, ≥90% (GC), Synonym: N-Trimethylsilyl-N-methylheptafluorobutyramide, MSHFBA | 53296-64-3 |  | 69484 Supelco | 5 ml | 5 ml
256 | A | Nonacosane, analytical standard, ≥98% | 630-03-5 |  | 74156 Supelco | 250 mg | 500 mg
257 | R | Nonanal, analytical standard, Synonym: Aldehyde C9, Nonyl aldehyde, Pelargonaldehyde | 124-19-6 |  | 442719 Supelco | ampule of 1000 mg | 10 ampules of 1000 mg
258 | A | Ocetna kislina, (99-100 %, EXTRA PURE) | 64-19-7 | 33209-M Sigma Aldrich |  | 1 ali 2,5 L | 25 L
259 | R | Octanal, 99 %, Synonym: Aldehyde C8, Caprylic aldehyde, Octyl aldehyde | 124-13-0 |  | O5608 Sigma-Aldrich | 25 mL | 50 mL
260 | R | Octane, analytical standard, Synonym: n-Octane | 111-65-9 |  | 74820 Supelco | 5 mL | 5 mL
261 | R | o-Cymene, 98%, Synonym: 1-Isopropyl-2-methylbenzene, 2-Isopropyltoluene | 527-84-4 |  | 255270 Sigma-Aldrich | 100 mg | 100 mg
262 | A | Oleacein, phyproof® Reference Substance | 149183-75-5 | PHL83881 Supelco |  | 5 mg | 10 mg
263 | R | Oleic acid, analytical standard, Synonym: cis-9-Octadecenoic acid, Elainic acid | 112-80-1 |  | 75090 Supelco | 5 mL | 5 mL
264 | A | Oleocanthal, phyproof® Reference Substance | 289030-99-5 | PHL83882 Supelco |  | 5 mg | 10 mg
265 | A | Oleuropein, analytical standard, čistost ≥98% | 32619-42-4 |  | 92167 Sigma Aldrich | 10 mg | 20 mg
266 | R | omethoate | 1113-02-6 | 36181 Supelco |  | 100 mg | 100 mg
267 | R | omethoate | 1113-02-6 | 49589 Supelco |  | 100 mg | 100 mg
268 | R | p-Anisidine, 99%, Synonym: 4-Aminoanisole, 4-Methoxyaniline | 104-94-9 |  | A88255 Sigma-Aldrich | 100 g | 100 g
269 | R | Pentanal for synthesis, EC Number 203-784-4, chemical formula CH₃(CH₂)₃CHO., Synonym: Valeraldehyde, Amylaldehyde, Valeraldehyde, Amylaldehyde | 110-62-3 |  | 8.08504 Sigma-Aldrich | 100 mL | 100 mL
270 | R | Pentane, reagent grade, 98% | 109-66-0 |  | 158941-M Sigma-Aldrich | 1 L | 1 L
271 | R | Pentanoic acid, oz. Valeric acid, analytical standard | 109-52-4 |  | 75054 Supelco | 1 mL | 5 mL
272 | R | Petroleter, puriss. p.a., ACS reagent, reag. ISO, bp ≥90% 40-60°C, | 101316-46-5 |  | 32299-M Sigma Aldrich | 1 ali 2,5 L | 15 L
273 | A | pH - indikatorski papirčki 0 - 14 Ph |  |  | MN-92111 | 100 kos/paket | 5 pak
274 | A | Phenolphthalein, ACS reagent, Synonym: 3,3-Bis(4-hydroxyphenyl)-1(3H)-isobenzofuranone | 77-09-8 |  | 105945 Sigma Aldrich | do 100 g | 100 g
275 | R | Phenylethyl Alcohol, Pharmaceutical Secondary Standard; Certified Reference Material, Synonym: β-PEA, 2-Phenylethanol, 2-Phenylethyl alcohol, Benzyl carbinol, PEA | 60-12-8 |  | PHR1122 Supelco | 2 g | 2 g
276 | R | Phosphoric acid, puriss. p.a., ACS reagent, reag. ISO, reag. Ph. Eur., ≥85%, Synonym: Orthophosphoric acid | 7664-38-2 |  | 30417-M Sigma Aldrich | 1 L | 1 L
277 | R | priority pollutant PAHS (in acetonotrile) SL-NIST 1647F |  |  | NIST 1647F Sigma-Aldrich | 1 kos | 1 kos
278 | R | Propionaldehyde, analytical standard, Synonym: Propanal | 123-38-6 |  | 64409 Supelco | 1 mL | 2 mL
279 | R | Propionic acid, analytical standard, Synonym: Acid C3, Propanoic acid, Propanyl acid, | 79-09-4 |  | 94425 Supelco | 1 mL | 5 mL
280 | A | Propionitril, purum, pH Eur | 107-12-0 | 81900 Sigma Aldrich |  | 1 ali 2,5 L | 5 L
281 | A | Propionitrile 99%, 500 mL | 107-12-0 | 185590 Sigma Aldrich |  | 500 mL | 500 mL
282 | R | Propyl acetate, analytical standard | 109-60-4 |  | 40858 Supelco | 1 mL | 1 mL
283 | R | Propyl butyrate, 99%, Synonym: n-Propyl-n-butanoate | 105-66-8 |  | 291838 Sigma-Aldrich | 100 mL | 100 mL
284 | R | Propyl propionate, 99% | 106-36-5 |  | 112267 Sigma-Aldrich | 100 mL | 100 mL
285 | R | Pyridine, ACS reagent, ≥99.0% | 110-86-1 | 360570 Honeywell |  | 100 mL | 100 mL
286 | R | Pyrogallol, ACS reagent, Synonym: 1,2,3-Trihydroxybenzene, 2,3-Dihydroxyphenol, Pyrogallic acid | 87-66-1 |  | 254002 Sigma-Aldrich | 50 g | 50 g
287 | R | Quinine, suitable for fluorescence, anhydrous, ≥98.0% (dried material, NT) Synonym(s): 6′-Methoxycinchonidine | 130-95-0 |  | 22620-5G Sigma-aldrich | 5 g | 5 g
288 | A | rac-β-Tocopherol solution, 50mg/mL in hexane, analytical standard | 148-03-8 |  | Supelco 46401-U | ampule of 1 mL | 2 ampula | DA
289 | R | Rutin hydrate, ≥94% (HPLC), powder, Synonym: Quercetin-3-rutinoside hydrate, Vitamin P hydrate | 207671-50-9 |  | R5143 Sigma-Aldrich | 50 g | 50 g
290 | R | Silica gel 60, pore size 60 Å,0.015–0.04 mm |  | 815650.1 Macherey-Nagel |  | 1 kg | 2 kg
291 | A | Silica gel on TLC plates, 20 x 20 cm |  | AL-Z293024; SIGMA |  | 25 kos/pak | 10 pak
292 | R | Silica gel with indicator (orange gel), granulate ~ 1 - 3 mm |  |  | 1.01969 Supelco | 1 kg | 3 kg
293 | A | Silika gel, grade 60, 70-230 mesh, for column chromatography | 112926-00-8 | 60741 Supelco |  | 1 kg | 5 kg
294 | A | Silver nitrate for analysis ACS,ISO,Reag. Ph Eur | 7761-88-8 |  | 1.01512 Supelco | 25 g | 50 g
295 | A | Silylating mixture I according to Sweeley (HMDS:TMCS:pyridine = 2:1:10 (v/v/v)) for GC derivatization, LiChropur™, Synonym: Chlorotrimethylsilane – hexamethyldisilazane mixture, HMDS + TMCS, Sylon™ HTP, hexamethyldisilazane/chlorotrimethylsilane/pyridine = 2:1:10 (v/v/v), | 318974-69-5 | 85431Supelco |  | 10 x 1 mL/pak | 6 pak
296 | R | simazine | 122-34-9 | 32059 Supelco |  | 250 mg | 250 mg
297 | R | Sitostanol, β-sitostanol, powder, Synonym: stigmastanol; dihydrositosterol; (3β)-stigmastan-3-ol; (3β,5α)-stigmastan-3-ol | 83-45-4 |  | 700121P Avanti | 5 mg | 5 mg
298 | R | Sodium acetate trihydrate for analysis EMSURE® ACS,ISO,Reag. Ph Eur | 6131-90-4 |  | 1.06267 Supelco | 1000 g | 1000 g
299 | R | Sodium cholate hydrate, from bovine and/or ovine bile, ≥99% Synonym: 3α,7α,12α-Trihydroxy-5β-cholan-24-oic acid sodium salt, Cholalic acid sodium salt | 206986-87-0 |  | C1254 Sigma Aldrich | 25 g | 25 g
300 | A | Sodium methylate, čistost ≥97% | 124-41-4 | 8.06538 Sigma Aldrich |  | 250 g | 250 g
301 | R | Sodium molybdate dihydrate ≥99.5%, Synonym: Molybdic acid sodium salt dihydrate | 10102-40-6 |  | M1003 Sigma-Aldrich | 100 g | 100 g
302 | A | Sodium thiosulfate standard solution, Reag. Ph. Eur, solution (volumetric), 0.1 M, | 7772-98-7 | 35245 Honeywell Fluka |  | 1 L | 1 L
303 | R | spinosad | 168316-95-8 | 51599 Supelco |  | 50 mg | 50 mg
304 | R | Squalene, Synonyms: 2,6,10,15,19,23-Hexamethyl-2,6,10,14,18,22-tetracosahexaene, Squalene, European Pharmacopoeia (EP) Reference Standard |  |  | Y0002131 | cca 500 mg | 2 X cca 500 mg
305 | R | Stearyl stearate, ≥98.0% (GC), Synonym: Stearic acid stearyl ester | 2778-96-3 |  | 85775 Sigma-Aldrich | 1 g | 1 g
306 | R | STIGMASTANOL, AldrichCPR | 19466-47-8 |  | S462330 | 5 g | 5 g
307 | R | Stigmasterol, ~95%, Synonym: 3β-Hydroxy-24-ethyl-5,22-cholestadiene, 5,22-Stigmastadien-3β-ol, Stigmasterin | 83-48-7 |  | S2424 Sigma-Aldrich | 1 g | 1 g
308 | R | Styrene, ReagentPlus®, contains 4-tert-butylcatechol as stabilizer, ≥99%, Synonym: Phenylethylene, Vinylbenzene | 100-42-5 |  | S4972 Sigma Aldrich | 5 mL | 5 mL
309 | R | Sucrose BioXtra, ≥99.5% (GC) | 57-50-1 |  | S7903 Sigma-Aldrich | 250 g | 250 g
310 | A | Sudan I, dye content ≥95 %, Synonym: 1-Phenylazo-2-naphthol, Solvent Yellow 14 | 842-07-9 |  | 103624 Sigma Aldrich | 25 g | 25 g
311 | A | Sulfuric acid, ACS Reagent, 95.0-98.0% | 7664-93-9 |  | 320501 Sigma Aldrich
312 | A | Supelclean LC-DIOL SPE cevka, 0,5g/3mL |  | 57016 Supelco |  | 54 kos/pak | 1 paket
313 | A | Supelclean LC-Si SPE Tube 6mL 1g |  | 57051 Supelco |  | 30 kos/pak | 5 pak
314 | A | Supelco 37 Component FAME Mix, certified reference material, TraceCERT®, in dichloromethane (varied conc.), ampule of 1 mL, EC Number 200-838-9 |  | CRM47885 Supelco |  | ampule po 1 mL | 5 mL
315 | A | Syringic acid, čistost ≥95% | 530-57-4 | S6881 Sigma Aldrich |  | 5 g | 10 g | DA
316 | A | Škrob, krompirjev, za jodometrijo (Starch soluble GR for analysis ISO). pH 6.0 - 7.5 (20 g/l, H₂O, 25 °C) | 9005-84-9 | 1.01252 Merck |  | do 250 g | 500 g
317 | R | tert-butyl methy ether, čistost ≥99,8% | 1634-04-4 |  | 34875 Sigma Aldrich | 1 L | 1 L
318 | R | Tetraethylene glycol dimethyl ether, Tetraethylene glycol dimethyl ether for synthesis. EC Number 205-594-7, chemical formula CH₃O(CH₂CH₂O)₄CH₃. Synonym: Dimethyl tetraglycol, Bis[2-(2-methoxyethoxy)ethyl]ether, Dimethyl tetraglycol, Bis[2-(2-methoxyethoxy)ethyl]ether | 143-24-8 |  | 8.20959 Sigma-Aldrich | 250 ml | 250 ml
319 | R | Tetrahidrofuran, inhibitor-free, for HPLC, ≥99.9% Synonym: THF | 109-99-9 |  | 34865 Sigma Aldrich | 1 L | 1 L
320 | R | Thymol, Synonym(s): 2-Isopropyl-5-methylphenol, 5-Methyl-2-(1-methylethyl)phenol, 5-Methyl-2-isopropylphenol, IPMP | 89-83-8 |  | W306606-SAMPLE-K Sigma-Aldrich | sample | sample
321 | R | Tocopherols in edible oils, NIST SRM 3278, 5 X 1 mL |  | NIST 3278 |  | 5 x 1 mL | 5 x 1 mL
322 | R | Toluene puriss. p.a., ACS reagent, reag. ISO, reag. Ph. Eur., ≥99.7% (GC) | 108-88-3 |  | 32249-M Sigma Aldrich | 1 L | 5 L
323 | R | trans, trans-2,4-nonadienal, ≥89% | 5910-87-2 |  | W321206 Sigma Aldrich | sample | sample
324 | R | trans,trans-2,4-Decadienal, ≥89%, FG, Synonym: (E,E)-2,4-Decadienal | 25152-84-5 |  | W313505 Sigma-Aldrich | sample | sample
325 | R | trans,trans-2,4-Heptandienal, ≥88%, Synonym: 2,4-Heptadienal | 4313-03-5 |  | W316407 Sigma-Aldrich | sample | sample
326 | R | trans-2,cis-6-Nonadienal, analytical standard, Synonym: Violet leaf aldehyde | 557-48-2 |  | 05549 Supelco | 100 mg | 500 mg
327 | R | trans-2-Heptenal, 97% | 18829-55-5 |  | 324140 Sigma-Aldrich | 5 g | 10 g
328 | R | trans-2-Hexen-1-al, 98% | 6728-26-3 |  | 132659 Sigma-Aldrich | 25 g | 25 g
329 | R | trans-2-Hexen-1-ol, 96% | 928-95-0 |  | 132667 Sigma-Aldrich | 25 g | 25 g
330 | R | trans-2-Hexenoic acid, 99% | 13419-69-7 |  | 193089 Sigma-Aldrich | 10 g | 10 g
331 | R | trans-2-Hexenyl acetate, ≥98%, FCC, FG | 2497-18-9 |  | W256404 Sigma-Aldrich | sample | sample
332 | R | trans-2-Nonenal, analytical standard | 18829-56-6 |  | 07592 Supelco | 1 mL | 2 mL
333 | R | trans-2-Octenal,analytical standard | 2548-87-0 |  | 52464 Supelco | 1 mL | 2 mL
334 | R | trans-2-Octene, 97% | 13389-42-9 |  | 111236 Sigma-Aldrich | 5 g | 5 g
335 | R | trans-2-Penten-1-ol, 95% | 1576-96-1 |  | 424447 Sigma-Aldrich | 5 mL | 5 mL
336 | R | trans-2-Pentenal, ≥95%, FG, Synonym: (E)-2-Pentenal, 2-Ethylacrylic aldehyde, | 1576-87-0 |  | W321818 Sigma-Aldrich | sample | sample
337 | R | trans-2-Undecenal, ≥95%, FG, Synonym: (E)-2-Undecenal | 53448-07-0 |  | W342300 Sigma-Aldrich | sample | sample
338 | R | trans-3-Hexen-1-ol, 97%, Synonym: trans-3-Hexenol | 928-97-2 |  | 224715 Sigma-Aldrich | 5 g | 10 g
339 | A | trans-9-Octadecenoic acid methyl ester, certified reference material, 10 mg/mL in heptane, ampule of 1 Ml, Synonym: Elaidic acid methyl ester, Methyl trans-9-octadecenoate, Methyl elaidate | 1937-62-8 | CRM46903 Supelco |  | ampule po 1 mL | 1 mL
340 | R | trans-Anethole ≥99%, FCC, FG, Synonym(s): 4-Propenylanisole, trans-1-Methoxy-4-(1-propenyl)benzene | 4180-23-8 |  | W208604-SAMPLE-K Sigma-Aldrich | sample | sample
341 | R | trans-Cinnamaldehyde, FCC, FG, Synonym: (E)-Cinnamaldehyde, trans-3-Phenyl-2-propenal, Cinnamic aldehyde | 14371-10-9 |  | W228605 Sigma-Aldrich | sample | sample
342 | R | Tridecane, analytical standard | 629-50-5 |  | 91490 Supelco | 5 mL | 5 mL
343 | R | trifloxystrobin | 141517-21-7 | 46447 Supelco |  | 100 mg | 100 mg
344 | R | Tris buffer 1.0M, pH 8.0, 100 mL, Millipore |  |  | 648314 Millipore | 100 mL | 2 x 100 mL
345 | R | tris(1,3-dichloroisopropyl) phosphate, oz. TDCPP OEKANAL | 13674-87-8 | 32951 Supelco |  | 100 mg | 100 mg
346 | R | Tris(hydroxymethyl)aminomethane, ACS reagent, ≥99.8%, Synonym: 2-Amino-2-(hydroxymethyl)-1,3-propanediol, THAM, Tris base, Trometamol | 77-86-1 |  | 252859 Sigma-Aldrich | 100 g | 100 g
347 | R | Undecane ≥ 99 %, Synonym: n-Undecane, Hendecane | 1120-21-4 |  | U407 Sigma-Aldrich | 25 mL | 25 mL
348 | R | UVAOL, ≥95%, Synonym: Urs-12-ene-3,28-diol | 545-46-0 |  | U6628 Sigma-Aldrich | 25 mg | 25 mg
349 | R | Valencene solution, certified reference material, 2000 μg/mL in methanol, Synonym: Cannabis terpenes, Terpenes |  |  | CRM40934 Supelco | 1 mL | 1 mL
350 | A | Verbascoside, čistost ≥99% | 61276-17-3 |  | 00820580 Sigma Aldrich | 10 mg | 20 mg
351 | A | Voda, CHROMASOLV™ Plus, for HPLC Aqua, Hydrogen Oxide, Hydrogen Hydroxide, Hydrate, Hydric Acid, Dihydrogen Monoxidefor HPLC | 7732-18-5 |  | 34877 Honeywell Riedel de Haen | 2,5 L | 30 L
352 | A | Žveplova (VI) kislina: sulfuric acid, Puriss. P.A., ACS Reagent, Reag. ISO, Reag. Ph. Eur., 95.0-97.0%, ACS Reagent, for determination of Hg, Reag. ISO, Reag. Ph. Eur. | 7664-93-9 |  | 30743 Honeywell Fluka | 1 L | 2 L
353 | R | α-Terpinyl acetate FG, Synonym(s): (±)-α-Terpinyl acetate, predominantly α-isomer, (±)-2-(4-Methyl-3-cyclohexenyl)isopropyl acetate | 80-26-2 |  | W304799-SAMPLE-K Sigma-Aldrich | sample | sample
354 | R | β-Butyrolactone, 98%, Synonym: β-Methyl-β-propiolactone, 3-Hydroxybutyric acid β-lactone, 4-Methyl-2-oxetanone, beta-Butyrolactone | 3068-88-0 |  | 219126 Sigma-Aldrich | 10 g | 10 g
355 | R | β-Carotene, synthetic, ≥93% (UV), powder, Synonym: β,β-Carotene, Provitamin A | 7235-40-7 |  | C9750 Sigma-Aldrich | 5 g | 5 g
356 | R | β-SITOSTEROL, synthetic, ≥95%, Synonym: α-Dihydrofucosterol, 22,23-Dihydrostigmasterol, 24α-Ethylcholesterol, 5-Stigmasten-3β-ol, beta-Sitosterol | 83-46-5 |  | S1270 Sigma-Aldrich | 10 mg | 10 mg
357 | R | γ-Terpinene, 97%, Synonym: 1-Isopropyl-4-methyl-1,4-cyclohexadiene, p-Mentha-1,4-diene, gamma-Terpinene | 99-85-4 |  | 223190 Sigma-Aldrich | 5 mL | 5 mL
358 | R | γ-Undecalactone, ≥98%, FCC, FG Synonym(s): Undecanoic γ-lactone, Aldehyde C14 | 104-67-6 |  | W309109-SAMPLE-K Sigma-Aldrich | sample | sample
359 | A | δ-Tocopherol analytical standard, ampule of 100 mg | 119-13-1 | Supelco 47784 |  | ampule of 100 mg | 2 ampuli | DA

## 2. POTR. MAT. KROMATOGRAFIJA
SKLOP 2: POTROŠNI MATERIAL za kromatografijo
IZPOLNI PONUDNIK
Zap. št. | ARTIKEL | Zahtevana Kat. št. | Kot na primer Kat. št. | Največja enota pakiranja | (Predvidena) letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | 1 replacement septum (Merlin Microseal High Pressure Septa) |  | 24816-U Supelco | 1 kos | 1 kos
2 | 1/16 in. fi nger tight polyketone fi ttings (10/pak) |  | 5042-8957 Agilent | paket (10 kosov) | 1 paket
3 | 1/16 in. PEEK ferrule For use with 5067-1540 fi tting (6/pk) |  | 5067-1547 Agilent | paket (6 kosov) | 1 paket
4 | 1/16 in. plastic fitting, plug |  | 0100-1259 Agilent | 1 kos | 1 kos
5 | 1/16 in. stainless steel back ferrule 10/pk |  | 5180-4114 Agilent | paket (10 kosov) | 1 paket
6 | 1/16 in. stainless steel fi tting Includes nut, front and back ferrules (10/pk) |  | 5062-2418 Agilent | paket (10 kosov) | 1 paket
7 | 1/16 in. stainless steel front ferrule 10/pk |  | 5180-4108 Agilent | paket (10 kosov) | 1 paket
8 | 1/16 in. stainless steel nut, PEEK ferrule (6/pak) |  | 5067-1540 Agilent | paket (6 kosov) | 1 paket
9 | 10 µL syringe for MPS robotic Univ. Syringe Module or MPS liquid za Agilent 7890 B in Gerstel |  | 100111-014-00 Gerstel | kos | 5 kosov
10 | 100µm PDMS Fiber |  | 504823 Supelco | 1 kos | 1 kos
11 | 11 Combination Seal: Magnetic Cap, gold lacquered, centre hole; PTFE red/Silicone white/PTFE red, 45° shore A, 1.0 mm za Agilent 7890 B in Gerstel |  | 093640-007-00 Gerstel | paket (100 kosov) | 5 paketov
12 | 2.5 mL HS syringe for MPS robotic 2.5 mL Headspace Syringe Module za Agilent 7890 B in Gerstel |  | 100106-001-00 Gerstel | kos | 5 kosov
13 | 20 mL SPME Vial, 75.5 x 22.5 mm, clear glass, 1st hydrolytic class, rounded bottom, special crimp neck, printed with Gerstel as well as with SPME za Agilent 7890 B in Gerstel |  | 093640-035-00 Gerstel | paket (100 kosov) | 10 paketov
14 | 20 mm Combination Seal: Magnetic Cap, gold lacquered, 8mm centre hole; Silicone cream/PTFE red, 55° shore A, 1.5mm za Agilent 7890 B in Gerstel |  | 093640-031-00 Gerstel | paket (100 kosov) | 10 paketov
15 | 5 mm high temp./low bleed septa, 50/pak za Agilent 7890 B (coc) |  | 5183-4758 Agilent | paket (50 kosov) | 1 paket
16 | 65µm PDMS/DVB StableFlex Fiber |  | 57359-U Supelco | 1 kos | 1 kos
17 | 70µm Carbowax/DVB |  | 57340-U Supelco | 1 kos | 1 kos
18 | Abrazivni listi 30 µm, aluminijev oksid 5/pk |  | 5061-5896, Agilent | kos | 2 kosa
19 | adapter za stekleni filter za HP 1100 ali 1260 |  | 5062-8517, Agilent | 1 kos | 2 kosa
20 | Agilent Vacuum Fluid 45 Platinum, 1Qt (olje za vakuumsko črpalko) |  | 5191-5851, Agilent | 1 L | 1 L
21 | Aktivni ventil brez vložka za črpalko HPLC |  | G1312-60025 Agilent | 1 kos | 2 kosa
22 | ALS Syringe, 10 µL, fixed needle, 23-26s/42/cone, PTFE-tip plunger |  | 5181-3354 Agilent | 1 kos | 1 kos
23 | ALS Syringe, 10 µL, fixed needle, 23-26s/42/cone, PTFE-tip plunger, 6/pk |  | 5181-3361 Agilent | paket (6 kosov) | 1 paket
24 | Alumina powder za masni GC |  | 393706201 | 100 g | 100 g
25 | Autosampler syringes 10 µl, 6/pak, za AGILENT 6890 in 7890 B |  | 5181-3360 Agilent | paket (6 kosov) | 2 paketa
26 | Bleed/Temp Opt. Non-Stick 11 mm (50/Pk) za Agilent 7890 B in Gerstel |  | 5183-4757 Agilent | paket (50 kosov) | 1 paket
27 | BONDESIL-C18, 40UM, 10GM |  | 12213011 Agilent | 1 kos | 1 kos
28 | Bondesil-PSA, 40 um, 10 gm |  | 12213023 Agilent | 1 kos | 1 kos
29 | Capillary stainless steel 0.12 x 70 mm S/S ns/ns |  | G1316-87303 Agilent | 1 kos | 1 kos
30 | Caps/septa, crimp, headspace, steel, high temperature septa, certified, 20 mm, 100/pk. Cap size: 20 mm |  | 5190-3987 Agilent | 1 kos | 1 kos
31 | Charcoal fi lter (48g) |  | 5043-0230 Agilent | 1 kos | 1 kos
32 | Cloth, lint-free, 23 x 23 cm, 100% cotton, 15/pk za masni GC |  | 05980-60051 | paket (15 kosov) | 1 paket
33 | Column cutter |  | 5181-8836 Agilent | paket (4 kosi) | 1 paket
34 | Column identification modele |  | PN 5062-8588 Agilent | paket (3 kosi) | 1 paket
35 | Column nut 2/PK za Agilent 7890 B in Gerstel |  | 5181-8830 Agilent | paket (2 kosa) | 2 paketa
36 | Column nut fitting za Agilent 7890 B in Gerstel |  | 05988-20066 Agilent | kos | 4 kosi
37 | Cool on column syringes 5 µl removable needle (barrel only) za AGILENT 7890 B |  | 5182-0836 Agilent | kos | 5 kosov
38 | Cool-on-column inlet, insert, 5 silver rings, for 320 um columns |  | 19245-20525 Agilent | 1 kos | 2 kosa
39 | Crimp cap vials, clear, 10 mL, seal size 20 mm |  | 093640-005-0 Gerstel | paket (100 kosov) | 1 paket
40 | Difuzijski pokrovčki za 4 mL vijale, 12/pk |  | 07673-40180 Agilent | paket (12 kosov) | 1 paket
41 | Dispersive SPE 2 mL, Fat and pigments, AOAC |  | 5982-5421 Agilent | 1 kos | 1 kos
42 | Ferrule 0.4 mm VG 0.1-0.25 col 10/PK za Agilent 7890 B in Gerstel |  | 5181-3323 Agilent | paket (10 kosov) | 1 paket
43 | Ferrule 0.5 mm VG cond 0.32 col Ing 10/PK za MSD |  | 5062-3506 Agilent | paket (10 kosov) | 1 paket
44 | Ferrule, 0.4 mm 85/15 % Precond Vespel/ Graphite (10/pk) fits Col. ID 100-250 µm za MSD |  | 5062-3508 Agilent | paket (10 kosov) | 1 paket
45 | Ferrule, 0.5 Graphite 0.32 col 10/PK za Agilent 7890 B (coc) |  | 5080-8853 Agilent | paket (10 kosov) | 1 paket
46 | Ferrule, 0.5 mm VG 0.32 col 10/PK za Agilent 7890 B in Gerstel |  | 5062-3514 Agilent | paket (10 kosov) | 1 paket
47 | Ferrule, 1/16" No-hole 15/85 % (10/pk) za MSD |  | 5181-3308 Agilent | paket (10 kosov) | 1 paket
48 | Ferrule, flexi, inert, 0.25 mm col 10/PK za Agilent 7890 B in Gerstel |  | G3188-27501 Agilent | paket (10 kosov) | 1 paket
49 | Ferrule, flexi, inert, 0.32 mm col 10/PK za Agilent 7890 B in Gerstel |  | G3188-27502 Agilent | paket (10 kosov) | 1 paket
50 | FID flow measuring insert za Agilent 7890 B in Gerstel |  | 19301-60660 Agilent | 1 kos | 1 kos
51 | Fitting for 1.6 mm tube PFA (5/pk) |  | 5043-0229 Agilent | 1 kos | 1 kos
52 | Fitting for 2.3 mm tube PFA (5/pk) |  | 5043-0228 Agilent | paket (5 kosov) | 1 paket
53 | Fitting for 3.2 mm tube PFA (6/pk) |  | 5043-0255 Agilent | paket (6 kosov) | 1 paket
54 | Flame ionization detector cleaning kit. Includes reamers, wire mini brushes, handle |  | 9301-0985 Agilent | 1 kos | 1 kos
55 | Frit adapter, PTFE, 3 mm, 4/pk |  | 5062-8517 Agilent | paket (4 kosi) | 1 paket
56 | Frit adapter, PTFE, 4 mm |  | G1361-23204 Agilent | 1 kos | 1 kos
57 | Frit, 2.1 mm, 0.2 µm, stainless steel, PEEK-encapsulated, for use with p/n 5067-1551, 10/pk |  | 5067-1555 Agilent | paket (10 kosov) | 1 paket
58 | Glass filter, solvent inlet, 20 µm pore size Analytical scale, micro scale |  | 5041-2168 Agilent | 1 kos | 1 kos
59 | Glass filter, solvent inlet, 40 µm pore size Preparative LC |  | 3150-0944 Agilent | 1 kos | 1 kos
60 | Glass Vacuum Filtration Device With Flask, 47/50 mm |  | 16309 Sartorius | 1 kos | 1 kos
61 | Gold plated seal (Agilent) za AGILENT 6890 |  | 5188-5367 Agilent | 1 kos | 4 kosi
62 | Grafitne ferule 0,4 mm ID Agilent za AGILENT 6890 |  | 500-2114 Agilent | paket (10 kosov) | 1 paket
63 | HPLC Flushing Solvent |  | G1969-85026 Agilent | 0,5 L | 0,5 L
64 | InfinityLab stay safe cap, GL45, 1 port. Includes 1 fitting (ID 3.2 mm) and 1 venting valve |  | 5043-1217 Agilent | 1 kos | 2 kosa
65 | InfinityLab stay safe cap, GL45, 2 ports. Includes 2 fittings (3.2 mm) and 1 venting valve |  | 5043-1218 Agilent | 1 kos | 2 kosa
66 | InfinityLab stay safe cap, GL45, 3 ports. Includes 3 fittings (3.2 mm) and 1 venting valve |  | 5043-1219 Agilent | 1 kos | 2 kosa
67 | InfinityLab stay safe cap, GL45, 4 ports, for waste. Includes 4 fittings (2 x 3.2 mm, 1 x 2.5 mm, 1 x 1.6 mm) and 1 leak hose |  | 5043-1220 Agilent | 1 kos | 2 kosa
68 | InfinityLab Stay Safe Purging Bottle |  | 5043-1339 Agilent | 1 kos | 1 kos
69 | InfinityLab Stay Safe venting valve with time strip. 1/4-28 UNF thread |  | 5043-1190 Agilent | 1 kos | 5 kosov
70 | Inlet liner, Ultra Inert, split, low pressure drop, glass wool za Agilent 7890 B in Gerstel |  | 5190-2295 Agilent | kos | 1 kos
71 | Internal Nut, CFT Capillary fitting za Agilent 7890 B in Gerstel |  | G2855-20530 Agilent | kos | 1 kos
72 | Izhodni ventil za binarno črpalko, 400 barov |  | G1312-60067 Agilent | 1 kos | 1 kos
73 | Komplet za vzdrževanje avtomatskega vzorčevalnika (igla, sedišče igle, tesnilo rotorja) za AGILENT 6890 |  | G1313-68709 Agilent | kos | 1 kos
74 | Label clips for solvent lines, 8/pk. For labeling the 3.2 mm OD solvent lines. Includes 1 each marked A, B,C, D, A1, A2, B1, B2 label |  | 5043-1816 Agilent | 1 kos | 1 kos
75 | Large nylon gloves za masni GC |  | 8650-0030, Agilent | 1 par | 3 pari
76 | Liner 4 mm ID LPD 5 kos/PK za AGILENT 6890 |  | 5183-4701 Agilent | paket (5 kosov) | 3 paketi
77 | Liner, splitless, non-deactivated za Agilent 7890 B in Gerstel |  | 210-3003 Agilent | kos | 1 kos
78 | Membrane filters nylon, pore size 0.2 μm, diam. 47 mm |  | WHA7402004 Whatman | paket (100 kosov) | 1 paket
79 | Merlin Microseal High Pressure Septa: 1 nut and 2 septa |  | 24814-U Supelco | 1 kos | 1 kos
80 | Needle 0,25 mm on column, suits 5 ul Syringe, 3/PK |  | 5182-0833 Agilent | paket (3 kosi) | 3 paketi
81 | Needle 0,32 mm on column, suits 5 ul Syringe, 3/PK |  | 5182-0831 Agilent | paket (3 kosi) | 3 paketi
82 | Non-stick Liner O-Ring (10/pk) za Agilent 7890 B in Gerstel |  | 5188-5365 Agilent | paket (10 kosov) | 1 paket
83 | Obsežni testni vzorec pesticidov za LC/MS, 250+spojin |  | 5190-0551 Agilent | 1 kos | 1 kos
84 | Ohišje batov z vzmetmi za HPLC |  | G1311-60002 Agilent | 1 kos | 1 kos
85 | O-ring, non-stick flip-top za AGILENT 6890 |  | 5188-5366 Agilent | paket (10 kosov) | 1 paket
86 | Plunger syringe za Agilent 7890 B in Gerstel |  | 19245-40030 Agilent | kos | 2 kosa
87 | Prazna kolona, FS, deactivated - 180 mm x 10 m |  | 160-2615-10 Agilent | kos | 1 kos
88 | Pre-Drilled Thermogreen LB-2 Septa for SPME 11 mm (pk. of 50) |  | 23168 Supelco | 1 kos | 1 kos
89 | PTFE frite |  | 01018-22707 Agilent | paket (5 kosov) | 1 paket
90 | PTFE Solvent tubing 5 m, 1.5 mm id, 3 mm od |  | 5062-2483 Agilent | 1 kos | 1 kos
91 | PTFE/silicone septa 110/200 C za AGILENT 6890 |  | 9301-0719 Agilent | paket (100 kosov) | 1 paket
92 | QuEChERS extraction kit, EN 15662 method, 50/pk. Kit contents, 4 g MgSO4, 1 g NaCl, 1 g NaCitrate, 0.5 g disodium citrate sesquihydrate with 50 mL tubes |  | 5982-5650 Agilent | 1 kos | 1 kos
93 | Replacement Septa (pk. of 100) for SPME Portable Field Samplers |  | 20638 Supelco | 1 kos | 1 kos
94 | Safirni bat črpalke |  | 5063-6586 Agilent | 1 kos | 2 kosa
95 | Screw caps for 18 mm-screw vials (10/20 mL) Silicone blue / PTFE white, 45° Shore A, 1.3 mm magnetic, silver with whole za Agilent 7890 B in Gerstel |  | 093640-040-00 Gerstel | paket (100 kos) | 10 paketov
96 | Screw plug 1/4” (PTFE) (5/pk) |  | 5043-0233 Agilent | paket (5 kosov) | 1 paket
97 | Screw plug 1/8” (PTFE) 5043-0231 |  | 5043-0231 Agilent | 1 kos | 1 kos
98 | Screw vials with flat top, 20 mL, clear glass, for 18 mm - screw caps za Agilent 7890 B in Gerstel |  | 093640-036-00 Gerstel | paket (100 kos) | 10 paketov
99 | Self Tightening column nut, for Agilent mass spec interface transfer line |  | G3440-81013 Agilent | 1 kos | 1 kos
100 | Self-tightening column nut, collared, inlet/detector |  | G3440-81011 Agilent | 1 kos | 1 kos
101 | Septa 50 pk (Agilent) za AGILENT 6890 |  | 5183-4759 Agilent | paket (50 kosov) | 1 paket
102 | Septum for SPE waste position 19mm Silicon blue transparent PTFE white 45° Shore A, 1.3 mm, package of 10 |  | 093640-071-00, Gerstel | paket (10 kos) | 1 paket
103 | Septum puller, screw design |  | 20353 Supelco | 1 kos | 2 kosa
104 | Silicon-Tube, 2 m, ID 6 mm / AD 9 mm za Agilent 7890 B in Gerstel |  | 015994-002-00 Gerstel | kos | 1 kos
105 | Small nylon gloves za masni GC |  | 8650-0029 | 1 par | 2 para
106 | Solvent bottle (GL45) clear, 2 L, 2 inlets, with cap |  | 5065-4421 Agilent | 1 kos | 1 kos
107 | Solvent bottle, clear, 2 L, 2 inlets |  | 5065-4421 Agilent | 1 kos | 1 kos
108 | Solvent Inlet Tubing & Filters for HPLC Part Number:5067-1551 Filter assembly, in-line, 2.1 mm, 0.2 µm, max 600 bar, 3 frits, 0.12 x 70 mm connecting capillary, SST. |  | 5067-1551 Agilent | 1 kos | 1 kos
109 | SPME Fiber Assebmly 50/30 µm DVB/CAR/PDMS, Stableflex, 23Ga, Autosampler, 3pk (Gray) za Agilent 7890 B in Gerstel |  | 57298-U Supelco | paket (3 kosi) | 5 paketov
110 | SPME fiber assembly Divinylbenzene/Carboxen/Polydimethylsiloxane (DVB/CAR/PDMS) for use with autosampler, needle size 23 ga, metal alloy fiber, fiber L 2 cm |  | 57914-U Supelco | 1 kos | 1 kos
111 | SPME Fiber Assembly Kit, Assortment, Stableflex, 23 Ga, Autosampler, 4pk za Agilent 7890 B in Gerstel |  | 57284-U Supelco | paket (4 kosi) | 3 paketi
112 | SPME fiber, DVB/C-WR/PDMS/10, gray, 3/pk |  | 5191-5874 Agilent | paket (3 kosi) | 2 paketa
113 | SPME inlet guide |  | 57356-U Supelco | 1 kos | 1 kos
114 | SPME Performance Test Mix za Agilent 7890 B in Gerstel |  | 31015 Restek | paket | 1 paket
115 | SPME Portable Field Samplers 75µm PDMS/Carboxen Fiber |  | 504831 Supelco | 1 kos | 5 kosov
116 | SPME Septum Removing Tool |  | 504858 Supelco | 1 kos | 1 kos
117 | stekleni filter za topilo (20 µm pore) |  | 5041-2168 Agilent | 1 kos | 3 kosi
118 | Tesnilo bata za 1100 in 1200 črpalke 2/PK |  | 5063-6589 Agilent | paket (2 kosa) | 2 paketa
119 | Tesnilo bata za 1100 in 1200 črpalke -normalna faza |  | 0905-1420 Agilent | paket (2 kosa) | 1 paket
120 | Tubing, PEEK, 1.6 mm od, 0.18 mm id, 1.5 m |  | 0890-1763 Agilent | 1 kos | 1 kos
121 | Tubing, PTFE (ESD), 0.8 mm id, 1.6 mm od, 6 m |  | 5043-1540 Agilent | 1 kos | 1 kos
122 | UI Liner za Agilent 7890 B in Gerstel |  | 5190-2293 Agilent | kos | 1 kos
123 | UI Liner, splitless, za Agilent 7890 B in Gerstel |  | 5190-2295 Agilent | kos | 1 kos
124 | Ultra Inert liner, Straight, SPME taper, 0.75 mm za Agilent 7890 B in Gerstel |  | 5190-4048 Agilent | kos | 5 kosov
125 | Vatirane palčke 100/pk |  | 5080-5400, Agilent | paket (100 kosov) | 1 paket
126 | Ventil za izpiranje črpalke |  | G1312-60071, Agilent | 1 kos | 1 kos
127 | Viale, 20 mL headspace s pokrovčki za AGILENT 6890 N HEADSPACE |  | 5182-0837, Agilent | paket (100 kosov) | 1 paket
128 | Vložek za aktivni ventil, 400 barov |  | 5062-8562 Agilent | 1 kos | 2 kosa
129 | Vzorčevalna zanka za navadni vzorčevalnik, 100 uL |  | 01078-87302 Agilent | 1 kos | 1 kos
130 | Wrist strap-disposable 4-LG-1W za masni GC |  | 7910031300, Agilent | 1 kos | 5 kosov

## 3-Agilent
SKLOP 3: KROMATOGRAFSKE KOLONE AGILENT TECHNOLOGIES
IZPOLNI PONUDNIK
Zap. št. | kolona za | Naziv kolone | Kat. št. | Proizvajalec | Dimenzija | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | GC | DB-WAX 30m x 0,32mm x 0,50µm Temperature limits: from 20°C to 240°C (250°C) | 123-7033 | Agilent Technologies | 30m x 0,32mm x 0,50µm | 1 kos
2 | GC | HP-5 30m x 0,32mm x 0,25µm Temperature limits: from -60°C to 325°C (350°C) | 19091J-413 | Agilent Technologies | 30m x 0,32mm x 0,25µm | 1 kos
3 | HPLC | Poroshell 120EC-C18 | 699975-302 | Agilent | 3.0 x 50 mm 2.7 micron | 1 kos
4 | HPLC | ZORBAX SB-C18 | 827700-902 | Agilent | Rapid Resolution HT 2.1 x 50 mm 1.8 micron 600 Bar | 2 kos
5 | HPLC | ZORBAX Eclipse XDB-C18 2.1 X 150mm, 3,5 um LC kolona | 930990-902 | Agilent | 2.1 X 150mm, 3,5 um | 1 kos
6 | HPLC | Poroshell 120 HILIC, LC kolona, 600 bar | 693775-901 | Agilent | 2.1 X 150mm, 2.7 um | 1 kos
7 | HPLC | Poroshell 120 Phenyl-Hexyl, LC kolona, 600 bar | 693775-912 | Agilent | 2.1 X 150mm, 2.7 um | 1 kos
8 | GC | DB-WAX 60m x 0,25mm x 0,25µm, high polarity, 7 inch, Temperature limits: from 20°C to 250°C (260°C) | 122-7062 | Agilent Technologies | 60m x 0,25mm x 0,25µm | 1 kos
9 | GC | HP-5ms GC Column, 30 m, 0.25 mm, 0.25 µm, 7 inch cage | 19091S-433 | Agilent Technologies | 30 m, 0.25 mm, 0.25 µm | 1 kos

## 4-Phenomenex
SKLOP 4: PHENOMENEX
IZPOLNI PONUDNIK
Zap. št. | kolona za | Naziv artikla | Kat. št. | Proizvajalec | Dimenzija | Tip | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | HPLC | Kinetex 3.5 µm PAH | 00F-4764-E0 | Phenomenex | LC Column 150 x 4,6 mm | Reverzna faza | 1 kos
2 | HPLC | Luna 5µ PFP (2) 100 A | 00G-4448-E0 | Phenomenex | 250 x 4,60 mm | Reverzna faza | 1 kos
3 | HPLC | Luna 5µ Silica (2) 100 A | 00G-4274-E0 | Phenomenex | 250 x 4,60 mm | Normalna faza | 1 kos
4 | HPLC | predkolona AQ C18 | AJ0-7511 | Phenomenex | 4 x 3.0 mm | Reverzna faza | 1 paket
5 | HPLC | predkolona C18 | AJ0-4287 | Phenomenex | 4 x 3.0 mm | Reverzna faza | 1 paket
6 | HPLC | predkolona Silica | AJ0-4348 | Phenomenex | 4 x 3.0 mm | Normalna faza | 1 paket
7 | HPLC | Rezex RCM-Monosacharide Ca+2 (8%) | 00H-0130-KO | Phenomenex | 300 x 7,80 mm | Ionsko izmenjevalna | 1 kos
8 | HPLC | Rezex RHM-Monosacharide H+ (8%) | 00H-0132-KO | Phenomenex | 300 x 7,80 mm | Ionsko izmenjevalna | 1 kos
9 | HPLC | Rezex RPM-Monosacharide Pb+ (8%) | 00H-0135-KO | Phenomenex | 300 x 7,80 mm | Ionsko izmenjevalna | 1 kos
10 | HPLC | Synergi 4µ Hydro-RP 80Å | 00G-4375-E0 | Phenomenex | 250 x 4,6 mm | Reverzna faza | 1 kos
11 | HPLC | SecurityGuard Guard cartridge Kit | KJ0-4282 | Phenomenex | / | / | 1 kos
12 | HPLC | LiChrospher/Superspher 4u RP-18 100°, New column 250 x 4.0 mm, | 00G-3043-D0 | Phenomenex | 250 x 4.0 mm, | Reverzna faza | 1 kos
13 | GC | Zebron™ ZB-WAX, GC Cap. Column 60 m x 0.25 mm x 0.25 µm, Ea | 7KG-G007-11 | Phenomenex | 60 m x 0.25 mm x 0.25 µm | Polyethylene Glycol, 57 (Polar) | 1 kos

## 5-Restek
SKLOP 5: KROMATOGRAFSKE KOLONE RESTEK
IZPOLNI PONUDNIK
Zap. št. | kolona za | Naziv kolone | Kat. št. | Proizvajalec | Dimenzija | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | GC | Rtx-5 30m x 0,32mm x 0,25µm Crossbond 5% diphenyl - 95% dimethylpolysiloxane Progr T max 350°C, min. bleed at 330°C | 10224 | Restek | 30m x 0,32mm x 0,25µm | 1 kos
2 | GC | Rxi-5HT 30m x 0,32mm x 0,25µm Progr T max 400°C, min. bleed at 400°C | 13924 | Restek | 30m x 0,32mm x 0,25µm | 1 kos
3 | GC | Rtx-5 Column, 15 m x 0.32 mm i.d. x 0.10 μm film tickness | 10206 | Restek | 5 m x 0.32 mm i.d. x 0.10 μm | 1 kos

## 6-Supelco
SKLOP 6: KROMATOGRAFSKE KOLONE SUPELCO
IZPOLNI PONUDNIK
Zap. št. | kolona za | Naziv kolone | Kat. št. | Proizvajalec | Dimenzija | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | GC | 24081 Supelco, SUPELCOWAX® 10 Capillary GC Column, L × I.D. 60 m × 0.25 mm, df 0.25 μm | SU-24081 | Supelco | 60 m × 0.25 mm, df 0.25 μm | 2 kosa
2 | GC | SP-2380 Fused silica Capillary column 60m x 0,25mm x 0,2µm film thickness, T max: 275°C | 24111 | Supelco | 60m x 0,25mm x 0,2µm film thickness | 1 kos
3 | GC | SP-2560 Fused silica Capillary column 100m x 0,25mm x 0,2µm film thickness, T max: 250°C | 24056 | Supelco | 100m x 0,25mm x 0,2µm film thickness | 1 kos
4 | GC | SPB-5 Fused silica Capillary column 30m x 0,25mm x 0,25µm film thickness,T max: 320°C | 24034 | Supelco | 30m x 0,25mm x 0,25µm film thickness | 1 kos

## 7-MZ Analyt. Tech.
SKLOP 7: KROMATOGRAFSKE KOLONE MZ ANALYSENTECHNIK
IZPOLNI PONUDNIK
Zap. št. | Kolona za | Naziv kolone | Kat. št. | Proizvajalec | Dimenzija | Tip | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | HPLC | LiChrospher 100 RP-18 5µm | MZ0145-250040 | MZ ANALYSENTECHNIK | 250 x 4.0mm | Reverzna faza | 1 kos
2 | HPLC | LiChrosorb Diol 5μm, 250x4.0mm | MZ0085-250040 | MZ ANALYSENTECHNIK | 250x4.0mm | Reverzna faza | 1 kos
3 | HPLC | Superspher 100 RP-18 4μm, 250x4.0mm | MZ0254-250040 | MZ ANALYSENTECHNIK | 250x4.0mm | Reverzna faza | 1 kos
4 | HPLC | LiChrosorb Si 60 5 um, 250x4.0mm | MZ0015-250040 | MZ ANALYSENTECHNIK | 250x4.0mm | Normalna faza | 1 kos

## 8-MEGA
SKLOP 8: KROMATOGRAFSKE KOLONE MEGA
IZPOLNI PONUDNIK
Zap. št. | kolona za | Naziv kolone | Kat. št. | Proizvajalec | Dimenzija | predvidena letna količina | Ponujena enota pakiranja | Cena na ponujeno enoto pakiranja (brez DDV v EUR) | Skupna cena na predvideno letno količino (brez DDV v EUR) | DDV | Skupaj (z DDV v EUR) | Kataloška številka DOBAVITELJA
1 | GC | MEGA-SE54 0.25 mm, 0.25 µm, 30 m, 350 °C | S-SE54-025-025-30 | MEGA | 0.25 mm, 0.25 µm, 30 m | 1 kos
2 | GC | MEGA-10 0.25 mm, 0.25 µm, 60 m, 250 °C | C-10-025-025-60 | MEGA | 0.25 mm, 0.25 µm, 60 m | 1 kos
3 | GC | MEGA-SE52 0.32 mm, 0.10 µm, 10 m, 350 °C | SE52-032-010-10 | MEGA | 0.32 mm, 0.10 µm, 10 m | 1 kos
4 | GC | MEGA-SE52 HT (GAP) 0.32 mm, 0.10 µm, 10+2 m, 380 °C | GAP-5HT-032-010-10-2 | MEGA | 0.32 mm, 0.10 µm, 10+2 m | 2 kosa