## REKAPITULACIJA
Vrsta dokumentacije: | Vzdrževanje merilnih sistemov
Projekt: | arso.mm
Verzija: | 5.0
Datum nastanka: | 2023-07-10
Datum zadnje spremembe: | 2023-07-17
Pripadnost: | Agencija RS za okolje
Arhiv: | 2023-07_Ponudbeni-predracun.xlsx
Rekapitulacija:
OPREMA IN INSTALACIJE |  | 0
PRIKLJUČNE DOZE |  | 0
VZDRŽEVALNA DELA NA MERILNIH SISTEMIH |  | 0
POMOŽNI INSTALCIJSKI IN POTROŠNI MATERIAL (10%) |  | 0
SKUPAJ brez DDV |  | 0
SKUPAJ z DDV |  | 0
Note on C11: Admin:
Note on C12: Admin:

## Oprema
|  | Vrsta dokumentacije: | Vzdrževanje merilnih sistemov
|  | Verzija: | 5.0
|  | Datum nastanka: | 2023-07-10
|  | Datum zadnje spremembe: | 2023-07-17
|  | Pripadnost: | Agencija RS za okolje
|  | Arhiv: | 2023-07_Ponudbeni-predracun.xlsx
Z.Š. |  | Opis | ustreza tip | kos-ocena | e. | EUR/e.m. | EUR/skupaj
A | OPREMA IN INSTALACIJE
AI | MERILNE PLOŠČE
1 |  | merilna plošča arso mober 3000.6_1000EO800 | mober_3000_EO800 | 1 | kos |  | 0
2 |  | merilna plošča arso hober 1000_1000EO700-solar | hober_1000_EO700-SP | 1 | kos |  | 0
3 |  | merilna plošča arso gober 1000_1000EO700-solar | gober_1000_EO700-SP | 1 | kos |  | 0
4 |  | merilna plošča arso hober 1000_1000EO700-230V | hober_1000_EO700-230V | 1 | kos |  | 0
5 |  | merilna plošča arso aqober 4000-100-KO (z monitorjem in nosilcem) | aqober_4000-100-KO | 1 | kos |  | 0
6 |  | merilna plošča arso aqober 4000-OM750-MP | aqober_4000-OM750-MP | 1 | kos |  | 0
7 |  | merilna plošča arso aqober 4000-OM700-PM | aqober_4000-OM700-PM | 1 | kos |  | 0
SAI. |  | SKUPAJ AI. |  | 1 | kpl |  | 0
AII | VGRADNI RAČUNALNIK
1 |  | RISC dual-core embedded computer with 8 serial ports, 3 LANs, 4 DIOs, USB, mSATA, and Wireless-and-Security Enabled, wide temperature, Linux pre-installed | UC-8410A-T-LX | 75 | kos |  | 0
2 |  | Disk za UC8410A-T-LX Transcend mSATA 32GB MLC -40..85°C (ind. izvedba) z vijaki M2 za pritrditev | TS32GMSA372I | 75 | kos |  | 0
3 |  | UC-8100 RISC Computer x1, Console cable x 1, GPS antenna x 1, LTE antenna x 2, WiFi antenna x 2, DIN rail mounting kit x 1, 1 GB SD x 1, Power cord x 1, Power adapter x 1, Wi-Fi antenna, cable x 1, Cellular antenna cable x 1, wide operating temperature, Linux pre-installed | UC-8112-LX-STK | 3 | kos |  | 0
4 |  | SD kartica za računalnik UC-8112 (SD, 32 GB industrijska uizvedba z povečanim temperaturnim obsegom -40..80°C) | Kingston SDIT/32GB ali enakovredna | 5 | kos |  | 0
5 |  | uSD kartica za računalnik NanosG20 (uSD, 8 GB industrijska uizvedba z povečanim temperaturnim obsegom -40..85°C) | Kingston SDCIT2/8GB ali enakovredna | 100 | kos |  | 0
6 |  | uSD kartica za vgrajen računalnik (uSD, 32 GB industrijska uizvedba z povečanim temperaturnim obsegom -40..85°C) | Kingston SDCIT2/32GB ali enakovredna | 15 | kos |  | 0
SAII. |  | SKUPAJ AII. |  | 1 | kpl |  | 0
AIII. | SERIJSKI STREŽNIKI, PRETVORNIKI IN ETHERNET STIKALA
1 |  | Industrial RS-232/422/485 Converter. 2.5KV Isolation | TCC-100I (Industrial RS-232/422/485 Converter. 2.5KV Isolation) | 5 | kos |  | 0
2 |  | 1-port RS-232/422/485 serial device server, 100M Multi mode Fiber, SC connector, -40~75 | NPort IA-5150I-M-SC-T | 5 | kos |  | 0
3 |  | 8-port desktop device server, 2 10/100M ethernet, RS-232/422/485 8-pin RJ45, 12~48 VDC, 0~60℃ | NPort 5650-8-DT-J | 12 | kos |  | 0
4 |  | Industrial RS-232/422/485 to single mode fiber converter, SC connector, 2 KV isolation, -40 to 85°C operating temperature | ICF-1150I-S-SC-T | 5 | kos |  | 0
5 |  | 2-port RS-232/422/485 serial device server, 10/100MBaseT(X), 1KV serial surge, -40~75℃ | NPort IA5250A-T | 15 | kos |  | 0
6 |  | Entry-level Managed Industrial Ethernet Switch with 5 10/100BaseT(X) ports, 3 single mode 100BaseFX ports, SC connector, -40 to 75°C | EDS-408A-3S-SC-T | 3 | kos |  | 0
7 |  | Unmanaged PoE Ethernet switch with 4 PoE 10/100BaseT(X) ports, and 2 100BaseFX multi mode port with ST connector, -40 to 75°C | EDS-P206A-4PoE-MM-ST-T | 30 | kos |  | 0
8 |  | Industrial 10/100BaseT(X) to 100BaseFX media converter, multi mode, ST connector, -40 to 75 °C | IMC-21A-M-ST-T | 15 | kos |  | 0
9 |  | Unmanaged Ethernet switch with 6 10/100BaseT(X) ports, and 2 100BaseFX multi-mode ports with ST connectors, -40to75°C operating temperature | EDS-208A-MM-ST-T | 15 | kos |  | 0
10 |  | Unmanaged Ethernet switch with 7 10/100BaseT(X) ports, and 1 100BaseFX multi-mode port with ST connectors, -40to75°C operatingtemperature | EDS-208A-M-ST-T | 15 | kos |  | 0
11 |  | Unmanaged Ethernet switch with 8 10/100BaseT(X) ports, -40to75°C operating temperature | EDS-208A-T | 15 | kos |  | 0
12 |  | Unmanaged PoE Ethernet switch with 1 10/100BaseT(X) ports, 4 PoE 10/100BaseT(X) ports, and 1 100BaseFX multi mode port with ST connector, -40 to 75°C | EDS-P206A-4PoE-M-ST-T | 12 | kos |  | 0
13 |  | Industrial Unmanaged Ethernet Switch with 6 10/100BaseT(X) ports, 3 multi mode 100BaseFX ports, ST connector, -40 to 75°C | EDS-309-3M-ST-T | 5 | kos |  | 0
14 |  | Entry-level managed Ethernet switch with 3 10/100BaseT(X) ports, and 2 100BaseFX multi-mode ports with ST connectors, -40 to 75°C operating temperature | EDS-405A-MM-ST-T | 2 | kos |  | 0
15 |  | Entry-level managed Ethernet switch with 5 10/100BaseT(X) ports, and 3 100BaseFX multi-mode ports with ST connectors, -40 to 75°C operating temperature | EDS-408A-3M-ST-T | 2 | kos |  | 0
16 |  | Unmanaged full Gigabit Ethernet switch with 4 10/100/1000BaseT(X) ports and 1 combo 10/100/1000BaseT(X) or 100/1000BaseSFP port, -40 to 75°C operating temperature | EDS-G205-1GTXSFP-T | 8 | kos |  | 0
17 |  | Unmanaged gigabit PoE switch with 4 PoE 10/100/1000BaseT(X) ports, 1 1000BaseT port, 0 to 60°C | EDS-G205A-4PoE-1GSFP-T | 5 | kos |  | 0
18 |  | Managed full Gigabit Ethernet switch with 8 10/100/1000BaseT(X) ports, and 4 100/1000Base SFP slots, -40°C to 75°C operating temperature | EDS-G512E-4GSFP-T | 3 | kos |  | 0
19 |  | Small Form Factor pluggable transceiver with 1000BaseSX, LC connector, 0.5 km, -20 to 75°C | SFP-1GSXLC-T | 12 | kos |  | 0
20 |  | 16 ports RS-232/422/485 secure device server, 100V~240VAC, -40~75℃ | NPort 6650-16-T | 2 | kos |  | 0
21 |  | Layer 2 Full Gigabit managed Ethernet switch with 20 10/100/1000BaseT(X) ports, and 4 10/100/1000BaseT(X) or 100/1000BaseSFP slot combo ports, 2 isolated power supplies (85 to 264 VAC), -40 to 75°C operating temperature | IKS-G6524A-4GTXSFP-HV-HV-T | 2 | kos |  | 0
SAIII. |  | SKUPAJ AIII. |  | 1 | kpl |  | 0
AIV | NAPAJANJE AC, DC
1 |  | 24/48 VDC power supply for DIN-rail mount 75W/3.2A, 24 VDC, with universal 85 to 264 VAC input | DR-75-24 | 5 | kos |  | 0
2 |  | Power Adapter AD-1201200DV 230Vac 12V 1.2A TUV | PWR-12150-EU-S2 | 15 | kos |  | 0
3 |  | 40W/1.7A DIN-Rail 24V VDC power supply with universal 85 to 264 VAC input: -20~70℃ -40°C..+75°C, z zaščito IP 00 | MDR-40-24 | 15 | kos |  | 0
4 |  | Standard Power Supply, Input: AC 100-240V, DC 110-150V, Output: DC 24-28V, 10A, 240W | Puls_CP10.241 | 60 | kos |  | 0
5 |  | Standard Power Supply, Input: AC 100-240V, DC 110-300V, Output: DC 24-28V, 2.5A, 60W suitable for -40°C and reduced input inrush current | Puls_ML60.242 | 30 | kos |  | 0
6 |  | Standard Power Supply, Input: AC 100-240V, DC 110-300V, Output: DC 12-15V, 4.5A, 54W suitable for -40°C and reduced input inrush current | Puls_ML60.122 | 30 | kos |  | 0
7 |  | Standard DC-UPS Control Unit, Input: DC 24V, Output: 10A, for battery sizes between 3.9 and 40Ah | Puls_UB10.241 | 25 | kos |  | 0
8 |  | Standard DC-UPS Control Unit, Input: DC 24V, Output1: DC 24V, 10A, Output2: DC 12V, 5A, max. 240W, for battery sizes between 3.9 and 40Ah | Puls_UB10.245 | 40 | kos |  | 0
9 |  | Akumulator 42Ah/12Vdc , AGM, VRLA, priključitev kablov z vijaki M6 | FIAMM 12FGL42 | 60 | kos |  | 0
10 |  | Solarni regulator 12V/24V/10A z zaščito | Victron SmartSolar MPPT 75/10 | 20 | kos |  | 0
SAIV. |  | SKUPAJ AIV. |  | 1 | kpl |  | 0
|  | SKUPAJ A. |  |  |  |  | 0
|  | SKUPAJ A.+ DDV |  |  |  |  | 0

## Doze
|  | Vrsta dokumentacije: | Vzdrževanje merilnih sistemov
|  | Verzija: | 5.0
|  | Datum nastanka: | 2023-07-10
|  | Datum zadnje spremembe: | 2023-07-17
|  | Pripadnost: | Agencija RS za okolje
|  | Arhiv: | 2023-07_Ponudbeni-predracun.xlsx
Z.Š. |  | Opis | Ustreza tip | kos-ocena | e. | EUR/e.m. | EUR/skupaj
B | PRIKLJUČNE DOZE
BI | DOZE ZA PRIKLOP SENZORJEV IN KAMER z ohišjem (za MOBER 3000_1000EO800)
|  |  | 3000_A2-1_WMT702 | 2 | kos |  | 0
|  |  | 3000_A2-2_HMP155 | 8 | kos |  | 0
|  |  | 3000_A2-2_HMP155_HMP155 | 8 | kos |  | 0
|  |  | 3000_A2-3_PTB330 | 2 | kos |  | 0
|  |  | 3000_A2-4_PLUVIO2 | 2 | kos |  | 0
|  |  | 3000_A2-5_CL31 | 2 | kos |  | 0
|  |  | 3000_A2-6_LPM | 2 | kos |  | 0
|  |  | 3000_A2-7_SHM30 | 3 | kos |  | 0
|  |  | 3000_A2-8_A0_IRPM | 3 | kos |  | 0
|  |  | 3000_A2-8_A2_LWS | 2 | kos |  | 0
|  |  | 3000_A3-4_SPN1 | 3 | kos |  | 0
|  |  | 3000_A3-5_SMP11 | 3 | kos |  | 0
|  |  | 3000_A3-6_SUVB_SUVE | 6 | kos |  | 0
|  |  | 3000_A3-7_VPF710 | 2 | kos |  | 0
|  |  | 3000_A3-8_HDI | 3 | kos |  | 0
|  |  | 3000_A3-8_SGR3 | 2 | kos |  | 0
|  |  | 3000_B3_123_TPICO64 | 3 | kos |  | 0
|  |  | 3000_C2-8_IO_QMT103_LTS2000 | 5 | kos |  | 0
|  |  | 3000_C3-6_IO_UVS-B-T | 3 | kos |  | 0
|  |  | 3000_C4_CAMERA | 2 | kos |  | 0
|  |  | 3000_C4M_CAMERA | 3 | kos |  | 0
SBI. |  | SKUPAJ BI. |  | 1 | kpl |  | 0
BII | DOZE ZA PRIKLOP SENZORJEV brez ohišja ( za Sinica 4000-O-100_KO in 400-OM750_MP)
|  |  | 4000_A2-1_uSonic | 3 | kos |  | 0
|  |  | 4000_A2-2_hmp155 | 3 | kos |  | 0
|  |  | 4000_A3-5_smp11 | 3 | kos |  | 0
|  |  | 4000_A2-4_pluvio2 | 3 | kos |  | 0
|  |  | 4000_C2-8_io_qmt103_lts2000 | 3 | kos |  | 0
SBII. |  | SKUPAJ BII. |  | 1 | kpl |  | 0
|  | SKUPAJ B. |  |  |  |  | 0
|  | SKUPAJ B.+ DDV |  |  |  |  | 0

## Storitve
|  | Vrsta dokumentacije: | Vzdrževanje merilnih sistemov
|  | Verzija: | 5.0
|  | Datum nastanka: | 2023-07-10
|  | Datum zadnje spremembe: | 2023-07-17
|  | Pripadnost: | Agencija RS za okolje
|  | Arhiv: | 2023-07_Ponudbeni-predracun.xlsx
Z.Š. |  | Opis | kos-ocena | e. | EUR/e.m. | EUR/skupaj
C | VZDRŽEVALNA DELA NA MERILNIH SISTEMIH
CI. | ELEKTROMONTAŽNA DELA, PROGRAMIRANJE, TESTIRANJE, MERITVE
| 1. | ura tehnik laboratorij | 150 | ura |  | 0
1.1
| 2. | ura tehnik teren | 900 | ura |  | 0
2.1
| 3. | ura tehnik redno delo | 600 | ura |  | 0
3.1
| 4. | ura inženir laboratorij | 80 | ura |  | 0
4.1
| 5. | ura inženir teren | 80 | ura |  | 0
5.1
| 6. | ura inženir redno delo | 1800 | ura |  | 0
6.1
7.
| 7.1 | čas na poti | 450 | ura |  | 0
| 7.2 | kilometrina (skladno z Uredbo… v višini 0,42€ na km) | 33000 | km |  | 0
SCI. |  | SKUPAJ CI. | 1 | kmp |  | 0
|  | SKUPAJ C. |  |  |  | 0
|  | SKUPAJ C. + DDV |  |  |  | 0