## Recapitulation
Contractor: |  | ARAO, Vrbina 17, 8270 Krško
Facility: |  | Vrbina LILW Repository, Krško LOT 2 – Repository facilities
| A.8 | PROTECTION OF EXCAVATION PIT AGAINST HYDROFRACTURING
SCHEDULE OF WORKS FOR PROTECTION OF EXCAVATION PIT AGAINST HYDROFRACTURING
OVERALL RECAPITULATION OF THE WORKS TO PROTECT THE EXCAVATION
PIT AGAINST HYDROFRACTURING
| A | CONSTRUCTION OF 13 WELLS AND FINAL DISPOSAL | 0
| B | EQUIPMENT FOR GROUNDWATER ABATEMENT/PUMPING DURING CONSTRUCTION | 0
| C | HYDROGEOLOGICAL WORK CONTRACTOR | 0
| D | THE IMPLEMENTATION OF MEASUREMENT ELEMENTS TO MONITOR THE EFFECTIVENESS OF ABATEMENT | 0
| TOTAL |  | 0
| Contingency 10% |  | 0
| TOTAL quote FOR PROTECTION OF EXCAVATION PIT AGAINST HYDROFRACTURING |  | 0
price excluding VAT
NOTE: Before preparing a tender, it is essential to visit the site and study the project documentation!

## LILW abatement
Contractor: | ARAO, Vrbina 17, 8270 Krško
Facility: | Vrbina LILW Repository, Krško
LOT 2 – Repository facilities
A.8 | PROTECTION OF EXCAVATION PIT AGAINST HYDROFRACTURING
RECAPITULATION OF COSTS
A | WELL MANUFACTURING and FINAL DISPOSAL |  |  |  | 0
1 | Preparatory works
2 | Drilling works
3 | Wells material
4 | Cleaning/activation of wells
5 | Disposal of wells and existing piezometers
B | EQUIPMENT FOR GROUNDWATER ABATEMENT/PUMPING DURING CONSTRUCTION |  |  |  | 0
1 | Preparatory works
2 | Equipment to ensure pumping
3 | Measuring equipment
4 | Equipment for collecting water in a collective pool
5 | Input electricity for submersible pumps
6 | Spare equipment
C | HYDROGEOLOGICAL WORK CONTRACTOR |  |  |  | 0
1 | Installation of equipment
2 | Cutting of well pipes and equipment (20 times per well)
3 | Surveying work
4 | Professional hydrogeological work – Contractor
D | THE IMPLEMENTATION OF MEASUREMENT ELEMENTS TO MONITOR THE EFFECTIVENESS OF ABATEMENT |  |  |  | 0
1 | Preparatory works
2 | Setting up and maintaining a weather station for the duration of drilling and abatement
3 | Implementation of multilevel piezometers
| TOTAL: |  |  |  | 0
| Unforeseen works: | 10% |  |  | 0
| TOTAL: |  |  |  | 0
TOTAL QUOTE: |  |  |  |  | 0
Note: prices are exclusive of VAT
Position | Description | Unit | Quantity | Price/unit | Value
A. | WELL MANUFACTURING AND FINAL DISPOSAL
1. | Preparatory works
1.1. | Stakeout of the axes of the wells | set | 13 |  | 0
1.2. | Transport of drilling kit and equipment with installation and dismantling | flat rate | 1 |  | 0
1.3. | Preparation of a well construction and final disposal technology study (LOT A) | set | 1 |  | 0
2. | Drilling works
2.1. | Hammer drilling in the Quaternary deposits F311.25 mm (13 x 12 m) | m | 156 |  | 0
2.2. | Drilling with a depth hammer Φ 237 mm with simultaneous casing drilling F219 mm to final depth (12-98 m) | m | 1118 |  | 0
2.3. | Transfers between wells | set | 13 |  | 0
2.4. | Piping of wells with production pipes | m | 1274 |  | 0
2.5. | Borehole deviation measurement | set | 13 |  | 0
2.6. | Emptying the skip to a site location (in accordance with the overarching umbrella detailed design) | set | 13 |  | 0
3. | Wells material
3.1. | Inox 304/304L solid pipes Φ 139.7 mm x 3 mm, L =3 m, with JSL couplings | m | 195 |  | 0
3.2. | Inox 304/304L solid pipes Φ 139.7 mm x 3 mm, L =3 m, with JSL couplings | m | 1053 |  | 0
3.3. | Inox 304/304L solid pipes – settling tank Φ 139.7 mm x 3 mm, L =3 m, with JSL female connector and welded bottom | m | 39 |  | 0
4. | Cleaning/activation of wells
4.1. | Installation and dismantling of well cleaning equipment | set | 13 |  | 0
4.2. | Sectoral air-lift | h | 208 |  | 0
4.3. | Parallel and direct air-lift | h | 312 |  | 0
4.4. | Performing slug tests during cleaning (4/well) | set | 52 |  | 0
4.5. | Supply of clean water from the mains water supply | m3 | 221 |  | 0
4.6. | Additional equipment for simultaneous activation of 2 wells and manipulation of equipment | set | 1 |  | 0
4.7. | Option: well tapping (20 h/well) | h | 260 |  | 0
5. | Disposal of wells and existing piezometers
5.1. | Disposal of SDMT-1 | m | 41.5 |  | 0
5.2. | Disposal of JC-1 | m | 100.2 |  | 0
5.3. | Disposal of HG-1 | m | 12 |  | 0
5.4. | Disposal of PRES-1 | m | 90 |  | 0
5.5. | Cementation head treatment of pumping well mouths | set | 13 |  | 0
5.6. | Disposal of pumping wells | m | 557.5 |  | 0
| TOTAL A (WELL MANUFACTURING AND FINAL DISPOSAL) |  |  |  | 0
B. | EQUIPMENT FOR GROUNDWATER ABATEMENT/PUMPING DURING CONSTRUCTION
1. | Preparatory works
1.1. | Preparation of a technological study on groundwater abatement/pumping during construction (LOT B and LOT C) | set | 1 |  | 0
2 | Equipment to ensure pumping
2.1. | Submersible pump with level probes | set | 13 |  | 0
2.2. | Galvanised 5/4" riser and drain ducts | m | 1183 |  | 0
2.3. | Alkaten, PE 80 pipe (2 pcs 1" + 1 pcs 1/2") | m | 3705 |  | 0
2.4. | PE 80 water pipes, 1/2" | set | 13 |  | 0
2.5. | Hydrocyclones and filters | set | 13 |  | 0
2.6. | Electrical control and distribution box IP65 protection with indicator light. Control box with motor protection and level relay. | set | 13 |  | 0
2.7. | Small-scale material (90 elbows, short pieces, T-pieces, valves, taps, couplings, cable ties). | set | 13 |  | 0
2.8. | Input cable 5X2.5 mm2 | m | 520 |  | 0
2.9. | Immersion cable 4x1.5 mm2 | m | 1196 |  | 0
2.10. | PE double-layer cable pipe | m | 520 |  | 0
2.11. | Production of a load-bearing panel | m | 13 |  | 0
2.12. | Insulation material (armaflex) | set | 156 |  | 0
2.13. | Flexible PVC drainage pipe | m | 51 |  | 0
2.14. | Cable support poles for 3.5 m to 4 m height | set | 7 |  | 0
3. | Measuring equipment
3.1. | Measuring probe: measures temperature and electrical conductivity levels, with communication output and transmission to server | set | 13 |  | 0
3.2. | DN 15 flowmeter with pulse encoder and data logger with sending to server | set | 13 |  | 0
3.3. | DN 40 flowmeter with pulse encoder and data logger with sending to server | set | 1 |  | 0
3.4. | Data transfer and server access | month | 14 |  | 0
4. | Equipment for collecting water in a collective pool
4.1. | Collection pool approx. 2 m3 | set | 1 |  | 0
4.2. | Peripheral collection pipe, OZCzg and OZCsp (2x95 m) | m | 190 |  | 0
4.3. | Perimeter pipe convenors | set | 38 |  | 0
5. | Input electricity for submersible pumps
5.1. | Electrical distribution box IP65 | set | 1 |  | 0
5.2. | Inlet cable 5X16 mm2 (60 + 30 m) | m | 90 |  | 0
5.3. | Electricity (pump operation 18h/day, 250 days, 13 wells) | well-day | 3250 |  | 0
6. | Spare equipment
6.1. | Submersible pump | set | 3 |  | 0
6.2. | Pump and riser (of pipe) | set | 3 |  | 0
6.3. | Filters to filter the returned water back into the well | set | 13 |  | 0
6.4. | Flowmeter DN 15 with pulse encoder | set | 1 |  | 0
6.5. | Flowmeter DN 40 with pulse encoder | set | 1 |  | 0
6.6. | Small spare parts (plumbing couplings, electrical couplings, brackets) | set | 13 |  | 0
6.7. | Emergency generator for operation of pumps in the event of a power failure (min 35 kW) with frequency regulator and automatic start-up | set | 1 |  | 0
| TOTAL B (GROUNDWATER ABATEMENT EQUIPMENT): |  |  |  | 0
C. | HYDROGEOLOGICAL WORK CONTRACTOR
1. | Installation of equipment
1.1. | Installation of equipment in the well and connection of other associated metering equipment to the system | hours | 208 |  | 0
1.2. | Lift (with winch) for lowering the submersible pump | hours | 78 |  | 0
1.3. | Connecting to the mains and test run | set | 13 |  | 0
1.4. | Installation of a float dewatering pump and drainage pipework for excavation drainage | set | 1 |  | 0
2. | Cutting of well pipes and equipment (20 times per well)
2.1. | Erection of prefabricated scaffolding | set | 260 |  | 0
2.2. | Removal of drain pipes, well pipes and other equipment | hours | 780 |  | 0
2.3. | Lift | hours | 780 |  | 0
2.4. | Cutting/adding material | set | 260 |  | 0
3. | Surveying works
3.1. | Surveying measurement of the wellhead (immediately after construction and whenever the well is shortened) | set | 273 |  | 0
4. | Professional hydrogeological work – Contractor
4.1. | Conducting a step test and a 7-day pump test on the central well | set | 1 |  | 0
4.2. | Conducting a step test | set | 12 |  | 0
4.3. | Preparation of a well test report | set | 1 |  | 0
4.4. | Management of groundwater abatement during construction, team on standby | days | 450 |  | 0
4.5. | Maintaining a database of hydrogeological pumping data, producing weekly reports of collected l level change diagram and pumping data | set | 65 |  | 0
4.6. | Attending weekly coordination and meetings | set | 65 |  | 0
| TOTAL C (HYDROGEOLOGICAL WORKS) |  |  |  | 0
D. | THE IMPLEMENTATION OF MEASUREMENT ELEMENTS TO MONITOR THE EFFECTIVENESS OF ABATEMENT
1. | Preparatory works
1.1. | Geodetic stakeout of the axis of the multilevel piezometers and verification of the Z-coordinates of the boreholes to reconcile the exact drilling depths. | set | 3 |  | 0
1.2. | Preparation of a technological study for Lot D. | set | 1 |  | 0
1.3. | Transport of drilling kit and equipment | set | 1 |  | 0
2. | Setting up and maintaining a weather station for the duration of drilling and abatement
2.1. | Setting up a weather station | set | 1 |  | 0
2.2. | Geodetic stakeout of the weather station site | set | 1 |  | 0
3. | Implementation of multilevel piezometers
3.1. | Drilling in the area of the conductor casing (153.4-151.4 m a.s.l.), delivery, installation and cementing of the conductor casing (steel seam pipe) with a diameter of 355.6 x 4 mm. | m | 6 |  | 0
3.2. | Hammer drilling in the Quaternary deposits F311.25 mm (3 x 13 m) | m | 39 |  | 0
3.3. | Supply, installation and cementation of piezometric PVC 225 DN10, L=3 m. | m | 45 |  | 0
3.4. | Drilling with a 6 1/2˝ (165.1 mm) diameter rolling cutter and polymer flush at a depth of 138.4 to 83.3 m a.s.l. | m | 165.3 |  | 0
3.5. | Movements between multilevel piezometers | set | 2 |  | 0
3.6. | Measurement of the deviation and caliper (geometry) of a borehole | set | 3 |  | 0
3.7. | Emptying the skip to a site location (in accordance with the overarching umbrella detailed design) | set | 3 |  | 0
3.8. | Supply of clean water from the mains water supply | m3 | 36 |  | 0
3.9. | Disposal of slurry to landfill in accordance with current legislation (estimate 10m3) | set | 1 |  | 0
3.10. | Supply of measuring probes (pressure, temperature) | set | 15 |  | 0
3.11. | Supply and installation of quartz backfill around measuring probes and measuring probes (15 pcs) | m | 15 |  | 0
3.12. | Supply and installation of bentonite pellets | m | 61.5 |  | 0
3.13. | Cementation of boreholes between each measurement probe | m | 88.8 |  | 0
3.14. | Drilling team on-duty time during installation | h | 75 |  | 0
| TOTAL D (IMPLEMENTATION OF MEASUREMENT ELEMENTS) |  |  |  | 0