| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
|  | Oprema omogoča aplikacijo terapije preko inhalacij. |  |
|  | Oprema podpira možnost ventilacije tako za otroke kot odrasle. |  |
|  | Oprema mora biti prenosna z možnostjo fiksne montaže. |  |
|  | Oprema mora vsebovati premično stojalo za fiksno montažo. |  |
|  | Oprema mora delovati tudi brez priključka na kisik in elektriko. Vsebovati mora integrirano baterijo in baterijo, ki jo je mogoče enostavno menjati med delovanjem. |  |
|  | Oprema mora omogočati vse vrste mehanske ventilacije (invazivna, ne-invazivna, podpora s tlakom in volumenska podpora itd.). |  |
|  | Oprema mora biti primerna tudi za uporabo na terenu. |  |
|  | Oprema mora imeti močno ohišje, ki je odporno na udarce ter padce. |  |
|  | Zaslon je primeren za zunanjo uporabo. |  |
|  | Zaslon deluje na različnih temperaturnih območjih med okvirno -15 do +50. |  |
|  | Oprema mora vsebovati senzorje za SpO2 in Co2. |  |
|  | Oprema mora omogočati priklop vlažilec vdihanega zraka. |  |
|  | Oprema mora biti kompatibilna s Sedakonda ACD-S anestezijskim sistemom. |  |

NABAVA NAPRAVE: VENTILATOR ZA MEHANSKO VENTILACIJO PLJUČ PACIENTOV

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

| 1. | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
| 2. | V ponudbo je vključeno tudi enkratno usposabljanje za delo z opremo, v slovenščini ali angleščini. |  |
| 3. | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
| 4. | Garancija: 2 leti. Garancijsko obdobje prične teči po dobavi opreme.** |  |
| 5. | Dobavni rok: najkasneje do 15. 12. 2024 |  |

** Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu.

Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme.

PURCHASE OF DEVICE: VENTILATOR FOR MECHANICAL VENTILATION OF PATIENT’S LUNGS

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Features | Description in the catalogue on page |
| --- | --- | --- |
|  | The equipment allows for therapy application via inhalation. |  |
|  | The equipment supports ventilation options for both children and adults. |  |
|  | The equipment must be portable with the option for fixed installation. |  |
|  | The equipment must include a movable stand for fixed installation. |  |
|  | The equipment must operate without connection to oxygen and electricity. It must contain an integrated battery and a battery that can be easily replaced during operations. |  |
|  | The equipment must allow for all types of mechanical ventilation (invasive, non-invasive, pressure support, and volume support, etc.). |  |
|  | The equipment must also be suitable for use in the field. |  |
|  | The equipment must have a strong housing that is resistant to shocks and drops. |  |
|  | The display shall be suitable for outdoor use. |  |
|  | The display shall operate in a range of temperatures from approximately -15 to +50. |  |
|  | The equipment shall include SpO2 and Co2 sensors. |  |
|  | The equipment shall be able to connect a humidifier for inspired air. |  |
|  | The equipment must be compatible with the Sedaconda ACD-S anaesthesia system. |  |

Other requirements:

| 1. | Provision of spare parts, software upgrades, and service for a minimum of 10 years. |  |
| --- | --- | --- |
| 2. | One-time training for equipment operation, in Slovenian or English is included in the offer. |  |
| 3. | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenia nor English. |  |
| 4. | Warranty: 2 years. The guarantee period starts upon delivery of the equipment.** |  |
| 5. | Delivery deadline: no later than 15th of December 2024 |  |

** Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer.

After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period will commence the day after the report on the installation and commissioning of the equipment is completed.

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema omogoča samodejni izračun pretoka in doze zdravila za aplikacijo. |  |
| 2. | Oprema deluje tudi brez neposrednega napajanja na električno omrežje. |  |
| 3. | Oprema alarmira ob okluzijah, zračnih mehurčkih v sistemu in ob končani aplikaciji zdravila (svetlobno alarmiranje in prikazovanje napak ali sporočil na zaslonu). |  |
| 4. | Oprema ima funkcijo samodejnega odzračevanja sistema za aplikacijo zdravil. |  |
| 5. | Oprema ima v sistemu shranjeno obsežno knjižico zdravil. |  |
| 6. | Oprema omogoča možnost montaže na infuzijsko stojalo. |  |
| 7. | Oprema omogoča povezavo z informacijskim sistemom ustanove. |  |
| 8. | Oprema ni težja od 1,5kg. |  |
| 9. | Oprema omogoča možnosti zaklepanja kontrol ob aplikaciji zdravil. |  |
| 10. | Oprema omogoča pretočnost vsaj od 0,1 ml/h do 1200 ml/h. |  |
| 11. | Oprema omogoča aplikacijo avtomatskega bolusa (avtomatski bolus se sproži tudi ob okluziji). |  |

NABAVA NAPRAVE: INFUZIJSKE ČRPALKE

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

| 1. | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
| 2. | V ponudbo je vključeno tudi enkratno usposabljanje za delo z opremo, v slovenščini ali angleščini. |  |
| 3. | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
| 4. | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. ** |  |
| 5. | Dobavni rok: najkasneje do 15. 12. 2024 |  |

** Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu.

Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme.

PURCHASE OF DEVICE: INFUSION PUMPS

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Features | Description in the catalog on page |
| --- | --- | --- |
| 1. | The equipment allows for automatic calculation of drug flow rate and dosage for administration. |  |
| 2. | The equipment operates even without direct power supply from the electrical grid. |  |
| 3. | The equipment alerts in case of occlusions, air bubbles in the system, and when the drug application is complete (visual alarms and error messages displayed on the screen). |  |
| 4. | The equipment has an automatic air removal function in the drug application system. |  |
| 5. | The equipment has an extensive drug library stored in the system. |  |
| 6. | The equipment allows for mounting on an infusion stand. |  |
| 7. | The equipment allows for integration with the institution's information system. |  |
| 8. | The equipment weighs no more than 1.5kg. |  |
| 9. | The equipment provides options for locking controls during drug administration. |  |
| 10. | The equipment allows for flow rates ranging from at least 0.1 ml/h to 1200 ml/h. |  |
| 11. | The equipment allows for automatic bolus administration (automatic bolus is also triggered in case of occlusion). |  |

Other requirements:

| 1. | Provision of spare parts, software upgrades, and service for a minimum of 10 years. |  |
| --- | --- | --- |
| 2. | One-time training for equipment operation, in Slovenian or English is included in the offer. |  |
| 3. | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenia nor English. |  |
| 4. | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. ** |  |
| 5. | Delivery deadline: no later than 15th of December 2024 |  |

** Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer.

After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period will commence the day after the report on the installation and commissioning of the equipment is completed.

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
|  | Oprema omogoča samodejni izračun pretoka in doze zdravila za aplikacijo. |  |
|  | Oprema deluje tudi brez neposrednega napajanja na električno omrežje. |  |
|  | Oprema alarmira ob okluzijah in zračnih mehurčkih v sistemu (prikazan na zaslonu). |  |
|  | Oprema ima funkcijo samodejnega odzračevanja sistema za aplikacijo zdravil. |  |
|  | Oprema ima v sistemu shranjeno knjižico najbolj pogosto uporabljenih zdravil v kliničnem okolju. |  |
|  | Oprema omogoča možnost montaže na infuzijsko stojalo. |  |
|  | Opreme omogoča funkcijo tarčne koncentracije. |  |
|  | Oprema omogoča povezavo z informacijskim sistemom ustanove. |  |
|  | Oprema omogoča možnosti zaklepanja kontrol ob aplikaciji zdravil. |  |
|  | Oprema ima največ 0,5 – 2% odstopanja pri mehanski natančnosti. |  |

NABAVA NAPRAVE: PERFUZOR

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

| 1. | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
| 2. | V ponudbo je vključeno tudi enkratno usposabljanje za delo z opremo, v slovenščini ali angleščini. |  |
| 3. | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
| 4. | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. ** |  |
| 5. | Dobavni rok: najkasneje do 15. 12. 2024 |  |

** Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu.

Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme.

PURCHASE OF DEVICE: SYRINGE PUMP

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Specifications | Description in the catalog on page |
| --- | --- | --- |
|  | The equipment allows automatic calculation of flow and drug dosage for administration. |  |
|  | The equipment operates without direct connection to the electrical grid. |  |
|  | The equipment alarms in case of occlusions and air bubbles in the system (displayed on the screen). |  |
|  | The equipment has a function for automatic system venting for drug administration. |  |
|  | The equipment has a stored booklet of the most frequently used drugs in a clinical environment. |  |
|  | The equipment allows for mounting on an infusion stand. |  |
|  | The equipment provides a target concentration function. |  |
|  | The equipment allows connection to the institution's information system. |  |
|  | The equipment allows locking of controls during drug administration. |  |
|  | The equipment has a mechanical accuracy deviation of at most 0.5 – 2%. |  |

Other requirements:

| 1. | Provision of spare parts, software upgrades, and service for at least 10 years. |  |
| --- | --- | --- |
| 2. | One-time training for equipment operation, in Slovenian or English is included in the offer. |  |
| 3. | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenia nor English. |  |
| 4. | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. ** |  |
| 5. | Delivery deadline: no later than 15th of December 2024 |  |

** Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer.

After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period will commence the day after the report on the installation and commissioning of the equipment is completed.