NABAVA NAPRAVE: MIOTONOMETER

Tehnične specifikacije in kriteriji za nabavo:

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Naprava meri togost z meritvijo mehaničnega odziva na mehansko motnjo (brez električne stimulacije). |  |
| 2. | Omogoča meritev naravne oscilacijske frekvence (Hz) in dinamične togosti (N/m). |  |
| 3. | Napravo ima lastno baterijo in jo je možno uporabljati v brezžičnem načinu. |  |
| 4. | Naprava omogoča takojšnje odčitavanje rezultatov. |  |
| 5. | Čas posamezne meritve ni daljši od 1 min. |  |
| 6. | Naprave je enostavno prenosljiva, ni težja od 2 kg. |  |
| 7. | Napravo se uporablja prosto (drže v roki), ni omejena na instalacijo v določen prostor. |  |

Druge zahteve:

| 1. | Proizvajalec je dolžan predložiti izjavo o skladnosti. |  |
| --- | --- | --- |
| 2. | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
| 3. | Dobavni rok: najkasneje do 15. 12. 2024 |  |
| 4. | Garancija: 2 leti. Garancijsko obdobje prične teči po dobavi opreme. |  |

PURCHASE OF DEVICE: MYOTONOMETER

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Specifications | Description in the Catalog on Page |
| --- | --- | --- |
| 1. | The device measures stiffness by measuring the mechanical response to mechanical disturbance (without electrical stimulation). |  |
| 2. | Allows measurement of natural oscillation frequency (Hz) and dynamic stiffness (N/m). |  |
| 3. | The device has its own battery and can be used wirelessly. |  |
| 4. | The device allows immediate reading of results. |  |
| 5. | The time for each measurement is no longer than 1 minute. |  |
| 6. | The device is easily portable, weighing no more than 2 kg. |  |
| 7. | The device is used freely (hand-held), not restricted to installation in a specific location. |  |

Other requirements:

| 1. | The manufacturer must provide a declaration of conformity. |  |
| --- | --- | --- |
| 2. | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenia nor English. |  |
| 3. | Delivery deadline: no later than 15th of December 2024 |  |
| 4. | Warranty: 2 years. The guarantee period starts upon delivery of the equipment. |  |