SKLOP 4: SIMULATORJI DELNIH NALOG

| Zaporedna številka | Zahteve za celoten sklop |
| --- | --- |
| 1. | Dobavitelj bo na pisni poziv naročnika izvedel edukacijo za uporabo vse opreme navedene v tem sklopu in sicer na rok, določen v pozivu. |
| 2. | Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu. Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje, za opremo pri kateri je garancija zahtevana, prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme,. |

LOT 4: PARTIAL TASK SIMULATORS

| Serial Number | Requrements for the Entire Lot |
| --- | --- |
| 1. | The supplier will conduct training for the use of all equipment listed in this lot upon written request from the purchaser, within the timeframe specified in the request. |
| 2. | Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer. After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period, for the equipment for which a warranty is required, will commence the day after the report on the installation and commissioning of the equipment is completed. |

NABAVA NAPRAVE: SIMULATOR ZA MERJENJE KRVNEGA TLAKA

Tehnične specifikacije in kriteriji za nabavo:

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjena specifično učenju postopka merjenja perifernega venskega pritiska z uporabo manšete in stetoskopa. |  |
| 2. | Oprema predstavlja roko odrasle osebe od rame navzdol. |  |
| 3. | Oprema ima tipne anatomske značilnosti za pomoč pri izvajanju postopka. |  |
| 4. | Oprema vsebuje model roke, kontroler, napajalnik, manšeto, manometer in torbo za lažje prenašanje. |  |
| 5. | Oprema je narejena iz materialov, ki so anatomsko korektni. |  |
| 6. | Oprema omogoča nastavitev različnih frekvenc pulza in vrednosti perifernega venskega pritiska. |  |
| 7. | Oprema omogoča avskultacijo Korotkoffovih zvokov. |  |
| 8. | Oprema omogoča tipne radialne pulze, ki so sinhronizirani z zvokom in uporabo manšete. |  |
| 9. | Oprema omogoča uporabo pred-naloženih programov za merjenje venskega pritiska. |  |

Druge zahteve:

|  | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
|  | Ob predaji opreme priložen po 1 izvod navodil za uporabo in vzdrževanje, garancijski list in ostala dokumentacija, v slovenskem ali angleškem jeziku. |  |
|  | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
|  | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: SIMULATOR FOR MEASURING BLOOD PRESSURE

Technical specifications and procurement criteria:

| Serial Number | Required Professional and Technical Features | Description in the catalog on page |
| --- | --- | --- |
| 1. | The equipment is specifically designed for learning the procedure of measuring peripheral venous pressure using a cuff and stethoscope. |  |
| 2. | The equipment represents the arm of an adult from the shoulder down. |  |
| 3. | The equipment has tactile anatomical features to assist in performing the procedure. |  |
| 4. | The equipment includes a model arm, controller, power supply, cuff, manometer, and carrying bag for easy transport. |  |
| 5. | The equipment is made from anatomically correct materials. |  |
| 6. | The equipment allows adjustment of different pulse frequencies and values of peripheral venous pressure. |  |
| 7. | The equipment allows auscultation of Korotkoff sounds. |  |
| 8. | The equipment enables palpation of radial pulses synchronized with sound and cuff use. |  |
| 9. | The equipment allows the use of pre-loaded programs for measuring venous pressure. |  |

Other requirements:

|  | Ensures the provision of spare parts, software upgrades, and service for a period of at least 10 years. |  |
| --- | --- | --- |
|  | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, each in on 1 copy and in Slovenian or English. |  |
|  | Easy replacement of consumable parts on the simulator. |  |
|  | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. |  |
|  | Delivery deadline: no later than 15th of December 2024 |  |

NABAVA NAPRAVE: SIMULATOR OSKRBOVANJA STRELNE RANE

Tehnične specifikacije in kriteriji za nabavo:

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana specifično učenju postopka zaustavljanja krvavitve ob strelnih ranah. |  |
| 2. | Oprema predstavlja del telesa, ki je vzdržal strelno rano. |  |
| 3. | Simulator je mogoče pritrditi na standardiziranega pacienta. |  |
| 4. | Oprema je izdelana iz kvalitetnega in vzdržljivega silikona, ki simulira človeško kožo in tkivo. |  |
| 5. | Oprema vsebuje torbo za prenašanje. |  |
| 6. | V ponudbo je vključena tudi simulirana kri s steklenico za shranjevanje, plastičen pladenj in cevka za dovajanje krvi v rano. |  |

Druge zahteve:

|  | Možnosti dobave rezervnih delov in dostopnosti servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
|  | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: GUNSHOT WOUND CARE SIMULATOR

| Serial Number | Required Professional and Technical Features | Description in the catalog on page |
| --- | --- | --- |
| 1. | The equipment is specifically designed for learning the procedure of controlling bleeding from gunshot wounds. |  |
| 2. | The equipment represents the body part that has sustained a gunshot wound. |  |
| 3. | The simulator can be attached to a standardised patient. |  |
| 4. | The equipment is made of high-quality and durable silicone that simulates human skin and tissue. |  |
| 5. | The equipment includes a carrying bag. |  |
| 6. | The offer includes simulated blood with a storage bottle, plastic tray, and tubing for blood delivery into the wound. |  |

Technical specifications and procurement criteria:

Other requirements:

|  | Ensures the availability of spare parts and service for a period of at least 10 years. |  |
| --- | --- | --- |
|  | Easy replacement of consumable parts on the simulator. |  |
|  | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovene or English. |  |
|  | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. |  |
|  | Delivery deadline: no later than 15th of December 2024 |  |

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana specifično učenju postopka igelne dekompresije pnevmotoraksa. |  |
| 2. | Oprema predstavlja trup normalno prehranjenega odraslega človeškega telesa. |  |
| 3. | Oprema ima anatomske značilnosti za pomoč pri lokaciji vbodnega mesta. |  |
| 4. | Za izvajanje intervencije sta na voljo tako srednje aksilarno mesto kot tudi medio-klavikularno mesto. |  |
| 5. | Naročnik dopušča možnost, da simulator omogoča Heimlichov prijem. |  |

NABAVA NAPRAVE: SIMULATOR ZA IGELNO DEKOMPRESIJO

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

| 1. | Zagotavljanje možnosti dobave rezervnih delov in dostopnosti servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
| 2. | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
| 3. | V ponudbo so vključeni tudi potrošni deli (npr. koža, pljuča,…) |  |
| 4. | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
| 5. | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
| 6. | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: NEEDLE DECOMPRESSION SIMULATOR

| Serial Number | Required Professional and Technical Features | Description in the catalogue on page |
| --- | --- | --- |
| 1. | The equipment is specifically designed for learning the procedure of needle decompression of a pneumothorax. |  |
| 2. | The equipment represents the torso of the human body. |  |
| 3. | The equipment has anatomical features to assist in locating the puncture site. |  |
| 4. | Both the mid-axillary and mid-clavicular sites are available for performing the intervention. |  |
| 5. | The Customer allows the possibility for the simulator to provide a Heimlich grip. |  |

Technical specifications and procurement criteria:

Other requirements:

| 1. | Ensures the availability of spare parts and service for a period of at least 10 years. |  |
| --- | --- | --- |
| 2. | Easy replacement of consumable parts on the simulator. |  |
| 3. | Consumable parts (e.g., skin, lungs) are included in the offer. |  |
| 4. | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenian or English. |  |
| 5. | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. |  |
| 6. | Delivery deadline: no later than 15th of December 2024 |  |

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana specifično učenju postopka krikotomije. |  |
| 2. | Oprema predstavlja vratni del odrasle osebe. |  |
| 3. | Oprema ima tipne anatomske značilnosti za pomoč pri identifikaciji lokacije za izvajanje postopka. |  |
| 4. | Oprema vsebuje torbo za prenašanje. |  |
| 5. | Oprema vsebuje tudi simulirana pljuča za preverjanje pravilne izvedbe postopka. |  |

NABAVA NAPRAVE: SIMULATOR KRIKOTOMIJE

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

|  | Zagotavljanje rezervnih delov in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
|  | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
|  | V ponudbo so vključeni tudi potrošni deli (npr. koža, pljuča, traheje,…) |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Garancija: vsaj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: CRICOTHYROTOMY SIMULATOR

Technical specifications and procurement criteria:

Other requirements:

|  | Ensures the availability of spare parts and service for a period of at least 10 years. |  |
| --- | --- | --- |
|  | Easy replacement of consumable parts on the simulator. |  |
|  | Consumable parts (e.g., skin, lungs, trachea) are included in the offer. |  |
|  | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenian or English. |  |
|  | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. |  |
|  | Delivery deadline: no later than 15th of December 2024 |  |

| Serial Number | Required Professional and Technical Features | Description in the catalogue on page |
| --- | --- | --- |
| 1. | The equipment is specifically designed for learning the cricothyrotomy procedure. |  |
| 2. | The equipment represents the neck portion of an adult. |  |
| 3. | The equipment has tactile anatomical features to assist in identifying the location for performing the procedure. |  |
| 4. | The equipment includes a carrying bag. |  |
| 5. | The equipment also includes simulated lungs for verifying the correct execution of the procedure. |  |

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana specifično učenju postopka merjenja glukoze v krvi. |  |
| 2. | Oprema predstavlja dlan osebe, ki je izdelana iz kvalitetenega materiala podobnega pravim tkivom. |  |
| 3. | Oprema ima tipne anatomske značilnosti za pomoč pri identifikaciji lokacije za izvajanje postopka. |  |
| 4. | Oprema vsebuje torbo za prenašanje. |  |
| 5. | Oprema tudi simuliran glukometer preko katerega je možno nastavljanje vrednosti glukoze v krvi in vse potrebne pripomočke za izvajanje postopka. |  |

NABAVA NAPRAVE: SIMULATOR ZA MERJENJE GLUKOZE V KRVI

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

|  | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
|  | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
|  | V ponudbo so vključeni tudi potrošni deli (npr. koža, pljuča, traheje,…) |  |
|  | Garancija: 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: BLOOD GLUCOSE MEASUREMENT SIMULATOR

| Serial Number | Required Professional and Technical Features | Description in the catalogue on page |
| --- | --- | --- |
| 1. | The equipment is specifically designed for learning the procedure of blood glucose measurement. |  |
| 2. | The equipment represents a person's palm, which is made of a high-quality material similar to real tissue. |  |
| 3. | The equipment has tactile anatomical features to aid in identifying the location for performing the procedure. |  |
| 4. | The equipment includes a carrying case. |  |
| 5. | The equipment also includes a simulated glucometer through which blood glucose values can be set and all necessary tools for performing the procedure. |  |

Technical specifications and procurement criteria:

Other requirements:

|  | Provision of spare parts, software upgrades, and service for a period of at least 10 years. |  |
| --- | --- | --- |
|  | Easy replacement of consumable parts on the simulator. |  |
|  | Consumable parts (e.g., skin, lungs, trachea, ...) are included in the offer. |  |
|  | Warranty: 1 year. The guarantee period starts upon delivery of the equipment. |  |
|  | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenian or English. |  |
|  | Delivery deadline: no later than 15th of December 2024 |  |

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana specifično učenju postopka vzpostavitve intraosalne poti, pri čemer se preluknja golenico za aplikacijo zdravil oziroma infuzijskih tekočin. |  |
| 2. | Oprema predstavlja del noge odraslega pod kolenom. |  |
| 3. | Oprema ima tipne anatomske značilnosti za pomoč pri lokaciji vbodnega mesta. |  |
| 4. | Oprema vsebuje sistem pod pritiskom, ki omogoča aspiracijo in aplikacijo tekočine. |  |
| 5. | Oprema je združljiva z večino naprav za vzpostavitev intraosalne poti (npr. EZ-IO) . |  |

NABAVA NAPRAVE: SIMULATOR INTRAOSALNE APLIKACIJE TERAPIJE

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

|  | Zagotavljanje rezervnih delov, nadgradnje programske opreme in servisa za obdobje najmanj 10 let. |  |
| --- | --- | --- |
|  | Možnost enostavne menjave potrošnih delov na simulatorju. |  |
|  | V ponudbo so vključeni tudi potrošni deli (npr. koža, kosti,…) |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Garancija: 1 leto. Garancijsko obdobje prične teči po dobavi opreme. |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: INTRAOSSEOUS THERAPY APPLICATION SIMULATOR

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Features | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | The equipment is specifically designed to teach the procedure of establishing an intraosseous route, whereby the tibia is punctured for the administration of drugs or infusion fluids. |  |
| 2. | The equipment represents a part of an adult leg below the knee. |  |
| 3. | The equipment has tactile anatomical features to assist in locating the insertion site. |  |
| 4. | The equipment includes a pressurized system that allows for aspiration and fluid administration. |  |
| 5. | The equipment is compatible with most devices used for establishing an intraosseous route (for example EZ-IO). |  |

Other requirements:

|  | Provision of spare parts, software upgrades, and service for a period of at least 10 years. |  |
| --- | --- | --- |
|  | Easy replacement of consumable parts on the simulator. |  |
|  | Consumable parts (e.g., skin, bones, ...) are included in the offer. |  |
|  | User manuals, maintenance instructions, warranty, and other documentation are provided upon delivery of equipment, 1 copy of each and in Slovenian or English. |  |
|  | Warranty: 1 year. The guarantee period starts upon delivery of the equipment. |  |
|  | Delivery deadline: no later than 15th of December 2024 |  |

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Oprema je namenjana za pripravo simuliranih pacientov in lutk za delo s simuliranjem ran, modric, bledice, potenja itd. |  |
| 2. | Oprema vsebuje: različne spektre make-up pripravkov za simuliranje modric, poškodb, opeklin, mehurjev; gel za simulacijo ran; puder za obraz, simulirano kri; voske za modeliranje in tekoči lateks in vse druge pripravke, ki omogočajo simuliranje širokega spektra simptomov. |  |
| 3. | Oprema vsebuje trdno plastično torbo za prenašanje. |  |
| 4. | Oprema vsebuje tudi vse potrebne pripomočke za nanašanje in odstranjevanje pripravkov. |  |

NABAVA NAPRAVE: ZDRAVSTVENI KOMPLET ZA LIČENJE

Tehnične specifikacije in kriteriji za nabavo:

Druge zahteve:

| 1. | Ob predaji opreme priložen po 1 izvod navodil za uporabo in vzdrževanje ter morebitna druga dokumentacija, v slovenskem ali angleškem jeziku. |  |
| --- | --- | --- |
| 2. | Zagotavljanje rezervnih delov za obdobje 10 let. |  |
| 3. | V ponudbo je vključeno tudi usposabljanje za delo z opremo. |  |
| 4. | Dobavni rok: najkasneje do 15. 12. 2024 |  |

PURCHASE OF DEVICE: MEDICAL MAKEUP KIT

| Serial Number | Required Professional and Technical Features | Description on catalogue page |
| --- | --- | --- |
| 1. | The equipment is designed for preparing simulated patients and mannequins for simulating wounds, bruises, pallor, sweating, etc. |  |
| 2. | The equipment includes: various makeup products for simulating bruises, injuries, burns, blisters; wound simulation gel; face powder; simulated blood; modelling waxes and liquid latex, and all other preparations necessary for simulating a wide range of symptoms. |  |
| 3. | The equipment includes a sturdy plastic carrying case. |  |
| 4. | The equipment includes all necessary tools for applying and removing the preparations. |  |

Technical Specifications and Procurement Criteria:

Other requirements:

| 1. | User manuals, maintenance instructions and other documentation are provided upon delivery of equipment, each in on 1 copy and in Slovenian or English |  |
| --- | --- | --- |
| 2. | Provision of spare parts for a period of 10 years. |  |
| 3. | Training for using the equipment is also included in the offer. |  |
| 4. | Delivery deadline: no later than 15th of December 2024 |  |