NABAVA NAPRAVE: SIMULATOR PRENOSNEGA MONITORJA

Tehnične specifikacije in kriteriji za nabavo:

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
| 1. | Simulator predstavlja prenosni monitor, ki ga imajo na terenu reševalci. |  |
| 2. | Simulator omogoča prikaz in nadzor vitalnih znakov (utrip, dihanje, SPO2, EKG,...). |  |
| 3. | Simulator je namenjena simulacijam v zunanjem oziroma prehospitalnem okolju, ki od učečih se glede na situacijo zahteva pravilno ukrepanje. |  |
| 4. | Simulator omogoča izvajanje v naprej pripravljenih scenarijev, ki se jih vodi preko tabličnega računalnika |  |
| 5. | Vsebuje tablični računalnik za prikazovanje simuliranega monitorja, defibrilatorja, AED, ventilatorja in CTG. |  |
| 6. | Vsebuje tablični računalnik za krmiljenje simuliranega monitorja. |  |
| 7. | Vsebuje strojno opremo za vzpostavljanje WiFi omrežja. |  |
| 8. | Vsebuje dodatno polnilno baterijo za napajanje naprav (vsaj 15.000 mAh), ki sestavljajo sistem. |  |
| 9. | Vsebuje torbo kamor se shranjuje prenosni monitor življenjskih znakov in omogoča varno ter ustrezno shranjevanje tabličnega računalnika za prikazovanje simuliranega monitorja, polnilne baterije za napajanje naprav, strojno opremo za WiFi in senzorje za merjenje vitalnih funkcij. |  |
| 10. | Vsebuje senzorje za merjenje vitalnih funkcij (12 kanalni EKG, SpO2, CO2, tlak, elektrode za defibriliranje, pulz, elastični trak za CTG in tipala za UZ in Toco). |  |
| 11. | Vsebuje dodatni tablični računalnik namenjen simulaciji merjenja temperature, krvnega sladkorja, avskultacije, merjenju co2 in pagerja. |  |
| 12. | Omogoča prikazovanje različnih prikazov monitorjev, defibrilatorjev, AED in ventilatorjev različnih proizvajalcev oz. modelov iz kliničnega okolja (najmanj treh različnih). |  |
| 13. | Omogoča ustvarjanje in predvajanje scenarijev. |  |
| 14. | Omogoča prikazovanje prej pripravljene dokumentacije pacienta (npr. laboratorijski rezultati, slikovne preiskave, ...). |  |
| 15. | Omogoča beleženje ključnih dogodkov v scenariju. |  |
| 16. | Omogoča krmiljenje simuliranega monitorja, defibrilatorja, AED in ventilatorja. |  |

Druge zahteve:

|  | Ponudba vključuje enkratno usposabljanje osebja za uporabo simulatorja in sicer v slovenščini ali angleščini. |  |
| --- | --- | --- |
|  | Ponudba vključuje programsko opremo z neomejenimi licencami in vsemi posodobitvami. |  |
|  | Zagotavljanje možnosti dobave rezervnih delov, nadgradnje programske opreme, dostopnosti servisa za obdobje najmanj 10 let. |  |
|  | Ponudba vsebuje neomejeno oblačno storitev –online storitev, ki omogoča izdelavo scenarijev in deljenje. |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Garancija: najmanj 1 leto. Garancijsko obdobje prične teči po dobavi opreme. ** |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

** Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu.

Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme.

PURCHASE OF DEVICE: PORTABLE MONITOR SIMULATOR

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Features | Description in the Catalog on page |
| --- | --- | --- |
| 1. | The simulator is a portable monitor that is carried in the field by paramedics. |  |
| 2. | The simulator allows the display and monitoring of vital signs (pulse, respiration, SPO2, ECG, ...). |  |
| 3. | The simulator is designed for simulations in an external or prehospital environment, which requires learners to take the correct action depending on the situation. |  |
| 4. | The simulator allows the execution of pre-defined scenarios, which are guided via a tablet computer. |  |
| 5. | Includes a tablet for displaying a simulated monitor, defibrillator, AED, ventilator, and CTG. |  |
| 6. | Includes a tablet for controlling the simulated monitor. |  |
| 7. | Includes hardware for establishing a WiFi network. |  |
| 8. | Includes an additional rechargeable battery for powering the devices (at least 15,000 mAh) that make up the system. |  |
| 9. | Includes a bag that represents a portable vital signs monitor and provides safe and proper storage for the display tablet, rechargeable battery, WiFi hardware, and sensors for measuring vital signs. |  |
| 10. | Includes sensors for measuring vital signs (12-channel ECG, SpO2, CO2, pressure, defibrillation electrodes, pulse, elastic band for CTG, and sensors for ultrasound and toco). |  |
| 11. | Includes an additional tablet intended for simulating temperature measurement, blood glucose, auscultation, CO2 measurement, and a pager. |  |
| 12. | It allows you to display different displays of monitors, defibrillators, AEDs and ventilators from different manufacturers or models from the clinical environment (at least three different ones). |  |
| 13. | Allows the creation and playback of scenarios. |  |
| 14. | Allows the display of pre-prepared patient documentation (e.g., laboratory results, imaging tests, etc.). |  |
| 15. | Enables recording key events in a scenario. |  |
| 16. | Allows the control of the simulated monitor, defibrillator, AED, and ventilator. |  |

Other requirements

| 1. | The offer includes one-time staff training for using the simulator in Slovenian or English. |  |
| --- | --- | --- |
| 2. | The offer includes software with unlimited licenses and all updates. |  |
| 3. | Ensures the supply of spare parts, software upgrades, and service availability for a period of at least 10 years. |  |
| 4. | The offer includes unlimited cloud service – an online service that allows scenario creation and sharing. |  |
| 5. | Instructions for use and maintenance, warranty card, and other documentation will be provided upon delivery, each in one copy and in Slovenian or English. |  |
| 6. | Warranty: at least 1 year. The guarantee period starts upon delivery of the equipment. ** |  |
| 7. | Delivery deadline: no later than 15th of December 2024 |  |

** Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer.

After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period will commence the day after the report on the installation and commissioning of the equipment is completed.

NABAVA NAPRAVE: PRENOSNI AV SISTEM

Tehnične specifikacije in kriteriji za nabavo:

| Zaporedna številka | Zahtevane strokovne in tehnične lastnosti | Opis je v katalogu na strani |
| --- | --- | --- |
|  | Avdio-vizualna oprema omogoča snemanje in debrifing scenarijev v zunanjem okolju. |  |
|  | Vsebuje prenosno barvno AXIS IP kamero z možnostjo nadzora kadra, primeren za uporabo izven simulacijskega centra. |  |
|  | Vsebuje napravo za kreiranje brezžične povezave (ruter). |  |
|  | Vsebuje mikrofon z velikim dosegom. |  |
|  | Vsebuje tablični računalnik s pripadajočim stilusom za krmiljenje snemanja, pretakanja in shranjevanja videoposnetka ter beleženja ključnih dogodkov. |  |
|  | Vsebuje uporabniku prijazno programsko opremo za gladko delovanje vseh komponent sistema. |  |
|  | Vsebuje vse potrebno za povezovanje, napajanje in shranjevanje ali prenos vseh naprav. |  |
|  | Vsebuje torbo, ki omogoča prenašanje na terenu. |  |

Druge zahteve:

|  | Ponudba vključuje enkratno usposabljanje osebja za uporabo simulatorja in sicer v slovenščini ali angleščini. |  |
| --- | --- | --- |
|  | Zagotavljanje rezervnih delov, nadgradnje programske opreme, servisa za obdobje najmanj 10 let. |  |
|  | Ob predaji opreme priložena po 1 izvod navodil za uporabo in vzdrževanje, garancijskega lista in ostale dokumentacije, v slovenskem ali angleškem jeziku. |  |
|  | Garancija: 2 leti. Garancijsko obdobje prične teči po dobavi opreme. ** |  |
|  | Dobavni rok: najkasneje do 15. 12. 2024 |  |

** Z dnem dostave opreme v prostore naročnika oprema preide v last naročnika. O dobavi se sestavi prevzemni zapisnik. Naročnik si pridržuje pravico, da montažo in zagon ter edukacijo uporabnikov naroči po poteku določenega časovnega obdobja po dobavi opreme. Dobavitelj bo moral na pisni poziv naročnika montirati in zagnati opremo ter izvesti edukacijo na rok, določen v pozivu.

Po izvedeni montaži, zagonu ter edukaciji se sestavi zapisnika o montaži in zagonu opreme. Garancijsko obdobje prične teči naslednji dan po izdelavi zapisnika o montaži in zagonu opreme.

PROCUREMENT OF DEVICE: PORTABLE AV SYSTEM

Technical Specifications and Procurement Criteria:

| Serial Number | Required Professional and Technical Specifications | Description in the catalogue on page |
| --- | --- | --- |
|  | Audio-visual equipment allows recording and debriefing scenarios in an outdoor environment |  |
|  | Includes a portable AXIS IP colour camera with frame control, suitable for use outside the simulation centre. |  |
|  | Includes a device for creating a wireless connection. |  |
|  | Includes a microphone with long-range capability. |  |
|  | Includes a tablet for controlling recording, streaming, and storing video as well as logging key events. |  |
|  | Includes user-friendly software for smooth operation of all system components. |  |
|  | Includes everything necessary for connecting, powering, and storing or transferring all devices. |  |
|  | Includes a carry bag to allow carrying on the field. |  |

Other requirements:

| 1. | The offer includes one-time staff training for the use of the simulator and in Slovenian or English. |  |
| --- | --- | --- |
| 2. | Provision of spare parts, software upgrades, and service for at least 10 years. |  |
| 3. | Instructions for use and maintenance, warranty card, and other documentation will be provided upon delivery, each in one copy and in Slovenian or English. |  |
| 4. | Warranty: 2 years. The guarantee period starts upon delivery of the equipment. ** |  |
| 5. | Delivery deadline: no later than 15th of December 2024 |  |

** Upon delivery of the equipment to the customer's premises, the equipment becomes the property of the customer. A delivery report will be prepared. The customer reserves the right to schedule the installation, commissioning, and user training for a period after the delivery of the equipment. The supplier will be required to install and commission the equipment, as well as conduct the training, within the timeframe specified in the written request from the customer.

After the installation, commissioning and training, a report on the installation and commissioning of the equipment will be prepared. The warranty period will commence the day after the report on the installation and commissioning of the equipment is completed.