## MP_mdeg-1000EO700 (2)
Z.Š. |  |  | Opis | ustrezen tip | kos | e. | EUR/e.m. | EUR/skupaj
A | MERILNI SISTEM (MP_mdeg-1000EO700 )
AI. | mas-5000 embedded computer
SAI. |  |  | SKUPAJ AI. |  | 1 | kmp
| 1. | N2 | KE | mdeg1709 | 1 | kos |  | 0
|  |  | VF konektor N-tip moški | N H155 crimp | 1 | kos |  | 0
|  |  | VF konektor N-tip ženski | N H155 crimp NAV | 1 | kos |  | 0
|  |  | VF konektor FME-tip ženski | SMA crimp vtičnica H155 | 1 | kos |  | 0
|  |  | VF koaksial kabel | H155 | 1 | m |  | 0
SAI. |  |  | SKUPAJ AI. |  | 1 | kmp |  | 0
AII. | NAPAJALNI SISTEM
| 1. | PS/A PS/B | Victron MPPT75/10 | MPPT75/10 | 2 | kos |  | 0
| 2. | BAT/A BAT/B | Battery Lead Acid | FIAMM FG24204 | 2 | kos |  | 0
SAII. |  |  | SKUPAJ AII. |  | 1 | kmp |  | 0
AIII. | PRENAPETOSTNE ZAŠČITE
| 1. | Z.24A Z.24B | Photovoltaic Systems - 48Vdc solar panel | PROTEC DMDR20 48 | 2 | kos |  | 0
|  | Z.12A Z.12B | Photovoltaic Systems - 12Vdc power supply | PROTEC DMDR20 24 | 2 | kos
| 2. | Z3 | Surge protection supplay line 12Vdc | WSSC6 MOV | 1 | kos |  | 0
| 3. | Z.rs485 | Surge protection signal/control lines rs485_wxt535, rs485_smp11 | WSSC6 RS485 | 2 | kos |  | 0
| 4. | Z3.RF | Surge protection of coaxial/RF systems | CP-N-MF-180 0-6G | 1 | kos |  | 0
SAIII. |  |  | SKUPAJ AIII. |  | 1 | kmp |  | 0
AIV. | STIKALA, VAROVALKE, RELEJI, SPONKE, UVODNICE, KANALI, MONTAŽNA PLOŠČA, KABLI
| 1 | S1 | Stikalo z vzvodom - vrata omarice | XCKP2145M12
|  |  | telo stikala | ZCP21 | 1 | kos |  | 0
|  |  | glava stikala (90°) | ZCE01 | 1 | kos |  | 0
|  |  | ročica stikala | ZCY45 | 1 | kos |  | 0
| 2 |  | stikala za vgradnjo na letev
|  | Q.A Q.B | Stikalo 2-polno | SV 125 | 2 | kos |  | 0
| 3 |  | Instalacijski odklopniki, varovalke
|  | F2.12A F2.12B | avtomatska varovalka 2-polna DC | ETIMAT DC C6 | 2 | kos |  | 0
|  | F4.BAT/A F4.BAT/B | avtomatska varovalka 2-polna DC | ETIMAT DC C6 | 2 | kos |  | 0
|  | F3.12A | cevna varovalka (5x20) | F2,5/250 | 1 | kos |  | 0
| 4 |  | Vijačne vrstne sponke
|  |  | widemuler dark beige (ord.nu. 1783790000) | DLD 2.5/PE DB | 5 | kos |  | 0
|  |  | zaključne ploščice za DLD2.5/PE DB (ord.nu. 1783800000) | AP DLD 2.5/PE DB | 2 | kos |  | 0
|  |  | mostički za DLD sponke (ord.nu. 131310000) | Q10DLI | 1 | kos |  | 0
|  |  | widemuler ločilna sponka dvonivojska (ord.nu. 1015900000) | WDT 1.5/2 BE/GE | 2 | kos |  | 0
|  |  | widemuler ločilna sponka s stikalom (ord.nu. 1855620000) | WTR2.5 StB2.3 | 2 | kos |  | 0
|  |  | zaključne ploščice za WTR2.5 StB2.3 (ord.nu. 1050000000) | WAP 2.5-10 | 2 | kos |  | 0
|  |  | dvonivojska sponka z varovalko (ord.nu. 9532440000) | KDKS 1/35 DB | 1 | kos |  | 0
|  |  | zaključne ploščice za KDKS 1/35 DB (ord.nu. 9532470000) | AP KDKS1 DB | 1 | kos |  | 0
|  |  | streme vijačno srednje bež (part. No. 1061200000) | WEW35/2 | 16 | kos |  | 0
|  |  | oznake (part. No. 1112940000) | MC WAD 8 BELA | 14 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660001) | DEK 5 GW 1 | 21 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660002) | DEK 5 GW 2 | 21 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660003) | DEK 5 GW 3 | 13 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660004) | DEK 5 GW 4 | 7 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660005) | DEK 5 GW 5 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660006) | DEK 5 GW 6 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660007) | DEK 5 GW 7 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660008) | DEK 5 GW 8 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660009) | DEK 5 GW 9 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660010) | DEK 5 GW 10 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660011) | DEK 5 GW 11 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660012) | DEK 5 GW 12 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660013) | DEK 5 GW 13 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660014) | DEK 5 GW 14 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660015) | DEK 5 GW 15 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660016) | DEK 5 GW 16 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660017) | DEK 5 GW 17 | 3 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660018) | DEK 5 GW 18 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660019) | DEK 5 GW 19 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660020) | DEK 5 GW 20 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660021) | DEK 5 GW 21 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660022) | DEK 5 GW 22 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660023) | DEK 5 GW 23 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522660024) | DEK 5 GW 24 | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0576261198) | DEK 5 GW + | 8 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0576261199) | DEK 5 GW - | 8 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522761044) | DEK 5 GW X | 28 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522761032) | DEK 5 GW L | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0522761034) | DEK 5 GW N | 0 | kos |  | 0
|  |  | oznake za vrstne sponke (part. No. 0537261187) | DEK 5 GW PE | 8 | kos |  | 0
|  |  | zbiralka za izenačitev potencialov 10 polna |  | 2 | kos |  | 0
|  |  | din letev za montažo sponk,.. |  | 3 | m |  | 0
| 7. |  | kabli in kanali za ožičenje
|  |  | Perforirani PVC kanal za ožičenje, sivi, 2 m, 60x40 mm |  | 4 | m |  | 0
|  |  | 24V dc UPS | vodnik H05V-K 1x0,75 rj | 5 | m |  | 0
|  |  | 12V dc UPS | vodnik H05V-K 1x0,75 rd | 5 | m |  | 0
|  |  | 0V dc UPS | vodnik H05V-K 1x0,75 mo | 5 | m |  | 0
|  |  | 230V ac | vodnik H07V-K 1x1,5 čr | 5 | m |  | 0
|  |  | N | vodnik H07V-K 1x1,5 mo | 5 | m |  | 0
|  |  | PE | vodnik H07V-K 1x1,5 ze/ru | 5 | m |  | 0
|  |  | signalni kabel LIYCY 12x0.25 Unitronic |  | 0 | m |  | 0
|  |  | ETHERLINE FD P CAT.5 4x2x26/19AWG |  | 0 | m |  | 0
|  |  | RJ45 konektorji () |  | 0 | kos |  | 0
|  |  | Zaščitna plasika za RJ45 () |  | 0 | kos |  | 0
| 8. | MP1 | montažna plošča s poličko 1700 EO700 | 1000EO700 | 1 | kmp |  | 0
|  |  | Uvodnica M16 (part. No. 1909910000) | VG M16-1/MS 68 | 8 | kos |  | 0
|  |  | Matica za uvodnico M16 (part. No. 1736990000) | SKMU M16-MS | 8 | kos |  | 0
|  |  | Uvodnica M20 (part. No. 1772220000) | VG M20-MS 68 | 2 | kos |  | 0
|  |  | Matica za uvodnico M20 (part. No.1737000000) | SKMU M20-MS | 2 | kos |  | 0
| 9. |  | votlice, trakovi za ozačitev stremen |  | 1 | kmp |  | 0
| 10 |  | drobni material |  | 1 | kmp |  | 0
SAIV. |  |  | SKUPAJ AIV. |  | 1 | kmp |  | 0
|  |  | SKUPAJ A. |  |  |  |  | 0