## Podsklop 1
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN ZA SKLOP 1 – Podsklop 1
VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA KARL STORZ – korektivno vzdrževanje in rezervni deli
ZŠ | Kataloška številka | Opis | EM | Količina | Cena na EM brez DDV (EUR) | Vrednost brez DDV (EUR)
KOREKTIVNO VZDRŽEVANJE
1. |  | cena delovne ure servisnega tehnika | ura | 300 | 0 | 0
2. |  | cena prihoda servisnega tehnika na lokacijo naročnika | prihod | 30 | 0 | 0
REZERVNI DELI
Rezervni deli za vzdrževanje medicinskih aparatov proizvajalca Karl Storz
3. | ET27-30-0004697 | Plug adapter eu | kos | 2 | 0 | 0
4. | ET27-30-0004695 | Power supply | kos | 2 | 0 | 0
5. | 8403KXC | C-MAC® Video Laryngoscope MAC #2 | kos | 1 | 0 | 0
6. | 8403AXC | C-MAC® Video Laryngoscope MAC #3 | kos | 1 | 0 | 0
7. | 8403BXC | C-MAC® Video Laryngoscope MAC #4 | kos | 1 | 0 | 0
8. | 8403X | C-MAC® Connecting Cable | kos | 1 | 0 | 0
9. | 8403DXC | C-MAC® Video Laryngoscope MIL #0 | kos | 1 | 0 | 0
10. | 8403EXC | C-MAC® Video Laryngoscope MAC #0 | kos | 1 | 0 | 0
11. | 8403GXC | C-MAC® Video Laryngoscope MIL #1 | kos | 1 | 0 | 0
12. | 8403HX | C-MAC® Video Laryngoscope D-BLADE | kos | 1 | 0 | 0
13. | 8403XA | Extension Cable C-HUB® II/C-MAC® | kos | 1 | 0 | 0
14. | 8403XDA | Battery for C-MAC® PM, rechargeable | kos | 2 | 0 | 0
15. | 8403XDD | USB Data Cable for C-MAC® PM 8403XD | kos | 2 | 0 | 0
16. | 8403XDL | Charging Unit for C-MAC® PM | kos | 2 | 0 | 0
17. | 8403XDP | C-MAC® PM Connecting Cable | kos | 1 | 0 | 0
18. | 8403YZ | Protection Cap, for the C-MAC® | kos | 2 | 0 | 0
19. | 8403XSI | C-MAC® S Imager | kos | 1 | 0 | 0
20. | ET27-30-0008402 | Front panel C-MAC | kos | 1 | 0 | 0
21. | ET27-30-0008444 | Power supply board C-Mac | kos | 1 | 0 | 0
22. | ET27-30-0008654 | Main board | kos | 1 | 0 | 0
23. | ET27-30-0008758 | Lithium-Ion, 3.6 V 7800 mAh battery | kos | 2 | 0 | 0
24. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
25. | 27801 | Connecting Cord | kos | 2 | 0 | 0
26. | 27806 | Connecting Cord | kos | 2 | 0 | 0
27. | 27806UR | Connecting cord neutral electrode | kos | 2 | 0 | 0
28. | 27806US | Connecting cord neutral electrode | kos | 2 | 0 | 0
29. | 26520043 | Handle | kos | 2 | 0 | 0
30. | 26520045 | High Frequency Cord | kos | 2 | 0 | 0
31. | 2152991 | CABLE/ASM/FOOTSWITCH/FGG.1B/8P/3,1m | kos | 1 | 0 | 0
32. | 27176LEB | Bipolar HF-cable | kos | 2 | 0 | 0
33. | 20017831 | Tree-pedal footswitch | kos | 1 | 0 | 0
34. | 20017830 | Two-pedal Footswitch, for AUTOCON II* | kos | 1 | 0 | 0
35. | 1163890 | Power switch | kos | 1 | 0 | 0
36. | 2715591 | Front module inc. touch screen, | kos | 1 | 0 | 0
37. | 30140-251 | Monopolar 3-pin Bovie socket module | kos | 1 | 0 | 0
38. | 30140-252 | Monopolar 3-pin Erbe socket module | kos | 1 | 0 | 0
39. | 30140-253 | Bipolar socket module | kos | 1 | 0 | 0
40. | 30140-254 | Bipolar US-2-pin socket module | kos | 1 | 0 | 0
41. | 30140-256 | Netural electrode 2-pin socket module | kos | 1 | 0 | 0
42. | 30140-257 | Netural electrode 6,3 mm jack socket module | kos | 1 | 0 | 0
43. | 30140-258 | Bipolar multifunction socket module | kos | 1 | 0 | 0
44. | 1905191 | ESI interface board | kos | 1 | 0 | 0
45. | 1906490 | Backlight inverter | kos | 1 | 0 | 0
46. | 1907591 | Core module | kos | 1 | 0 | 0
47. | A904-507 | Karl Storz SCB flash module | kos | 1 | 0 | 0
48. | 1927991 | Front fan | kos | 1 | 0 | 0
49. | 2260490 | Side cover | kos | 1 | 0 | 0
50. | 1905890 | Extra-low voltage supplay unit II, 40 W, 24 V | kos | 1 | 0 | 0
51. | 1915891 | KARL STORZ SCB socket board | kos | 1 | 0 | 0
52. | 1904990 | Black box HF generator | kos | 1 | 0 | 0
53. | 2716090 | Housing cover | kos | 1 | 0 | 0
54. | 5981402 | Over head screw M 3 × 16 | kos | 1 | 0 | 0
55. | 400A | Mains cord, length 300 cm | kos | 1 | 0 | 0
56. | 20133025 | XENON Spare Lamp Module | kos | 1 | 0 | 0
57. | 20133027 | XENON Spare Lamp Module | kos | 1 | 0 | 0
58. | 20133625 | Spare Lamp Module, D-Light C/AF | kos | 1 | 0 | 0
59. | 20133725 | Spare Lamp Module D-Light P | kos | 1 | 0 | 0
60. | 20100032 | Fluorescein Blue Filter System | kos | 1 | 0 | 0
61. | 20100033 | Fluorescein Barrier Filter | kos | 1 | 0 | 0
62. | 20123027 | Halogen metal vapor lamp 270 Watt | kos | 1 | 0 | 0
63. | 20133028 | XENON Lamp, 300 watt, 15 volt | kos | 2 | 0 | 0
64. | 20132025 | XENON Spare Lamp Module, | kos | 3 | 0 | 0
65. | 20132026 | Xenon Spare Lamp 175 watt | kos | 2 | 0 | 0
66. | 20132526 | Xenon Spare Lamp 100 Watt | kos | 1 | 0 | 0
67. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
68. | 094204 | LED Headlight KS70, yellowish light | kos | 1 | 0 | 0
69. | 094003 | Headlight with Handle 094005 | kos | 1 | 0 | 0
70. | 094005 | Handle, sterilizable, for 094001 | kos | 1 | 0 | 0
71. | 094006 | Adjusting device | kos | 1 | 0 | 0
72. | 094051 | Headlight with ball joint | kos | 1 | 0 | 0
73. | 094053 | Headlight | kos | 2 | 0 | 0
74. | 094105 | Extension cable for LED-Headlights | kos | 1 | 0 | 0
75. | 094108B | Cover for battery box | kos | 2 | 0 | 0
76. | 094109 | Holding Band for light source 094108 | kos | 1 | 0 | 0
77. | 094125A | Li-Ion rechargeable battery cell | kos | 3 | 0 | 0
78. | 094127 | Mains Cord for Battery Charger | kos | 2 | 0 | 0
79. | 094203 | LED Headlight KS70, white light | kos | 2 | 0 | 0
80. | 094207 | Control Unit for LED Headlight KS70 | kos | 1 | 0 | 0
81. | 094208 | Battery Box for LED Headlight KS70 | kos | 1 | 0 | 0
82. | 094220 | LED Headlight KS70, white light | kos | 1 | 0 | 0
83. | 094224 | Battery Pack for LED Headlight KS70 | kos | 1 | 0 | 0
84. | 094229 | Charger USB for KS70 and 11301 DL | kos | 1 | 0 | 0
85. | 094230 | LED Headlight KS70, yellowish light | kos | 1 | 0 | 0
86. | 094301 | Headlight, light model | kos | 1 | 0 | 0
87. | 094302 | Headlight, without headband | kos | 1 | 0 | 0
88. | 20090170 | SCB Connecting Cord, length 100cm | kos | 1 | 0 | 0
89. | 2152991 | CABLE/ASM/FOOTSWITCH/FGG.1B/8P/3,1m | kos | 1 | 0 | 0
90. | 20014130 | One-pedal-Footswitch | kos | 1 | 0 | 0
91. | XE00-001245 | Hausing fan Xenon | kos | 1 | 0 | 0
92. | XE00-001278 | Main board | kos | 1 | 0 | 0
93. | XE00-001478 | Power switch | kos | 1 | 0 | 0
94. | XE00-001532 | Power supply board | kos | 1 | 0 | 0
95. | XE00-001789 | Front panel | kos | 1 | 0 | 0
96. | XE00-001899 | Touch screen front panel for LED light | kos | 1 | 0 | 0
97. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
98. | TM00-00202166 | Main board | kos | 1 | 0 | 0
99. | TM00-00202678 | Control Board | kos | 1 | 0 | 0
100. | TM00-00202978 | LCD LED panel | kos | 1 | 0 | 0
101. | TM003 | 3D Polarization Glasses, fogless (replacement for 9800GF) | kos | 1 | 0 | 0
102. | TM00-00203878 | LCD Touch screen | kos | 1 | 0 | 0
103. | TM00-00203898 | LCD rear case | kos | 1 | 0 | 0
104. | TM00-00204723 | LCD protective glass | kos | 1 | 0 | 0
105. | 20040286 | DVI Connecting Cable, Length 760 cm | kos | 1 | 0 | 0
106. | 20040089 | DVI connecting cable, length 300 cm | kos | 1 | 0 | 0
107. | 20040086 | DVI Connecting Cable, Length 200 cm | kos | 1 | 0 | 0
108. | 9419PS | Power Supply | kos | 1 | 0 | 0
109. | 400A | Mains cord, length 300 cm | kos | 1 | 0 | 0
110. | MC051077-10 | ASM, CABLE,IMAGE 1, H3-Z, ROHS | kos | 1 | 0 | 0
111. | MC051027-05 | ASSY,CBL,TELE,EMC,BUTS,STERRAD | kos | 1 | 0 | 0
112. | MC051074-10 | ASM, CABLE,IMAGE 1, H3A | kos | 1 | 0 | 0
113. | MC023399-01 | FINGERS. SPRING, RECEPTABLE, CABLE, HD-1 | kos | 1 | 0 | 0
114. | MC051045-05 | ASM,CBL,AUTOCLAVE,1CCD21 PIN,PLASTIC HSG* | kos | 1 | 0 | 0
115. | MC061279-02 | SD connection socket, complete* | kos | 1 | 0 | 0
116. | MC062262-00 | HD socket circuit board* | kos | 1 | 0 | 0
117. | MC062262-03 | ASM, PWB, CONNECTOR RECEPTICLE, HD3, CONN | kos | 1 | 0 | 0
118. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
119. | 20090170 | SCB Connecting Cord, length 100cm | kos | 1 | 0 | 0
120. | 20040240US | USB Silicon Keyboard with Touchpad, US | kos | 1 | 0 | 0
121. | 6349190 | Lens plug for camera heads | kos | 1 | 0 | 0
122. | 96240726 | Democard Fluorescence Imaging | kos | 1 | 0 | 0
123. | MC018763-00 | O-ring, camera cable H3-Z/H3-ZA/H3-FA | kos | 1 | 0 | 0
124. | MCRF62705-00 | FRU, MOTHERBOARD, X-LINK, RF | kos | 1 | 0 | 0
125. | MCRF62900-00 | FRU, ASM, PWB, MB, D3 LINK, RF | kos | 1 | 0 | 0
126. | MC072589-08 | Power switch Image 1 | kos | 1 | 0 | 0
127. | MC077389-08 | Frame graber board Image 1 | kos | 1 | 0 | 0
128. | MC0793811-08 | CMOS sensor Image 1 | kos | 1 | 0 | 0
129. | MC0798711-08 | CCD sensor Image 1 | kos | 1 | 0 | 0
130. | MC077569-11 | Power supply board Image 1 | kos | 1 | 0 | 0
131. | MC079001-08 | Camera housing TH | kos | 1 | 0 | 0
132. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
133. | UI001 | Low Pressure Tube, CO2, 150 cm | kos | 1 | 0 | 0
134. | UI002 | Low pressure tube, CO2, 3 m | kos | 1 | 0 | 0
135. | UI003 | Low pressure tube, CO2, 6 m | kos | 1 | 0 | 0
136. | 20400032 | HP Inline Filter | kos | 1 | 0 | 0
137. | 20400027 | High Pressure Hose | kos | 1 | 0 | 0
138. | 20400002 | High Pressure T-Connector Set | kos | 1 | 0 | 0
139. | 20400028 | High Pressure Hose | kos | 1 | 0 | 0
140. | 20400030 | Universal Wrench | kos | 1 | 0 | 0
141. | 20400022 | High Pressure Hose | kos | 1 | 0 | 0
142. | 20090170 | SCB Connecting Cord, length 100cm | kos | 1 | 0 | 0
143. | ET15-1453696 | Gas pressure sensor board | kos | 1 | 0 | 0
144. | ET15-1878890 | SENSOR/CABLE/FLOW/SQ715-12274 | kos | 1 | 0 | 0
145. | TC009 | USB to ACC adapter | kos | 1 | 0 | 0
146. | 20090170 | SCB Connecting Cord, length 100cm | kos | 1 | 0 | 0
147. | UG700 | Mains Cord, length 100 cm | kos | 1 | 0 | 0
148. | ET14-9910122M | Front panel for KARL STORZ AIDA control NEO Model | kos | 1 | 0 | 0
149. | ET14-2250167 | Blu-ray | kos | 1 | 0 | 0
150. | ET14-2250169 | DVD burner Panasonic | kos | 1 | 0 | 0
151. | ET14-2470766 | Hard disk | kos | 1 | 0 | 0
152. | ET14-281589 | Power switch | kos | 1 | 0 | 0
153. | ET14-9820058 | KARL STORZ AIDA interface board | kos | 1 | 0 | 0
154. | ET14-2180727 | Processor Intel | kos | 1 | 0 | 0
155. | ET14-2103008 | USB port | kos | 1 | 0 | 0
156. | ET14-2750133 | Fan CPU | kos | 1 | 0 | 0
157. | 20040377 | Frame Grabber Board with Digital-I/Os | kos | 1 | 0 | 0
158. | 20040374 | S-VGA monitor cable, length 300cm | kos | 1 | 0 | 0
159. | 20040089 | DVI connecting cable, length 300 cm | kos | 1 | 0 | 0
160. | 20040577-V02 | HD Frame Grabber card | kos | 1 | 0 | 0
161. | 1976391 | Accessory board HD converter | kos | 1 | 0 | 0
162. | 536MK | BNC/BNC Videocable, length 200cm | kos | 1 | 0 | 0
163. | ET14-9865347 | LED front board | kos | 1 | 0 | 0
164. | ET14-21030-43 | System board | kos | 1 | 0 | 0
165. | ET14-2750138 | Housing fan I 80 × 80 × 25 | kos | 1 | 0 | 0
166. | ET14-2798821 | Housing fan II 80 × 80 × 25 | kos | 1 | 0 | 0
167. | ET14-2470111 | Power supply module | kos | 1 | 0 | 0
168. | UG310 | Isolation Transformer 200V-240V; 2000VA | kos | 1 | 0 | 0
169. | UG410 | Earth leakage monitor 200V - 240V | kos | 1 | 0 | 0
170. | ET21-1002 | COR, mains cord, 5m | kos | 1 | 0 | 0
171. | UG520 | Monitor Holding Arm, long | kos | 1 | 0 | 0
172. | UG500 | Monitor Holder | kos | 1 | 0 | 0
173. | UG510 | Monitor Holding Arm | kos | 1 | 0 | 0
174. | UG530 | Swivel Arm for Navigation Camera | kos | 1 | 0 | 0
175. | UG540 | Monitor Swivel Arm | kos | 1 | 0 | 0
176. | UG010 | Base module equipment cart small | kos | 1 | 0 | 0
177. | UG011 | Base Module Equipment Cart, wide | kos | 1 | 0 | 0
178. | UG012 | Base module equipment cart LC | kos | 1 | 0 | 0
179. | 29005PA-DR | Set potential earth cabeling for cart | kos | 1 | 0 | 0
180. | 29005SU | Equipment Cart Protective Cover | kos | 1 | 0 | 0
181. | 20010570 | Potential equalization cable, 1.5m | kos | 1 | 0 | 0
182. | 20010270 | Potential equalization cable, 5 m | kos | 1 | 0 | 0
183. | 20010370 | Potential equalization cable, 2 m | kos | 1 | 0 | 0
184. | 20010670 | Potential equalization cable, 1m | kos | 1 | 0 | 0
185. | 400A | Mains cord, length 300 cm | kos | 1 | 0 | 0
186. | 400AK | Mains Cord | kos | 1 | 0 | 0
187. | FB00-0010209 | Uvajalni del | kos | 1 | 0 | 0
188. | FB00-0011258 | Svetlobna vlakna | kos | 1 | 0 | 0
189. | FB00-0012148 | Ohišje | kos | 1 | 0 | 0
190. | FB00-0012489 | Uvajalni tubus URS | kos | 1 | 0 | 0
191. | FB00-001836 | Angulacijska ročica | kos | 1 | 0 | 0
192. | FB00-003746 | Distalna leča | kos | 1 | 0 | 0
193. | FB00-002567 | Okular fleksibilnega fiberskopa | kos | 1 | 0 | 0
194. | FB00-008971 | Priključek svetlobnega vodnika | kos | 1 | 0 | 0
195. | FB00-0012578 | Potrošni material | kos | 1 | 0 | 0
196. | FB00-007321 | Optična vlakna | kos | 1 | 0 | 0
197. | FB00-0014369 | Mehanizem za upravljanje | kos | 1 | 0 | 0
198. | FI00-001478 | Distalna leča | kos | 1 | 0 | 0
199. | FI00-001648 | Svetlobna vlakna | kos | 1 | 0 | 0
200. | FI00-004288 | Ohišje | kos | 1 | 0 | 0
201. | FI00-004788 | Okular optike | kos | 1 | 0 | 0
202. | FI00-007721 | Priključek svetlobnega vodnika | kos | 1 | 0 | 0
203. | FI00-009247 | Potrošni material | kos | 1 | 0 | 0
204. | FI00-009127 | Optična vlakna | kos | 1 | 0 | 0
205. | VF00-0021218 | Ohišje | kos | 1 | 0 | 0
206. | VF00-0021331 | Angulacijska ročica | kos | 1 | 0 | 0
207. | VF00-0021578 | Uvajalni del CMOS sistema | kos | 1 | 0 | 0
208. | VF00-0021896 | Priključni video kabel | kos | 1 | 0 | 0
209. | VF00-0021897 | Distalna leča | kos | 1 | 0 | 0
210. | VF00-0021579 | Uvajalni del CCD sistema | kos | 1 | 0 | 0
211. | VF00-0021789 | Mehanizem za upravljanje | kos | 1 | 0 | 0
212. | VF00-002189 | Potrošni material | kos | 1 | 0 | 0
213. | TI00-001258 | Ohišje | kos | 1 | 0 | 0
214. | TI00-001289 | Priključni kabel | kos | 1 | 0 | 0
215. | TI00-001387 | Distalna leča | kos | 1 | 0 | 0
216. | TI00-001897 | 2 × CMOS senzor in kabel | kos | 1 | 0 | 0
217. | TI00-003755 | Potrošni material | kos | 1 | 0 | 0
218. | HO00-007485 | DISTALNO SAFIRNO STEKLO | kos | 1 | 0 | 0
219. | HO00-002315 | DISTALNA LEČA | kos | 1 | 0 | 0
220. | HO00-007421 | LEČNI SISTEM | kos | 1 | 0 | 0
221. | HO00-009214 | OPTIČNA VLAKNA | kos | 1 | 0 | 0
222. | HO00-004789 | OKULAR | kos | 1 | 0 | 0
223. | HO00-007891 | ZUNANJI TULEC STEBRA | kos | 1 | 0 | 0
224. | HO00-0001248 | TESNILA | kos | 5 | 0 | 0
225. | HO00-0000214 | POTROŠNI MATERIAL | kos | 5 | 0 | 0
226. | 112380 | KABEL POVEZOVALNI C-MAC, 8403X | kos | 3 | 0 | 0
227. | 258636 | BATTERY SHELL RECHARGEABLE 8547BK | kos | 3 | 0 | 0
228. | 642045 | ŽARNICA XENON ZA 8546XD | kos | 3 | 0 | 0
229. | 642886 | BATTERY INSERT, RECHARGEABLE - DRŽALO LARINGOSKOPA 8546LD1 | kos | 3 | 0 | 0
230. | 647888 | BATTERY SHELL, LED 8547LDX | kos | 3 | 0 | 0
231. | 26713153 | Motor valve, 15 mm | kos | 1 | 0 | 0
232. | 28200DB | Valve Lock for 28200DC | kos | 1 | 0 | 0
233. | 355-145 | Kabel za resektoskop bipolarni Olympus* | kos | 1 | 0 | 0
234. | 5932200-10 | O-RING/ID2,00X1,60/SILICONE 70SHORE, RED | kos | 1 | 0 | 0
235. | 8403X | C-MAC® Connecting Cable | kos | 1 | 0 | 0
|  | SKUPAJ VREDNOST BREZ DDV (EUR) - 1 LETNO OBDOBJE |  |  |  | 0
|  | STOPNJA DDV (%) |  |  |  | 22
|  | ZNESEK DAVKA (EUR) |  |  |  | 0
|  | SKUPAJ VREDNOST Z DDV (EUR) - 1 LETNO OBDOBJE |  |  |  | 0
Žig in podpis ponudnika:
Opomba:
Ponudnik mora v stolpec "Cena na EM brez DDV" vpisati za vsako pozicijo ceno v EUR, in sicer zaokroženo na dve (2) decimalni mesti. V kolikor ponudnik cene ne vpiše, se šteje, da je nevpisana cena enaka nič (0,00) EUR.
Vrednosti v obrazcu so okvirne in predvidene za obdobje enega leta.

## Podsklop 2
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN ZA SKLOP 1 – Podsklop 2
VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA KARL STORZ – redno letno preventivno vzdrževanje medicinskih aparatov
ZŠ | Serijska številka | Naziv naprave | Oznaka | EM | Količina | Cena na EM brez DDV (EUR) | Vrednost brez DDV (EUR)
1. | PX03811 | Autocon II 400 Standard Set, SCB | 20535201-122 | kos | 1 | 0 | 0
2. | 40102123 | AUTOCON® III 400 | UH400 | kos | 1 | 0 | 0
3. | DC0628872 | Cold Light Fountain XENON NOVA300 | 20134020 | kos | 1 | 0 | 0
4. | A01VG9, UT4008-C | D-Light P | 20133701-1 | kos | 1 | 0 | 0
5. | UX2103 | Cold Light Fountain Power LED 175 SCB | 20161401-1 | kos | 1 | 0 | 0
6. | ZQ07393 | Cold Light Fountain POWER LED 300 | TL300 | kos | 1 | 0 | 0
7. | OP svetilka - satelit, nosilna ročica za monitor, monitor | Operacijska svetilka Ledvision 203 |  | kos | 4 | 0 | 0
8. | 51205156TX034 | ˝26˝ HD Flat Screen Monitor | 9626NB | kos | 1 | 0 | 0
9. | 12-192457 | 26" KARL STORZ HD Flat Screen Monitor | 9726NB | kos | 1 | 0 | 0
10. | A6IA10215 | 26" 3D Monitor | 9826NB-3D | kos | 1 | 0 | 0
11. | D31319180005 | 31" 4K SCREEN | FS-P3102DG | kos | 1 | 0 | 0
12. | C821TU044 | 19" HD Monitor | 9619NB | kos | 1 | 0 | 0
13. | ZY790346-H | TELECAM Camera Head, PAL | 20212030 | kos | 1 | 0 | 0
14. | PX693854-P | Image 1 Pure HD CCU mit ICM | 22202011U110 | kos | 1 | 0 | 0
15. | TX799125-H | IMAGE1 H3-ZA Three-Chip FULL HD Camera Head | 22220061-3 | kos | 1 | 0 | 0
16. | TU733448-P | IMAGE1 CONNECT Camera Control Unit | TC200 | kos | 1 | 0 | 0
17. | UT751632-P | IMAGE 1 CONNECT | TC200EN | kos | 1 | 0 | 0
18. | ZQ820323-P | IMAGE1 S CONNECT II | TC201EN | kos | 1 | 0 | 0
19. | TU733575-P | IMAGE 1 H3-LINK | TC300 | kos | 1 | 0 | 0
20. | UT752682-P | IMAGE 1 H3-LINK | TC300 | kos | 1 | 0 | 0
21. | VT752802-P | IMAGE 1 D3-LINK | TC302 | kos | 1 | 0 | 0
22. | YQ818735-P | IMAGE1 S 4U-LINK | TC304 | kos | 1 | 0 | 0
23. | TU851706H | IMAGE 1 H3-Z S | TH100 | kos | 1 | 0 | 0
24. | UT876579-H | IMAGE 1 H3--7-FI S | TH102 | kos | 1 | 0 | 0
25. | RP024860-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
26. | TO040655-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
27. | RP024872-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
28. | RP024873-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
29. | RP024877-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
30. | RP024878-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
31. | RP024884-K | IMAGE1 HX One-Chip FULL HD Camera Head | TH110 | kos | 1 | 0 | 0
32. | ZQ019022-K | IMAGE1 S 4U Camera Head | TH120 | kos | 1 | 0 | 0
33. | SU733076-P | TELECAM DX II Camera Control Unit | 20233011 | kos | 1 | 0 | 0
34. | SU851210-H | TELECAM C-Mount Camera Head, PAL | 20212034 | kos | 1 | 0 | 0
35. | PP48933 | C-MAC® Video Laryngoscope MAC #3 | 8403AX | kos | 1 | 0 | 0
36. | VP60335 | C-MAC® Video Laryngoscope MAC #3 | 8403AXC | kos | 1 | 0 | 0
37. | RP49739 | C-MAC® Video Laryngoscope MAC #4 | 8403BX | kos | 1 | 0 | 0
38. | RP50765 | C-MAC® Video Laryngoscope MAC #4 | 8403BX | kos | 1 | 0 | 0
39. | UP59431 | C-MAC® Video Laryngoscope MAC #4 | 8403BXC | kos | 1 | 0 | 0
40. | XP64128 | C-MAC® Video Laryngoscope MIL #0 | 8403DXC | kos | 1 | 0 | 0
41. | RQ35783 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
42. | UP58146 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
43. | UP58161 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
44. | UR27550 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
45. | VP59927 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
46. | YP65682 | C-MAC Video Laryngoscope D-BLADE Set | 8403HXK | kos | 1 | 0 | 0
47. | WP61462 | C-MAC® Video Laryngoscope D-BLADE, Ped., | 8403HXP | kos | 1 | 0 | 0
48. | XP64842 | C-MAC® Video Laryngoscope MAC #2 | 8403KXC | kos | 1 | 0 | 0
49. | PQ18725 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
50. | TP24382 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
51. | WP26879 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
52. | WP26887 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
53. | WR16846 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
54. | YQ20984 | C-MAC Monitor for CMOS Endoscopes, Kit | 8403ZXK | kos | 1 | 0 | 0
55. | TU5920 | C-MAC® Monitor for CMOS Endoscopes | 8403ZX | kos | 1 | 0 | 0
56. | 36291 | C-MAC® Videolaryng.MAC#2 | 8401KXC-1 | kos | 1 | 0 | 0
57. | 36740 | C-MAC® Videolaryng.MAC#4 | 8401BXC-1 | kos | 1 | 0 | 0
58. | 36236 | C-MAC® Videolaryng.MAC#3 | 8401AXC-1 | kos | 1 | 0 | 0
59. | 57774 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
60. | 54493 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
61. | 54502 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
62. | 54503 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
63. | 57736 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
64. | 55110 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
65. | 54713 | HD Video Rhino-Laryngoscope, 3,7 mm, kit | 11101HDK | kos | 1 | 0 | 0
66. | 71647 | CMOS Video Rhino-Laryngoscope,2.9 mm KIT | 11102CMK | kos | 1 | 0 | 0
67. | 67753 | Flex.Intubat. Video Endoscope Set 4.0x65 | 11302BDXK | kos | 1 | 0 | 0
68. | 2223685 | Broncho-Fiberscope 54 x 2.8 | 11003BC3 | kos | 1 | 0 | 0
69. | 2851099 | Rhino-Laryngo-Fiberscope 3.5 mm, 30 cm | 11101RP2 | kos | 1 | 0 | 0
70. | 2847890 | Rhino-Laryngo-Fiberscope, 2.5 x 270 mm | 11101SK2 | kos | 1 | 0 | 0
71. | 2243835 | Intubation Fiberscope 5.2 x 65 | 11301BN1 | kos | 1 | 0 | 0
72. | 2125642 | Intubation Fiberscope 3.7 x 65 | 11302BD2 | kos | 1 | 0 | 0
73. | 2249247 | Cysto-Urethro-Fiberscope | 11272C1 | kos | 1 | 0 | 0
74. | 2219037 | Cysto-Urethro-Fiberscope | 11272C1 | kos | 1 | 0 | 0
75. | 2205495 | Intubation Fiberscope 5.2 x 65 | 11301BN1 | kos | 1 | 0 | 0
76. | 10003Z | Ureteroscope, 9.5 Fr., 6°, 34cm | 27002K | kos | 1 | 0 | 0
77. | 1006J5 | Uretero-Renoscope, 9.5 Fr., 6°, 43cm | 27002L | kos | 1 | 0 | 0
78. | VT1135 | ENODFLATOR 40, with integrated SCB-Modul | UI400 | kos | 1 | 0 | 0
79. | VT700 | ENDOFLATOR® 50 SCB, Set | UI500S1 | kos | 1 | 0 | 0
80. | AV1VH5, VT329 | S-PILOT Set incl. footswitch | UP501S1 | kos | 1 | 0 | 0
81. | 1320695 | Unimat 30,Basic unit,suction pump | 25320020 | kos | 1 | 0 | 0
82. | TX1705 | Endomat Set | 26331009-1 | kos | 1 | 0 | 0
83. | RX02281 | Endomat LC, set for urology | 27330301-1 | kos | 1 | 0 | 0
84. | NX1871 | TELE PACK X | 20045001-EN | kos | 1 | 0 | 0
85. | SP01394 | TELE PACK + | TP101 | kos | 1 | 0 | 0
86. | SP01395 | TELE PACK + | TP101 | kos | 1 | 0 | 0
87. | SP01396 | TELE PACK + | TP101 | kos | 1 | 0 | 0
88. | SP01397 | TELE PACK + | TP101 | kos | 1 | 0 | 0
89. | SP01398 | TELE PACK + | TP101 | kos | 1 | 0 | 0
90. | SP01399 | TELE PACK + | TP101 | kos | 1 | 0 | 0
91. | TO03633 | TELE PACK + | TP101 | kos | 1 | 0 | 0
92. | R1582512 | AIDA Control | 20096020 | kos | 1 | 0 | 0
93. | R1629935 | AIDA Control | 20096020 | kos | 1 | 0 | 0
94. | R1635163 | AIDA Control | 20096020 | kos | 1 | 0 | 0
95. | JAWM203349, ZQ104600 | AIDA with SmartScreen | WD350 | kos | 1 | 0 | 0
96. | 10293 | TIPCAM® 1 S 3D , 30° | 26605BA | kos | 1 | 0 | 0
97. | NX3087-A | CALCUSON Ultrasonic Generator Set | 27610001 | kos | 1 | 0 | 0
98. | PP05778 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
99. | RP05845 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
100. | RP05846 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
101. | RP05847 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
102. | RP05848 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
103. | RP05849 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
104. | RP05850 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
105. | SX1097 | Equipment Cart with double back door | 29005DRS | kos | 1 | 0 | 0
106. | RT01000,ST00996, ST02159 | Equipment Cart, small, high | UG120 | kos | 1 | 0 | 0
107. | ZQ02960, ZQ02970, ZQ05916 | Equipment Cart, small, high | UG120 | kos | 1 | 0 | 0
108. | SU02925 | TROLL-E Mobile Stand | 20020081 | kos | 1 | 0 | 0
|  | SKUPAJ VREDNOST BREZ DDV (EUR) - 1 LETNO OBDOBJE |  |  |  |  | 0
|  | STOPNJA DDV (%) |  |  |  |  | 22
|  | ZNESEK DAVKA (EUR) |  |  |  |  | 0
|  | SKUPAJ VREDNOST Z DDV (EUR) - 1 LETNO OBDOBJE |  |  |  |  | 0
Žig in podpis ponudnika:
Opomba:
Ponudnik mora v stolpec "Cena na EM brez DDV" vpisati za vsako pozicijo ceno v EUR, in sicer zaokroženo na dve (2) decimalni mesti. V kolikor ponudnik cene ne vpiše, se šteje, da je nevpisana cena enaka nič (0,00) EUR.
Vrednosti v obrazcu so okvirne in predvidene za obdobje enega leta.

## Rekapitulacija
PONUDNIK:
Številka ponudbe: ___________________
Datum: _______________________
PREDRAČUN ZA SKLOP 1 – REKAPITULACIJA
VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA KARL STORZ
Zap.št. | OPIS | skupna letna vrednost brez DDV (EUR)
1. | PREDRAČUN ZA SKLOP 1 – Podsklop 1 (SKUPNA LETNA VREDNOST ZA PODSKLOP 1) | 0
2. | PREDRAČUN ZA SKLOP 1 – Podsklop 2 (SKUPNA LETNA VREDNOST ZA PODSKLOP 2) | 0
| Končna vrednost ponudbe za sklop 1 v EUR brez DDV | 0
Žig in podpis ponudnika:
Vrednosti v obrazcu so okvirne in predvidene za obdobje enega leta.
Ponudnik vpiše za vsako pozicijo v predračunu ceno v EUR in sicer zaokroženo na dve (2) decimalni mesti.