## Summary
Predračun / Quotation Laboratorijske komponente in material za optične eksperimente / Laboratory components and materials for optical experiments
1. Ponudnik mora izpolniti vsa zeleno obarvana polja. Če katero zeleno obarvano polje ne bo izpolnjeno, se razume, da ponudnik tega ne ponuja in bo izločen. 1. The bidder must complete all green-colored fields. If any green-colored field is not completed, it will be understood that the bidder does not offer that particular item and they will be disqualified.
2. V primeru, da je kje celica neustrezno zaklenjena, sporočite, da tabelo popravimo. 2. In case any cell is improperly locked, please inform us so that we can correct the table.
Naročnik / Customer: | Univerza v Ljubljani, Fakulteta za matematiko in fiziko Jadranska 19 1000 Ljubljana
Ponudnik / Seller:
Predračun / Quotation
| Skupine / Categories | Znesek brez DDV / Price without VAT
| Laboratorijske komponente in material za optomehaniko / Laboratory components and material for optomechanics | 0
| Laboratorijske komponente in material za optiko / Laboratory components and material for optics | 0
| Laboratorijske komponente in material za svetlobo / Laboratory components and material for light | 0
| Laboratorijske komponente in material za analizo svetlobe / Laboratory components and material for light analysis | 0
Stroški pošiljanja / Shipping
| Skupaj / Summary | 0
Popust na redni cenik (%) / Discount on regular price (%)

## Optomechanics
Laboratorijske komponente in material za optomehaniko / Laboratory components and material for optomechanics
[5 empty] | Skupni znesek v EUR brez DDV Total Price in EUR without VAT | 0
Št. / Nr. | Predmet naročila / Subjeckt of Purchace | Specifikacija / Specification | Količina / Quantity | Enota / Unit | Znesek na enoto v EUR brez DDV Price per unit in EUR without VAT | Znesek v EUR brez DDV Price in EUR without VAT
1 | ½” optical posts, various metric lengths (e.g. 30 mm, 75 mm etc) | 1/2” diameter stainless steel M4 tap on one end, M6 tap on the other end M4 set screw included for the M4-tapped end Standard metric lengths | 150 | Kos / Pcs |  | 0
2 | Aluminum breadboards of various metric sizes, 12.7mm thick | Solid Aluminum Optical Breadboard M6 threads on 25mm grid Four counterbored holes for mounting | 14 | Kos / Pcs |  | 0
3 | pedestal pillar posts, 25mm diameter, various metric lengths (e.g. 50 mm, 75 mm, etc) | made of solid stainless steel 50mm length 25mm diameter M4 taps at top and bottom end pedestal compatible with clamping forks | 150 | Kos / Pcs |  | 0
4 | pedestal pillar posts, 25mm diameter, various metric lengths (e.g. 50 mm, 75 mm, etc) | made of solid stainless steel 75mm length 25mm diameter M4 taps at top and bottom end pedestal compatible with clamping forks | 150 | Kos / Pcs |  | 0
5 | 60mm Cage mounting bracket | Mounting bracket for 60mm cage system For 6mm diameter cage rods Counter-bored holes for post-mounting using M4 screws | 20 | Kos / Pcs |  | 0
6 | Breadboard handles | Pair of breadboard handles Material: reinforced glass fiber Max. capacity 250 kg Mountable via M6 screws (two per handle) | 10 | Kos / Pcs |  | 0
7 | Cage adapter plate | Adapter plate from 60mm to 30mm cage system For 6mm diameter cage rods M4 threaded hole for mounting Ca. ½” thick central hole with inner SM1 thread | 15 | Kos / Pcs |  | 0
8 | Cage plate for 1” diameter optics | nylon-tipped setscrew for fixing 1” optics cage plate compatible with a 30 mm cage system assembly 4 mounting holes for 6mm cage rods post mountable via M4 tapped hole thickness > 8mm | 10 | Kos / Pcs |  | 0
9 | Fixed 1” mirror mount | for 1” diameter optics (e.g. mirrors) nylon-tipped locking set screw M4 tap for mounting | 20 | Kos / Pcs |  | 0
10 | Fixed lens mount for 30 mm lenses | internally threaded mount including retaining ring M4 tap for mounting to a post max optic thickness (at the edge): ca. 7.1 mm | 6 | Kos / Pcs |  | 0
11 | High-quality mirror mounts | Stainless steel mirror Mount for 1 inch optics 2 adjusters monolithic Optic Retention high temperature and long-term stability compatible with metric posts & screws Lockable for increased long-term stability. If not lockable, include lock nuts | 20 | Kos / Pcs |  | 0
12 | Lens mount with retaining ring for 2” optics | Optics fastened with retaining ring Retaining ring included Holds lenses or filters with with 2” diameter Maximum thickness of optics at the edges: ca. 10 mm M4 thread for attaching mount to metal posts with M4 set screw Material: black anodized aluminum | 10 | Kos / Pcs |  | 0
13 | L-shaped table clamps | black annodized clamp for mounting he bases of optomechanical components to a breadboard or an optical table clearance slot for using M6 (or 1/4"-20) screws to clamp the bases of optomechanical components to a metric breadboard or a metric optical table the slot should be >= 1” long | 60 | Kos / Pcs |  | 0
14 | Mounting adapter, SM1 to SM05 | SM1 external threads SM05 internal threads thicknes > 0.1" | 10 | Kos / Pcs |  | 0
15 | Mounting adapter for 30 mm diameter lenses | external SM2 thread to mount in SM2-threaded optics holders aperture for inserting a 30 mm lens internal aperture should have an internal thread and two retaining rings to fix the lens the adapter should be thick enough to allow for lenses up to 7.1 mm thickness | 10 | Kos / Pcs |  | 0
16 | Mounting base, slotted on one side | 1 counter-bored mounting hole for M6 (or 1/4"-20) screws to attach a post holder slot for attaching the base to an optical breadboard or table using M6 (or 1/4"-20) screws approximate dimensions: 25 x 58 x 10 mm | 60 | Kos / Pcs |  | 0
17 | Mounting base, slotted on two sides | 1 centered counter-bored mounting hole for M6 (or 1/4"-20) screws to attach a post holder Two slots for attaching the base to an optical breadboard or table using M6 (or 1/4"-20) screws approximate dimensions: 25 x 75 x 10 mm | 60 | Kos / Pcs |  | 0
18 | Oil for air compressors for optical tables - volume in liters | 1 or more bottles of compressor oil – total volume in liters Suitable for air compressors for optical tables | 10 | Kos / Pcs |  | 0
19 | Optical flip mount for 1” mirrors | flip mount for 1” diameter mirrors nylon-tipped locking set screw ca. 200 micro-rad repeatibility lockable M4 tap for mounting | 10 | Kos / Pcs |  | 0
20 | Right-angle bracket for ½” posts | Right-angle clamp for ½” posts Clamping screws for 5mm hex key | 40 | Kos / Pcs |  | 0
21 | SM1 lens-tube couplers | Externally SM1-threaded tube to couple two internally SM1-threaded lens tubes 0.25” long | 10 | Kos / Pcs |  | 0
22 | SM1 lens-tube couplers | Externally SM1-threaded tube to couple two internally SM1-threaded lens tubes 0.50” long | 10 | Kos / Pcs |  | 0
23 | Straight Aluminum Protective Screens | straight screens for blocking light anodized aluminum to reduce scattering slotted base for mounting ca. 2mm thick size (ca.): 12” width, 6” height | 20 | Kos / Pcs |  | 0
24 | Thread adapter, SM05 internal to SM1 external threads | >= 0.3” thick thread adapter SM1 external thread SM05 internal thread two holes for rotating the adapter with a spanner wrench | 10 | Kos / Pcs |  | 0
25 | T-mount to SM1 adapter | Adapter with external T-mount thread (M42 x 0.75) and internal SM1 thread Adapter from T-mount thread for astronomical cameras to SM1 thread for 1” lens tubes | 10 | Kos / Pcs |  | 0
26 | Unanodized aluminum breadboards, various sizes | size: 45 x 60 cm2 Various sizes made of unanodized aluminum to allow for common ground connections 25 mm spaced M6 taps | 10 | Kos / Pcs |  | 0
27 | Unthreaded 1” adapter with smooth internal bore of varying diameters | adapter to hold components with various diameters outer diameter 1 inch two nylon-tipped set screws to fasten cylindrical component | 10 | Kos / Pcs |  | 0
28 | XY translation mount for 1” optics | internally SM1 threaded for mounting optics including necessary retaining ring(s) M4 tap for mounting travel range >= 1 mm | 10 | Kos / Pcs |  | 0
29 | XY translation mount for 2” optics | internally SM2 threaded for mounting optics including necessary retaining ring(s) M4 tap for mounting travel range >= 1 mm | 8 | Kos / Pcs |  | 0
30 | 5-axis kinematic mounts for 1" optics | internally SM1 threaded for mounting 1" optics including necessary retaining ring(s) M4 tap for mounting XY travel range >= 1 mm Z travel range >= 3 mm pitch/yaw adjust >= 4 degree | 8 | Kos / Pcs |  | 0
31 | 5-axis kinematic mounts for 2" optics | internally SM2 threaded for mounting 2" optics including necessary retaining ring(s) M4 tap for mounting XY travel range >= 1 mm Z travel range >= 3 mm pitch/yaw adjust >= 3 degree | 8 | Kos / Pcs |  | 0
32 | Cage compatible Z-axis translation mount | internally SM1 threaded for mounting 1" optics including necessary retaining ring(s) compatible with mounting in 30mm cage system 4 openings compatible to slide in 6mm cage rods screws to fasten mount to cage rods Z travel range >= 2 mm | 8 | Kos / Pcs |  | 0
33 | Cage rods, various lengths | 6mm thick rods of various lengths Material: stainless steel compatible with mounting in 30mm cage system removable threaded stud on one end threaded holes on both ends allowing to screw rods together with threaded stud | 40 | Kos / Pcs |  | 0
34 | Kinematic mirror mount for 2” optics | Optic held with nylon-tipped setscrew holds optical elements with 2” diameter Angular range: ca +/- 3 degree or more Resolution: ca. 5 mrad per revolution Mounting via counterbored hole allowing mounting via M4 screws | 30 | Kos / Pcs |  | 0
35 | Kinematic mirror mount for 1” optics | Optic held with nylon-tipped setscrew holds optical elements with 1” diameter Angular range: ca +/- 3 degree or more Resolution: ca. 5 mrad per revolution Mounting via counterbored hole allowing mounting via M4 screws | 40 | Kos / Pcs |  | 0
36 | Lens mount with retaining ring for 2” optics | Optics fastened with retaining ring holds lenses or filters with with 2” diameter Maximum thickness of optics at the edges: ca. 10 mm M4 thread for attaching mount to metal posts with M4 set screw Material: black anodized aluminum | 10 | Kos / Pcs |  | 0
37 | Vibration-dampening breadboard | >=60 mm thick honey-comb internal structure or similar for vibration dampening M6 threaded holes in 25mm grid on top surface for mounting components size ca 750 x 1200 mm^2 ca. 10-15 mm border without threaed holes along the edges compliance falling ca from 1e-3 to 1e-6 mm/N from 10 Hz to 1000 Hz top and bottom surface >=5mm stainless steel plate internal structure for optimized broadband dampening | 6 | Kos / Pcs |  | 0
38 | Metric mounting base for 1.5" thick posts | >=60 mm diameter >= 12 mm thick center-tapped M6 hole 4 counter-bored slots for screwing the base to an optical table or breadboard | 16 | Kos / Pcs |  | 0
39 | Studded pedestal base adapter for 1.5" thick posts | >= 45 mm diameter <= 50 mm diameter M6 x 1.0 thread suited for mounting to optical table using pedestal post clamps | 16 | Kos / Pcs |  | 0
40 | 1.5" diameter posts, various metric lengths (e.g. 50 mm, 75 mm, etc) | made of solid stainless steel various lengths 1.5" diameter M6 taps at top and bottom end | 20 | Kos / Pcs |  | 0
41 | 30mm cage clamp for 1.5" diameter posts | allowing to stably hold the steel rods of a 30mm cage system allowing to be slided along 1.5" posts and to be stably fixed to the post metric screws for fixing the clamp to the post | 6 | Kos / Pcs |  | 0
42 | 60mm cage clamp for 1.5" diameter posts | allowing to stably hold the steel rods of a 60mm cage system allowing to be slided along 1.5" posts and to be stably fixed to the post metric screws for fixing the clamp to the post | 6 | Kos / Pcs |  | 0
43 | Mounting platform for 1.5" diameter posts | platform allowing to be slided along 1.5" posts and to be stably fixed to the post metric screws for fixing the clamp to the post platform optimized for mounting components with metric screws size of platform about 3" x 3" | 6 | Kos / Pcs |  | 0
44 | Post-mountable irises with various apertures | continuously variable irises with various apertures (e.g. 15 mm, 25mm, 50mm) mountable to posts using metric screws (M4 threads) black anodized aluminum housing black spring steel leaves should include a 1/2" post with >= 50mm length | 20 | Kos / Pcs |  | 0
45 | Mini post-mountable irises | continuously variable iris with ca 5mm maximum aperture maximum outer diameter < 12 mm mountable to posts using metric screws (M4 threads) black anodized aluminum housing black spring steel leaves should include a 1/2" post with >= 50mm length | 10 | Kos / Pcs |  | 0
46 | Laser safety goggles for NIR light | frame comfortable to wear even for people with pescription glasses OD >= 2 around 775 nm OD >= 6 from 1000 nm - 1600 nm > 70% visible light transmission | 6 | Kos / Pcs |  | 0
47 | Laser safety goggles for UV and NIR light | frame comfortable to wear even for people with pescription glasses OD >= 6 from 200 nm - 400 nm OD >= 7 from 750 nm - 1100 nm >= 25% visible light transmission | 6 | Kos / Pcs |  | 0
48 | Non-isolating support frame | sturdy all-steel frame to support optical breadboards for breadboards of size 750 x 1200 mm^2 height adjustment > +/- 10mm via leveling pads height adjustment > +/- 10mm via leveling feet upgradeable for passive isolation using fitting passive isolation mounts Height: ca 800 mm | 6 | Kos / Pcs |  | 0
49 | Heavy-duty passive isolation mounts (set of 4 pieces) | supports weights of ca 130-700 kg compatible with non-isolating support frame in row 117 resonant frequency < 5 Hz max. air pressure required < 500 kPa M12 thread to attach to support frame including valve to suppy pressurized air | 6 | Kos / Pcs |  | 0
50 | Sliding filter mount | Sliding Filter Mount with Two Inserts for 1 inch optics M4 Tap | 10 | Kos / Pcs |  | 0
51 | Post holder for 1/2" posts, various standard metric lengths | Ø12.7 mm Pedestal Post Holder Spring-Loaded Hex Locking Thumbscrew L=various standard metric lengths Material: Aluminum Includes: Spring-loaded hex locking thumbscrew | 100 | Kos / Pcs |  | 0
52 | Nexus Optical Table 1 m x 2 m x 310 mm M6 x 1.0 Mounting Holes | Short Description: A high-quality optical table designed for photonics, imaging, and microscopy applications. Specifications: Thickness: 310 mm (12.2") Sizes: 3' x 6' (1 m x 2 m) to 4.8' x 14' (1.5 m x 4 m) Surface Flatness: ±0.1 mm over any 1 m² area Material: All-steel construction | 4 | Kos / Pcs |  | 0
53 | Passive Legs Standard 700 mm (27.6") High Set of Four | Short Description: Heavy-duty passive isolation supports for optical tables. Specifications: Height: 700 mm (27.6") Load Capacity: 550 - 2400 kg (1200 - 5280 lbs) per set of four Isolation Frequency Range: 10 - 50 Hz | 5 | Kos / Pcs |  | 0
54 | Optical Table Shelf Free Standing for 2.0 m (6.5') Long Optical Tables | Short Description: A stable, free-standing shelf unit for optical tables. Specifications: Length Compatibility: 2.0 m (6.5') Shelf Width: 598 mm (23.5") Load Capacity: 135.0 kg (297 lbs) per shelf | 5 | Kos / Pcs |  | 0
55 | Nexus Breadboard 300 mm x 300 mm x 60 mm M6 x 1.0 Mounting Holes | Short Description: A high-quality optical breadboard with optimized damping. Specifications: Thickness: 60 mm (2.4") Sizes: 12" x 12" (300 mm x 300 mm) to 36" x 48" (900 mm x 1200 mm) Surface Flatness: ±0.1 mm over any 600 mm x 600 mm area Material: All-steel construction | 4 | Kos / Pcs |  | 0
56 | Lightweight Workstation for 600 mm x 900 mm Optical Breadboard | Short Description: A lightweight, rigid support frame for optical breadboards. Specifications: Compatible Breadboard Dimensions: 600 mm x 900 mm (2' x 3') Frame Height: 727 mm (28.62") Load Capacity: 200 kg (441 lbs) Material: Steel | 4 | Kos / Pcs |  | 0
57 | Large Right-Angle Mounting Plate M6 x 1.0 Compatible | Short Description: A large right-angle mounting plate compatible with M6 x 1.0 screws. Specifications: Dimensions: 90 mm x 90 mm Material: Aluminum Tapped Holes: M6 x 1.0 | 6 | Kos / Pcs |  | 0
58 | HEPA Fan Filter Upgrade Kit with Accessories for LFE1220 Frames Rated for 230 V | Short Description: A customizable enclosure frame for Nexus optical tables and other setups. Specifications: Compatible Table Size: 1.2 m x 2.0 m (4' x 6') Accessories: Transparent PVC strip curtains, HEPA fan filter unit, hanging shelves, LED light strip | 4 | Kos / Pcs |  | 0
59 | Laser Curtain Panel 1.45 m x 2.13 m (W x L) | Short Description: A flame-retardant laser safety curtain panel. Specifications: Dimensions: 1.45 m x 2.13 m Certification: EN 12254:2010(E) Material: Flame-retardant fabric | 6 | Kos / Pcs |  | 0
60 | SM1 Lens Tube 2.00" Thread Depth SM1RR Retaining Ring 5 Pack | Short Description: A lens tube with SM1 threading, designed for Ø1" optics. Specifications: Thread Depth: 2.00" Material: Aluminum Includes: One retaining ring | 20 | Kos / Pcs |  | 0
61 | Adapter with External C-Mount Threads and Internal SM1 Threads 4.4 mm Spacer | Short Description: An adapter plate with SM1 threading for mounting optics. Specifications: Material: Aluminum Threading: SM1 (1.035"-40) | 4 | Kos / Pcs |  | 0
62 | Thermally Insulating Adapter with External C-Mount Threads and Internal SM1 Threads 6.5 mm Spacer | Short Description: An adapter plate with SM1 threading and thumbscrews for secure mounting. Specifications: Material: Aluminum Threading: SM1 (1.035"-40) Includes: Thumbscrews | 4 | Kos / Pcs |  | 0
63 | Slip Ring for SM1 Lens Tubes and C-Mount Extension Tubes</br>M4 Tap | Short Description: A rotating mount with SM1 threading for precise positioning of optics. Specifications: Material: Aluminum Threading: SM1 (1.035"-40) Rotation: 360° | 4 | Kos / Pcs |  | 0
64 | SM05-Threaded 30 mm Cage Plate 0.35" Thick Two Retaining Rings M4 Tap | Short Description: A cage plate designed for use with 30 mm cage systems, featuring SM05 threading for mounting optics. Specifications: Threading: SM05 (0.535"-40) Plate Thickness: 8.9 mm (0.35") Compatible Optics: Ø1/2" (12.7 mm) optics up to 5 mm thick Mounting Holes: M4 tapped hole for post mounting Included Accessories: Two SM05RR retaining rings Material: Aluminum Cage Rod Compatibility: Ø6 mm ER cage rods | 4 | Kos / Pcs |  | 0
65 | Right-Angle Bracket for SM1 Lens Tubes Metric Taps | Short Description: A right-angle bracket designed for mounting SM1 lens tubes in optical setups. Specifications: Threading: Two SM1 (1.035"-40) threaded mounting apertures Material: Aluminum Mounting Holes: 1/4"-20 (M6) and 6-32 (M4) tapped holes Dimensions: 60 mm x 60 mm x 25 mm | 4 | Kos / Pcs |  | 0
66 | 66 mm Construction Rail L = 1000 mm | Short Description: A 66 mm optical construction rail for building stable, rigid mechanical assemblies. Specifications: Length: 1000 mm Material: Aluminum Profile: 66 mm dovetail Coating: Clear anodized | 4 | Kos / Pcs |  | 0
67 | Optical Chopper System with MC1F10HP 10/100 Slot (36°) Chopper Blade 230 VAC Power Cord | Short Description: A precision optical chopper system with advanced features for modulating light. Specifications: Chopping Frequency: 4 Hz - 10 kHz Frequency Drift: <20 ppm/°C Control Interface: USB, RS232, External Trigger Blade Options: 2-slot, 15-slot, 30-slot, 60-slot, and dual-frequency blades | 4 | Kos / Pcs |  | 0
68 | 2-Axis Galvo Scan Head with Digital Processing Ø10 mm Aperture Silver Mirrors | Short Description: A two-axis galvanometer scan head with advanced digital processing and protected silver mirrors. Specifications: Maximum Beam Diameter: 10 mm Scan Angle: ±22.5° optical Mirror Coating: Protected Silver Control Interface: XY2-100 digital signal input | 4 | Kos / Pcs |  | 0
69 | Six-Position Motorized Filter Wheel for Ø1" (Ø25 mm) Optics | Short Description: A motorized filter wheel designed for selecting optical filters in automated applications. Specifications: Number of Positions: 6 Filter Size: Ø1" (Ø25 mm) Control Interface: USB, RS232, BNC Compatibility: 30 mm cage systems | 4 | Kos / Pcs |  | 0
70 | Motorized Filter Flip Mount with &Oslash;1" Optic Holder M4 Tap | Short Description: A motorized flipper mount for inserting or removing optics from the beam path. Specifications: Flipping Speed: 0.3 s Control Interface: USB Mounting Threads: M4 | 4 | Kos / Pcs |  | 0
71 | Slip Ring for SM2 Lens Tubes M4 Tap | Short Description: A rotating mount with SM2 threading for precise positioning of optics. Specifications: Threading: SM2 (2.035"-40) Material: Aluminum Rotation: 360° Mounting Holes: M4 tapped hole | 4 | Kos / Pcs |  | 0
72 | Kinematic Fluorescence Filter Cube for Ø25 mm Fluorescence Filters 30 mm Cage Compatible Left-Turning M6 Tapped Holes | Short Description: A kinematic fluorescence filter cube designed for holding a fluorescence filter set in a 30 mm cage system. Specifications: Filter Size: Ø25 mm round and 25 mm x 36 mm rectangular optics Ports: SM1-threaded Material: Aluminum Compatibility: 30 mm cage systems | 4 | Kos / Pcs |  | 0
73 | Dual-Axis Ø7 mm Beam Galvo System Protected Silver Mirrors (Power Supply & Cables Sold Separately) | Short Description: A dual-axis galvanometer scan head with protected silver mirrors for high-speed scanning. Specifications: Maximum Beam Diameter: 7 mm Scan Angle: ±22.5° optical Mirror Coating: Protected Silver Control Interface: Analog PID control electronics | 3 | Kos / Pcs |  | 0
74 | 1D or 2D Galvo System Linear Power Supply 230 VAC | Short Description: A linear power supply designed for minimizing electrical interference in galvo scanner systems. Specifications: Output Voltage: ±15 VDC Current: 3 A Input Voltage: 230 VAC Compatibility: GPS011-US, GPS011-JP | 4 | Kos / Pcs |  | 0
75 | Mounting Adapter for a 2D Galvo System Metric | Short Description: A mount for holding diffraction gratings in optical setups. Specifications: Material: Aluminum Compatibility: Standard grating sizes Mounting Holes: M4 tapped holes | 4 | Kos / Pcs |  | 0
76 | Short clamping forks for 1" pedestal posts | Short Description: Slotted fork for fixing 1" pedestal posts to optical tables Specifications: Material: Stainless steel 10-15mm counter-bored slot for M6 screws | 20 | Kos / Pcs |  | 0
77 | Mid-length clamping forks for 1" pedestal posts | Short Description: Slotted fork for fixing 1" pedestal posts to optical tables Specifications: Material: Stainless steel 30-40mm counter-bored slot for M6 screws | 40 | Kos / Pcs |  | 0
78 | Long clamping forks for 1" pedestal posts | Short Description: Slotted fork for fixing 1" pedestal posts to optical tables Specifications: Material: Stainless steel 40-50mm counter-bored slot for M6 screws | 20 | Kos / Pcs |  | 0
79 | Short clamping forks for 1.5" pedestal posts | Short Description: Slotted fork for fixing 1.5" pedestal posts to optical tables Specifications: Material: Stainless steel 20-25mm counter-bored slot for M6 screws | 10 | Kos / Pcs |  | 0
80 | Mid-length clamping forks for 1.5" pedestal posts | Short Description: Slotted fork for fixing 1.5" pedestal posts to optical tables Specifications: Material: Stainless steel 30-35mm counter-bored slot for M6 screws | 10 | Kos / Pcs |  | 0
81 | Long clamping forks for 1.5" pedestal posts | Short Description: Slotted fork for fixing 1.5" pedestal posts to optical tables Specifications: Material: Stainless steel 50-55mm counter-bored slot for M6 screws | 10 | Kos / Pcs |  | 0

## Optics
Laboratorijske komponente in material za optiko / Laboratory components and material for optics
[5 empty] | Skupni znesek v EUR brez DDV Total Price in EUR without VAT | 0
Št. / Nr. | Predmet naročila / Subjeckt of Purchace | Specifikacija / Specification | Količina / Quantity | Enota / Unit | Znesek na enoto v EUR brez DDV Price per unit in EUR without VAT | Znesek v EUR brez DDV Price in EUR without VAT
1 | 1 x 2 SM coupler, various splitting ratios (e.g. 99:1 or 90:10) | 1 single-mode fiber input split into two single-mode fiber outputs FC/APC connectorized fibers should work for 1310 nm as well as for 1550 nm bandwidth about 40 nm Insertion loss <= 0.2dB | 5 | Kos / Pcs |  | 0
2 | Hard-coated bandpass filter, various operating wavelengths and bandwidths | fits round 1-inch diameter optics mounts various transmission bandwidths and central wavelengths (e.g. 780 nm, 1550 nm, 1560 nm) high transmission for specific wavelength, strong attenuation for other wavelengths perpendicular angle of incidence | 10 | Kos / Pcs |  | 0
3 | 900 micron furcation tubing (200m) | >= 900 micron outer diameter >= 400 micron inner diameter with Kevlar threads black color | 2 | Kos / Pcs |  | 0
4 | Absorptive long-pass filters | fits round 1-inch diameter optics mounts strong absorption (>= OD3) for 500-800nm light high internal transmittance (>= 99.5%) for wavelengths >= 1200 nm 90 degree angle of incidence | 15 | Kos / Pcs |  | 0
5 | Mounted aspheric lenses, various focal lengths and diameters | Polished precision aspheric lenses Material: N-BK7 or S-LAH64 AR coating for ca. 1050 – 1700 nm (important wavelengths: 1064 nm, 1310 nm, 1550 nm) NA >= 0.5 | 10 | Kos / Pcs |  | 0
6 | Broadband precision window | round N-BK7 or fused silica window, 1” diameter Thickness 1mm Broadband AR coated ca. for 1050 - 1700 nm | 10 | Kos / Pcs |  | 0
7 | Cap heater for 25mm diameter glass cells | compatible with 25mm diameter glass cells clear aperture >= 20mm >= 10 W heating power - including 10 kilo-Ohm thermistor Mounts using nylon-tipped setscrew | 6 | Kos / Pcs |  | 0
8 | Ceramic ferrule | 2.5 mm diameter 10 to 11 mm long 126 micron diameter bore size | 60 | Kos / Pcs |  | 0
9 | Cleanroom Optic Wipes | Soft and non-abrasive for cleaning delicate optical surfaces Designed for cleanroom use Low solvent extractable levels each package containing >1000 wipes | 10 | Kos / Pcs |  | 0
10 | Diamond lapping (polishing) sheets, packs of 5 sheets, various grits | >= 6 x 6 inches Various grits (e.g. 1 micron, 3 micron, etc) | 30 | Kos / Pcs |  | 0
11 | Dichroic mirror/beam splitter | highly reflective about >=99% for 519nm Highly transmissive (>98%) for 775-780nm and for 1550-1560nm fits round 1-inch diameter optics mounts Thickness about 5mm to 7mm angle of incidence: 45 degrees | 10 | Kos / Pcs |  | 0
12 | Epoxy for fiber-optic connectors, packs of 10 | Epoxy with long pot life Epoxy for room-temperature cure Quantity: packs of 10, each ration sufficient for 20-30 connectors | 20 | Kos / Pcs |  | 0
13 | Epoxy syringes, packs of 10 | Empty syringes for epoxy For ca. 3cc volume Quantity: packs of 10 Disposable | 40 | Kos / Pcs |  | 0
14 | FC/APC single-mode connector | 126micron diameter bore 3mm diameter boot Ceramic ferrule | 40 | Kos / Pcs |  | 0
15 | FC/PC single-mode connector | 126micron diameter bore 3mm diameter boot Ceramic ferrule | 40 | Kos / Pcs |  | 0
16 | C-band 50/50 fiber beam splitter | 50/50 non-polarizing beam splitter two single-mode fiber inputs two single-mode fiber outputs all fibers FC/APC connectorized for low-power CW applications operating wavelength 1550-1560 nm | 8 | Kos / Pcs |  | 0
17 | Fiber inspection tool | battery powered for inspection of FC and SMA optical fibers for hand-held use easy adjustment of imaging focus | 6 | Kos / Pcs |  | 0
18 | Fiber strain-relief boot for 900 micron furcation tubing | packs of 25 black color | 10 | Kos / Pcs |  | 0
19 | Final lapping (polishing) sheets | >= 6 x 6 inches 0.02 micron grits packs of 5 sheets | 10 | Kos / Pcs |  | 0
20 | Fixed-attenuation fiber-optics attenuator | FC/APC connector on one side APC angled fiber end on the other side Should be stackable – i.e., one can directly screw two together to get more attenuation Each attenuator should have 25-30 dB attenuation Operating wavelength range ca. 1300 nm – 1600 nm | 20 | Kos / Pcs |  | 0
21 | Fixed-focus fiber collimation package | Anti-reflection coating for center wavelengths around 1550 nm Waist diameter of collimated beam ca. 2.1 mm Numerical aperture ca 0.2 – 0.25 FC/APC connector For collimating light from single-mode fibers | 15 | Kos / Pcs |  | 0
22 | Furcation tubing | Black 3mm diameter Reinforced Length: 90m, can be in multiple pieces of shorter lengths | 2 | Kos / Pcs |  | 0
23 | In-line manual polarization controller for 250 micron buffered fibers | Accepts tight-jacketed 250 micron buffered fibers Fiber squeezer allowing any polarization rotation on the Poincare sphere | 10 | Kos / Pcs |  | 0
24 | In-line manual polarization controller for 900 micron tight-jacketed fibers | Accepts tight-jacketed 900 micron tight-jacketed fibers Fiber squeezer allowing any polarization rotation on the Poincare sphere | 10 | Kos / Pcs |  | 0
25 | IR single-mode optical fiber | 1000 meters long 900 micron tight-jacketed SMF-28 for IR wavelengths (ca. 1260 – 1625 nm) | 2 | Kos / Pcs |  | 0
26 | Long VIS/NIR single-mode optical fibers | 200 meters long 250-micron buffered bare fiber for VIS/NIR wavelengths (ca. 633-780 nm | 2 | Kos / Pcs |  | 0
27 | Plane ruled diffraction gratings, 1200 nm or 1250 nm blaze wavelength | 1200 nm or 1250 nm nominal blaze wavelength (1st order Littrow) size: 25 x 25 mm^2 6mm thickness ca. 22 degree blaze angle aluminum reflective coating 600 grooves/mm | 2 | Kos / Pcs |  | 0
28 | Plane ruled diffraction gratings, 1600 nm blaze wavelength | 1600 nm nominal blaze wavelength (1st order Littrow) size: 25 x 25 mm^2 6mm thickness ca. 28.5 degree blaze angle aluminum reflective coating 600 grooves/mm | 2 | Kos / Pcs |  | 0
29 | Plano-convex spherical lens, various focal lengths, IR light (ca. 1000-1600 nm) | AR coated for ca. 1000-1600 nm Various focal lengths ca. 1” diameter (25mm is also ok) material N-BK7 | 60 | Kos / Pcs |  | 0
30 | Plano-convex spherical lens, various focal lengths, VIS light (ca. 400-700 nm) | AR coated for ca. 400-700 nm Various focal lengths ca. 1” diameter (25mm is also ok) material UV fused silica | 30 | Kos / Pcs |  | 0
31 | Plate beam sampler for IR light | 1” diameter, about 5mm thick, optimized for 45deg AOI ca. 1% reflectivity for P polarization ca. 10% reflectivity for S polarization beam sampler for ca. 1000-1700nm wavelengths wedge between front and back surface to suppress interference AR coated back surface to suppress interference Material: UV fused silica | 20 | Kos / Pcs |  | 0
32 | Plate beam sampler for VIS light | optimized for 45deg AOI ca. 1% reflectivity for P polarization ca. 10% reflectivity for S polarization beam sampler for ca. 350-700nm wavelengths 1” diameter wedge between front and back surface to suppress interference AR coated back surface to suppress interference Material: UV fused silica | 20 | Kos / Pcs |  | 0
33 | Precision cover glasses | shape rectangular or square A x B, with A=20-24mm, B=50-55mm Thickness >165micrometers fused silica or BK7 glass packs of 100 pieces | 10 | Kos / Pcs |  | 0
34 | Protected-silver mirrors | fits round 1-inch diameter optics mounts Broad-spectrum reflectivity Thickness about 5mm to 7mm Plane surface (lambda 10 @ ca. 600nm, 40-20 scratch dig or better) | 60 | Kos / Pcs |  | 0
35 | Reflective edge-pass filters | fits round 1-inch diameter optics mounts strong attenuation of 500-530nm light (>OD3) high transmission for 1300-1570nm (>99% transmission) 90 degree angle of incidence | 24 | Kos / Pcs |  | 0
36 | Replacement cleaning reel | lint-free cleaning cloth replacement reel for universal fiber connector cleaner ca. 20’ length compatible with Thorlabs FCC-7020 | 20 | Kos / Pcs |  | 0
37 | Single-mode fiber retroreflectors | FC/APC connector >= 1 meter long fiber Operating wavelength range ca. 1300 nm – 1600 nm | 4 | Kos / Pcs |  | 0
38 | Zero-order lambda/2 waveplates, various center wavelengths | Zero-order halve-wave plate for various design wavelengths (e.g. 780 nm, 1310 nm, 1550 nm) 1/2” diameter waveplate >= 10 mm clear aperture 1” mount | 30 | Kos / Pcs |  | 0
39 | Wideband 2x2 single-mode fiber-optic 50:50 coupler, various center wavelengths | Single-mode fibers length of fiber leads >= 80cm FC/APC terminated connectors various central operating wavelengths (e.g. 785 nm, 1310 nm, 1550 nm) broad bandwidth (e.g. ca. 100 nm for 1550 nm central wavelength, ca. 50 nm for 560 nm central wavelength) Coupling ratio tolerance ca. 5% Bidirectional 50:50 coupling polarization-dependent loss <= 0.2 dB 900 micron jacket | 14 | Kos / Pcs |  | 0
40 | Dual-window 1x2 single-mode fiber-optic 90:10 coupler | Single-mode fibers length of fiber leads >= 80cm FC/APC terminated connectors 1310 nm and 1550 nm operating windows > 20 nm bandwidth for each wavelength window polarization-dependent loss <= 0.2 dB 900 micron jacket | 4 | Kos / Pcs |  | 0
41 | Single-mode fiber-optic circulator for various wavelengths | narrow-key FC/APC connectors various operating wavelength operating bandwidth more than +/- 20 nm polarization-dependent loss < 0.2 dB insertion loss < 1 dB directivity >= 50 dB return loss >= 50 dB maximum power level: ca 300 mW continuous wave | 4 | Kos / Pcs |  | 0
42 | Hard-coated short-pass filter with cut off at ca 1000 nm | Filter housed in 1” diameter black anodized aluminum ring cut-off wavelength ca. 1000 nm transmission at 655 nm: > 98% > 7 OD at 1310 nm 90 degree angle of incidence | 10 | Kos / Pcs |  | 0
43 | Adjustable fiber collimator | Compatible connector: wide-key FC/APC aspheric lens for collimation AR coating of aspheric lens for wavelength range ca 1050 – 1600 nm output waist diameter > 2 mm for 1550 nm light numerical aperture ca. 0.3 pointing stability during collimation < 1 mrad input mode-field diameter for fiber: ca 10 micrometer | 4 | Kos / Pcs |  | 0
44 | 2" dia. N-BK7 Plano-convex lenses, various focal lengths, AR coated | 2" diameter plano-convex AR coating for wavelength range ca 1050 – 1600 nm various focal lengths material: N-BK7 | 20 | Kos / Pcs |  | 0
45 | FC/APC Narrow-key mating sleeves | for connecting FC/APC connectorized fibers | 50 | Kos / Pcs |  | 0
46 | Round plano-convex cylindrical lens, various focal lengths, IR light (ca. 1000-1600 nm) | AR coated for ca. 1000-1600 nm Various focal lengths ca. 1” diameter (25mm is also ok) clear aperture > 20mm material N-BK7 | 10 | Kos / Pcs |  | 0
47 | Round plano-convex cylindrical lens, various focal lengths, VIS light (ca. 400-700 nm) | AR coated for ca. 400-700 nm Various focal lengths ca. 1” diameter (25mm is also ok) clear aperture > 20mm material UV fused silica | 10 | Kos / Pcs |  | 0
48 | Beam block for VIS and IR light | Suitable for blocking light with wavelengths 400-2000 nm Blocks and absorbs beam powers up to 10 W (CW or pulsed) Absorbing material: steel post-mountable using M4 screw including a 1/2" post with a length >= 50 mm | 25 | Kos / Pcs |  | 0
49 | Mounted Absorptive ND Filters, various optical densities (ODs), NIR light | Ø25 mm Absorptive Neutral Density Filter AR coating: 650 - 1050 nm Threaded Mount OD: various values (e.g. 1.0, 3.0 etc) | 40 | Kos / Pcs |  | 0
50 | Diffusor | Ø1" Unmounted N-BK7 Ground Glass Diffuser 220 Grit | 30 | Kos / Pcs |  | 0
51 | Diffusor | Ø1" Unmounted N-BK7 Ground Glass Diffuser 600 Grit | 30 | Kos / Pcs |  | 0
52 | Bandpass filter | Bandpass Filter Ø25 mm CWL = 532 nm FWHM = 4 nm | 10 | Kos / Pcs |  | 0
53 | N-BK7 Plano-Convex Lens Ø25.0 mm f = 25 mm Uncoated | Short Description: A plano-convex lens designed for focusing or collimating light. Specifications: Diameter: Ø25.0 mm Focal Length: 25.0 mm AR Coating: 350 nm - 2.0 µm (Uncoated) Material: N-BK7 | 4 | Kos / Pcs |  | 0
54 | Ø1" N-BK7 Plano-Convex Lens SM1-Threaded Mount f = 30 mm Uncoated | Short Description: A mounted plano-convex lens designed for focusing or collimating light. Specifications: Diameter: Ø1" Focal Length: 30.0 mm Material: N-BK7 Wavelength Range: 350 nm - 2.0 µm (Uncoated) SM1-threaded (1.035"-40) mount Mounted in SM-compatible lens cells with retaining rings | 4 | Kos / Pcs |  | 0
55 | Ø1" Back Side Polished Broadband Dielectric Mirror 400 - 750 nm | Short Description: A broadband dielectric mirror with a high reflectance in the visible and NIR range. Specifications: Diameter: Ø1" Wavelength Range: 400 - 750 nm Reflectance: >99% at 45° AOI Substrate: Fused Silica | 4 | Kos / Pcs |  | 0
56 | Ø1" Longpass Dichroic Mirror 445 nm Cut-On | Short Description: A longpass dichroic mirror designed for separating light by wavelength. Specifications: Diameter: Ø1" Cut-On Wavelength: 445 nm Transmission: >90% above cut-on wavelength Reflection: >98% below cut-on wavelength | 8 | Kos / Pcs |  | 0
57 | Hard-Coated Bandpass Filter Ø25 mm CWL = 351 nm FWHM = 10 nm | Short Description: A bandpass filter designed for isolating specific wavelengths of light. Specifications: Diameter: Ø25 mm Center Wavelength: 351 nm FWHM: 10 nm Transmission: ≥85% at CWL Material: UV Fused Silica | 8 | Kos / Pcs |  | 0
58 | Tunable Filter Fixed Narrow Bandpass Ø35 mm CA 430 - 730 nm M4 Taps | Short Description: A tunable bandpass filter designed for multispectral and hyperspectral imaging. Specifications: Wavelength Range: 430 - 730 nm Bandwidth: 10 nm FWHM at 550 nm Switching Time: <250 ms Clear Aperture: Ø35 mm | 2 | Kos / Pcs |  | 0
59 | Ø1" 50:50 UVFS Plate Beamsplitter Coating: 350 - 1100 nm t = 5.0 mm | Short Description: A non-polarizing plate beamsplitter designed for splitting light beams. Specifications: Diameter: Ø1" Wavelength Range: 350 - 1100 nm Split Ratio: 50:50 Thickness: 5.0 mm | 8 | Kos / Pcs |  | 0
60 | UV Fused Silica Right-Angle Prism Uncoated L = 25 mm | Short Description: A right-angle prism designed for deviating light paths. Specifications: Material: UV Fused Silica Dimensions: 25 x 25 x 35.4 mm Wavelength Range: 185 nm - 2.1 µm Surface Flatness: λ/10 | 4 | Kos / Pcs |  | 0
61 | Ø1" Unmounted N-BK7 Ground Glass Diffuser 220 Grit | Short Description: A ground glass diffuser designed for creating a diffuse light distribution. Specifications: Diameter: Ø1" Grit: 220 Material: N-BK7 Unmounted | 4 | Kos / Pcs |  | 0
62 | Ø1" Linear Polarizer with N-BK7 Windows 1050-1700 nm | Short Description: A linear polarizer designed for infrared applications. Specifications: Wavelength Range: 800 - 2000 nm Extinction Ratio: 10000:1 Diameter: Ø1" Material: Wire Grid on CaF2 | 6 | Kos / Pcs |  | 0
63 | Ø1" Double Linear Polarizer Variable Attenuator with N-BK7 Windows 400-700 nm | Short Description: A variable attenuator designed for controlling light intensity. Specifications: Wavelength Range: 400 - 700 nm Attenuation Range: 0 - 100% Diameter: Ø1" Material: N-BK7 | 6 | Kos / Pcs |  | 0
64 | Ø1" Polarizing Plate Beamsplitter 780 nm | Short Description: A polarizing beamsplitter designed for separating s- and p-polarized light. Specifications: Wavelength: 780 nm Extinction Ratio: >1000:1 Diameter: Ø1" Material: N-BK7 | 6 | Kos / Pcs |  | 0
65 | Ø1" Mounted Achromatic Quarter-Wave Plate SM1-Threaded Mount 690 - 1200 nm | Short Description: A quarter-wave plate designed for converting linearly polarized light to circularly polarized light. Specifications: Wavelength Range: 700 - 1100 nm Retardance: λ/4 Diameter: Ø1" Material: Quartz | 4 | Kos / Pcs |  | 0
66 | Liquid Crystal Tunable Filter Controller | Short Description: A controller designed for operating Kurios tunable filters. Specifications: Control Interface: USB, BNC Power Supply: 12 V DC Compatible Filters: K2XL1, K2VB1 | 3 | Kos / Pcs |  | 0
67 | Ø1" m = 1 Zero-Order Vortex Half-Wave Plate 780 nm | Short Description: A wave plate designed for altering the polarization state of light. Specifications: Wavelength: 780 nm Retardance: λ/2 Diameter: Ø1" Material: Quartz | 4 | Kos / Pcs |  | 0
68 | 45° Faraday Rotator CWL = 850 nm | Short Description: An infrared LED designed for various optical applications. Specifications: Wavelength: 850 nm Output Power: 5 mW Package: TO-18 Viewing Angle: 20° | 4 | Kos / Pcs |  | 0
69 | 20X Achromatic Galilean Beam Expander AR Coated: 650 - 1050 nm | Short Description: A beam expander designed for expanding laser beams. Specifications: Magnification: 20x Wavelength Range: 650 - 1050 nm Max Input Beam Diameter: 2 mm | 6 | Kos / Pcs |  | 0
70 | 25 mm x 36 mm Protected Silver Mirror | Short Description: A protected silver mirror designed for high reflectance in the visible and NIR regions. Specifications: Dimensions: 25 mm x 36 mm Reflectance: >97% for 450 nm - 2 µm; >95% for 2 - 20 µm Protective SiO₂ overcoat to prevent oxidation Substrate: UV Fused Silica | 4 | Kos / Pcs |  | 0
71 | Ø25 mm Colored Glass Filter Kit Mounted in SM1 Lens Tubes Set of 10 | Short Description: A kit containing ten Ø25 mm Schott® colored glass filters mounted in laser-engraved SM1 series lens cells. Specifications: Includes ten Ø25 mm Schott® colored glass filters Mounted in SM1-threaded (1.035"-40) lens cells Filters are clearly marked for easy identification Comes in a convenient plastic storage box | 6 | Kos / Pcs |  | 0
72 | Various Diameters N-BK7 Plano-/Bi-Convex Lens Essentials Kit ARC: 350-700 nm 101 pc | Short Description: An essentials kit containing a variety of N-BK7 plano-convex and bi-convex lenses with an antireflection coating for the 350-700 nm range. Specifications: Number of Lenses: 101 pieces Lens Types: Plano-Convex and Bi-Convex Diameter Range: 6 mm to 75 mm Focal Length Range: 10 mm to 1000 mm AR Coating: 350-700 nm Material: N-BK7 List of lenses with diameter and focal length Plano-Convex Diameter 6 mm (10.0 mm, 12.0 mm, 15.0 mm, 30.0 mm) Diameter 9 mm (12.0 mm, 20.0 mm) Diameter 1/2" (15.0 mm, 20.0 mm, 25.0 mm, 30.0 mm, 40.0 mm, 50.0 mm, 100.0 mm) Diameter 18 mm (20.0 mm, 25.0 mm, 30.0 mm, 50.0 mm) Diameter 1" (25.4 mm, 30.0 mm, 35.0 mm, 40.0 mm, 50.0 mm, 60.0 mm, 75.0 mm, 100.0 mm, 125.0 mm, 150.0 mm, 175.0 mm, 200.0 mm, 250.0 mm, 300.0 mm, 400.0 mm, 500.0 mm, 750.0 mm, 1000.0 mm) Diameter 30 mm (40.0 mm, 50.0 mm, 75.0 mm, 100.0 mm, 120.0 mm) Diameter 2" (60.0 mm, 75.0 mm, 100.0 mm, 125.0 mm, 150.0 mm, 175.0 mm, 200.0 mm, 250.0 mm, 300.0 mm, 400.0 mm, 500.0 mm, 750.0 mm, 1000.0 mm) Diameter 75 mm (85.0 mm, 100.0 mm, 150.0 mm, 200.0 mm) Bi-Convex Diameter 6 mm (10.0 mm, 12.0 mm, 15.0 mm, 30.0 mm) Diameter 9 mm (12.0 mm, 20.0 mm) Diameter 1/2" (15.0 mm, 20.0 mm, 25.0 mm, 30.0 mm, 40.0 mm, 50.0 mm, 100.0 mm) Diameter 1" (25.0 mm, 30.0 mm, 35.0 mm, 40.0 mm, 50.0 mm, 60.0 mm, 75.0 mm, 100.0 mm, 125.0 mm, 150.0 mm, 175.0 mm, 200.0 mm, 250.0 mm, 300.0 mm, 400.0 mm, 500.0 mm, 750.0 mm, 1000.0 mm) diameter 2" (60.0 mm, 75.0 mm, 100.0 mm, 125.0 mm, 150.0 mm, 175.0 mm, 200.0 mm, 250.0 mm, 300.0 mm, 400.0 mm, 500.0 mm, 750.0 mm, 1000.0 mm) | 4 | Kos / Pcs |  | 0
73 | Liquid Crystal Shutter / Variable Attenuator Ø20 mm 700 - 1100 nm M4 Taps | Short Description: A liquid crystal shutter and variable attenuator designed for precise control of light intensity in the 700 - 1100 nm range. Specifications: Diameter: Ø20 mm Wavelength Range: 700 - 1100 nm Transmission (Avg.): >80% Contrast Ratio (Avg.): >7300:1 Switching Speed (Opening): 16 ms (Typ.) Switching Speed (Closing): 0.37 ms (Typ.) Mounting: M4 Taps Thread Compatibility: SM1 (1.035"-40) Internal Thread | 4 | Kos / Pcs |  | 0
74 | Fixed-focus fiber collimation packages, various beam diameter, for VIS/NIR light | Anti-reflection coating for center wavelengths around various VIS/NIR wavelengths (e.g. 532 nm, 780 nm) Various beam waist diameters of collimated beam - ca. 0.8mm to ca. 3.5 mm Numerical aperture ca 0.15 to ca. 0.55 FC/APC connector For collimating light from single-mode fibers | 20 | Kos / Pcs |  | 0
75 | Zero-order lambda/4 waveplates, various center wavelengths | Zero-order quarter-wave plate for various design wavelengths (e.g. 780 nm, 1310 nm, 1550 nm) 1/2” diameter waveplate >= 10 mm clear aperture 1” mount | 20 | Kos / Pcs |  | 0
76 | Adjustable fiber collimator for VIS light | Compatible connector: wide-key FC/APC aspheric lens for collimation AR coating of aspheric lens for wavelength range ca 350 – 700 nm output waist diameter ca. 2 mm for 490 nm light numerical aperture ca. 0.3 pointing stability during collimation < 1 mrad input mode-field diameter for fiber: ca 3.5 micrometer | 4 | Kos / Pcs |  | 0
77 | Adjustable fiber collimator for NIR light | Compatible connector: wide-key FC/APC aspheric lens for collimation AR coating of aspheric lens for wavelength range ca 650 – 1050 nm output waist diameter ca. 2.4 mm for 850 nm light numerical aperture ca. 0.3 pointing stability during collimation < 1 mrad input mode-field diameter for fiber: ca 5 micrometer | 4 | Kos / Pcs |  | 0
78 | Unmounted aspheric lenses, various focal lengths and diameters | Polished precision aspheric lenses Material: N-BK7 or S-LAH64 AR coating for ca. 1050 – 1700 nm (important wavelengths: 1064 nm, 1310 nm, 1550 nm) NA >= 0.45 | 10 | Kos / Pcs |  | 0
79 | FC/APC single-mode connector | 126micron diameter bore 900micron diameter boot Ceramic ferrule | 40 | Kos / Pcs |  | 0
80 | FC/PC single-mode connector | 126micron diameter bore 900micron diameter boot Ceramic ferrule | 40 | Kos / Pcs |  | 0
81 | Plano-convex spherical lens, various focal lengths, NIR light (ca. 650-1050 nm) | AR coated for ca. 650-1050 nm Various focal lengths ca. 1” diameter (25mm is also ok) material N-BK7 | 60 | Kos / Pcs |  | 0
82 | Round plano-convex cylindrical lens, various focal lengths, NIR light (ca. 650-1050 nm) | AR coated for ca. 650-1050 nm Various focal lengths ca. 1” diameter (25mm is also ok) clear aperture > 20mm material N-BK7 | 10 | Kos / Pcs |  | 0
83 | Replacement cartridge for FBC250 | Pack of 2 Fits FBC250 Bulkhead and Connector Cleaner | 4 | Kos / Pcs |  | 0
84 | Mounted Absorptive ND Filters, various optical densities (ODs), VIS light | Ø25 mm Absorptive Neutral Density Filter AR coating: 350 - 700 nm Threaded Mount OD: various values (e.g. 1.0, 3.0 etc) | 40 | Kos / Pcs |  | 0
85 | Mounted Absorptive ND Filters, various optical densities (ODs), IR light | Ø25 mm Absorptive Neutral Density Filter AR coating: 1050 - 1700 nm Threaded Mount OD: various values (e.g. 1.0, 3.0 etc) | 40 | Kos / Pcs |  | 0

## Light
Laboratorijske komponente in material za svetlobo / Laboratory components and material for light
[5 empty] | Skupni znesek v EUR brez DDV Total Price in EUR without VAT | 0
Št. / Nr. | Predmet naročila / Subjeckt of Purchace | Specifikacija / Specification | Količina / Quantity | Enota / Unit | Znesek na enoto v EUR brez DDV Price per unit in EUR without VAT | Znesek v EUR brez DDV Price in EUR without VAT
1 | 1550 nm single-frequency, single-mode laser diode | single-frequency (1550 nm) pig-tailed to polarization-maintaining fiber 40 mW fiber-coupled power 14-pin butterfly external cavity laser the fiber should have an FC/APC connector | 10 | Kos / Pcs |  | 0
2 | Constant power OEM-grade laser diode driver on daughter board | constant power laser-diode driver compatible with DIL-14-pins case for pin codes A, B, and F | 10 | Kos / Pcs |  | 0
3 | Evaluation board for test applications with OEM laser diode drivers | female DB9 connector screw terminal for laser diode trimpots control operating set point of laser diode USB connector and screw ternminal for 5 VDC power | 10 | Kos / Pcs |  | 0
4 | OEM-grade laser diode driver for use with evaluation board | constant power laser-diode driver compatible with DIL-14-pins case for pin codes A, B, and F | 10 | Kos / Pcs |  | 0
5 | Mounted green LED | internal SM1 thread for mounting depth of internal SM1 thread: > 5 mm compatible with Thorlabs UPLED driver central wavelength: 530 nm ca. +/- 100 nm bandwidth FWHM bandwidth > 10 nm LED output power: > 300 mW | 10 | Kos / Pcs |  | 0
6 | LED source | White LED mounted 4900 K (Neutral White) min. 740 mW output power max. current > 1.2 A forward voltage 2.9 V viewing angle 150° | 10 | Kos / Pcs |  | 0
7 | Compact Laser Diode Module with Shutter 785 nm 20 mW | Short Description: A compact laser diode module with a shutter, designed for precise optical experiments. Specifications: Wavelength: 785 nm Output Power: 20 mW Beam Size: 2.6 mm x 4.4 mm (Elliptical) SM1-threaded (1.035"-40) Integrated beam shutter Adjustable output power | 10 | Kos / Pcs |  | 0
8 | 473 nm 100 mW &#216;5.6 mm F+ Pin Code Laser Diode | Short Description: A high-power laser diode suitable for various optical applications. Specifications: Wavelength: 473 nm Output Power: 100 mW Package: Ø5.6 mm, F+ Pin Code Forward Voltage: 2.8 V at 100 mA Operating Current: 150 mA | 10 | Kos / Pcs |  | 0
9 | 450 nm LED with a Flat Window 90 mW TO-39 | Short Description: An InGaN LED mounted in a hermetically sealed TO-39 package with a flat window. Specifications: Wavelength: 450 nm Optical Output Power: 90 mW at 100 mA Forward Voltage: 2.8 V at 100 mA Viewing Half Angle: 50° Operating Current: 150 mA | 10 | Kos / Pcs |  | 0
10 | 405 nm 1200 mW (Min) Mounted LED 1400 mA | Short Description: A high-power mounted LED designed for stable output in optical systems. Specifications: Wavelength: 405 nm Output Power: 1200 mW (minimum) Operating Current: 1400 mA SM1-threaded (1.035"-40) Optimized heat management | 20 | Kos / Pcs |  | 0
11 | Laser Safety Glasses Green Lenses 19% Visible Light Transmission Comfort Style | Short Description: Laser safety glasses with green lenses, providing protection against laser radiation. Specifications: Visible Light Transmission: 19% Frame Style: Universal CE Certified Absorptive dye encapsulated in hardened polycarbonate lenses | 10 | Kos / Pcs |  | 0

## Light analysis
Laboratorijske komponente in material za analizo svetlobe / Laboratory components and material for light analysis
[5 empty] | Skupni znesek v EUR brez DDV Total Price in EUR without VAT | 0
Št. / Nr. | Predmet naročila / Subjeckt of Purchace | Specifikacija / Specification | Količina / Quantity | Enota / Unit | Znesek na enoto v EUR brez DDV Price per unit in EUR without VAT | Znesek v EUR brez DDV Price in EUR without VAT
1 | 5 GHz bandwidth free-space InGaAs Detectors | Bandwidth ca. 5 GHz Sensitive for spectral range ca. 800-1700 nm Offer including power supply and any adapters necessary to operate the detector M4 tap for mounting on metric posts Max. power > 20 mW | 10 | Kos / Pcs |  | 0
2 | 6-pin male Hirose connector cable with breakout box | allows 6 bare wires to be connected to a 6-pin Hirose connector without soldering cable length >= 1.5 meters compatible with TC300B temperature controller | 4 | Kos / Pcs |  | 0
3 | High-sensitivity amplified photoreceiver | InGaAs detector sensitive for ca 900-1700 nm light The detector should be free space (not fiber-coupled) DC & AC coupling Noise-equivalent power < 5 pW/sqrt(Hz) >100 kHz bandwidth >1e6 V/A response battery powered or European power supply included | 8 | Kos / Pcs |  | 0
4 | InGaAs Fixed gain Amplified detector | > 350 MHz bandwidth NEP ca. 20 pW/sqrt(Hz) or better at least one metric mounting hole sensitivity from ca. 800-1700 nm about 20kV/W or more max conversion gain at 1500 nm | 6 | Kos / Pcs |  | 0
5 | Mounted cathode-grounded photodiode | sensitive wavelength range ca. 900-1700 nm peak responsivity ca. 1 A/W rise/fall time at 50 Ohm load resistance ca 10 ns NEP < 1e-13 W/sqrt(Hz) SMA or BNC connector for signal output suitable for mounting with SM05 or SM1 thread cathode grounded capacitance at 5 V < 100 pF diameter of active area > 0.5 mm^2 | 6 | Kos / Pcs |  | 0
6 | Power adapter bundle | Type: ±12 VDC regulated linear power supply Output current: 250 mA Output power: 6W Safety specifications: Input line fuse; LED with on/off switch Compatible: with European 230 VAC Output connector: LUMBERG RSMV3 Male Connector Cord Length: ≥ 1 m Power adapter: - Compatible: with Thorlabs DET series detectors - Mating power connector: LUMBERG RSMV3 - Housing includes: M12 thread for connection to the DET series detectors - Min. Voltage: 7V - Max. Voltage: 12V | 6 | Kos / Pcs |  | 0
7 | Mounted cathode-grounded photodiode | sensitive wavelength range ca. 320-1100 nm peak responsivity > 0.5 A/W rise/fall time at 50 Ohm load resistance < 20 ns NEP < 1e-14 W/sqrt(Hz) SMA or BNC connector for signal output suitable for mounting with SM05 or SM1 thread cathode grounded capacitance at 0 V < 150 pF diameter of active area ca 1 x 1 mm^2 | 6 | Kos / Pcs |  | 0
8 | Transimpedance amplifier | bandwidth: DC – 100 MHz input current noise: < 50 pA/sqrt(Hz) output impedance: 50 Ohm SMA or BNC connectors for input and output power supply included rise/fall time: < 10 ns transimpedance gain: > 2 kV/A | 10 | Kos / Pcs |  | 0
9 | Standard Photodiode Power Sensor Si 400 - 1100 nm 500 nW - 500 mW | Short Description: A silicon photodiode power sensor designed for measuring optical power in the 400 - 1100 nm range. Specifications: Wavelength Range: 400 - 1100 nm Power Range: 500 nW - 500 mW Active Area: Ø9.5 mm Calibration Uncertainty: ±3% | 6 | Kos / Pcs |  | 0
10 | Thermal Power Sensor Head Surface Absorber 0.19 - 20 µm 10 &micro;W - 1 W Ø10 mm | Short Description: A thermal power sensor designed for high sensitivity measurements across a broad spectral range. Specifications: Wavelength Range: 0.19 - 20 µm Power Range: 10 µW - 5 W Active Area: Ø12 mm Calibration Uncertainty: ±3% | 6 | Kos / Pcs |  | 0
11 | Pyroelectric Energy Sensor Black Coating 0.185 - 25 µm 500 mJ Ø20 mm 30 Hz | Short Description: A pyroelectric energy sensor with a black coating, suitable for measuring pulsed energy over a wide wavelength range. Specifications: Wavelength Range: 0.185 - 25 µm Energy Range: 10 µJ - 500 mJ Active Area: Ø20 mm Repetition Rate: Up to 30 Hz | 6 | Kos / Pcs |  | 0
12 | Dual-Channel Benchtop Optical Power and Energy Meter Console | Short Description: A versatile power and energy meter console with dual-channel capability, ideal for precise optical measurements. Specifications: Compatible Sensors: Photodiode, Thermal, Pyroelectric Optical Power Range: 100 pW - 200 W Optical Energy Range: 10 µJ - 15 J Wavelength Range: 185 nm - 25 µm Data Acquisition Rate: Up to 100 kS/s | 6 | Kos / Pcs |  | 0
13 | Compact Power and Energy Meter Console Digital 4" LCD | Short Description: A handheld digital power and energy meter console with a 4" LCD display, suitable for various optical measurements. Specifications: Compatible Sensors: Photodiode, Thermal, Pyroelectric Optical Power Range: 100 pW - 200 W Optical Energy Range: 10 µJ - 15 J Wavelength Range: 185 nm - 25 µm Display: 4" LCD | 6 | Kos / Pcs |  | 0
14 | Black Si Photodiode 15 ns Rise Time 240 - 1170 nm 2.0 mm x 2.0 mm Active Area | Short Description: A black silicon photodiode with fast response time, suitable for detecting light in the UV to near-IR range. Specifications: Wavelength Range: 240 - 1170 nm Active Area: 2.0 mm x 2.0 mm Rise Time: 15 ns | 4 | Kos / Pcs |  | 0
15 | Large Area Mounted Black Silicon Photodiode 240 - 1170 nm Cathode Grounded | Short Description: A mounted black silicon photodiode designed for measuring light in the UV to near-IR range. Specifications: Wavelength Range: 240 - 1170 nm Active Area: Ø5 mm Cathode Grounded | 4 | Kos / Pcs |  | 0
16 | Single Mode Photoreceiver Module 700 - 870 nm 40 kHz - 10 GHz FC/PC | Short Description: A high-speed photoreceiver module with fiber coupling, suitable for detecting light in the visible to near-IR range. Specifications: Wavelength Range: 700 - 870 nm Bandwidth: 40 kHz - 10 GHz Fiber Connector: FC/PC | 6 | Kos / Pcs |  | 0
17 | Ge Switchable Gain Amplified Detector 800 - 1800 nm 510 kHz BW 19.6 mm² Universal 8-32 / M4 Mounting Holes | Short Description: A germanium detector with switchable gain, suitable for measuring light in the near-IR range. Specifications: Wavelength Range: 800 - 1800 nm Bandwidth: 510 kHz Active Area: 19.6 mm² Universal 8-32 / M4 Taps | 8 | Kos / Pcs |  | 0
18 | Si Detector 200 - 1100 nm 1 ns Rise Time 0.8 mm&#178; Universal 8-32 / M4 Mounting Holes | Short Description: A silicon detector with fast response time, suitable for measuring light in the UV to visible range. Specifications: Wavelength Range: 200 - 1100 nm Active Area: 0.8 mm² Rise Time: 1 ns | 4 | Kos / Pcs |  | 0
19 | Fixed Gain Balanced Amp. Photodetector 15 MHz Si 320 - 1000 nm | Short Description: A balanced photodetector designed for precise optical measurements, featuring high sensitivity and low noise. Specifications: Wavelength Range: 320 - 1100 nm Bandwidth: DC - 15 MHz Active Area: Ø2 mm Noise Equivalent Power: 1.4 pW/√Hz | 6 | Kos / Pcs |  | 0