TECHNICAL SPECIFICATION

# Spare Component Cooling Pump Motor

# Compliance Matrix to NEK Technical Specification

# No. TS34-VNMG10, Rev.1

KRŠKO NUCLEAR POWER PLANT

APPENDIX A5

Revision 1

NUCLEAR SAFETY RELATED

TABLE OF CONTENT

A5.    Compliance Matrix to NEK Technical Specification No. TS34-VNMG10, Rev.1	1

| # A5. Compliance Matrix to NEK Technical Specification No. TS34-VNMG10, Rev.1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Paragraph | Title/Content | Compliant/Non-compliant | Comment |  |
| 1. SCOPE OF WORK |  |  |  |  |
| 1.1 | General | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 1.1.1 | Scope of Work & Supply | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 1.2 | Parts and Activities Excluded from Supplier’s Scope of Work | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 1.3 | Responsibility | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 1.4 | Deviation from Specification | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 2. DEFINITIONS |  |  |  |  |
| 2.1 | Definitions | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 2.2 | Abbreviations | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 3. CODES, STANDARDS AND REGULATORY REQUIREMENTS |  |  |  |  |
| 3. | CODES AND STANDARDS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 3.1 | Codes and Standards Applicable | / | / |  |
| 3.1.1 | NEMA (The National Electrical Manufacturers Association) | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 3.1.2 | IEEE (Institute of Electrical and Electronics Engineers) | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 3.1.3 | CFR (Code of Federal Regulation) | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 3.1.3.1 | Conflict between codes | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 4. SUPPLEMENTAL DATA |  |  |  |  |
| 4.1 | General | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 5. DOCUMENTAL SUBMITTAL |  |  |  |  |
| 5 | DOCUMENTAL SUBMITTAL | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6. DESIGN REQUIREMENTS |  |  |  |  |
| 6.1 | General | / | / | / |
| 6.1.1.1 | General description | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.1.1.2 | Desirable lifetime | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.1.1.3 | Modifications and upgrades | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2 | Mechanical details | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.1 | Enclosure | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.1.1 | Frame assembly | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.1.2 | Mounting footprints | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.1.3 | Air gap measuring | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.1.4 | Lifting lugs | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.2 | Main lead and boxes | / | / |  |
| 6.2.2.1 | Auxiliary terminal boxes | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.2.2 | IR-camera inspections | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.3 | Cooling | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.4 | Bearings | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.4.1 | Bearing design | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.4.2 | Bearing thermocouples | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.5 | Bearing oil reservoir | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.6 | Dimensions and Threads | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.7 | Shaft and Coupling | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.7.1 | Coupling installation | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.8 | Direction of Rotation | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.2.9 | Vibration and noise | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3 | Electrical details | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.1 | Voltage Rating | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2 | Stator | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2.1 | Stator insulation | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2.2 | VPI process | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2.3 | Sample coils | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2.4 | Motor leads | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.2.5 | Stator and rotor laminations | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.3 | Stator winding | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.3.1 | Resistance temperature detectors | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.4 | Stator end Turns | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.4.1 | Photographs of stator winding | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.5 | Service factor | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.6 | Temperature Rise | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.7 | Rotor | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.7.1 | Balance testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.7.2 | Design compatibility | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.7.3 | Magnetic center | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.7.4 | Marking of rotor | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.3.8 | Locked Rotor Current | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.4 | Miscellaneous Requirements and Safety | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 6.5 | Accessories | / |  |  |
| 6.5.1 | Space heaters | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7. PREFORMANCE REQUIREMENTS |  |  |  |  |  | ☐ In Scope ☐ Out of Scope | Click or tap here to enter text. | Click or tap here to enter text. |
| 7.1 | Starting requirements | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.2 | Loading and Torque Requirements | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3 | Operating reliability | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.1 | Motor transient stresses withstanding | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.2 | Voltage and frequency variation | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.3 | Voltage unbalance | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.4 | Power factor | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.5 | Forbidden use of Capacitor | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.6 | Overspeed | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 7.3.1.7 | Vibration levels | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 8.MATERIAL REQUIREMENTS |  |  |  |  |
| 8.1.1.1 | Supplier responsibility | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 8.1.1.2 | Quality verification | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 8.1.1.3 | Corrosion resistant material | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 8.1.1.4 | Use of asbestos | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 9. FABRITACION AND ASSEMBLY |  |  |  |  |
| 9. | FABRICATION AND ASSEMBLY | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10. INSPECTIONS AND TEST |  |  |  |  |
| 10.1 | General requirements | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.2 | Subassembly testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.2.1 | Stator core tests and checklists | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.2.2 | Stator coil testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.2.3 | Winding testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.2.4 | Rotor testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.3 | Factory Acceptance Testing | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.3.1.1 | FAT test’s | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 10.4 | Acceptance | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 11. QUALIFICATION, PARTS CLASSIFICATION AND DOCUMENT TRACEABILITY |  |  |  |  |
| 11.1 | Safety Classification | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 11.2 | Environmental Qualification | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 11.3 | Seismic Qualification | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 12. CLEANING |  |  |  |  |
| 12. | CLEANING | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 13. CORROSION PROTECTION / COATING |  |  |  |  |
| 13. | CORROSION PROTECTION/COATING AND PAINTING | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 14. MARKING AND IDENTIFICATION |  |  |  |  |
| 14. | MARKING AND IDENTIFICATION | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 14.1.1.1 | Nameplate | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 14.1.1.2 | Additional marking | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 15. PACKING, HANDLING AND STORAGE |  |  |  |  |
| 15. | PACKING, HANDLING AND STORAGE | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 16. NONCONFORMING MATERIALS |  |  |  |  |
| 16. | NONCONFORMING MATERIALS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 17. RECORDS |  |  |  |  |
| 17.1 | Record System | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 17.2 | Fabrication Records | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 18. OTHER REQUIREMENTS |  |  |  |  |
| 18. | OTHER REQUIREMENTS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 19. RIGHT OF ACCESS |  |  |  |  |
| 19. | RIGHT OF ACCESS TO SUPPLIER AND SUPPLIER FACILITIES | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 20. QA PROGRAM REQUIREMENTS |  |  |  |  |
| 20. | QA PROGRAM REQUIREMENTS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 21. SPECIAL HANDLING |  |  |  |  |
| 21. | SPECIAL HANDLING | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 22. SHELF LIFE |  |  |  |  |
| 22. | SHELF LIFE | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 23. 10CFR21 REPORTING |  |  |  |  |
| 23. | 10CFR21 REPORTING | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 24. COMMERCIAL GRADE DEDICATION |  |  |  |  |
| 24. | COMMERCIAL GRADE DEDICATION | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25. SUPPLIER DOCUMENTATION REQUIREMENTS |  |  |  |  |
| 25.1 | Information and Documents Required with the Proposal | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.2 | Documents requirements following order placement | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.2.1 | Drawings | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.2.1.1 | Measurements carried by Supplier | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.2.2 | Calculated performance curves and motor data | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.2.3 | Project Quality Plan | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 25.3 | Documents requirements after the completion of the project | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 26. NEK PROPRIETARY DATA |  |  |  |  |
| 26. | NEK PROPRIETARY DATA | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 27. NON-CONFORMANCE REPORTS |  |  |  |  |
| 27. | NON-CONFORMANCE REPORTS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 28. REPAIR RECORDS |  |  |  |  |
| 28. | REPAIR RECORDS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 29. SOURCE INSPECTION / SURVEILLANCE NOTIFICATION |  |  |  |  |
| 29. | SOURCE INSPECTION / SURVEILLANCE NOTIFICATION | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 30. SHIPPING REQUIREMENTS |  |  |  |  |
| 30. | SHIPPING REQUIREMENTS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 31. DELIVERY SCHEDULE |  |  |  |  |
| 31. | DELIVERY SCHEDULE | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 32. WITNESS/HOLDPOINTS FOR SUBMITTAL OF SUPPLIER DOCUMENTATION |  |  |  |  |
| 32. | HOLD POINTS | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 33. VENDOR TECHNICAL MANUAL AND REGISTERED UPDATES |  |  |  |  |
| 33. | VENDOR TECHNICAL MANUAL AND REGISTERED UPDATES | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |
| 34. TRAINING |  |  |  |  |
| 34. | TRAINING | ☐ Compliant ☐ Non-compliant | Click or tap here to enter text. |  |