## LOT 1
1. Laboratory Equipment and Environmental Monitoring Sensors and Systems Specifications | Unit/set | Price/set excluding VAT | SUM
1.1 Water Potential Meter | 2 |  | 0
1.2 Soil Water Retention Curve and Unsaturated Hydraulic Conductivity Measurement System (Evaporation Method) | 8 |  | 0
- Refilling equipment:
o refilling kits, each including a vacuum pump with complete necesary accessories | 2 |  | 0
o beaker-mounts stainless steel stands with refilling adapters | 4 |  | 0
- Soil sampling tools:
o hammering holders for 250 mL rings | 3 |  | 0
o shock-free hammers | 2 |  | 0
o hammering holder for 100 mL rings | 1 |  | 0
o universal adapter set for compatibility with 250 mL ring holders | 1 |  | 0
- Sampling rings:
o stainless steel rings (250 mL) | 71 |  | 0
o stainless steel rings (100 mL) | 50 |  | 0
1.3 Automated System for Saturated Hydraulic Conductivity Measurement | 2 |  | 0
1.4 Laboratory Thermal Conductivity Measurement Device | 1 |  | 0
1.5 Automated Soil Particle Size Distribution Analyzer | 4 |  | 0
1.6 Portable Dual-Head Infiltrometer | 1 |  | 0
1.7 Volumetric Water Content Sensor | 34 |  | 0
1.8 Volumetric Water Content, Temperature, and Electrical Conductivity Sensor | 16 |  | 0
1.9 Matric Potential and Temperature Sensor | 16 |  | 0
1.10 Borehole Installation Tool | 1 |  | 0
1.11 Field Tensiometer with Integrated Temperature Sensor
- 40 cm lenght | 4 |  | 0
- 80 cm lenght | 3 |  | 0
1.12 Soil Water Content and Temperature Profile Probe | 7 |  | 0
1.13 Installation and Removal Tool for Soil Profile Probes | 1 |  | 0
1.14 Compact All-in-One Weather Station | 10 |  | 0
1.15 Bluetooth Sensor Read-Out Device | 2 |  | 0
1.16 Cloud-Enabled Data Logger with Remote Management | 16 |  | 0
- cloud subscription per 1 unit (months) | 120 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0
VAT 22% for suppliers from Slovenia; in the case of a foreign supplier, the reverse charge mechanism applies in accordance with the law (=0%).
DDV - obrnjena davčna obveznost po 25/1 členu ZDDV-1.
DDV - obrnjena davčna obveznost po členu 44. direktive o DDV 206/112/ES.
VAT reverse charge under Article 44 of VAT Directive 206/112/ES.

## LOT 2
2. Soil Physical Properties, Sampling and Sensor systems Equipment | Unit/set | Price/set excluding VAT | SUM
2.1 Pipette Apparatus (Table Model) | 2 |  | 0
2.2 Granular Composition Test Set | 1 |  | 0
2.3 Wet Sieving Apparatus | 1 |  | 0
2.4 Tension Infiltrometer Set | 1 |  | 0
2.5 Edelman Auger | 1 |  | 0
2.6 Handle for Auger | 1 |  | 0
2.7 Bayonet Connection Bottom Part for Edelman Auger | 1 |  | 0
2.8 Digital soil Colour Identification Tool | 1 |  | 0
2.9 Sensor
- sensor with approx. 7.5 m cable | 4 |  | 0
- sensor with approx. 15 m cable | 4 |  | 0
2.10 Modem | 2 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 3
3. Gas Exchange and Environmental Monitoring Systems | Unit/set | Price/set excluding VAT | SUM
3.1 Integrated Soil CO₂ Flux Chamber | 1 |  | 0
3.2 Field Evapotranspiration and Energy Balance Monitoring Node | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 4
4. Soil Bulk Density Measurement Equipment | Unit/set | Price/set excluding VAT | SUM
4.1 Soil Bulk Density Meter | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 5
5. Essential Laboratory Devices for Precision Weighing and Mixing | Unit/set | Price/set excluding VAT | SUM
5.1 Precision Laboratory Balances
- 2200 g capacity | 1 |  | 0
- 6200 g capacity | 1 |  | 0
5.2 Compact Laboratory Shaker with all accessories | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 6
6. Computing Equipment | Unit/set | Price/set excluding VAT | SUM
6.1 Portable Computers (Laptops) | 5 |  | 0
- ESET Security Antivirus (4-year license) | 1 |  | 0
- Microsoft 365 Business Basic (4-year license) | 1 |  | 0
6.2 Monitors | 3 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 7
7. Laboratory Equipment Specifications for Public Tender | Unit/set | Price/set excluding VAT | SUM
7.1 Steam Sterilizer (Autoclave) delivered with all specified accessories and installation-ready. | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 8
8. Sampler for Field-Based Biological Monitoring | Unit/set | Price/set excluding VAT | SUM
8.1 Multi-Vial Cyclone Sampler, complete unit with all accessories for immediate field deployment | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 9
9. Soil Analysis and Monitoring Equipment | Unit/set | Price/set excluding VAT | SUM
9.1 Laboratory Lysimeter System (6 lysimeters with 1 central measuring cabinet, Includes all installation, commissioning, test operation, and user training) | 6 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 10
10. System for Moisture Sorption Characterization | Unit/set | Price/set excluding VAT | SUM
10.1 Moisture Sorption Analyzer (DVS & DDI Methods) with all accessories | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0

## LOT 11
11. Analytical Measuring Systems | Unit/set | Price/set excluding VAT | SUM
11.1 Analytical Measuring Systems (AMS) | 1 |  | 0
ADDITIONAL COSTS (shipping costs,…) | 1 |  | 0
TOTAL SUM |  |  | 0
VAT | % | 22% | 0
TOTAL AMOUNT |  |  | 0