PLINOVODI d.o.o.

Cesta Ljubljanske brigade 11b

1000 Ljubljana

Date: __________

Tender documentation for the award of a public procurement contract:

The purchase and implementation of the Central Process Control System

by negotiated procedure with prior publication of a contract notice

Public Procurement Number:  P/JN/05/2025/TS-ST

October 2025

CONTENTS

1.	INVITATION TO TENDER AND INSTRUCTIONS FOR TENDERING	3

2.	GENERAL	3

3.	SELECTION CRITERIA:	5

4.	CONDITIONS	5

5.	MISCELLANEOUS	10

APPENDIX 1	13

APPENDIX 2	14

APPENDIX 3	15

APPENDIX 4	16

APPENDIX 5	18

APPENDIX 6	19

APPENDIX 7	20

APPENDIX 8	21

APPENDIX 9	22

APPENDIX 10	24

APPENDIX 11	25

APPENDIX 12	27

APPENDIX 13	28

APPENDIX 14	35

APPENDIX 15	36

APPENDIX 16	46

APPENDIX 17 (will be submitted in the second phase after recognition of capability)	51

APPENDIX 18 (will be submitted in the second phase after recognition of capability)	53

# 1.	INVITATION TO TENDER AND INSTRUCTIONS FOR TENDERING

In accordance with the provisions of the Public Procurement Act (Official Gazette of the Republic of Slovenia, No. 91/15, Official Gazette of the European Union, No. 307/15, 337/17, Official Gazette of the Republic of Slovenia, No. 14/18, 69/19 - Composition US, Official Journal of the European Union, No. 279/19, Official Gazette of the Republic of Slovenia, No. 49/20 - ZIUZEOP, 80/20 - ZIUOOPE, 152/20 - ZZUOOP, 175/20 - ZIUOPDVE, 15/21 - ZDUOP, 112/21 - ZNUPZ, 206/21 - ZDUPŠOP, 121/21, Official Journal of the European Union, No. 398/21, Official Gazette of the Republic of Slovenia, No. 10/22, 74/22 - Composition US, 100/22 - ZNUZSZS, 141/22 - ZNUNBZ, 158/22 - ZNPOVCE, 28/23, 88/23 - ZOPNN-F, 95/23 - ZIUOPZP, 131/23 – ZORZFS, Official Journal of the European Union, No. 1611/23, 1611/23; hereinafter referred to as: the "ZJN-3"), the company PLINOVODI d.o.o. (hereinafter referred to as: the "Contracting Authority") invites the Candidate/Tenderer to submit his written Tender in accordance with this Invitation and Instructions for Tendering.

The Tenderer shall, based on the subject of the public procurement, fulfil and comply with all provisions defined by the legislation in force as regards the subject of the public procurement.

The Tenderer can be a legal or natural person registered to carry out the activity that is the subject of the public procurement and meets all the conditions for performing the public procurement. The Tenderer can also be a consortium of legal or natural persons that collectively meet the conditions for performing the public procurement.

This document is an unofficial, non-binding translation to English. In the event of any discrepancies or disputes, the original Slovene version of the tender documentation shall prevail and shall be used for interpretation.

# 2.	GENERAL

2.1	Contracting Authority

| Company name | PLINOVODI, Družba za upravljanje s prenosnim sistemom, d.o.o. |
| --- | --- |
| Short name | PLINOVODI d.o.o. |
| Address | Cesta Ljubljanske brigade 11b, PO box 3720, 1001 Ljubljana, Slovenia |
| Registration number | 1954288000 |
| VAT ID number | SI31378285 |

2.2	Tenderer's details (data to be provided by the Tenderer)

COMPANY OR TITLE OF THE TENDERER:

Address:

Registration number:

VAT ID number:

Is the Tenderer a micro, small or medium-sized company (SME): YES NO

Current account number; open at (Bank’s name):

Telephone:

E-mail address:

Mobile phone:

Person authorised for interpretation of the Contract and Tender Documentation:

Person authorised for signing of the Contract:

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

2.3	The subject of the public procurement is the purchase and implementation of a Central Process Control System at Plinovodi d.o.o., the operator of the gas transmission system in Slovenia. The Central Process Control System will be a key process information system for the remote monitoring and management of the gas transmission system. Therefore, with this procurement, we are initiating a tender for the supply and implementation of a modern and widely established control system that will replace the existing one and provide a solid technical foundation for the further development of the gas transmission system operator, including in the context of the upcoming green transition and the management of the transmission system with renewable gases.

In addition to being based on modern yet proven standards and technologies in the field of control systems and ensuring high operational availability, the Central Process Control System must also provide configuration and architecture flexibility, upgradability and scalability of content, modularity of the system’s functional components, and connectivity via standard communication protocols. Among other requirements, the system must enable the integration and monitoring of gases from renewable sources, including tracking the proportion of hydrogen. An important aspect and emphasis of the procurement is also ensuring compliance with the increased cybersecurity requirements in recent times.

The Tenderer shall issue invoices to the Contracting Authority for the delivered equipment and all completed works in accordance with the enclosed handover protocol. The total value of all invoices before the final invoice may not exceed 80% of the value of the equipment and works according to the technical specifications of the Contracting Authority as set out in the Tender documentation.

The Tenderer shall issue an invoice to the Contracting Authority together with the final handover protocol within 20 days after the completion of all works under the Contract of this Public Procurement, following the acceptance of the Central Process Control System by the Contracting Authority, and after the submission of the Warranty Bond for the remedy of defects during the warranty period, which the Tenderer is obliged to provide to the Contracting Authority.

The bid must remain valid for 120 days from the date specified for the submission of bids.

The Tenderer’s average annual general revenue for the three business years (2022, 2023, and 2024) must exceed 5,000,000.00 EUR.

2.4	Public procurement procedure: The Contracting Authority shall award contract by a negotiated procedure with prior publication in accordance with Article 45 of the Public Procurement Act (ZJN-3). In the first phase, Tenderers shall submit their applications in accordance with the requirements specified in the tender documentation. After reviewing the applications, the contracting authority shall publish the document “Decision on Recognition of Capability” on the public procurement portal, through which the Contracting Authority will recognize the capability of Tenderers who have submitted admissible applications (in accordance with point 29 of the first paragraph of Article 2 of ZJN-3) or will not recognize the capability of Tenderers who have not submitted admissible applications. After the “Decision on Recognition of Capability” becomes final, the Contracting Authority shall, in the second phase, invite Tenderers via the e-JN information system to submit a Tender form (in the Tender form, the Contracting Authority will technically define the content and scope of the supply of the subject of this public procurement).

After reviewing the received tender documentation, the Contracting Authority shall invite Tenderers to negotiations via the e-JN information system.

The Contracting Authority shall ensure equal treatment of all Tenderers during negotiations and shall not provide information in a discriminatory manner, which could give some Tenderers an advantage over others.

If the Contracting Authority conducts several rounds of negotiations, it shall inform the Tenderers of the last round of negotiations.

The Contracting Authority reserves the right to conduct negotiations either by submitting improved offers via the e-JN system or orally at the Contracting Authority's headquarters/via the MS TEAMS application, in several rounds of negotiations until the most favorable offer for the Contracting Authority is achieved.

After completing the verification and evaluation of the offers, the Contracting Authority will publish the document “Decision on Contract Award.”

2.5	Deadline and manner of submission of the Tender: The Tenderer shall submit the Tender via the e-JN Information System on the following link: https://ejn.gov.si/en/, in accordance with paragraph 3 of the “e-JN User Information System Manual for the Use of the Functionality of Electronic Submission of Tenders”: TENDERERS (hereinafter referred to as: the “e-JN User Manual”), which is part of this Tender documentation and is posted at the web address https://ejn.gov.si/en/.

Prior to submitting the Tender, the Tenderer shall register on-line at https://ejn.gov.si/en/, in accordance with the e-JN User Manual. If the Tenderer is already registered in the e-JN Information System, they log into the application at the same web address.

The user of the Tenderer who is authorised to submit tenders in the e-JN Information System submits the tender by clicking on the "Submit" button. When submitting Tenders, the e-JN Information System records the identity of the user and the time when the Tender is submitted. By the act of submitting the Tender, the user declares the will to submit a binding offer on behalf of the Tenderer (Article 18 of the Obligations Code). By submitting the Tender, it is binding for the time stated in the Tender, unless it is withdrawn or modified by the Tenderer's user before the deadline for submitting the Tenders.

The Tender shall be considered duly delivered if the Contracting Authority receives it via the e-JN system https://ejn.gov.si/en/ at the latest by ______________ until 9. a.m. The Tender shall be considered submitted when its status in the e-JN Information System is “ODDANO” (Eng., “SUBMITTED”).

The Tenderer may withdraw or modify his Tender up to the deadline for submission of tenders. If the Tenderer withdraws his Tender in the e-JN Information System, it is considered that the Tender was not submitted, and the Contracting Authority will not see it in the e-JN System either. If the Tenderer modifies his Tender in the e-JN Information System, the last submitted Tender is available to the Contracting Authority in the system. After the expiration of the deadline for submitting the Tenders, it will no longer be possible to submit a Tender.

The opening of Tenders will take place on ________________ at 12. p.m. The opening of Tenders will take place automatically in the e-JN Information System at the web address https://ejn.gov.si/en/.

2.6	Tenderers may request additional clarifications regarding the tender documentation, but no later than 9:00 a.m. on __________________. The Contracting Authority will provide a written response as soon as possible, but no later than 12:00 p.m. on _______________, via the public procurement portal. The Contracting Authority will only respond to questions submitted on time.

Only requests for additional clarifications submitted to the Contracting Authority via the public procurement portal will be considered. Tenderers will not be personally notified of clarifications, changes, or amendments to the tender documentation. Tenderers are responsible for monitoring the public procurement portal www.enarocanje.si, where the Contracting Authority will publish answers to questions and additional clarifications.

In accordance with Article 67 of the Public Procurement Act (ZJN-3), the Contracting Authority may amend or supplement the tender documentation. Such changes and supplements will generally be issued in the form of addition to the tender documentation. Each addition to the tender documentation becomes an integral part of the tender documentation. Questions and answers published on the public procurement portal are also considered part of the tender documentation.

# 3.	SELECTION CRITERIA:

The Contracting Authority shall evaluate the Tender according to the criterion of the most economically advantageous tender (first paragraph of Article 84 of ZJN-3). The Contracting Authority will consider the following criteria and scoring method:

I. Total Bid Value (Ta)

The bid value is based on the completed table provided by the Tenderer titled “Bid Form.” Other bids will receive points corresponding to the proportional deviation of their bid values from the lowest bid value, calculated using the formula:

Ta = (Cmin / C) x 95

Cmin - lowest total offered value of all the Tenderers
C - total offered value of the Tenderer

The maximum number of points that can be awarded for this criterion is 95 points.

II. Warranty Period (Tb)

This criterion determines the quality of the execution of the subject of the contract – a longer warranty period indicates higher quality of the contract’s execution.

The extension of the warranty period beyond the required two-year warranty period is scored as follows:

- Extension of the warranty period by > 1 month and ≤ 6 months: 1 point,

- Extension of the warranty period by > 6 months and ≤ 12 months: 3 points,

- Extension of the warranty period by > 12 months: 5 points.

The maximum number of points that can be awarded for this criterion is 5 points.

Total Points: T = Ta + Tb

T is the total number of points scored.

The maximum possible number of points is 100 points.

# 4.	CONDITIONS

This Tender documentation shall be duly completed and supplemented with all the required documents. The Tender must include all listed evidence and documents.

4.1	The Tenderer must duly complete the required data on page 3 of this Tender documentation (2.2 Tenderer's details (data to be provided by the Tenderer)) and fulfil all requirements on page 4 (2.3 Subject of the Public Procurement).

4.2	In accordance with the subject of the public procurement, the Tenderer has to be registered or meet the conditions for performing the activity which is the subject of the public procurement (APPENDIX 1).

The Tenderer must comply with applicable obligations in the areas of environmental, social, and labour law as stipulated by European Union law, regulations applicable in the Republic of Slovenia, collective agreements, or international environmental, social, and labour law regulations when performing public contracts.

The tenderer must meet the conditions set out in:

• The first paragraph of Article 75 of ZJN-3,

• The second paragraph of Article 75 of ZJN-3,

• The fourth paragraph of Article 75 of ZJN-3, and

• Point b of the sixth paragraph of Article 75 of ZJN-3.

Evidence:

• A statement, made under criminal and pecuniary liability, confirming compliance with the above condition, and a completed ESPD form for all economic entities included in the application.

4.3	In accordance with Article 14 of the Integrity and Prevention of Corruption Act (Official Gazette of the Republic of Slovenia, Nos. 69/11, 3/22 - ZDeb, 16/23 - ZZPri; hereinafter referred to as: the "ZIntPK"), the Tenderer must submit a statement or data on the participation of natural or legal entities in ownership of the Tenderer, including the participation of silent partners, and on economic operators, which, based on the provision of the law governing the companies, are deemed as associated companies of the Tenderer.

The Contracting Authority undertakes to submit the statement to the Commission for the Prevention of Corruption upon its demand. If the Tenderer submits a false statement or provides untrue information, this shall result in the nullity of the Contract. (APPENDIX 2)

Evidence:

• A statement, made under criminal and pecuniary liability, on the fulfilment of that condition.

4.4	In accordance with the first paragraph of Article 1h of Council Decision (SZVP) 2022/578 of 8 April 2022 amending Decision 2014/512/SZVP concerning restrictive measures in view of Russia's actions destabilising the situation in Ukraine, the Contracting Authority will exclude the Tenderer and/or partner from the procurement procedure if it is found that the Tenderer and/or partner:

- a Russian citizen or a natural or legal person, entity or body established in Russia,

- a legal person, entity or body more than 50% of which is directly or indirectly owned by an entity referred to in the previous indent, or

- a natural or legal person, entity or body acting on behalf of or at the direction of the entities referred to in the previous two indents.

The same as in the above indents applies also to a subcontractor or entity whose capacity the Tenderer refers to, if the value of its works, services or supplies represents more than 10% of the value of the Public Procurement. (APPENDIX 3)

Evidence:

  - A statement, given under criminal and material liability, confirming compliance with the specified condition.

4.5	Technical, Personnel Conditions and References or Other Requirements Related to the Subject of the Public Procurement:

4.5.1	In the period of the last 5 (five) years from the date set for submission of Tenders, the Tenderer must have at least 3 (three) successfully completed references with the offered SCADA system in the field of SCADA system implementation of a comparable scope. At least one of the reference projects must have been implemented in the field of gas network management within the EU. Also, at least one of the reference projects must include integration with a system for dynamic transient simulation of gas networks (e.g., SIMONE). At least one of the listed reference projects was carried out in accordance with the SIST EN IEC 62443 standard. (APPENDIX 4)

Note: Each individual reference project (implementation of a SCADA system of comparable scope) from this section must have included:

•	Implementation of a SCADA system of comparable scope (at least 10,000 I/O points), with the implementation encompassing both hardware and software.

•	Replacement of RTU peripheral devices – hardware and software (at least 50 peripheral devices).

•	Use of secure RTU–SCADA communication per the IEC 60870-5-104 and IEC 62351-3 standard, with a minimum distance of individual RTU units from the central SCADA system of at least 10 km.

•	Integration of the SCADA system via service architecture (REST API or SOAP WS) with existing information systems at the reference client (at least 3).

•	Connection of RTU with local control systems (at least 3) via Modbus protocol.

The Contracting Authority reserves the right to verify the submitted references and may disregard them if verification is not possible or they do not meet the above requirements. For the purpose of verifying compliance with reference requirements, the Tenderer must, upon the request of Contracting Authority, provide the Contracting Authority with the opportunity to view the reference production installation of the offered SCADA system version at the reference client. Costs related to the Contracting Authority’s representatives (travel, accommodation, meals, etc.) for verification purposes are borne by the Contracting Authority.

Evidence:

• Fully completed and signed reference confirmation statements from the reference client.

4.5.2	The Tenderer implements and will carry out the subject of the public procurement in accordance with the ISO 27001 standard. (APPENDIX 5)

Evidence:

  - A statement, given under criminal and material liability, confirming compliance with the specified condition.

4.5.3	Due to the high information security standards of the Contracting Authority, the Tenderer must have at least 3 deployments of the offered system within the EU in critical infrastructure sector as specified in the Directive (EU) 2022/2557. (APPENDIX 6)

Evidence:

• A statement, given under criminal and material liability, confirming compliance with the specified condition and listing the clients for whom the deployment of the offered SCADA system was carried out.

4.5.4	The offered SCADA software system must have at least 3 system integrators in the EU, for which the Tenderer must provide a statement from the SCADA system manufacturer. (APPENDIX 7)

Evidence:

• Submission of a scan of the document from the SCADA system manufacturer, which clearly lists the companies confirmed by the manufacturer as qualified to implement the offered SCADA system.

4.5.5	The project must be implemented in accordance with Security Level 2 (SL2) of the IEC 62443 standard (Industrial communication networks – Network and system security). (APPENDIX 8)

The project must be compliant with the following standards:

• IEC 62443-4-2:2019 (Security for industrial automation and control systems – Part 4-2: Technical security requirements for IACS components)

- The Tenderer must provide RTU devices that hold a certificate for IEC 62443-4-2:2019 SL1 (Security Level 1). The RTU device must also be in the process of obtaining a certificate for IEC 62443-4-2:2019 SL2 (Security Level 2) or already possess such a certificate. If the RTU device is in the process of obtaining the SL2 certificate, the bidder must submit a manufacturer’s statement.

- IEC 62443-3-3:2019 (Security for industrial automation and control systems – Part 3-3: System security requirements and security levels)

- IEC 62443-2-3:2015 (Security for industrial automation and control systems – Part 2-3: Patch management in the IACS environment)

Note: The project implementation in accordance with the above-mentioned IEC standards will be verified twice by an external contractor/auditor approved by the Contracting Authority: once during the Detail Design determination phase and again upon completion of the project implementation. All deficiencies identified during these verifications must be fully rectified before the Contracting Authority accepts the Central Process Control System.

Evidence:

• A statement, given under criminal and material liability, confirming acceptance of the specified requirements and submission of a scan of the RTU device manufacturer’s statement that the RTU is in the process of obtaining the SL2 certificate, if the RTU device does not have the IEC 62443-4-2:2019 SL2 certificate.

4.5.6 	The tenderer must provide the following experts: (APPENDIX 9)

- Project Manager: At least 3 successfully completed similar or larger projects and at least 5 years of experience in managing similar SCADA system implementation projects (see point 4.4.1), which must be evident from the attached CV;

- SCADA Expert: At least 5 years of experience working on similar SCADA system implementation projects, as evident from the attached CV. The SCADA expert must have completed at least two (2) projects of equal or greater scope with the same SCADA system manufacturer as the one offered by the Tenderer in the last five years. In case of system failure, the SCADA expert must arrive at the Contracting Authority’s location within 4 hours of the reported issue and assist in resolving it.

- Software Developer for Data Integration and Additional Functionalities: At least 5 years of software development experience, as evident from the attached CV.

- Peripheral Equipment Expert (integration with RTU devices, local control systems, and others): At least 5 years of experience working on similar SCADA system implementation projects and experience in peripheral equipment integration, which must be evident from the attached CV;

- Information Security Expert: At least 5 years of experience working in the field of information security on similar SCADA system implementation projects, which must be evident from the attached CV. The expert must hold an IEC 62443 certificate;

- GIS Integration Expert: At least 3 years of experience working in the field of SCADA and GIS integration, which must be evident from the attached CV;

- System Administrator: At least 5 years of experience in system and network administration and configuration on servers (with the operating system that the tenderer will offer in this project). The system administrator must have experience with network segmentation in accordance with IEC 62443, configuring network switches, establishing and configuring VLAN networks, configuring networks in process systems, and configuring domain controllers;

- Cisco Hardware and Software Expert: At least 5 years of experience working with Cisco equipment and trained in configuring Cisco firewalls;

- Expert in configuring encrypted data backup devices: At least 3 years of experience in configuring systems for encrypted data backup and performing data restoration from such systems (specialized backup devices such as Dell EMC Data Domain).

Note: The CVs of the tenderer’s nominated experts for all nine areas of expertise must clearly demonstrate compliance with the required period of experience. For each expert, the tenderer must complete the table in APPENDIX 8, showing that the expert has participated in the successful implementation of similar projects (Tenderer’s client, contact person at the client for reference verification, project title, project duration from–to, role in the project).

If it is not evident from the attached CV that the nominated expert meets the required conditions, such an expert will not be taken into account, and the tenderer will be invited to provide a supplement. If the Tenderer fails to submit appropriate CVs, it will be excluded from in the first phase.

All experts through whom the tenderer demonstrates personnel capacity must actually participate in the implementation and subsequently, during the warranty period of the Central Process Control System. In the event of a justified replacement, the tenderer must ensure substitution with personnel of equivalent expertise who meet the requirements set out in this documentation, and, upon submission of evidence, obtain the Contracting Authority’s approval. Subject to suitable evidence, one person may serve as an expert in several areas of expertise.

Evidence:

- A completed list of experts and submission of scanned copies of their CVs and valid certificates, where such are required.

4.5.7 	The Tenderer shall agree to the following requirements for the performance of the contract, which shall enter into force upon commencement of the implementation of the subject of this Public Procurement: (APPENDIX 10)

- In the event of detection of a cyber incident being detected on its side, the Tenderer shall immediately notify the Contracting Authority’s representative and provide the relevant information.

- For persons who will be authorized to have direct or remote access to the Contracting Authority’s premises, information or control systems, the Tenderer shall deliver consent to conduct a background check based on Article 17 of the Critical Infrastructure Act (Official Gazette of the Republic of Slovenia, No. 75/17, 189/21 - ZDU-1M, 102/24 - ZKI-1) within 15 days of the Contracting Authority’s request.

- The Contracting Authority shall record all activities performed in its environment in such a way that the Tenderer, if selected, shall access the Contracting Authority’s environment exclusively through the PAM (Privileged Access Management) system during the execution of the contract, which the Tenderer expressly agrees to.

- For access to the Contracting Authority’s environment, the Tenderer shall use two-factor authentication. The system for two-factor authentication shall be provided to the Tenderer by the Contracting Authority.

- During the execution of the contract, the Tenderer shall protect the Contracting Authority’s network against threats from external networks with equipment ensuring the highest possible level of protection against malware and external intrusions into systems, services, and data.

- At the Contracting Authority’s written request, the Tenderer shall, during the execution of the Contract, provide all data relevant to ensuring the security of systems, services, and information for the performance of services.

- During the execution of the Contract, the Contracting Authority shall have the right to audit the Tenderer (the Contracting Authority reserves the right to verify the level of security provided by the Tenderer through security checks of the Tenderer’s information system).

- For the purposes of reporting, managing, and closing errors related to the operation of the Central Process Control System, the Tenderer shall use the information solution established by the Contracting Authority for this purpose.

Proof:

- A statement, given under criminal and material liability, confirming acceptance of the above requirements.

4.6	The Tenderer may subcontract a part of the public contract. The Tender with Subcontractors is a Tender where the Tenderer cooperates with Subcontractors. A Subcontractor is an entity that will perform works directly related to the subject of the contract for the Contractor that will conclude a contract with the Contracting Authority for the performance of a contract, if such a Tender is selected. The Tenderer is fully responsible for the performance of the acquired Tender and the work of Subcontractors irrespective of the number of Subcontractors.

If the Tenderer subcontracts a public contract, the Tender must:

- Indicate all Subcontractors and any part of the public contract which it intends to subcontract,

- Indicate the contact details and legal representatives of the proposed Subcontractors,

- Enclose a Subcontractor's request for direct payment, if the Subcontractor so requests,

- Enclose completed ESPD forms of such subcontractors in accordance with Article 79 of the Public Procurement Act (ZJN-3).

During the performance of the public contract, the Main Contractor must inform the Contracting Authority of any changes in the information referred to in the preceding paragraph and send the information on new Subcontractors he intends to subsequently incorporate in the implementation, within five days after the change, at the latest. In case of inclusion of new Subcontractors, the Main Contractor shall also provide, together with the notice, the data and documents referred to in all indents of the previous paragraph.

The Contracting Authority shall reject any Subcontractor if there are grounds for their exclusion under Point 4.2 and 4.3 of this Tender documentation. The Contracting Authority may reject a proposal for the replacement of a Subcontractor or the inclusion of a new Subcontractor, even if this can affect the smooth performance or completion of the works, and if the new Subcontractor does not fulfill the conditions set by the Contracting Authority in the document relating to the public procurement. The Contracting Authority shall inform the Main Contractor of any possible rejection of a new Subcontractor at the latest within ten days of receipt of the proposal.

In the event that a subcontractor requests direct payment, it is considered that direct payment to the Subcontractor is mandatory in accordance with ZJN-3A, and this obligation is binding on the Contracting Authority and the Main Contractor.

In the case the Tenderer intends to perform the public procurement with a Subcontractor that requires a direct payment, he must perform the following:

- The Main Contractor shall authorise the Contracting Authority by a Contract, so that, based on an approved invoice or interim invoice, the Contracting Authority shall directly pay the Subcontractor,

- The Subcontractor shall submit a consent on the basis of which the Contracting Authority shall settle the Subcontractor's claim to the Tenderer on behalf of the Tenderer.

- Together with its invoice or interim invoice, the Main Contractor must also submit the previously approved invoices or interim invoices of Subcontractors.

If a direct payment to the Subcontractor is not compulsory, the Main Contractor shall send to the Contracting Authority a written statement and a written declaration of the Subcontractor no later than 60 days after the payment of the final invoice or interim invoice that the Subcontractor has received payment for the performed works directly related to the subject of the public procurement.

The Tenderer shall duly complete and sign the statement indicating that they fulfil the required conditions. (APPENDIX 11)

Note: The Tenderer not performing work with Subcontractors does not need to submit APPENDIX 11 as part of the Tender documentation.

4.7	If a group of Tenderers submits a joint (partner) Tender, this group of Contractors must also submit a legal act on joint performance of the procurement (APPENDIX 12), outlining the responsibilities of individual Tenderers for executing the procurement and defining a leading partner, who will act on behalf of all joint Tenderers in relation to the Contracting Authority. Joint Tenderers shall be unlimited jointly and severally liable for obligations under the awarded Contract.

Legal entities shall list the names of persons, who shall be responsible for the performance of the subject procurement. The act on joint performance of a Contract shall appoint one of the partners as the Main Contractor. The Main Contractor must be authorised for accepting and forwarding the instructions for and on behalf of each partner individually and for all partners in the joint company, and for coordinating the performance of works in accordance with the Contract, including payments. A copy of the act on joint performance of the procurement (Agreement or Contract), adopted by the partners, must be submitted together with the Tender documentation.

The legal act must include at least an indication of all the partners in the group (name and address of the partner, legal representative, registration number, tax number, bank account number), authorisation to the leading partner in the group, unlimited joint liability of all the partners in the group to the Contracting Authority, the scope of work to be undertaken and performed by each partner in the group and the proportion of each partner in the group in %, as well as the value of the work undertaken by each partner in the group, the method of payment through the leading partner in the group or each of the partners in the group, provisions in the case any of the partners exits the group, resolving disputes between the partners in the group, other possible rights and obligations between the partners in the group, and the validity period of the legal act.

Each Tenderer from the group of Tenderers must individually meet the conditions set out in Point 4.2, 4.3 and 4.4 of this Tender documentation, while other conditions may be fulfilled jointly.

Note: The Tenderer not submitting a joint Tender does not need to submit APPENDIX 12 as part of the Tender documentation.

4.8	Financial Securities:

A. Guarantee of seriousness of the Tender (“Tender bond”)

The Tenderer shall submit, already at the time of application, a Tender bond issued by a financial institution established in the EU, or an appropriate surety insurance issued by an insurance institution established in the EU, in the amount of EUR 75,000.00. The validity of the bond or surety insurance shall be until 31 March 2026. The bond or surety insurance must be issued in the Slovenian language.

Upon submission of the application in the e-JN information system, the Tenderer shall upload a scanned copy of the original Tender bond or surety insurance, signed by the authorised signatories of the financial or insurance institution, or a guarantee issued in digital (pdf) form, signed with a digital certificate of the authorised bank signatories. The Tender bond may also be submitted electronically via the SWIFT system.

If selected as the most advantageous Tenderer, the Tenderer shall be required to provide the following financial securities:

B. Performance Bond, ensuring quality and timely delivery of the project

A Performance bond issued by a financial institution established in the EU, or an appropriate surety insurance issued by an insurance institution established in the EU, in the amount of 5% (five percent) of the total contract value excluding VAT, must be submitted by the selected contractor no later than 30 (thirty) days after signing the contract.

The validity of the Performance bond or surety insurance must extend for 60 (sixty) days beyond the deadline for the final completion of all works. The contract shall be concluded with a suspensive condition, becoming valid only upon submission of the Performance bond, which must be issued in the Slovenian language.

C. Warranty Bond

Following successful handover to the Contracting Authority, the selected Contractor must, no later than 15 (fifteen) days prior to the expiry of the Performance bond, submit to the Contracting Authority a Warranty bond issued by a bank established in the EU, or an appropriate surety insurance issued by an insurance institution established in the EU, in the amount of 3% (three percent) of the executed contract value excluding VAT.

The validity of the Warranty bond shall extend for 30 (thirty) days beyond the general warranty period specified in the contract. Should the Contractor fail to submit the Warranty bond within the required deadline, the Contracting Authority may enforce the Performance bond, and the handover shall be deemed not to have been completed. If the warranty period is extended, the Contractor shall provide the Contracting Authority with an extension of the Warranty bond or surety insurance for at least the same period.

The content of the financial securities must not deviate from the guarantee templates provided in APPENDIX 13 of this tender documentation.

Tenderers/contractors may submit surety insurance in place of bank guarantees. In such a case, the surety insurance must comply with all requirements, including substantive ones, of this tender documentation applicable to bank guarantees (guarantee templates).

4.9	The Tenderer shall submit a completed and signed statement confirming acceptance of the conditions of the tender documentation. (APPENDIX 14)

4.10	The tenderer shall complete and sign the draft contract. (APPENDIX 15)

All of the above conditions are mandatory. If the tenderer fails to comply with one or more of the conditions, such non-compliance shall constitute a mandatory ground for exclusion.

4.11	The Tender must complete and sign a "Confidentiality and Non-Disclosure Agreement". The Contracting Authority will sign a "Confidentiality and Non-Disclosure Agreement" with the Tenderers whose capability it will recognize in accordance with point 2.4 of the Tender documentation. (APPENDIX 16)

4.12	The Tenderer shall, in the second phase (after the recognition of capability), complete and sign the tender form. (APPENDIX 17)

4.13	The Tenderer shall, in the second phase (after the recognition of capability), complete and sign the compliance table. (APPENDIX 18)

# 5.	MISCELLANEOUS

5.1	The Contracting Authority may at any time until the deadline for the submission of Tenders terminate the public procurement procedure. At all stages of the procedure, the Contracting Authority may reject the Tender after the deadline for the opening of Tenders. If the Contracting Authority rejects the Tender, they will inform the Tenderer about reasons for such a decision and whether a new procedure will be initiated. The Contracting Authority shall suspend the procedure for the award of the Contract or reject the Tender without any liability for damages to the Tenderer. The costs of drafting and submission of the Tender shall be borne by the Tenderer. The Contracting Authority reserves the right to amend the quantity for supply of planned products or services based on available financial means.

5.2 	The Contracting Authority may change its decision on its own initiative and adopt a new decision replacing the previous one with a view to eliminating unlawfulness after the preliminary determination of the merits. The Contracting Authority may change the decision on the Public Procurement upon receipt of a request for legal protection only if, prior to the change of that decision, it has decided on the request for review. In this case, the new decision on the Public Procurement must comply with the decision on the request for review.

5.3 	After the award of the Public Procurement, the Contracting Authority shall conclude a contract with the successful Tenderer for the execution of the Public Procurement within 48 days of the final decision. The successful Tenderer will be invited to sign the contract. If the successful Tenderer does not respond to the invitation within 8 (eight) days, it will be deemed to have withdrawn the Tender and the Contracting Authority reserves the right to cash the bank Guarantee of seriousness of the Tender. After the final decision on the award of the Public Procurement, the Contracting Authority may, until the conclusion of the contract for the performance of the Public Procurement, withdraw from the performance of the Public Procurement for justified reasons that the object of the Public Procurement is no longer needed or that it does not have funds provided for it or that a reasonable suspicion arises that or whether the content of the contract could be the result of an offense committed or that other extraordinary circumstances that the Contracting Authority was unable to influence and anticipate and which made it impossible to perform the public procurement procedure have incurred. If the Contracting Authority withdraws from the execution of the Public Procurement, it will not conclude a contract for the execution of the Public Procurement with the selected Tenderer, it will inform the Tenderer in writing of its decision and the reasons why it withdraws from the execution of the Public Procurement.

5.4	The other provisions of the Tender documentation are contained in the sample contract. By signing the sample contract, the Tenderer declares that they agree with its provisions.

5.5	The Tender must be submitted in the Slovenian language. If any document submitted during the public procurement procedure is prepared in a foreign language, the Contracting Authority may request the Tenderer to provide a certified translation and shall set a deadline for its submission. If the Tenderer does not provide the certified translation within the specified deadline, the Contracting Authority shall exclude the Tender from the Public Procurement procedure.

Technical data may be provided either in Slovene or English language. The entire public procurement procedure shall be conducted either in the Slovenian or English language.

5.6	The Tender prices shall be fixed for the entire duration of the contract.

If the Contracting Authority and the Contractor determine that the average industry price of the subject works has changed by more than 15% compared to the average prices at the time the contract entered into force, they agree to adjust the prices of the subject works after negotiations and in accordance with the market conditions at that time. Otherwise, the prices of the works shall remain fixed for the entire period of validity of the contract.

5.7	If the Tenderer gains access to confidential data with the participation in the procedure or execution of contractual obligation, they undertake to safeguard such data in accordance with regulations. The Tenderer can mark as confidential all documents that include personal data not entered into any public register or not otherwise publicly accessible, as well as commercial data designated as confidential by regulations or internal acts. The Contracting Authority shall ensure the protection of data that, according to the provisions of the Act regulating the personal data protection and classified information protection, are considered as personal or classified information.

Notwithstanding the provision of the preceding paragraph, public information shall mean public information on the specification of the goods offered or the services and the quantity referred to in this specification, the unit price, the value of each item and the total value from the Tender, as well as all those data that influenced the classification of the Tender under other criteria.

5.8 	The tenderer may, where necessary, rely on the capacities of other entities with regard to the conditions relating to economic and financial standing as well as technical and professional ability, regardless of the legal nature of the relationship between them.

5.9	If the information or documentation required from the Tenderer is incomplete or incorrect or if the individual documents are missing, the Contracting Authority may request, in accordance with Article 89 of the ZJN-3, that the Tenderer submits the missing documents within the relevant deadline or supplements, corrects or clarifies relevant information or documentation, provided that such a requirement is fully consistent with the principles of equal treatment and transparency. The Contracting Authority shall request from the Tenderer to complete, amend, modify or clarify his Tender only if they cannot verify a particular fact alone. The submission of the missing document or the amendment, correction or clarification of the information or documentation may relate exclusively to such elements of the Tender whose existence before the expiry of the deadline set for the submission of the application or Tender can be objectively verified. If the Tenderer does not submit the missing document or does not complete, correct or explain the relevant information or documentation, it will be excluded by the Contracting Authority.

The Tenderer cannot amend its price and Tender in the context of criteria and the part of the Tender, which relates to technical specifications of the Public Procurement or those elements of the Tender, which may or could impact on a different ranking of its Tender with regard to other Tenders, the Contracting Authority received in this procedure of Public Procurement. The Contracting Authority reserves the right to correct calculation errors upon written consent of the Tenderer.

Any attempt of a Tenderer to influence the Contracting Authority's treatment of Tenders or decision on selection, shall result in rejection of its Tender. The same also applies to attempts of influencing the work and decisions of the Commission.

5.10	The Contract is null and void, if a person, on behalf of or on account of the second Contracting Party, Contracting Authority or its employees, who had a decisive impact on the selection of the Tenderer, promises, offers or gives any undue advantage for award of the job, for conclusion of the job under more favourable conditions, or for omission of due supervision over the performance of contractual obligations or other act or omission, which causes loss to the Contracting Authority or grants undue advantage to the Contracting Authority or its employees, other Contracting Party or its representative or agent.

The Contract shall also cease to be valid if the Contracting Authority becomes aware that the competent state authority or court has, by a final decision, established a breach of labour, environmental, or social legislation by the Contractor of the public contract or by its Subcontractor.

5.11	 The legal protection of Tenderers, the Contracting Authority, and the public interest in the procedure for the award of this public contract shall be governed by Article 1 of the Legal Protection in Public Procurement Procedures Act (Official Gazette of the Republic of Slovenia, No. 43/11, 60/11 – ZTP-D, 63/13, 90/14 – ZDU-1I, 95/14 – ZIPRS1415-C, 96/15 – ZIPRS1617, 80/16 – ZIPRS1718, 60/17, 72/19, 95/23 - ZIUOPZP, 131/23 - ZORZFS; hereinafter: ZPVPJN). A request for review may be submit by any person who has or has had an interest in being awarded the public contract and who has suffered or may suffer damage due to the alleged infringement, as well as by the public interest advocate.

A request for review concerning the content of the notice and/or the Tender documentation shall, except in the case referred to in the fourth paragraph of Article 25 of the ZPVPJN, be submited within ten (10) working days from the date of publication of the contract notice, but not after the deadline for submission of the Tenders.

Following the decision on the award of the Public Procurement, the deadline for submitting a request for review shall be eight (8) working days from receipt of that decision.

The request for review shall be submitted via the eRevizija portal.

5.12	The Contracting Authority shall perform the Public Procurement procedure in a manner, which adheres the principles of the free movement of goods, the principle of freedom of establishment, the principle of the free movement of services deriving from the Treaty on the Functioning of the European Union, and to the principles of economy, efficiency and effectiveness, principle of ensuring competition among Tenderers, principle of transparency of Public Procurement and principle of equal treatment of Tenderers, as well as the principle of proportionality.

| In Ljubljana, on _______________ | Contracting Authority PLINOVODI d.o.o. |
| --- | --- |
|  | General Manager Marjan Eberlinc Member of the management board mag. Matija Bitenc By authorization Authorized person from the Law Office Alenka Prinčič Artač |

# APPENDIX 1

STATEMENT ON MEETING THE CONDITIONS

We hereby declare, under criminal and pecuniary liability, that we are duly registered and/or meet the conditions for carrying out the activity which is the subject of this public procurement.

We hereby declare, under criminal and pecuniary liability, that in the performance of the Public Procurement we shall comply with the applicable obligations in the fields of environmental, social and labour law established by European Union law, or by the regulations applicable in the Republic of Slovenia, by collective agreements, or by provisions of international environmental, social and labour law.

We also attach a duly completed ESPD form. The ESPD form constitutes the official declaration of the economic operator that there are no grounds for exclusion and that the conditions for participation are fulfilled, while at the same time providing the necessary information as required by the contracting authority. The ESPD form also includes the official declaration that the economic operator will, upon request and without delay, be able to submit the supporting documents proving the absence of grounds for exclusion and the fulfilment of the conditions for participation.

The statements in the ESPD and/or the supporting documents submitted by the economic operator must be valid.

The economic operator shall import the contracting authority’s ESPD form (XML file) via the web link: https://ejn.gov.si/espd and enter the required data directly into the form.

In the case of a joint application and/or an application with subcontractors, APPENDIX 1 of the Tender Documentation must be completed, signed and attached, and a completed ESPD form must be submitted for each partner or subcontractor. The ESPD form is available on the contracting authority’s website under the relevant public procurement notice.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 2

STATEMENT ON PARTICIPATION OF NATURAL AND LEGAL ENTITIES IN OWNERSHIP OF THE TENDERER

The Tenderer must submit a statement or data on the participation of natural or legal entities in ownership of the Tenderer, including the participation of silent partners, and on economic operators, which, based on the provision of the law governing the companies, are deemed as associated companies of the Tenderer.

We hereby declare that the following legal entities are involved in the ownership of the Tenderer, including the participation of silent partners:

| No. | Name | Headquarters | Ownership share in % |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| …. |  |  |  |

We hereby declare that the following natural persons are involved in the ownership of the Tenderer, including the participation of silent partners:

| No. | Name and surname | Permanent address | Ownership share in % |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| … |  |  |  |

We hereby declare that, in accordance with the provisions of the act governing companies, companies associated with the Tenderer, are the following economic operators:

| No. | Name | Headquarters | Registration number |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| …. |  |  |  |

In the case of a joint (partner) and / or subcontracting Tender, APPENDIX 2 of the Tender documentation must be completed, signed and enclosed for each partner or Subcontractor.

By signing this declaration, we guarantee under criminal and pecuniary liability that the entire ownership structure does not include other natural persons and legal entities, as well as silent partners and economic operators, which are considered to be associated companies according to the provisions of the act governing companies.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 3

STATEMENT ON MEETING THE CONDITIONS

We declare under criminal and material liability that our economic entity is not:

- a Russian citizen or a natural or legal person, entity or body established in Russia,

- a legal person, entity or body more than 50% of which is directly or indirectly owned by an entity referred to in the previous indent, or

- a natural or legal person, entity or body acting on behalf of or at the direction of the entities referred to in the previous two indents.

NOTE: The statement must be submitted by the Tenderer or, in the case of a joint tender, by the lead partner and each partner. A subcontractor or entity on whose capacity the Tenderer relies must submit a statement if the value of its works, services or supplies represents more than 10% of the value of the Public Procurement.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 4

STATEMENT OF THE CONTRACTING AUTHORITY ON CONFIRMATION OF REFERENCES

Requirement of the Contracting Authority: The Tenderer must have, with the proposed SCADA system, in the period of the last five (5) years from the date set for submission of Tenders, at least three (3) successfully completed references in the field of implementation of a SCADA system of comparable scope. At least one of the stated reference projects must have been carried out in the field of gas pipeline network management within the EU. Furthermore, at least one of the stated reference projects must include integration with a gas pipeline network dynamic transient simulation system (such as SIMONE). At least one of the stated reference projects must have been implemented in accordance with the SIST EN IEC 62443 standard.

The Contracting Authority reserves the right to verify the submitted references and may reject them if verification is not possible or if they do not meet the above requirements. For the purpose of verifying compliance with the reference requirements, the Tenderer shall, at the request of the Contracting Authority, provide the Contracting Authority with the opportunity to view the reference installation of the offered SCADA system version at the reference client’s site. Costs related to the Contracting Authority’s representatives (travel, accommodation, meals, etc.) for the purpose of verification shall be borne by the Contracting Authority.

(Instruction: complete the form for the required number of confirmations)

CONFIRMATION FROM THE CLIENT OF REFERENCE

Client:

____________________________________________________________________________________________________________

We hereby confirm that with the Contractor:

____________________________________________________________________________________________________________

We concluded a contract (subject of the contract):

___________________________________________________________________________________________________________.

Subject of the Contract/Reference (implementation of the SCADA system) included:

- Implementation of the SCADA system comprising at least 10.000 I/O points, including both hardware and software;

- Replacement of RTU peripheral devices – hardware and software (at least 50 peripheral devices);

- Use of secure RTU–SCADA communication in accordance with the IEC 60870-5-104 and IEC 62351-3 standard, with the minimum distance of individual RTU units from the central SCADA system of at least 10 km;

- Integration of the SCADA system via service-oriented architecture (REST API or SOAP WS) with the Contracting Authority’s existing information systems (at least 3); and

- Connection with local control systems (at least 3) via the Modbus protocol.

In addition to the above mandatory requirements, the subject contract also included the following characteristics – in the table below, select YES or NO (in order to meet all requirements when indicating reference projects, the Tenderer must also comply with the conditions set out in the first paragraph of this Appendix with the references provided).

| Nr. | Content | In this column it is necessary to select/circle YES or NO. |
| --- | --- | --- |
| 1. | The contract concerned included the implementation of the SCADA system in the field of gas pipeline network management in the EU. | YES or NO |
| 2. | The contract included integration with a gas pipeline network dynamic simulation system (such as SIMONE). | YES or NO |
| 3. | The contract included the implementation of a SCADA system in accordance with the SIST EN IEC 62443 standard. | YES or NO |

Date of completion of the contract/reference:________________________.

The Contractor (Tenderer) has performed all works in accordance with the contractual provisions. The works were carried out correctly and on time, and in compliance with the agreed procedures and professional standards.

Responsible person of the Client who can provide additional information: ____________________________________________,

tel.: ________________________________________________, e-mail: _______________________________________________.

Only a confirmation bearing the signature of the Client is valid.

| Done in [place] _______________, on [date] _______________ | ______________________ (Signature of the Client) |
| --- | --- |

# APPENDIX 5

STATEMENT ON COMPLIANCE WITH CONDITIONS

The Tenderer implements and will implement the subject of the public procurement in accordance with the ISO 27001 standard.

We declare, under criminal and material liability, that we implement and will implement the subject of the public procurement in accordance with the ISO 27001 standard.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 6

STATEMENT ON COMPLIANCE WITH CONDITIONS

Due to the high information security standards of the Contracting Authority, the Tenderer must have at least three (3) implementations of the offered SCADA system in the EU in the field of critical infrastructure in connection with Directive (EU) 2022/2557.

Implementations of the offered SCADA system at Clients of the Tenderer in the EU in the field of critical infrastructure (please specify the name and address of the Client and the year of implementation):

- _____________________________________________________________________________________________

- _____________________________________________________________________________________________

- _____________________________________________________________________________________________

We declare, under criminal and material liability, that the offered SCADA system has been implemented in the EU at the above-mentioned Clients who operate in the field of critical infrastructure in accordance with Directive (EU) 2022/2557.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 7

STATEMENT ON COMPLIANCE WITH CONDITIONS

The offered SCADA system must have at least 3 (three) system integrators / implementers in the EU, for which the Tenderer must submit a confirmation issued by the manufacturer of the SCADA system.

The offered SCADA system has the following system integrators / implementers in the EU (please state the name and address of the company):

- _____________________________________________________________________________________________

- _____________________________________________________________________________________________

- _____________________________________________________________________________________________

We declare, under criminal and material liability, that the above-mentioned companies are qualified to implement the offered SCADA system, which is further evidenced by the enclosed scanned certificates issued by the manufacturer of the offered SCADA system for all three (3) companies listed above.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 8

STATEMENT ON COMPLIANCE WITH CONDITIONS

The project must be implemented in compliance with Security Level 2 (SL2) of the IEC 62443 standard (security for industrial automation and control systems).

The project must be compliant with the following standards::

- IEC 62443-4-2:2019 (Technical Security Requirements for IACS components)

  - The Tenderer must provide RTU devices certified to IEC 62443-4-2:2019 SL1 (Security Level 1). The RTU device must also either be in the process of obtaining an IEC 62443-4-2:2019 SL2 certificate or already have such a certificate. If the RTU device is in the process of obtaining the SL2 certificate, the Tenderer must submit a manufacturer’s statement.

- IEC 62443-3-3:2019 (System security requirements and security levels)

- IEC 62443-2-3 (Patch management in the IACS environment).

Note: The project implementation in accordance with the above mentioned IEC standards will be verified twice by an external constrator/auditor approved by the Contracting Authority: once during the Detail Design phase, and again after completion of the project implementation. All deficiencies identified during these verifications must be fully rectified before the Contracting Authority accepts the Central Process Control System.

We declare, under criminal and material liability, that the subject of this Public Procurement will be implemented in compliance with Security Level 2 (SL2) of the IEC 62443 standard (security for industrial automation and control systems), and we accept the two-stage external audit as outlined in the note above.

We also attach scanned copies of the following documents:

- IEC 62443-4-2:2019 SL2 certificate for the offered RTU device,
or

- For the offered RTU device:
a) IEC 62443-4-2:2019 SL1 certificate, and
b) Manufacturer’s declaration that the device is in the process of obtaining the SL2 certificate.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 9

STATEMENT ON FULFILLMENT OF PERSONNEL REQUIREMENTS

The tenderer must provide the following experts:

- Project Manager: At least 3 successfully completed similar or larger projects and at least 5 years of experience in managing similar SCADA system implementation projects (see point 4.4.1), which must be evident from the attached CV;

- SCADA Expert: At least 5 years of experience working on similar SCADA system implementation projects, as evident from the attached CV. The SCADA expert must have completed at least two (2) projects of equal or greater scope with the same SCADA system manufacturer as the one offered by the Tenderer in the last five years. In case of system failure, the SCADA expert must arrive at the Contracting Authority’s location within 4 hours of the reported issue and assist in resolving it.

- Software Developer for Data Integration and Additional Functionalities: At least 10 years of software development experience, as evident from the attached CV.

- Peripheral Equipment Expert (integration with RTU devices, local control systems, and others): At least 5 years of experience working on similar SCADA system implementation projects and experience in peripheral equipment integration, which must be evident from the attached CV;

- Information Security Expert: At least 5 years of experience working in the field of information security on similar SCADA system implementation projects, which must be evident from the attached CV. The expert must hold an IEC 62443 certificate;

- GIS Integration Expert: At least 3 years of experience working in the field of SCADA and GIS integration, which must be evident from the attached CV;

- System Administrator: At least 5 years of experience in system and network administration and configuration on servers (with the operating system that the tenderer will offer in this project). The system administrator must have experience with network segmentation in accordance with IEC 62443, configuring network switches, establishing and configuring VLAN networks, configuring networks in process systems, and configuring domain controllers;

- Cisco Hardware and Software Expert: At least 5 years of experience working with Cisco equipment and trained in configuring Cisco firewalls;

- Expert in configuring encrypted data backup devices: At least 3 years of experience in configuring systems for encrypted data backup and performing data restoration from such systems (specialized backup devices such as Dell EMC Data Domain).

Note: The CVs of the tenderer’s nominated experts for all nine areas of expertise must clearly demonstrate compliance with the required period of experience.  The Tenderer shall enter data for each expert in the table below, showing that the expert has participated in the successful implementation of similar projects.

If it is not evident from the attached CV that the nominated expert meets the required conditions, such an expert will not be taken into account, and the tenderer will be invited to provide a supplement. If the tenderer fails to submit appropriate CVs, it will be excluded from in the first phase.

All experts through whom the tenderer demonstrates personnel capacity must actually participate in the implementation and subsequently, during the warranty period of the Central Process Control System. In the event of a justified replacement, the tenderer must ensure substitution with personnel of equivalent expertise who meet the requirements set out in this documentation, and, upon submission of evidence, obtain the contracting authority’s approval. Subject to suitable evidence, one person may serve as an expert in several areas of expertise.

The tenderer must complete the following table (list):

| Nr. | Type of personnel | Name and Surname |
| --- | --- | --- |
| 1. | Project Manager: At least 3 successfully completed similar or larger projects and at least 5 years of experience in managing similar SCADA system implementation projects (see point 4.5.1), which must be evident from the attached CV; |  |
| 2. | SCADA Expert: At least 5 years of experience working on similar SCADA system implementation projects, as evident from the attached CV. The SCADA expert must have completed at least two (2) projects of equal or greater scope with the same SCADA system manufacturer as the one offered by the Tenderer in the last five years. In case of system failure, the SCADA expert must arrive at the client’s location within 4 hours of the reported issue and assist in resolving it. |  |
| 3. | Software Developer for Data Integration and Additional Functionalities: At least 10 years of software development experience, as evident from the attached CV. |  |
| 4. | Peripheral Equipment Expert (integration with RTU devices, local control systems, and others): At least 5 years of experience working on similar SCADA system implementation projects and experience in peripheral equipment integration, which must be evident from the attached CV; |  |
| 5. | Information Security Expert: At least 5 years of experience working in the field of information security on similar SCADA system implementation projects, which must be evident from the attached CV. The expert must hold an IEC 62443 certificate; |  |
| 6. | GIS Integration Expert: At least 3 years of experience working in the field of SCADA and GIS integration, which must be evident from the attached CV; |  |
| 7. | System Administrator: At least 5 years of experience in system and network administration and configuration on servers (with the operating system that the tenderer will offer in this project). The system administrator must have experience with network segmentation in accordance with IEC 62443, configuring network switches, establishing and configuring VLAN networks, configuring networks in process systems, and configuring domain controllers; |  |
| 8. | Cisco Hardware and Software Expert: At least 5 years of experience working with Cisco equipment and trained in configuring Cisco firewalls; |  |
| 9. | Expert in configuring encrypted data backup devices: At least 3 years of experience in configuring systems for encrypted data backup and performing data restoration from such systems (specialized backup devices such as Dell EMC Data Domain). |  |

At the same time, we attach:
• scanned copies of the required Curricula Vitae and valid certificates, where these are required.

If the Contracting Authority subsequently requests the submission of additional evidence regarding this statement, the Tenderer agrees by signing that the required evidence will be provided subsequently.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 10

STATEMENT ON COMPLIANCE WITH CONDITIONS

The tenderer shall agree to the following requirements for the performance of the contract, which shall enter into force upon commencement of the implementation of the subject of this Public Procurement:

- In the event of detection of a cyber incident being detected on its side, the Tenderer shall immediately notify the Contracting Authority’s representative thereof and provide the relevant information.

- For persons who will be authorized to have direct or remote access to the contracting authority’s premises, information, or control systems, the Tenderer shall deliver consent to conduct a background check base on Article 17 of the Critical Infrastructure Act (Official Gazette of the Republic of Slovenia, No. 75/17, 189/21 - ZDU-1M, 102/24 - ZKI-1) within 15 days of the Contracting Authority’s request.

- The Contracting Authority shall record all activities performed in its environment in such a way that the Tenderer, if selected, shall access the Contracting Authority’s environment exclusively through the PAM (Privileged Access Management) system during the execution of the contract, which the Tenderer expressly agrees to.

- For access to the Contracting Authority’s environment, the Tenderer shall use two-factor authentication. The system for two-factor authentication shall be provided to the Tenderer by the Contracting Authority.

- During the execution of the contract, the Tenderer shall protect the Contracting Authority’s network against threats from external networks with equipment ensuring the highest possible level of protection against malware and external intrusions into systems, services, and data.

- At the Contracting Authority’s written request, the Tenderer shall, during the execution of the Contract, provide all data relevant to ensuring the security of systems, services, and information for the performance of services

- During the execution of the Contract, the Contracting Authority shall have the right to audit the Tenderer (the Contracting Authority reserves the right to verify the level of security provided by the Tenderer through security checks of the Tenderer’s information system).

- For the purposes of reporting, managing, and closing errors related to the operation of the Central Process Control System, the Tenderer shall use the information solution established by the Contracting Authority for this purpose.

We declare, under criminal and material liability, that by signing this statement, we accept all the above-mentioned requirements.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 11

STATEMENT ON SUBCONTRACTORS

If the Tenderer intends to subcontract a public procurement, the Tender must (see the following page):

- Indicate all Subcontractors and any part of the Contract which it intends to subcontract,

- Indicate the Contact details and legal representatives of the proposed Subcontractors,

- Enclose a Subcontractor's request for direct payment, if the Subcontractor so requests.

- Enclose the completed ESPD forms of these subcontractors in accordance with Article 79 of the ZJN-3.

We hereby declare under criminal and pecuniary responsibility that in the event that the Contract is performed with Subcontractors, we will inform the Contracting Authority about any changes in the information from the previous paragraph during the performance of the Contract and send the information on new Subcontractors, at the latest within five days after the change. In case of inclusion of new Subcontractors, we shall also provide, together with the notice, the data and documents referred to in all three indents of the previous paragraph.

We hereby declare under criminal and pecuniary liability that if the direct payment to the Subcontractor is not compulsory, we will send a written statement and a written declaration of the Subcontractor no later than 60 days after the payment of the final invoice or interim invoice that the Subcontractor received payment for the performed works directly related to the subject of the contract.

In case of a Contract with a Subcontractor who requires direct payment, we hereby declare under criminal and pecuniary responsibility that:

• We will authorise the Contracting Authority in the Contract to pay directly to the Subcontractor on the basis of a confirmed invoice or situation issued by us,

• The Subcontractor shall submit a consent on the basis of which the Contracting Authority shall settle the Subcontractor's claim against us on our behalf,

• Together with our invoice or interim invoice, we will submit the previously approved invoices or interim invoices of Subcontractors.

Each subcontractor must individually meet the requirements set out in points 4.2 and 4.3 of these Tender Documents; other requirements may be fulfilled collectively.

Note:

- A tenderer who does not submit a joint tender is not required to provide ANNEX 11 as part of the Tender Documents.

- The contracting authority will detail the work to be undertaken and executed by each subcontractor and the share of each subcontractor in the second phase, and this will be included in the invitation to submit a bid, together with lists and project documentation. In the first phase, only the area of work that each subcontractor is expected to undertake and execute needs to be indicated.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

The Tenderer must indicate the Subcontractors he will cooperate with and complete all the required information

| Name of the Subcontractor |  |
| --- | --- |
| Full address |  |
| Telephone |  |
| E-mail |  |
| Legal representative |  |
| IBAN No |  |
| Place of performance |  |
| Realisation deadline |  |
| Pursuant to the provision of paragraph 5 of Article 94 of the ZJN-3, we require a direct payment by the Contracting Authority (circle accordingly) | YES NO |
| Type of works to be performed by the Subcontractor or type of goods to be supplied by the Subcontractor |  |

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Subcontractor) |
| --- | --- |

# APPENDIX 12

LEGAL ACT ON JOINT PERFORMANCE OF A PUBLIC PROCUREMENT

If a group of Tenderers submits a joint (partner) Tender, this group of Contractors must also submit a legal act on joint performance of the procurement, outlining the responsibilities of individual Tenderers for executing the procurement and defining a leading partner, who will act on behalf of all joint Tenderers in relation to the Contracting Authority. Joint Tenderers shall be unlimited jointly and severally liable for obligations under the awarded Contract.

Legal entities shall list the names of persons, who shall be responsible for the performance of the subject procurement. The act on joint performance of a Contract shall appoint one of the partners as the Main Contractor. The Main Contractor must be authorised for accepting and forwarding the instructions for and on behalf of each partner individually and for all partners in the joint company, and for coordinating the performance of works in accordance with the Contract, including payments. A copy of the act on joint performance of the procurement (Agreement or Contract), adopted by the partners, must be submitted together with the Tender documentation.

The legal act must include at least an indication of all the partners in the group (name and address of the partner, legal representative, registration number, tax number, bank account number), authorisation to the leading partner in the group, unlimited joint liability of all the partners in the group to the Contracting Authority, the scope of work to be undertaken and performed by each partner in the group and the proportion of each partner in the group in %, as well as the value of the work undertaken by each partner in the group, the method of payment through the leading partner in the group or each of the partners in the group, provisions in the case any of the partners exits the group, resolving disputes between the partners in the group, other possible rights and obligations between the partners in the group, and the validity period of the legal act.

Each Tenderer from the group of Tenderers must individually meet the conditions set out in Point 4.2, 4.3 and 4.4 of this Tender documentation, while other conditions may be fulfilled jointly.

Note:

- A tenderer who does not submit a joint bid is not required to provide APPENDIX 12 as part of the tender documentation.

- The contracting authority will specify the exact requirements regarding the scope of work each partner in the consortium will undertake and each partner’s share in the consortium in the second phase. This will be included in the invitation to submit a bid, together with the lists and project documentation. In the first phase, only the scope of work that each partner in the consortium is expected to undertake should be indicated.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 13

SAMPLE GUARANTEES FOR THE SERIOUSNESS OF THE OFFER (“TENDER BOND”), FOR  ENSURING QUALITY AND TIMELY DELIVERY OF CONTRACTUAL OBLIGATIONS (“PERFORMANCE BOND”) AND FOR RECTIFICATION OF DEFECTS DURING THE WARRANTY PERIOD (“WARRANTY BOND”)

Note: The annexes contain sample guarantees that be followed by the bank/insurance company that will issue guarantees.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

GUARANTEE FOR THE SERIOUSNESS OF THE OFFER (“TENDER BOND”)

Note: The annex contains a sample guarantee that must be followed by the bank/insurance company issuing the guarantee.

GUARANTOR

Date: ____________

TYPE OF INSURANCE: GUARANTEE OF SERIOUSNESS OF OFFER

GUARANTEE NUMBER: ___________________________

GUARANTOR:   ______________________________________

CONTRACTING AUTHORITY (Tenderer): _____________________________________

BENEFICIARY: __________________________________

BASIC OBLIGATION: the guarantor intends to submit its bid for the tender announced by the beneficiary on _______ for the public procurement ________ (hereinafter: the “Tender”), the subject of which is ___________.

AMOUNT IN EUR: __________________________________

DOCUMENTS THAT MUST BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE PAYMENT REQUEST AND ARE SPECIFICALLY REQUIRED IN THE TEXT BELOW:_________________________________________________

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovenian

FORM OF SUBMISSION: In paper form via registered mail or any form of express mail, or delivered in person, or in electronic form via the SWIFT system to the address ___________________________________

PLACE OF SUBMISSION: ________________________________

VALIDITY PERIOD: _________________________________

The Guarantor irrevocably and unconditionally undertakes, under this guarantee, to pay the Beneficiary upon the Beneficiary’s first written demand, accompanied by the Beneficiary’s written statement confirming the right to invoke the guarantee, either:

a) because the party providing the guarantee withdrew or modified the offer during its validity period as stated in the offer,

or

b) because the party providing the guarantee, who was informed by the Beneficiary during the offer’s validity period of the acceptance of their offer, refused to conclude the contract in violation of the conditions of the Tender,

or

c) because the party providing the guarantee, who was informed by the Beneficiary during the offer’s validity period of the acceptance of their offer, did not provide or refused to provide a bank guarantee for proper performance of contractual obligations in accordance with the Tender conditions.

paid any amount invoked up to the guarantee.

With each partial payment under this guarantee, the Guarantor’s obligation shall be correspondingly reduced by the amount paid.

This guarantee is non-transferable.

This guarantee shall enter into force on the date of issuance. Regardless of whether this guarantee is returned to the Guarantor, the Guarantor’s obligations under this guarantee shall cease if the Guarantor does not receive a correct written demand for payment no later than _________. If this day is not a business day, then the preceding business day, and specifically by _____ hours. Prior to the specified day, this guarantee shall only cease to be valid on the condition that the Guarantor receives the original of this guarantee along with the Beneficiary’s statement waiving its claims under this guarantee.

A written demand for payment under this guarantee shall be considered correct if delivered to the Guarantor in original form at the above address, by registered mail, courier, or via SWIFT, and references the number of this guarantee.

For the purposes of this guarantee, a business day shall mean any day except Saturdays, Sundays, public holidays, and days on which the Guarantor does not operate during normal business hours.

Any disputes arising from this guarantee shall be subject to the jurisdiction of the competent court in Ljubljana.

This guarantee shall be governed by the Uniform Rules for Demand Guarantees (URDG), 2010 revision, issued by the ICC under No. 758.

GUARANTOR										                     (Signature)

GUARANTEE FOR ENSURING QUALITY AND TIMELY DELIVERY OF CONTRACTUAL OBLIGATIONS (“PERFORMANCE BOND”)

Note: The annex contains a sample guarantee that must be followed by the bank/insurance company issuing the guarantee.

GUARANTOR

Date: ____________

TYPE OF SECURITY: GUARANTEE FOR PROPER AND TIMELY PERFORMANCE OF CONTRACTUAL OBLIGATIONS

GUARANTEE NUMBER: ___________________________

GUARANTOR:   ______________________________________

CONTRACTING AUTHORITY (Tenderer): _____________________________________

BENEFICIARY: __________________________________

BASIC OBLIGATION: the obligation of the guarantor, arising from contract No. _______ dated ______, under which the guarantor undertook to perform ___________ (hereinafter: Basic Obligation) in the amount of _______ EUR.

AMOUNT IN EUR: __________________________________

DOCUMENTS THAT MUST BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE PAYMENT REQUEST AND ARE SPECIFICALLY REQUIRED IN THE TEXT BELOW:_________________________________________________

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovenian

FORM OF SUBMISSION: In paper form via registered mail or any form of express mail, or delivered in person, or in electronic form via the SWIFT system to the address ___________________________________

PLACE OF SUBMISSION: ________________________________

VALIDITY PERIOD: _________________________________

The Guarantor irrevocably and unconditionally undertakes under this guarantee to pay the Beneficiary upon the Beneficiary’s first written demand, which shall be accompanied by a written statement from the Beneficiary that the Contracting Authority (Tenderer) has failed or has not timely performed the Basic Obligations, paid any amount invoked up to the guarantee..

With each partial payment under this guarantee, the Guarantor’s obligation shall be correspondingly reduced by the amount paid.

This guarantee is non-transferable.

This guarantee shall enter into force on the date of issuance. Regardless of whether this guarantee is returned to the Guarantor, the Guarantor’s obligations under this guarantee shall cease if the Guarantor does not receive a correct written demand for payment no later than _________. If this day is not a business day, then the preceding business day, and specifically by _____ hours. Prior to the specified day, this guarantee shall only cease to be valid on the condition that the Guarantor receives the original of this guarantee along with the Beneficiary’s statement waiving its claims under this guarantee.

A written demand for payment under this guarantee shall be considered correct if delivered to the Guarantor in original form at the above address, by registered mail, courier, or via SWIFT, and references the number of this guarantee.

For the purposes of this guarantee, a business day shall mean any day except Saturdays, Sundays, public holidays, and days on which the Guarantor does not operate during normal business hours.

Any disputes arising from this guarantee shall be subject to the jurisdiction of the competent court in Ljubljana.

This guarantee shall be governed by the Uniform Rules for Demand Guarantees (URDG), 2010 revision, issued by the ICC under No. 758.

GUARANTOR										                     (Signature)

GUARANTEE FOR RECTIFICATION OF DEFECTS DURING THE WARRANTY PERIOD (“WARRANTY BOND”)

NOTE: The annex contains a sample of the guarantee that must be followed by the bank/insurance company issuing the guarantee.

GUARANTOR

Date: ____________

TYPE OF INSURANCE: WARRANTY GUARANTEE FOR RECTIFICATION OF DEFECTS DURING THE WARRANTY PERIOD

GUARANTEE NUMBER: ___________________________

GUARANTOR:   ______________________________________

CONTRACTING AUTHORITY (Tenderer): _____________________________________

BENEFICIARY: __________________________________

BASIC OBLIGATION: the obligation of the guarantor, arising from contract No. _______ dated ______, under which the guarantor undertook to perform ___________ (hereinafter: Basic Obligation) in the amount of _______ EUR.

AMOUNT IN EUR: __________________________________

DOCUMENTS THAT MUST BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE PAYMENT REQUEST AND ARE SPECIFICALLY REQUIRED IN THE TEXT BELOW:_________________________________________________

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovenian

FORM OF SUBMISSION: In paper form via registered mail or any form of express mail, or delivered in person, or in electronic form via the SWIFT system to the address ___________________________________

PLACE OF SUBMISSION: ________________________________

VALIDITY PERIOD: _________________________________

The Guarantor irrevocably and unconditionally undertakes under this guarantee to pay the Beneficiary upon the Beneficiary’s first written demand, which shall be accompanied by a written statement from the Beneficiary that the Contracting Authority (Tenderer) has failed or has not timely performed the Basic Obligations, paid any amount invoked up to the guarantee..

With each partial payment under this guarantee, the Guarantor’s obligation shall be correspondingly reduced by the amount paid.

This guarantee is non-transferable.

This guarantee shall enter into force on the date of issuance. Regardless of whether this guarantee is returned to the Guarantor, the Guarantor’s obligations under this guarantee shall cease if the Guarantor does not receive a correct written demand for payment no later than _________. If this day is not a business day, then the preceding business day, and specifically by _____ hours. Prior to the specified day, this guarantee shall only cease to be valid on the condition that the Guarantor receives the original of this guarantee along with the Beneficiary’s statement waiving its claims under this guarantee.

A written demand for payment under this guarantee shall be considered correct if delivered to the Guarantor in original form at the above address, by registered mail, courier, or via SWIFT, and references the number of this guarantee.

For the purposes of this guarantee, a business day shall mean any day except Saturdays, Sundays, public holidays, and days on which the Guarantor does not operate during normal business hours.

Any disputes arising from this guarantee shall be subject to the jurisdiction of the competent court in Ljubljana.

This guarantee shall be governed by the Uniform Rules for Demand Guarantees (URDG), 2010 revision, issued by the ICC under No. 758.

GUARANTOR										                     (Signature)

# APPENDIX 14

STATEMENT ON FULFILLMENT OF REQUIREMENTS AND ACCEPTING THE CONDITIONS OF THE TENDER DOCUMENTATION

We declare, under criminal and material liability, that we will not share IT systems or equipment, nor access control/security systems at the contracting authority, with any part of the vertically integrated companies (Plinhold d.o.o., Slovenski državni holding, d.d.), and that we will not use the same consultants or external contractors for IT systems or equipment and access/security systems as those used by the vertically integrated company

We declare that by submitting this tender we confirm:

- That we fully accept the terms and conditions of the Contracting Authority from the Tender documentation;

- That the Tender is valid for 120 calendar days from the date set for submission of tenders;

- That upon drawing up the Tender, we have reviewed all available Tender documentation;

- That we will perform the Public Procurement professionally and in a quality manner according to the rules of the profession, in accordance with industry standards, applicable regulations (laws, rules, standards), recommendations and norms, if we are selected for the execution of the Public Procurement;

- That we will not make a claim for compensation against the Contracting Authority if we are not selected for the execution of the Public Procurement;

- That our average net annual revenue for the three business years (2022, 2023, and 2024) exceeds EUR 5,000,000.00;

- That we will communicate with the Contracting Authority exclusively in Slovenian or English;

- That all obligations towards our Subcontractors were taken into account at the time of the preparing this Tender;

- That we have provided only true and authentic statements.”

We unanimously agree that these conditions shall, in their entirety, constitute an integral part of the Contracts which cannot contradict these conditions.

| Done in [place] _______________, on [date] _______________ | ___________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 15

The enclosed sample contract must be completed and signed by the Tenderer, thereby confirming their agreement with the sample contract.

Note: The Contracting Authority reserves the right for the final version of the contract to deviate from the enclosed sample if, during the negotiation phase, agreed changes or deviations arise that could affect the enclosed sample contract.

SAMPLE CONTRACT

CONTRACT Nr. __________________________

Central Process Control System

concluded between:

the Client:				PLINOVODI d.o.o.,

Cesta Ljubljanske brigade 11b, 1000 Ljubljana

Represented by

General Manager Marjan Eberlinc

And member of the Management Board mag. Matija Bitenc

VAT ID No.: SI31378285

Registration No.: 1954288000

Bank Account No.: SI56 0292 3025 4424 156

held with NLB d.d.

and

the Contractor:

_______________________________

Represented by the Director:

_______________________________

VAT ID No.:

_______________________________

Registration No.:

_______________________________

Bank Account No.:

_______________________________

Opened with the bank:

_______________________________

- SUBJECT OF THE CONTRACT

Article 1

The Contracting Parties acknowledge that the contracting authority has carried out the public procurement procedure in accordance with the Public Procurement Act (Official Gazette of the Republic of Slovenia, No. 91/15, Official Journal of the European Union, No. 307/15, 337/17, Official Gazette of the Republic of Slovenia, No. 14/18, 69/19 – Constitutional Court Decision, Official Journal of the European Union, No. 279/19, Official Gazette of the Republic of Slovenia, No. 49/20 – ZIUZEOP, 80/20 – ZIUOOPE, 152/20 – ZZUOOP, 175/20 – ZIUOPDVE, 15/21 – ZDUOP, 112/21 – ZNUPZ, 206/21 – ZDUPŠOP, 121/21, Official Journal of the European Union, No. 398/21, Official Gazette of the Republic of Slovenia, No. 10/22, 74/22 – Constitutional Court Decision, 100/22 – ZNUZSZS, 141/22 – ZNUNBZ, 158/22 – ZNPOVCE, 28/23, 88/23 – ZOPNN-F, 95/23 – ZIUOPZP, 131/23 – ZORZFS, Official Journal of the European Union, No. 1611/23; hereinafter: ZJN-3), procurement reference number: P/JN/05/2025/TS-ST. The Contracting Parties further acknowledge that, within the framework of the said public procurement procedure, the Client selected the Contractor as the most advantageous Tenderer for the execution of the works under this Contract.

- SUBJECT OF THE CONTRACT

Article 2

The subject of this Contract is the purchase and implementation of a Central Process Control System in the company Plinovodi d.o.o. as the operator of the gas transmission system in Slovenia.

The implementation of the Central Process Control System under this Contract shall mean the supply of all necessary equipment to the Client’s locations, the installation of such equipment, and the performance of all works required under this Contract, all in accordance with the Client’s Technical specification, which the Contractor received in the public procurement procedure, and with this Contract. Within the contractually agreed price, the Contractor shall procure and supply all equipment necessary for the implementation of the Central Process Control System, install such equipment, carry out all necessary tests on the installed equipment, and deliver the supplied and tested system, including all required documentation and training of the Client’s employees, to the Client. The Contractor shall be responsible for the execution and completion of the entire subject of this Contract, as well as for the rectification of defects during the Contract validity.

Within the framework of this Contract, the Contractor undertakes not to interfere with any other infrastructure or IT equipment of the Client, other than that which is the subject of supply under this Contract, unless prior written approval of the Client has been obtained.

- CONTRACT VALUE

Article 3

The contractual value under this Contract is determined based on the Tender documentation No. ____________________ dated ____________________ and all subsequent agreements between the Client and the Contractor made during the negotiations for this order. The entire Tender documentation for Public procurement No. P/JN/05/2025/TS-ST, including Tender documentation No. ____________________ dated ____________________ and all negotiation records with the Contractor, forms an integral part of this Contract.

The Client and the Contractor agree under this Contract that the Total contractual value under this contract amounts to

________________________________________  EUR

(in words: ________________________________________________________________________________  00/100 EUR).

The contractual value is broken down by individual items in the Tender documentation No. ____________________ dated ____________________ and in the Minutes of negotiations with the Contractor, which form an integral part of this Contract. The Client reserves the right not to award orders in the entire Contract value.

The price does not include value-added tax (VAT).

The contractual value includes the price for the equipment and the price for carrying out all works and other agreed tasks and equipment required for the implementation of the Central Process Control System, including the warranty period of 24 months, whereby the contractual value of the equipment and works per unit is fixed (fixed price) until the end of the contract validity and the total value of the equipment and works must not exceed the Total contractual value.

If the Client and the Contractor determine that the average industry price of the subject works has changed by more than 15% compared to the average prices at the time the contract entered into force, they agree to adjust the prices of the subject works after negotiations and in accordance with the market conditions at that time. Otherwise, the prices of the works shall remain fixed for the entire period of validity of the contract.

- BILLING

Article 4

The Contractor shall invoice the equipment and works under this Contract in the manner set out in this Article.

The Contractor shall issue invoices to the Client for the delivered equipment and all completed works in accordance with the enclosed handover protocol. The total value of all invoices before the final invoice may not exceed 80% of the value of the equipment and works according to the Client's technical specifications as set out in the Tender documentation.

The Contractor shall issue an invoice to the Client together with the final handover protocol within 20 days after the completion of all works under this Contract, following the acceptance of the Central Process Control System by the Client, and after the submission of the Warranty Bond for the remedy of defects during the warranty period, which the Contractor is obliged to provide to the Client.

For unforeseen works or additional equipment arising during execution of this Contract, the Contractor shall submit a proposal to the Client before performing such works or deliver equipment. Unforeseen works shall be carried out and invoiced based on the proposal, which must be previously approved by the Client.

- PAYMENT

Article 5

The Contractor shall issue an invoice to the Client for the successfully performed works or delivered equipment, which must be sent to the Client’s address. The invoice must include a specification indicating the quantity and type of works performed or equipment delivered.

The Client shall make payment within 30 days after receiving the invoice to the transaction account of the Contract No. ___________________________________, opened at the bank __________________________________________ (name of the bank).

If the Client does not agree with the issued invoice fully, he shall reject it in writing within a maximum of 14 days and state the grounds of irregularities, and the Contractor is obliged to issue a new invoice. If within the agreed deadline, the Contractor does not receive the Client’s written complaint stating the grounds for the objection, it shall be considered that the invoice is fully confirmed.

Upon prior request from the Contractor, the Client may approve the early payment of the invoice before its due date for already performed work, services, or supply of goods, and, after receiving a credit note from the Contractor in the amount of 0.02% for each day of payment before the due date, make an early payment to the Contractor's.

If the Contractor issues invoices and accompanying documents electronically (XML and PDF files), they shall inform the Client of this upon signing the Contract and obtain the Client’s signed consent for sending e-invoices.

- OBLIGATIONS OF THE CLIENT

Article 6

The Client undertakes to:

- Cooperate with the Contractor to ensure that the acceptance of equipment and services is carried out in a timely manner and to the mutual satisfaction of both parties;

- Keep the Contractor continuously informed of any changes and the occurrence of circumstances that could affect the performance of the subject of the contract.

Article 7

If, during the execution of the works covered by this contract, it becomes apparent that the Contractor is not complying with the contractual terms and conditions, or has not commenced the works at all, resulting in any defect in the performed work, the Client shall notify the Contractor of the non-compliance. If the Contractor still does not immediately remedy the defects, the Client may, at its discretion, terminate the Contract and claim the performance bond for ensuring quality and timely delivery of the project.

The Client also has the right to terminate the Contract due to the Contractor’s operational difficulties. The Client may consider the Contractor to be in serious operational trouble if it determines this based on facts observed during VContract performance or if there are indications of such difficulties, such as irregular or untimely fulfillment of the Contractor’s obligations, e.g., delays in meeting the schedule.

Furthermore, the Client may determine that the Contractor is in serious difficulties based on any other facts, data, or documents obtained from the market or provided by the Contractor. If the Contract is terminated due to the Contractor’s operational difficulties, the Client has the right to claim the performance bond for the proper and timely execution of contractual obligations.

The Client also has the right to terminate the Contract if the Contractor fails to secure the consent of the person referred to in item 11 of paragraph 1 of Article 8 of this contract. In the event of termination of the Contract for this reason, the Client is entitled to a contractual penalty of 1% of the total contract value under this Contract.

- OBLIGATIONS OF THE CONTRACTOR

Article 8

The Contractor undertakes to:

- Perform the obligations with the diligence of a skilled professional, correctly, conscientiously, with quality, on time, in accordance with the Client’s requirements and the scope of activities specified in the Contract, and in compliance with applicable legislation and with the regulations of the Republic of Slovenia with regard to the subject of the Contract;

- Keep the Client updated on the current issues and the occurrence of circumstances which might affect the timely implementation of the commitments;

- Protect the confidentiality of the business data and information of the Client and its partners, as well as the confidentiality of all the technical and other information and documents;

- Be fully responsible for the quality of the performance of the subject of this Contract and compliance with the anticipated deadlines for the performance of the subject of this Contract, whether they perform the works themselves or they are performed by their Subcontractors;

- Address findings from cybersecurity assessments of the solution subject of this Contract and remediate all vulnerabilities;

- Provide the Client with all Financial Securities in accordance with this Contract;

- Immediately rectify all defects identified by the Client during the warranty period upon first notice;

- Submit a monthly report to the Client at the end of each month on the work performed, including at least the scope of planned tasks completed during the reported month;

- Cooperate with the Client and its representatives in order to perform the accepted works in a timely manner and to their mutually satisfaction;

- Immediately notify the Client’s representative in the event of a cybersecurity incident on its side and provide relevant information;

- For personnel authorized for direct or remote access to the Client’s premises, information, or control systems, submit consent for background checks under Article 17 of the Critical Infrastructure Act (Official Gazette of RS, No. 75/17, 189/21 - ZDU-1M, 102/24 - ZKI-1) within 15 days of the Client’s request;

- Allow the Client to record all activities carried out in the Client’s environment in such a way that the Contractor accesses the Client’s environment exclusively through the PAM (Privileged Access Management) system, to which the Contractor expressly agrees;

- Use two-factor authentication for access to the Client’s environment; the two-factor authentication system will be provided by the Client;

- Protect the Client’s network from external threats with equipment ensuring the highest possible security against malware and external intrusions into systems, services, and data;

- Provide, upon written request by the Client, all data relevant to ensuring the security of systems, services and information for the provision of service;

- Allow the Client to conduct audits of the Contractor (the Client reserves the right to verify the level of security provided by the Contractor through security checks of the Contractor’s information system).

- REPRESENTATIVES

Article 9

The Client’s representative under this contract is:

- Mr./Ms. ___________________, Tel.: ____________________, Email: ___________________________.

The Contractor’s representative under this contract is:

- Mr./Ms. ___________________, Tel.: ____________________, Email: ___________________________.

- DEADLINE FOR COMPLETION AND CONTRACTUAL PENALTY

Article 10

By entering into this Contractor, the Contractor undertakes to complete the subject of this Contract no later than the deadline specified in the Contractor’s submitted offer. The deadline may be extended only in the event of force majeure or by agreement with the Client.

Article 11

The Contracting Parties agree on a contractual penalty for exceeding the contract deadline in the amount of 0.1% per day of the contract value, but not exceeding 10% of the total contract value under this Contract.

In case of a delay, the Client reserves the right to demand both the fulfilment of the Contractor’s obligations and the contractual penalty. The Contracting Parties agree that in the event of a delay in performing the work under this contract, the Client will first charge the contractual penalty in accordance with this Contract, which will be offset against the obligation to pay for the completed work.

The Contracting Parties agree that payment of the contractual penalty for delay in performing the work does not exclude the Contractor’s liability for damages that the Client may suffer due to the delay. They also agree that payment of the contractual penalty under this contract does not exclude the enforcement of the Performance bond for the proper and timely execution of contractual obligations.

The contractual penalty will be settled with an invoice accompanied by the confirmed final handover report.

- FORCE MAJEURE

Article 12

Events considered force majeure shall be all unforeseeable events that are not attributable to the fault of Contracting Parties and that prevent the timely implementation of contractual obligations, as well as being recognized as force majeure by the Obligations Code (Official Gazette of the Republic of Slovenia, No. 97/07 – official consolidated text, 64/16 – Constitutional Court Decision, 20/18; hereinafter: OZ).

The Contracting Party that experienced force majeure shall be obliged to notify the other Contracting Party about the occurrence and ending of force majeure. The Contracting Party must do this no later than 3 days after the occurrence and / or ending of force majeure, and must be accompanied by credible evidence of the existence and duration of force majeure.

Contractual deadlines shall be extended for a period not less than duration of the force majeure. New deadlines shall be agreed upon by mutual agreement between the Contracting Parties.

XI. WARRANTIES

Article 13

The Contractor shall be liable to the Client for the proper performance of the contractual obligations, which include the agreed quality, quantity, and deadlines specified in this Contract.

The Contractor shall provide the Client with a Performance bond for proper and timely performance of contractual obligations, issued by a financial institution established in the EU, or an appropriate surety bond issued by an insurance institution established in the EU, in the amount of 5% (five percent) of the total contract value excluding VAT, no later than 30 (thirty) days from the signing of this Contract. The validity of the Performance bond or surety bond must extend at least 60 (sixty) days beyond the deadline for the final completion of all works.

Following the successful handover of the Central Process Control System to the Client, the Contractor shall, no later than 15 days before the expiry of the Performance bond for proper and timely performance of contractual or appropriate surety bond, submit to the Client a Warranty bond for the rectification of defects during the warranty period of 24 months, issued by a bank established in the EU, or an appropriate surety bond issued by an insurance institution established in the EU, in the amount of 3% (three percent) of the executed contract value excluding VAT.

The validity period of the Warranty bond or surety bond shall be 30 (thirty) days beyond the general warranty period specified in this Contract. Should the Contractor fail to provide the Warranty bond or the appropriate surety bond within the required period, the Client may enforce the Performance bond or surety bond received, and it shall be deemed that the handover has not been completed. If the warranty period is extended, the Contractor must provide the Client with an extension of the Warranty bond or surety bond for at least the same period of time.

- PROTECTION OF CONFIDENTIAL BUSINESS DATA

Article 14

The Parties agree that all the data or information of a business, technical or financial nature, are commercially sensitive and are acquired by the Client in the performance of his business activity or on the basis of contractual relationships and can be commercially useful or have the nature of trade secrets as provided by the legislation in the areas of companies, energy legislation and the Compliance Programme..

By concluding this Contract, the Contractor undertakes not to do the following, without the prior written consent of the Client:

- To use the confidential or commercial -sensitive information for any purpose other than the purpose agreed in Article 2 of this Contract;

- To disclose confidential or commercially sensitive information to other persons.

The Contracting Parties agree that the following confidential or commercial sensitive information are the exception:

- Those that are already well-known on the day of their disclosure;

- Those for the acquisition of which there is a legal basis for this disclosure on the date of their disclosure;

- Those which the Contracting Party has acquired or those that have been disclosed to it by other persons, but not on the basis of a breach provisions of this Contract;

- Those for which the Client has given prior written consent regarding the manner and scope of its use;

- Those which are required to be disclosed in accordance with the court decision or at the request of a state authority or state institution, provided that the Client was previously aware of the nature and purpose of this disclosure.

By signing this Contract, the Contracting Party ensures that all security measures and mechanisms (at the modern level of state-of-the-art– BAT) are in place for transmission, reception, processing, managing, storing, and destroying commercially sensitive data and information to ensure a modern and reliable level of data and information protection.

The Contracting Parties further agree that they shall fully comply with the provisions of the Personal Data Protection Act (Official Gazette of the RS, No. 163/22, 40/25 - ZInfV-1; hereinafter: ZVOP-2) and Regulation (EU) 2016/679 of the European Parliament and of the Council of 27 April 2016 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data (hereinafter referred to as: the “GDPR”), irrespective of whether the Contractor shall acquaint himself with the personal data in the direct provision of services to the Client, through written documentation, electronic business communication, or any other way.

The Contractor, as the Data Processor, and the Client, as the Data Operator, agree that the Data Processor shall process only those personal data on behalf of the Data Operator and to the extent necessary for the implementation of this Contract, and only until the expiration of the Contract.

The Data Processor undertakes to:

- Process personal data only in accordance with documented instructions from the Data Controller;

- Ensure that persons authorized to process personal data are bound to a confidentiality obligations or bond to confidentiality by a special law;

- Take all measures to ensure: the continued confidentiality, integrity, availability, and resilience of processing systems and services; the ability to recover in a timely manner the availability and access to personal data in the event of a physical or technical incident; the process of regular testing, evaluation and valuation of the effectiveness of technical and organizational measures for ensuring the safety of processing;

- Take into account, when considering the appropriate level of security, particularly the risks posed by processing, in particular as a result of unintended or unlawful destruction, loss, modification, unauthorized disclosure or access to personal data sent, stored or otherwise processed;

- Ensure that any natural person who shall process personal data as a Data Sub-Processor shall not process personal data without written instructions from the Data Operator, unless this is required from that person by European Union law or national law;

- Assist the Data Operator, while taking into account the nature of the data, with the appropriate technical and organizational measures, as far as possible, in meeting its obligations to respond to requests for the exercising of rights of the data subject under the provisions of the GDPR (e.g., right of access, right of cancellation, right of correction, right to restriction of processing, right to data transferability, right of reply and right to appeal);

- After the expire of the validity of the Contract, delete or return all personal data to the Data Operator and destroy any existing copies, unless the preservation is prescribed by the applicable regulations;

- Provide the Data Operator with all the information necessary to demonstrate the fulfilment of the obligations set out in this Article and enable  the Data Operator or another Auditor authorized by the Data Operator to perform audits, as well as participate in them. The Data Operator undertakes to announce the control at least five (5) days  prior to the performance of the audit;

- Recruit the Data Subcontractor only if he had previously obtained written authorisation from the Data Operator, as well as ensure that the same obligations between the Data Processor and Data Sub-Processor are established as between the Data Operator and the Data Processor, and that a written contract has been concluded between them.

In accordance with applicable law and this Contract, the Contracting Party shall be liable for damages and criminally liability due to any unauthorized disclosure of confidential or commercial sensitive data obtained under this Contract.

- MEETINGS AND REPORTING

Article 15

The Contractor’s authorized representative shall organize a meeting once a week, which must be attended at a minimum by the Client’s Project Manager and, at the Client’s discretion, other relevant Client employees. During the meeting, the activities completed in the preceding period will be reviewed, and the activities planned for the upcoming period will be determined. The Contractor shall keep minutes of the meeting.

The Contractor shall prepare a monthly progress report once a month, which shall include a comparison of the actual progress of the work with the implementation of the detailed schedule for equipment delivery and project implementation. The report shall specify in detail any reasons for delays relative to the schedule and describe the measures the Contractor has taken to meet the detailed schedule for equipment delivery and project implementation.

- INTELLECTUAL RIGHTS

Article 16

All rights, title or interest in any patent, trademark, service marks, copyrights, trade secrets, ideas, concepts, know-how, techniques or other proprietary right forming part of the Goods, Software or, Services shall remain vested in Contractor (or third party owner) and shall not be transferred to Client.

The Contractor shall transfer to the Client ownership of the source code for all integrations, security mechanisms and data flows developed specifically for this project, together with documentation that includes descriptions of the modules, classes and libraries used. The documentation must be detailed enough to enable maintenance and upgrading of this software without the Contractor's assistance. The source code for all integrations and functionalities that will be developed specifically for this project due to the lack of standard solutions is the property of the Client.

- CONTRACTOR’S LIABILITY FOR DAMAGE

Article 17

The Contractor shall be fully liable for any and all damage caused in connection with the performance of this Contract, in any manner and regardless of the form of liability, including liability arising from slight negligence, to the Client, third parties, the Client’s property, or the property of third parties.

The Contractor shall also be liable to the Client for any damage resulting from errors or delays if such damage arises from actions or events originating from the Contractor’s operations or from persons for whom the Contractor is responsible.

- PROVISIONS REGARDING SUBCONTRACTORS

Article 18

If the Contractor performs the Public Procurement with Subcontractors, he undertakes to:

- During the performance of the Client’s public contract, the Contractor shall inform the Client of any changes to Subcontractors and provide information on new Subcontractors he intends to subsequently include in the implementation, within five (5) days after the change, at the latest;

- In the case of inclusion new Subcontractors, he shall provide the Client with the notification, as well as documents from the paragraph 2 of Article 94 of the Public Procurement Act (Official Gazette of the RS, Nos. 91/15, Official Journal of the European Union, Nos. 307/15, 337/17, Official Gazette of the RS, Nos. 14/18, 69/19 – Constitutional Court decisions, Official Journal of the European Union, No. 279/19, Official Gazette of the RS, Nos. 49/20 – ZIUZEOP, 80/20 – ZIUOOPE, 152/20 – ZZUOOP, 175/20 – ZIUOPDVE, 15/21 – ZDUOP, 112/21 – ZNUPZ, 206/21 – ZDUPŠOP, 121/21, Official Journal of the European Union, No. 398/21, Official Gazette of the RS, Nos. 10/22, 74/22 – Constitutional Court decision, 100/22 – ZNUZSZS, 141/22 – ZNUNBZ, 158/22 – ZNPOVCE, 28/23, 88/23 – ZOPNN-F, 95/23 – ZIUOPZP, 131/2023 – ZORZFS, Official Journal of the European Union, No. 1611/23, 1611/23; hereinafter: ZJN-3) for each new Subcontractor;

- If the direct payment to the Subcontractor is not compulsory, the Contractor send a written statement and a written declaration of the Subcontractor no later than sixty (60) days after the payment of the final invoice or interim invoice that the Subcontractor received payment for the performed works directly related to the subject of the Contract;

- In the case of performance of the Contract with the Subcontractor, which requires direct payment, authorize the Client in the contract to directly pay the Subcontractor on the basis of the confirmed invoice or situation by the Contractor;

- In the case of performance of the Contract with the Subcontractor, which requires direct payment, the Subcontractor shall provide his consensus, on the basis of which the Client settles the Subcontractor’s claim to the Contractor directly instead of the Contractor;

- In the case of performance of the Contract with the Subcontractor, which require a direct payment, the Contractor attached to his invoice or situation an statement an invoice or statement of the Subcontrator, which he will confirm beforehand.

- ENVIRONMENTAL PROTECTION

Article 19

The Contractor is obliged, in the performance of services or the supply of goods, to comply with all environmental protection regulations and to fully comply with the legal requirements in the field of health and safety at work, fire and explosion protection.

- ANTI-CORRUPTION CLAUSE

Article 20

In accordance with Article 14 of the Integrity and Prevention of Corruption Act (Official Gazette of the RS, No. 69/11 – consolidated text, 158/20, 3/22 – ZDeb, 16/23 – ZZPri; hereinafter: ZIntPK), a Contract is null and void if any party, on behalf of or on account of the other Contracting Party, promises, offers or gives to the Client or its employes, who had a decisive impact on the selection of the Contractor, any undue advantage with the purposes of:

- The award of works, or

- The conclusion of the Contract under more favorable conditions, or

- The omission of due supervision over the performance of the contractual obligations, or

- Any other act or omission, with which the Client suffer loss or with which  the client or its employes, other Contracting Party or its representative, or agent gain undue advantage.

- HUMAN RIGHTS PROTECTION CLAUSE

Article 21

The Contracting Parties undertake that during the term of the contractual relationship, they will respect human rights and fundamental freedoms applicable to the Contracting Parties and their Subcontractors at the time of concluding this Contract. The minimum scope of human rights and fundamental freedoms to be respected shall be in accordance with the objectives and principles of the United Nations, as set out in the Universal Declaration of Human Rights and the Convention on the Rights of the Child, adopted and proclaimed by the UN General Assembly, as well as in the Declaration of the International Labour Organization on Fundamental Principles and Rights at Work. The Contracting Parties also undertake to comply with environmental legislation in all countries in which they operate.

If it is determined by a final court or other competent authority decision that a Contracting Party has violated the obligations set out in the preceding paragraph, the other Contracting Party may, without liability for any damage caused to the breaching party, unilaterally terminate the contract for a material breach of contractual obligations. The breaching party shall be obliged to compensate the non-breaching party for all damage and costs arising as a result of the breach of obligations by the breaching party.

- ACCEPTANCE OF THE SUBJECT OF THIS CONTRACT

Article 22

The Contracting Parties agree that the Contractor shall deliver, and the Client shall take over, the Central Process Control System for use in accordance with the provisions of this contract, following the completion of all planned acceptance tests.

- GOVERNING LAW AND LANGUAGE

Article 23

The Contracting Parties agree that Slovenian law shall govern the interpretation of this Contract, as well as any matters arising in connection with this Contract. All contractual documents are originally drafted in the Slovenian language.

For any disputes arising from this Contract that the representatives of the Contracting Parties are unable to resolve amicably, the District Court of Ljubljana shall have jurisdiction. The Contracting Parties expressly agree that the provisions of the Obligations Code shall apply to the resolution of all disputes related to this Contract.

Article 24

The language of communication during the execution of all contractual work shall be Slovenian or English. The language of communication for technical content, coordination, and support may be either Slovenian or English. All user documentation must be in Slovenian, while all other technical documentation may be in Slovenian or English. The contractor is obliged to ensure that the technological screen displays in the SCADA system, which is a key segment of the Central Process Control System, are in Slovenian. For the system component of the delivered computer equipment, the client allows implementation in either Slovenian or English.

- FINAL PROVISIONS

Article 25

The Contract is concluded in electronic form and is digitally signed by the responsible persons of both parties. The electronic version of the Contract has the validity of the original. In the case of signing the Contract in writing, the Contract is drawn up in two identical copies, each having the validity of the original. In this case, each Contracting Party shall receive one copy of the Contract. Any amendments or supplements to this Contract shall be valid only in written form. The Contract is concluded on the day of signing by the authorized representatives of both Contracting Parties and shall become effective upon submission of the Performance bond for proper and timely performance of contractual obligations in accordance with Article 13 of this Contract. The Contract is concluded for the period until the expiration of the warranty period for rectification of defects during the warranty period.

The Client has the right to terminate the Contract if the accepted financial plan of Plinovodi d.o.o. does not provide sufficient funds for the period of validity of the Contract. In the event of termination, a three (3) month notice period shall apply, which begins to run from the date of sending a written notice sent by registered mail.

This Contract is concluded subject to a severance condition, which is realized in the event of fulfilment of one of the following circumstances:

- If the Client becomes aware that the court, by a final decision, found a violation of the obligations from the second paragraph of Article 3 of the Public Procurement Act (ZJN-3) by the Contractor of the Contract or its Subcontractor, or

- If the Client becomes aware that a competent state authority has fund at least two violations of the Contractor of the Contract or his Subcontractor during the implementation of the Contract in relation to payment for work, working hours, rest, performance of work based on civil law contracts despite the existence of elements of  an employment relationship, or in connection with illegal employment (“black labor”), and for which he was fined for a misdemeanour by a final decision or several final decisions.

In the circumstances and conditions from the previous paragraph are met, the Client shall act in accordance with the third indent of the fourth paragraph of Article 67 of the ZJN-3.

If the resolutory condition is fulfilled, the contract shall be deemed terminated on the date of conclusion of a new public procurement contract for the same subject matter. The Client shall notify the Contractor of the date of conclusion of the new contract. If the Client does not initiate a new public procurement procedure within 60 days of becoming aware of the violation, the Contract shall be deemed terminated on the sixtieth day following the notification of the violation.

In _______________, on _______________            			In Ljubljana, on _________________

Contractor:							CLIENT:

_______________________						PLINOVODI d.o.o.

Director:								General Manager:

Marjan Eberlinc

Member of the management board:

mag. Matija Bitenc

# APPENDIX 16

The enclosed "Confidentiality and Non-Disclosure Agreement" must be completed and signed by the Tenderer. The Contracting Authority will sign the "Confidentiality and Non-Disclosure Agreement" with the Tenderer whose capability it will recognize in accordance with point 2.4 of the Tender documentation.

CONFIDENTIALITY AND NON-DISCLOSURE AGREEMENT

The Confidentiality and Non-Disclosure Agreement ("Agreement") is entered into by:

(1) Plinovodi d.o.o., Cesta Ljubljanske brigade 11b, 1000 Ljubljana

and

(2) Company: __________________________________________________________________

together referred to as the "Contracting Parties."

The Contracting Parties may be the Recipient or the Discloser, depending on who receives or discloses the information.

Article 1.

(introductory Findings)

The Contracting Parties preliminarily find:

- That there exists a mutual interest between the Contracting Parties for business cooperation in concluding an Agreement for the establishment of a Central Process Control System at Plinovodi d.o.o.;

- That during the public procurement process, discussions, and/or regular business cooperation between the Contracting Parties, each party may disclose, or have disclosed to the other party, certain information or data that may be considered proprietary to the first party and/or of a commercially sensitive or confidential nature, or which applicable legislation designates as commercially sensitive or confidential;

- The data or information may include any content transmitted in any form of communication and is used as a collective term for all content that has been or is the subject of communication.

Article 2.

(subject of the Agreement)

The subject of this Agreement is the mutual obligation to maintain confidentiality and protect commercially sensitive or confidential information, data, and secrets from unauthorized persons, including unauthorized legal and natural persons acting on behalf of the Recipient who are not authorized or involved in handling the information.

Article 3.

(purpose of the Agreement)

The purpose of the Contracting Parties is to prevent significant harm that could be incurred by the Discloser in the event of disclosure of information under this Agreement to unauthorized persons, or to prevent violations of applicable legislation that prohibits the disclosure of confidential information.

Article 4.

(confidential Information)

Confidential Information shall include any data or information deemed to be of a commercially sensitive or confidential nature, or which is designated as commercially sensitive or confidential under applicable legislation (including, but not limited to: personal data, technical data, drafts, sketches, images, specifications, standards, user manuals, designs, reports, forms, processes, lists, patents, trade secrets, and commercially sensitive data as defined by legislation governing the protection of trade secrets, companies, and gas supply, as well as discoveries, ideas, concepts, know-how, techniques, marketing plans, objectives, computer programs, software, databases, software documentation, data containing financial or market-related information pertaining to business operations, and other technical, financial, or business information of the Discloser, or information relating to the current or future cooperation between the Discloser and the Recipient), which is exchanged between the Contracting Parties in any form or manner, whether orally or in writing, encoded, graphically, or in any other tangible form, including any electronic, magnetic, or optical form, materialized in the form of documents, software, promotional and presentation materials, equipment, and pilot projects, or in immaterial form, regardless of whether such information has been identified as confidential.

The provisions of this Agreement shall also apply to Confidential Information obtained by the Contracting Parties prior to the date of signing this Agreement.

Article 5.

(exceptions)

The Contracting Parties agree that, for the purposes of this Agreement, the following information shall not be considered Confidential Information:

- Generally known facts;

- Data or information that, at the time of disclosure, is or was publicly available or obtained by the Recipient through other legally permissible means without violating the provisions of this Agreement;

- Information obtained by the Recipient or disclosed to the Recipient by third parties, provided such disclosure does not result from a breach of the provisions of this Agreement;

- Information for which the Discloser has provided prior written consent for its use.

The Recipient may disclose Confidential Information in cases of a legally mandated obligation to disclose information (in accordance with any law, regulation, court order, or request by any authority empowered to obtain such information), provided that the Discloser is informed in advance of the nature and purpose of such disclosure, and such notification does not contradict applicable law.

Article 6.

(obligations of the Recipient)

For the purpose of establishing mutual interest during the phase of presenting business cooperation opportunities, negotiations, execution of concluded contracts and other agreements, and other business cooperation, the Discloser will disclose to the Recipient Confidential Information that is, by its nature, commercially sensitive data or trade secrets of the Discloser, or is otherwise designated as confidential information and is in the possession or under the control of the Discloser.

The Recipient undertakes, during the public procurement procedure or business cooperation related to the establishment of the Central Process Control System, and for a period of ten years following the conclusion of the public procurement procedure or for a period of six years following the termination of business cooperation, to maintain the confidentiality of the Confidential Information received from the Discloser. The Recipient further undertakes not to disclose such information to unauthorized persons, not to use it in any manner except as agreed in this Agreement, and to protect it with at least the same degree of care as it applies to its own confidential information of a similar nature as the Confidential Information defined in this Agreement.

The Recipient undertakes to protect the Confidential Information obtained under this Agreement with the diligence of a prudent businessperson. The Recipient shall not disclose the information subject to protection to unauthorized persons without the prior written consent of the Discloser.

Disclosure of information refers to any transfer, distribution, publication, or making public, as well as any other form of transmission of the Confidential Information covered by this Agreement to unauthorized person(s).

Article 7.

(restriction of Access to Confidential Information by Third Parties)

The Discloser shall restrict access to Confidential Information:

- Solely to employees who need to know such information for the performance of their duties, provided they are informed of the contents of this Agreement and are obligated to comply with its provisions through a separate agreement, personal written statement, internal employer regulations, or other appropriate methods, and the Discloser shall not disclose the Information to any third party;

- Solely to subcontractors, consultants, agents, or similar persons who necessarily need to know or receive such information for the performance of their duties, and shall not disclose it without having a valid confidentiality agreement in place with such person or persons, which establishes terms and conditions substantially and procedurally equivalent to those contained in this Agreement;

- Other persons, as expressly agreed in writing in advance between the Contracting Parties.

The aforementioned employees of the Recipient, contractual collaborators, or other persons expressly agreed upon are obligated to maintain the confidentiality of the information. Prior to disclosing the Confidential Information of the other Contracting Party to such persons, the Recipient must enter into written non-disclosure agreements with these persons that protect the Confidential Information to at least the same extent as this Agreement. The Recipient must prevent third parties, contractual collaborators, or its own employees from any use, disclosure, copying, or any other form of reproduction or publication of Confidential Information.

The Company: _______________________________________________________________________________________________ undertakes to provide the Discloser, prior to the commencement of services, with a list of all persons who will perform the services and thereby access and use the Confidential Information, and undertakes to inform all such persons of the obligations under this Agreement and to instruct them accordingly.

Article 8.

(notification of the Discloser)

The Recipient shall immediately notify the Discloser of any instance in which an unauthorized person has obtained Confidential Information and shall cooperate to the best of its ability with the Discloser in enforcing rights against such unauthorized person.

Article 9.

(legal disclosure)

The Recipient shall promptly and in advance inform the Discloser in the event that the Recipient may be compelled to disclose, or is required to disclose due to coercive measures, a court order, statutory requirements, legal, administrative, or governmental regulations, or other prescribed procedures, any Information provided by the Discloser, so that the Discloser may pursue all available legal remedies to protect the information that has been provided or made known to the Recipient in any manner. The Recipient undertakes to cooperate with the Discloser in connection with the enforcement of lawful remedies for the protection of the information or any other measures that the Discloser may request.

Article 10.

(use of Confidential Information)

Confidential Information may only be used for the purposes and to the extent of the business cooperation for which this Contract was concluded.

The Recipient shall not copy or otherwise reproduce, or knowingly permit the copying or reproduction of, the Confidential Information, nor make it accessible to persons who do not have a legitimate basis or authorization to obtain or become aware of such information, without the prior written approval of the Discloser.

Article 11.

(ownership of Confidential Information)

All Confidential Information provided by the Discloser to the Recipient, whether in whole or in part, remains the property of the Discloser.

All rights to the Confidential Information covered by this Agreement remain exclusively with the Discloser. No provision of this Agreement shall be construed as granting permission, copyright, usage rights, licenses, or any other rights to the Recipient with respect to the data, on the data, or based on the data.

The Recipient undertakes not to challenge the ownership or other rights of the Discloser over the Confidential Information.

Article 12.

(obligation to Protect Information)

The obligation to protect Confidential Information shall remain in effect for ten years following the conclusion of the public procurement procedure or for a period of six years following the termination of business cooperation related to the establishment of the Central Process Control System at Plinovodi d.o.o.

Upon the conclusion of the public procurement procedure or the termination of the contract for the execution of the public procurement, the Recipient shall, upon the Discloser’s written request, immediately return or deliver any and all Confidential Information, together with all copies, variations, or derivatives, whether approved or unapproved by the Discloser, and/or provide a written assurance from the company’s representative registered in the court registry, confirming that all records, notes, analyses, reports, evaluations, calculations, or other documents or data created, developed, modified, or otherwise produced by or at the request of the Recipient, which contain or are derived from Confidential Information, have been destroyed.

Article 13.

(Duty to Protect and Return Confidential Information)

The Company: _____________________________________________________________ undertakes, in accordance with this Agreement, to have in place all security measures and mechanisms (at the modern level of the best available technology – BAT) for the transfer, receipt, processing, management, storage, and destruction of Confidential Information, ensuring a modern and reliable level of data and information protection.

The obligation to protect Confidential Information shall not cease, even if either Contracting Party withdraws from the business cooperation within the framework of the public procurement for any reason.

In the event of termination of the business cooperation, the Recipient shall, upon the request of the other Contracting Party, return all materialized documentation to the other Contracting Party within ten days of receiving the Discloser’s written request or destroy all Confidential Information and provide the other Contracting Party with a certificate of destruction of the Confidential Information.

Upon the Discloser’s written request, the Recipient shall immediately return any and all Confidential Information, together with all copies, variations, or derivatives, whether approved or unapproved by the Discloser, and/or provide a written assurance from the company’s representative registered in the court registry, confirming that all records, notes, analyses, reports, evaluations, calculations, or other documents or data created, developed, modified, or otherwise produced by or at the request of the Recipient, which contain or are derived from Confidential Information, have been destroyed.

Article 14.

The Contracting Parties agree that the conclusion of this Agreement does not obligate either Contracting Party to engage in further discussions, negotiations, or to enter into any business agreement.

Furthermore, the Contracting Parties agree that the conclusion of this Agreement does not establish any obligations other than those explicitly set forth in this Agreement. The obligations under this Agreement shall also apply to the legal successors of the Contracting Parties.

In cases not governed by the preceding provisions or the above paragraph, the rights, interests, and obligations of both Contracting Parties shall not be assigned or transferred to a third party, in whole or in part, without the prior written approval of the other Contracting Party.

Article 15.

No failure, non-fulfillment, or delay in exercising any right of the Discloser under this Agreement shall operate as a waiver by the Discloser of any such right, nor shall it constitute a waiver by the Discloser of any of these rights. Such circumstances do not grant the Recipient the right to fail to fulfill the obligations and conditions set forth in this Agreement.

Article 16.

(contractual Penalty)

The Recipient acknowledges that a breach of the provisions of this Agreement would cause irreparable harm to the Discloser. Therefore, in the event of a breach, the Discloser shall have the right to seek judicial remedies to require the Recipient to immediately cease any potential or actual breaches of this Agreement and/or to claim damages.

In addition, in the event of a breach of the provisions of this Agreement, the Recipient shall be obligated to pay the Discloser a contractual penalty of EUR 5,000.00 and to compensate the Discloser for any material and immaterial damage resulting from the Recipient’s prohibited actions, as well as to return all unjustly obtained benefits.

By signing this Agreement, the Recipient also acknowledges that it is aware of the methods and standards for protecting confidential information and has been informed that any actions contrary to the provisions of this Agreement may result in criminal liability for the violator.

Article 17.

(contractual Penalty)

In the event that any provisions of this Agreement are in conflict with the applicable regulations at any given time, such provisions shall be severed from this Agreement and become invalid. The remaining provisions shall remain valid and binding. The Contracting Parties shall interpret invalid or unenforceable provisions in a manner that ensures the confidentiality of Confidential Information is protected. In such cases, either Contracting Party is obligated to notify the other Contracting Party and request consent for the disclosure of such information or inform them of the disclosure based on a request from a competent authority.

Any amendment to this Agreement shall be valid only if made in the form of a written annex and signed by both Contracting Parties.

The Contracting Parties agree to resolve any disputes arising from this Agreement amicably. If an amicable resolution is not possible, the Contracting Parties agree that the District Court in Ljubljana shall have jurisdiction, and the law of the Republic of Slovenia shall apply.

Article 18.

(effective Date and Duration of the Agreement)

The Agreement is concluded in electronic form and shall be digitally signed by the authorized representatives of both Contracting Parties. The electronic version of the Agreement shall have the validity of an original. In the case of signing the Agreement in written form, the Agreement shall be drawn up in two identical copies, each having the validity of an original. In such a case, each Contracting Party shall receive one copy of the Agreement.

The Agreement is concluded and takes effect upon the signing by the authorized representatives of both Contracting Parties and shall remain in force until the expiration of the warranty period of the established Central Process Control System in the company Plinovodi d.o.o. + 6 years.

In _______________, on _______________            			 In Ljubljana, on _________________

Contractor	                                                         			Contracting Authority:

______________________				 		PLINOVODI d.o.o.

Director:						 		General Manager:

______________________						Marjan Eberlinc

Member of the management board:

mag. Matija Bitenc

# APPENDIX 17 (will be submitted in the second phase after recognition of capability)

TENDER

TENDER REFERENCE:_______________________________

- Implementation of the Central Process Control System

| # | Description | Price per unit (EUR/e) | Quantity | Total Value (EUR) |
| --- | --- | --- | --- | --- |
| RTU |  |  |  |  |
| 1 | Implementation of RTU devices |  |  |  |
| 1a | Hardware |  | 61 pieces |  |
| 1b | Preparation of implementation plans at the stations |  | 1 set |  |
| 1c | Information Security Concept Architecture |  | 1 set |  |
| 1e | Preparation of Testing Plans |  | 1 set |  |
| 1f | Preparation of Implementation and Maintenance Plan |  | 1 set |  |
| 1g | Replacement of All RTU Devices, Configuration, and P2P Tests |  | 61 kos |  |
| 1h | Execution of Testing Plans |  | 1 set |  |
|  | Total RTU devices | / | / |  |
| SCADA |  |  |  |  |
| 2 | SCADA License |  |  |  |
| 2a | Initial license |  | 1 set |  |
| 2b | Annual License Fee |  | 2 years |  |
| 2c | Annual License Fee During Warranty Period |  | 2 years |  |
| 3 | SCADA Implementation |  |  |  |
| 3a | SCADA Implementation Plan |  | 1 set |  |
| 3b | IT/OT Network Architecture and Information Security Concept |  | 1 set |  |
| 3c | Definition of Guidelines for User Interface Preparation |  | 1 set |  |
| 3d | Preparation of Testing Plans |  | 1 set |  |
| 3e | Preparation of Implementation and Maintenance Plan |  | 1 set |  |
| 3f | Development of System Integrations |  | 1 set |  |
| 3g | Preparation of Graphical Schematics |  | 1 set |  |
| 3h | SCADA System Implementation, Training, and Documentation |  | 1 set |  |
| 3i | Execution of Testing Plans |  | 1 set |  |
|  | Total SCADA system | / | / |  |
| Hardware & Infrastructure |  |  |  |  |
| 4 | Hardware & Infrastructure |  |  |  |
| 4a | Infrastructure and Hardware Architecture |  | 1 set |  |
| 4b | Redundant Servers at Both Locations (4 servers per location) |  | 8 pieces |  |
| 4c | Hardware and Software for Backup System |  | 1 set |  |
| 4d | Disk Arrays, Workstations, and Optical Converters |  | 1 set |  |
| 4e | Network Equipment |  | 1 set |  |
|  | Total Hardware & Infrastructure | / | / |  |
| Project Management |  |  |  |  |
| 5 | Project Management and Travel |  |  |  |
| 5a | Project Management |  | 1 set |  |
| 5b | Travel and Accommodation |  | 1 set |  |
|  | Total Project Management | / | / |  |
|  | Total Value | / | / |  |

- Upgrades of the Central Process Control System

| # | Description | Price per unit (EUR/e) | Quantity | Total Value (EUR) |
| --- | --- | --- | --- | --- |
| SYSTEM UPGRADES |  |  |  |  |
| 1 | Configuration and upgrade |  |  |  |
| 1a | RTU configurations and upgrades |  | 100 hours |  |
| 1b | SCADA configurations and upgrades |  | 1.200 hours |  |
|  | Total Upgrades | / | / |  |

All prices in both tables are exclusive of VAT.

Total bid value (A+B) excluding VAT: _____________________________________________.

Total bid value (A+B) including VAT: _____________________________________________.

The Tenderer (Contractor) shall issue invoices to the Contracting Authority (Client) for the delivered equipment and all completed works in accordance with the enclosed handover protocol. The total value of all invoices before the final invoice may not exceed 80% of the value of the equipment and works according to the technical specifications of the Contracting Authority (Client) as set out in the Tender documentation.

The Tenderer (Contractor) shall issue an invoice to the Contracting Authority (Client) together with the final handover protocol within 20 days after the completion of all works under the Contract of this Public Procurement, following the acceptance of the Central Process Control System by the Contracting Authority (Client), and after the submission of the Warranty Bond for the remedy of defects during the warranty period, which the Tenderer (Contractor) is obliged to provide to the Contracting Authority (Client).

The offer must be valid for 120 days from the date set for submission of offers.

Deadline for the implementation of the Central Process Control System (Table A): _________ months.

The deadline for the implementation of the Central Process Control System (Table A) is a maximum of 30 months from the day of signing of the contract. The warranty period for implemented works and equipment is 24 months from the acceptance of the Central Process Control System. During the warranty period, the Contracting Authority (Client) will order equipment and system upgrade works as needed (Table B).

Note: All other requirements will be defined in the second phase after recognition of capability, when the Contracting Authority provides the Tenderer with the technical specification of the scope of this Public Procurement.

| Done in [place] _______________, on [date] _______________ | __________________________ (Signature of the Tenderer) |
| --- | --- |

# APPENDIX 18 (will be submitted in the second phase after recognition of capability)

CONFORMANCE TABLE

The Conformance table with the scope of supply of equipment and services for the subject of the Public Procurement will be available as a separate attachment in XLS format, which will be an integral part of the tender documentation for the second phase after recognition of eligibility. The Tenderer must fully complete the Conformance table (all items) and submit it in both XLS and PDF formats as part of the tender documentation.

In addition to the Conformance table, the Tenderer will also receive the Contracting Authority’s Technical specification in the second phase of the Public Procurement, which provides a more detailed description of the content and scope of supply for each item in the Conformance table.

The Tender must accept each item or requirement in the Conformance table and indicate whether the requirement will be fulfilled using a standard equipment solution or if a custom solution will need to be implemented (custom development within the project or supply of a third-party solution). If the Tenderer does not accept/confirm any of the requirements in the Conformance table, this will result in the exclusion of the Tenderer from the procurement procedure.

Warning: Any modification of the electronic form of the item list (content and format of items, quantities, formulas, etc.) will result in the exclusion of the Tenderer from the procurement procedure.

| Done in [place] _______________, on [date] _______________ | _________________________ (Signature of the Tenderer) |
| --- | --- |