APPENDIX D - Sensor connector pinouts

| acquisition unit sensor inputs |  | Seismometer Le-3D/5s outputs |  |
| --- | --- | --- | --- |
| Connector type: |  | Connector type: |  |
| Pin | Function | Pin | Function |
|  |  | A | +Z (positive wire, Vertical component) |
|  |  | B | -Z (negative wire, Vertical component) |
|  |  | C | +N (positive wire, North component) |
|  |  | D | -N (positive wire, North component) |
|  |  | E | +E (positive wire, North component) |
|  |  | F | -E (positive wire, North component) |
|  |  | G | +12V (power supply) |
|  |  | H | -CAL |
|  |  | J | GND and SHLD |
|  |  | K | 0V |