Kozjak PSP

Terms of Reference

LOT 1 - Preparation of expert documentation for the construction of the storage basin of the Kozjak PSHPP at Kolarjev vrh, activities and documentation regarding test fields

LOT 2 - Review of technical documentation for the construction of the storage basin and documentation of the implementation and results of test fields

Maribor, October 2025

Table of Contents

1	INTRODUCTION	4

2	BASIC DESCRIPTIONS AND DATA	5

2.1	Storage Basin	5

3	SUBJECT OF THE TERMS OF REFERENCE	6

3.1	Subject and objective of the ToR for Lot 1	6

3.2	Subject and objective of the ToR for Lot 2	6

4	OBLIGATIONS OF THE CONTRACTOR	7

5	OBLIGATIONS OF THE CLIENT	7

6	TERMS OF PAYMENT	7

7	TIMELINE FOR THE PREPARATION OF DOCUMENTATION	7

8	PROJECT REPORTING	7

9	ANNEXES TO THE TERMS OF REFERENCE	7

Table 1:  Abbreviations used

| Abbreviation | Meaning |
| --- | --- |
| BIM | Building Information Modeling |
| CDE | Common data environment |
| CFSM | Converter Fed Synchronous Machine |
| PSP | Pumped Storage Power Plant |
| DEM | Dravske elektrarne Maribor (client) |
| DFIM | Doubly Fed Induction Machine |
| DGD | Documentation for obtaining a building permit |
| DPN | National Spatial Plan (Decree on the National Spatial Plan for the pumped storage power plant on the Drava River and the PSP-TS Maribor transmission line (Official Gazette of the Republic of Slovenia, No. 12/11) |
| DPP | Documentation for obtaining project and other conditions |
| TL | Transmission Line |
| DZR | Tender Documentation |
| GD | Building Permit |
| GIS | Geographic Information System |
| IDP | Conceptual design |
| IGD | Integral procedure for obtaining a building permit |
| nIDP | Revised conceptual design |
| IZS | Slovenian Chamber of Engineers |
| NOV | Operating and maintenance instructions |
| OP | Environmental Report |
| PID | Project documentation of completed works |
| ToR | Terms of Reference |
| EIA | Environmental impact assessment report |
| PZI | Implementation project |
| RS | Republic of Slovenia |
| DTS | Distribution transformer station |
| VDJK | Maintenance works to the public interest |

INTRODUCTION

Dravske elektrarne Maribor, d.o.o. (hereinafter DEM) is an integral part of Holding slovenskih elektrarn, d.o.o. and a significant producer of electricity in Slovenia, as it is the largest producer of electricity from renewable sources in Slovenia. With its eight large hydropower plants on the Drava River, five small hydropower plants, and four solar power plants, DEM produces nearly a quarter of Slovenia's electricity. The company is development-oriented and pursues long-term goals of ensuring safe, high-quality, stable, and reliable electricity production. This includes the goal of increasing electricity production from renewable sources, which necessitates identifying and building new energy facilities.

DEM d.o.o. is planning to build the Kozjak pumped storage power plant with associated infrastructure, for which the Decree on the National Spatial Plan for the pumped storage power plant on the Drava River and the PSP-TS Maribor transmission line (Official Gazette of the Republic of Slovenia, No. 12/11) has been adopted (hereinafter: DPN). The Kozjak PSP project is planned in accordance with the concession agreement for the use of the Drava River for electricity production without changing the total gross potential of the watercourse. During the DPN approval phase, project documentation, investment documentation, research, and technical documentation were prepared, and an environmental report was drawn up.

In 2024, a revised conceptual design (nIDP) was prepared, which envisages the installation of the currently available pumped storage power plant technology, a 2x400 transmission line connection, and access roads to the pumped storage power plant construction site and the upper storage basin.

In 2023, 2024, and 2025, some field and environmental research is already underway, and technical documentation related to the EIA is being prepared. Geological and geomechanical surveys are also underway at the site of the planned upper storage basin at Kolarjev vrh, as well as hydrogeological surveys and the establishment of a hydrogeological monitoring system. Some geological and geomechanical surveys were also carried out during the DPN preparation phase.

Several parties are involved in the project, with whom the documentation producer will cooperate:

- Client:							Dravske elektrarne Maribor d.o.o.

- Engineer:							HSE Invest d.o.o.

- Consultant: 						Gruner - Stucky

- EIA author:						Aquarius d.o.o.

- DGD designer (scope of the Kozjak PSP): 		HSE Invest d.o.o. and IBE d.d.

- IDP designer 						IBE d.d.

BASIC DESCRIPTIONS AND DATA

Storage Basin

The basic data of the storage basin, as summarized in the DPN, are as follows: the approximate usable volume of the storage basin will be 2.9 million m3, the embankment top elevation will be 996.5 m a.s.l., and the maximum water level in the basin will be 995.0 m a.s.l. The elevation of the minimum operating water level will be 969.0 m a.s.l., the maximum surface area of the basin will be 18.1 ha, and the surface area of the basin bottom will be 10 ha.

The upper storage basin will be constructed by levelling the two higher peaks of Kolarjev vrh and partially incorporating the excavated material into the embankment around the perimeter of the resulting plain. The slope of the perimeter embankment on the air side has a gradient of 1:1.56 with intermediate berms and is grassed. The waterside slope has a gradient of 1:2 and is lined with a waterproof covering. The bottom of the basin is situated below the existing ground level, with a 4‰ drop towards the outlet. The rim ends at an altitude of 969 m above sea level before deepening. The basin is constructed with a suitable foundation and a double-layer waterproof lining, at least 1.0 m above the maximum water level, and a drainage system is installed under the bottom of the basin. Excess water intercepted by the drainage system flows into a reservoir and is pumped back into the upper storage basin. To prevent the top of the embankment dam of the storage basin from overflowing, at least two different water level control systems shall be installed. The top of the embankment dam is 5.8 m wide and slopes towards the water. There is a 4m-wide asphalt road on top of the embankment dam for maintenance purposes. On the water side of the top of the embankment dam, there is an AB fence/wave barrier, and for additional safety, a fence is also installed at the foot of the embankment.

The entire air side of the embankment slopes of the upper storage basin from the top to the fence shall be grassed. The entire area of the forest destroyed during construction around the upper storage basin will be reforested, extending to a distance of 5 meters from the outer protective fence.

More information is provided in the revised IDP, which the contractor will receive from the client for the purposes of performing the services under these Terms of Reference (ToR).

Based on the dimensions of the planned storage basin and the categorization of dams according to IZS guidelines (MSG01/2012) in accordance with ICOLD, this is a large dam, as its height exceeds 15 m.

SUBJECT OF THE TERMS OF REFERENCE

The Terms of Reference are divided into two lots, namely:

- Lot 1 - Preparation of expert documentation for the construction of the storage basin of the Kozjak PSHPP at Kolarjev vrh, activities and documentation regarding test fields

Lot 2 Review of technical documentation for the construction of the storage basin and documentation of the implementation and results of test fields

Subject and objective of the ToR for Lot 1

- Preparation of technical documentation for the construction of a storage basin, using existing material at the site of the upper storage basin of the Kozjak PSP at Kolarjev vrh. Based on the prepared documentation (basic design), completed research, and field inspections, prepare technical documentation that will analyze the input data and provide solutions that, taking into account all safety requirements and completed geological/geomechanical research, hydrogeological studies, and test embankment fields, enable the construction of the storage basin with the maximum possible use of material on site and thus the minimum possible movement of material. To this end, the excavated and reused material will be leveled as much as possible in the embankments of the upper storage basin and in the landfills adjacent to the upper storage basin.

- Test fields shall be performed to verify the properties of the material for use in the embankments of the storage basin and to determine the appropriate method and composition of the embankment of the upper storage basin. Implementation of test field is part of separate tender, scope of works under this Lot 1 is described in Annex 1.

The requirements for performing services under Lot 1 are specified in more detail in Annex 1.

Subject and objective of the ToR for Lot 2

- Review of technical documentation for the construction of the storage basin and documentation of the implementation and results of test fields. The reviewer will cooperate with the author of the technical documentation and the test field contractor from the very beginning of the preparation of the technical documentation and the execution of works in the test fields, reviewing the technical solutions proposed by the author of the technical documentation, reviewing the work program and the execution of work in the field, as well as the results of measurements and tests in the test fields. To ensure the highest possible safety of the storage basin, the technical documentation of the storage basin will be reviewed by an independent reviewer.

The requirements for performing services under Lot 2 are specified in more detail in Annex 2.

OBLIGATIONS OF THE CONTRACTOR

The obligations are specified for each individual Lot in Annex 1 and Annex 2.

OBLIGATIONS OF THE CLIENT

The obligations of the client are specified for each individual Lot in Annex 1 and Annex 2.

TERMS OF PAYMENT

Invoicing shall be based on the tender price list, as per the work actually performed. The contractor shall prepare a monthly statement indicating the degree of completion and a report on the services performed, and shall submit it to the client's contractual representative for review and approval. The contractor shall issue an invoice for the previous month by the fifth working day of the month, based on the approved monthly statement, which shall be attached to the invoice. The term of payment is 45 days from the date of receipt of the invoice.

TIMELINE FOR THE PREPARATION OF DOCUMENTATION

When preparing documentation in accordance with these ToR, the specified deadlines must be observed. The timeline with deadlines is provided for each individual Lot in Annex 1 and Annex 2

PROJECT REPORTING

Throughout the duration of the contract, the contractor shall cooperate with the client and the client's engineer through verbal and written correspondence.  In doing so, the contractor shall:

- participate in and hold meetings with the client's representatives, submit interim reports on the status of the documentation, and provide written interpretations of the documentation,

- inform the client of any problems and situations that could affect the timely fulfillment of contractual obligations,

- provide the client with written explanations of any ambiguities in the scope of the project task,

- provide opinions and positions on individual technical solutions in the process of coordination with EIA and DGD, and obtaining a building permit.

ANNEXES TO THE TERMS OF REFERENCE

- Annex 1 – Terms of Reference – Lot 1

- Annex 2 – Terms of Reference – Lot 2

- Annex 3 – situational overview of the storage basin area with DPN boundaries

- Annex 4 – cost estimate

Prepared by:

Sandi Ritlop

Project Manager, Kozjak PSP