Kozjak PSP

TERMS OF REFERENCE

LOT 2

Review of technical documentation for the construction of the storage basin and documentation of the implementation and results of test fields

Maribor, October 2025

Table of Contents

1	SUBJECT OF THE TERMS OF REFERENCE UNDER LOT 2	3

1.1	Subject and objective of the ToR	3

1.2	Services	3

2	REVIEW OF TECHNICAL DOCUMENTATION FOR THE CONSTRUCTION OF THE STORAGE BASIN AND DOCUMENTATION OF THE IMPLEMENTATION AND RESULTS OF TEST FIELDS	4

3	OTHER OBLIGATIONS OF THE CONTRACTOR UNDER LOT 2	5

4	OBLIGATIONS OF THE CLIENT	5

5	SCHEDULE FOR THE PERFORMANCE OF SERVICES UNDER LOT 2	6

SUBJECT OF THE TERMS OF REFERENCE UNDER LOT 2

Subject and objective of the ToR

Review of technical documentation for the construction of the storage basin and documentation of the implementation and results of test fields. The reviewer will cooperate with the author of the technical documentation and the test field operator from the very beginning of the preparation of the technical documentation and the execution of works in the test fields, reviewing the technical solutions proposed by the author of the technical documentation, reviewing the work program and the execution of work in the field, as well as the results of measurements and tests in the test fields, in order to ensure the highest possible safety of the storage basin. The technical documentation of the storage basin will be reviewed by an independent reviewer.

Services

Review of technical documentation of the storage basin and documentation of the implementation and results of test fields

The reviewer reviews all technical documentation relating to the construction of the storage basin, as well as documentation relating to the implementation and results of test fields.  The reviewer cooperates with the author of technical documentation for the construction of the storage basin and the constructor of test fields from the very beginning of the design of the storage basin, as well as in the preparation of test fields and investigations with proposals for solutions for the storage basin, as well as the implementation of test fields, research, and measurements at test fields.

The requirements for conducting a review are set out in more detail below.

- Documentation review

The contractor will receive technical documentation for the construction of the storage basin (SDAB) from the client in electronic PDF format and, if necessary, in active form. The SDAB documentation will be prepared in Slovenian or English.

The contractor will also have access to the remaining documentation (DPN, studies, reports) that was available to the designer when preparing the SDAB. The remaining documentation will be available to the contractor in Slovenian in electronic form, and the necessary segments will be translated into English by agreement. The documentation will be provided in PDF format.

The contractor is obliged to review the quality of the SDAB documentation and the scope of the technical solutions provided in the SDAB.

The contractor shall examine the solutions provided in the SDAB and the documentation of the implementation and results of the test fields and their compliance with legislation, technical regulations, standards, and good engineering practice, all with the aim of ensuring the safety of the embankment and mass balances.  The contractor shall submit proposals for improvements.

- Safety of personnel, storage facilities, and surrounding facilities

The proposed solutions must be reviewed from the perspective of the safety of the storage embankment, the safety of personnel who will be present in or on the PSP facilities during construction, operation, and maintenance, with attention paid to the prevention of dangerous events and the evacuation and rescue of persons in the case of extraordinary events.

Technical solutions are reviewed from the perspective of the safety of the storage basin under all operating conditions of the PSP (normal and emergency). Special attention must be paid to the safety of the storage basin in the event of natural disasters (earthquakes, landslides, fires) and extraordinary natural events (heavy rainfall, strong winds, etc.).

- Sustainability of facilities (service life)

The solutions provided in the SDAB shall be reviewed and verified in terms of ensuring a safe, long service life, or sustainability of building structures and storage basin facilities.

- Project implementation schedule

The contractor shall review the planned sequence of works and provide findings and suggestions based on its experience.

- Review of the cost estimate or design estimate

The contractor shall review the cost estimate or design estimate and provide an assessment of the appropriateness of key items and any suggestions or comments on this cost estimate.

REVIEW OF TECHNICAL DOCUMENTATION FOR THE CONSTRUCTION OF THE STORAGE BASIN AND DOCUMENTATION OF THE IMPLEMENTATION AND RESULTS OF TEST FIELDS

During the reviewing process, the contractor shall cooperate with the client, engineer, and author of technical documentation for the construction of the storage basin and test fields.  The contractor shall send any questions to the client or the client's engineer.  A detailed communication protocol will be provided in the project manual, which the contractor will receive after signing the contract.

The contractor shall prepare an interim review report and submit it to the client for review. The interim review report must contain all proposals and measures that the contractor envisages for improving the solutions in the documentation that is the subject of the review. In the interim report, the contractor must justify/substantiate all proposals and measures with calculations. The client will also involve the designer and engineer in the review of the interim review report. The engineer will collect all possible questions and clarifications from the review of the interim review report and forward them to the contractor and/or designer.

After the review of the interim review report is completed and the questions submitted (the review is expected to be completed in 4 weeks), a meeting will be convened at which the contractor will present the proposals and solutions provided in the review report. This meeting will also address questions on the interim review report submitted by the client, engineer, and designer, as well as the agreed-upon points of the review report. Based on the final findings, the designer will prepare the final version of the SDAB, which will then serve as the basis for further work on the project (preparation of the DGD, tender documentation, PZI, investment documentation).

The review report shall be prepared in Slovenian or English.

After the coordination meeting, the contractor will prepare a final draft of the review report. The report will take into account the coordination agreed upon at the meeting. The review report shall be prepared in Slovenian or English. The review report must cover all technical areas relevant to the implementation of the project.

OTHER OBLIGATIONS OF THE CONTRACTOR UNDER LOT 2

Under the signed contract, the contractor undertakes to:

perform the work under this ToR in accordance with the terms of reference, in a high-quality manner, in accordance with the law, the rules on project and other documentation and forms for the construction of facilities, relevant standards, professional rules, good practice, and the client's instructions;

provide appropriate personnel, equipment, and machinery to perform the work within the specified deadlines;

cooperate with the client, engineer, DGD designer, and participate in public presentations;

at its own expense and within the time limit agreed with the client, perform additions and changes to the scope of services taken over if it is found that the contractor has performed the services inadequately;

hand over to the client the scope of documentation agreed in the contract in paper and electronic form;

hand over to the client a review copy of the individual documentation for review, and take into account the comments, suggestions, and remarks made in the final draft, or argue for different solutions.

OBLIGATIONS OF THE CLIENT

The client will provide the contractor with:

the input data listed in the table below (in electronic form),

the name of a contact person who will be available for additional explanations (each of the clients will provide their own contact person),

cooperation with contractors,

review of the documentation.

Table 1 The client shall provide the contractor with the following documents and information

| Document / information: | Submission |
| --- | --- |
| Revised IDP prepared in 2024 | After signing the contract |
| DPP with design guidelines | After signing the contract |
| Reports on geological and geomechanical investigations and, if necessary, the investigation samples (samples are available for inspection at the client's premises) | After signing the contract |
| Results of hydrogeological investigations (hydrogeological investigations are ongoing, therefore interim results will be submitted upon completion of the investigations, as well as a report and final results) | After signing the contract |
| Technical bases for EIA relevant to the storage basin and EIA | After signing the contract or as soon as they are completed |
| Input data from other designers: inlet/outlet structure with penstock structure of the surge tank vent with vent pipe local access roads connected to maintenance roads along the structure of the storage basin | Submitted after signing the contract and: after optimization is complete and the form of the inlet/outlet structure is confirmed; approximate data in nIDP, more detailed data and solutions provided by the DGD designer; approximate input data provided by nIDP, more detailed solutions will be provided in the PZI project documentation, which will be ordered |
| Complete documentation prepared under lot 1 | Submitted on “on-going” basis |

Table 1 lists the documentation that will be available to the contractor in electronic form on the TEAMS/SharePoint portal. The contractor will be granted access to the portal with the specified content. The remaining documentation (legislation, regulations, standards, IZS professional rules, etc.) necessary for the performance of activities under this contract shall be obtained by the contractor itself.

SCHEDULE FOR THE PERFORMANCE OF SERVICES UNDER LOT 2

When performing services under this ToR, the deadlines listed below must be observed.

The estimated time frame for the preparation of documentation applies from the signing of the contract with the selected contractor.

| Item | Activity description | Approximate deadlines (months) |
| --- | --- | --- |
|  | Review of technical documentation for the construction of the storage basin and documentation for the implementation and results of test fields |  |
|  | Review of documentation, cooperation during the preparation of documentation and preparation of an interim review report, execution of reviews of the construction and measurement of tight fields in the field | 10 |
|  | Coordination and preparation of the final review report | 12 |

In general time schedule follows the time schedule in lot 1. All activities should be finished until may 31st, 2027.

All deadlines in the table above are given in months from the date of signing the contract. During the execution of the contract, the client reserves the right to change the schedule due to factors beyond its control. Due to the coordination of solutions with the DGD designer, EIA author, and water resource owners, as well as participation in public presentations, the final deadline for the completion of all activities under this contract is May 31st , 2027.