## Sklop 2
Naziv ponudnika:
Sklop št. 2: Elektromaterial za žičnice in zasneževalne sisteme (krmilniki, frekvenčniki, napajalniki, konektorji)
Naziv ponudbene postavke | Kataloška številka | Enota mere | Količina | Cena/enoto (v € brez DDV) | Skupna vrednost (v € brez DDV)
FREK. PRET. IP21 18,5KW 400V/480V | SE.ATV930D18N4 | kos | 4 |  | 0
FREKVENČNI PRETVORNIK 1,5KW 500V 3P EMC | SE.ATV312HU15N4 | kos | 3 |  | 0
SIPLUS ET200S IM151 HF -25 ... +60 DEGREES C BASED ON 6ES7151-1BA02-0AB0 | SIE.6AG1151-1BA02-2AB0 | kos | 3 |  | 0
SIPLUS ET200S PM-E DC 24V WITH DIAGNOSTICS -40 ... +70 DEGREES C WITH CONFORMAL COATING BASED ON 6ES7138-4CA01-0AA0 | SIE.6AG1138-4CA01-2AA0 | kos | 20 |  | 0
SIPLUS ET200S EM 4DI HF -25...+70 DEGREES C BASED ON 6ES7131-4BD01-0AB0 5 PIECES PER PACKAGING UNIT | SIE.6AG1131-4BD01-7AB0 | kos | 4 |  | 0
SIPLUS ET200S 2DO HF -25 ... +70 DEGREES C BASED ON 6ES7132-4BB31-0AB0 5 PIECES PER PACKAGING UNIT | SIE.6AG1132-4BB31-7AB0 | kos | 4 |  | 0
SIPLUS ET200S EM 4DO STANDARD -25 ... +70 DEGREES C WITH CONFORMAL COATING BASED ON 6ES7132-4BD02-0AA0 . ELECTRONIC MODULE 24V/0.5A DC WIDTH: 15MM 5 PIECES PER PACKAGING UNIT | SIE.6AG1132-4BD02-7AA0 | kos | 4 |  | 0
SIPLUS ET200S EM 2AI STANDARD U -25 ... +60 DEGREES C BASED ON 6ES7134-4FB01-0AB0 | SIE.6AG1134-4FB01-2AB0 | kos | 4 |  | 0
SIPLUS ET200S F-DI 24V PROFISAF -25 ... +60 DEGREES C WITH CONFORMAL COATING BASED ON 6ES7138-4FA05-0AB0 . ELECTRON. MODULE F. ET200S, 4/8 F-DI PROFISAFE, 24V DC, 30 MM WIDTH UP TO CATEGORY 4 (EN954-1)/ SIL3 (IEC61508)/PLE (ISO13849), ALSO USEABLE IN PROFINET- NETWORK WITH IM151-3 HF | SIE.6AG1138-4FA05-2AB0 | kos | 4 |  | 0
SIMATIC DP, TERMINAL MODULE TM-E30C46-A1 FOR ET 200S FOR ELECTRONIC MODULES 30MM WIDE,SPRING-LOAD TERMINALS 4X6 TERMINAL CONNECTIONS WITH TERMINAL LEAD TO AUX1, AUX1 IN LINE, | SIE.6ES7193-4CF50-0AA0 | kos | 20 |  | 0
SIMATIC DP, TERMINAL MODULE TM-P15C23-A0 FOR ET 200S FOR POWER MODULES 15MM WIDE,SPRING-LOAD TERMINALS (CAGE CLAMP), 2X3 TERMINAL CONNECTIONS WITH TERMINAL LEAD TO AUX1, AUX1 INTERRUPTED | SIE.6ES7193-4CD30-0AA0 | kos | 50 |  | 0
SIMATIC DP, 5 UNIVERSAL TERMINAL MODULES TM-E15C26-A1 FOR ET 200S FOR ELECTRONIC MODULES 15MM WIDE, CAGE CLAMP TERMINALS 2X6 TERMINAL CONNECTIONS WITH TERMINAL LEAD TO AUX1, AUX1 IN LINE, 5 PIECES PER PACKAGING UNIT | SIE.6ES7193-4CA50-0AA0 | kos | 20 |  | 0
SITOP PSU100S 24 V/2.5 A STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V/2.5 A DC | SIE.6EP1332-2BA20 | kos | 2 |  | 0
SITOP PSU100S 24 V/5 A STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V/5 A DC | SIE.6EP1333-2BA20 | kos | 2 |  | 0
SITOP PSU100S 24 V/10 A STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V/10 A DC | SIE.6EP1334-2BA20 | kos | 1 |  | 0
Krmilnik Simatic za črpališče (CPU, analogne in digitalne kartice, 7" display), vključno s programsko opremo za avtomatsko delovanje črpališča (regulacija po pretoku in tlaku) | SIETELDM23 | kos | 4 |  | 0
| Skupna ponudbena vrednost za sklop št. 2 (v € brez DDV) |  |  |  | 0