## Ponudbeni predračun
Pozicija | Opis | Proizvajalec/tip | Količina | Enota | Cena/enoto (brez DDV) | Cena skupno (brez DDV)
1 | SIMATIC IPC847E (Rack PC, 19", 4HU); 3x Gbit Ethernet (IE/PN), RJ45; 1x DVI-D; 2x display ports; 1x COM 1; audio, 4x USB 3.1, 2x USB 3.1 (Type C) on the rear side; 2x USB 3.0 on the front; 1x USB 3.1 internal, temperature and fan monitoring; Watchdog, card retainer Xeon E-2278GE (8C/16T, 3.3 (4.7) GHz, 16 MB cache, TB, VT-d, AMT); board 11 slots: 3x PCI, 1x PCIe x16 (16 L), 3x PCIe x16 (4 L), 2x PCIe x16 (1 L); 2x PCIe x4 (4 L); RAID1, 2x 480 GB SSD 2.5" SATA; Enclosure with drive support Type A (for trays on the front); 100/240 V AC industrial power supply unit; 64 GB DDR4 SDRAM (4x 16 GB), Dual Channel; Without extension (HW); Windows 10 IoT Enterprise 2021 LTSC MUI (de, en, fr, it, es), 64-bit (for Core i7/Xeon); SIMATIC IPC DiagMonitor Software enclosed; Power supply cable Europe | SIEMENS/6AG4114-3RT14-0FA1 | 1 | kos |  | 0
2 | SIMATIC Process Control System IPC847E; (Rack PC, 19, 4U), Interfaces: 3x Gbit LAN (RJ45), 1x DVI-D, 2x Display Port; 1x COM, Audio; 4x USB3.1 Gen2 (Type A); 2x USB3.1 (Type C) backside; 2x USB3.1 (Type A) frontside; 1x USB3.1 (Type A) internal; Temperature and fan monitoring, Watchdog, card retainer; Xeon E-2278GE (8C/16T, 3.3 (4.7) GHz, 16 MB cache, TB, AMT) - spare part; RAID1, 2x 1920 GB SSD 2.5 SATA; drive support for rack units on the front; 128 GB DDR4 SDRAM (4x 32 GB), Dual Channel; without pre-installation; Windows Server IoT 2022 Standard Edition including 16 cores, 5 clients, 64-bit, MUI (en, de, fr, it, es, zh), 64-bit, with restore USB flash drive; TPM 2.0; bus module 11 slots: 3x PCI, 1x PCIe x16 (8 L), 5x PCIe x16 (4 L), 2x PCIe x4 (4 L); 2x 100/240 V AC redundant Industrial power supply unit, power supply cord Europe; | SIEMENS/6ES7661-1YU44-8UA5 | 2 | kos |  | 0
3 | SIMATIC process control system IPC operating system package, Microsoft Windows Server IoT 2022 standard, 16 cores, 5 Clt, 64-bit; scope of supply: only COA sticker; reference hardware: IPC RC- / RW- / RS-545A - 6ES7661-2* IPC547J - 6ES7660-8* IPC647E - 6ES7661-0*, 6ES7650-0XH03-*YA0; IPC847E - 6ES7661-1*, 6ES7650-0XH03-*YB0 ******************************* content: 1x certificate | SIEMENS/6ES7650-4MB01-8XS0 | 2 | kos |  | 0
4 | SIMATIC IPC677E(Panel PC), 22" Multitouch (1920x1080); UHD graphic onboard; DP/DVI-D; 3x Gigabit Ethernet (IE/PN); 6x USB 3.1 Gen. 2; 1x serial (COM 1); RAID controller onboard; Watchdog, temperature and fan monitoring; Core i7-8700 (6C/12T, 3.2(4.6) GHz, 12 MB cache, VT-d, AMT); SSD 2.5" SATA 480 GB internal; 32 GB DDR4-2666(2x16); 24 V DC industrial power supply Windows 10 IoT Enterprise 2021 LTSC, 64-bit, MUI (en,de,fr,it,es;); for Core i7; with TPM; 2x USB 2.0 (1 slot occupied); 1x PCIe (x16), 1x PCI | SIEMENS/6AV7261-1GC30-5XB1 | 3 | kos |  | 0
5 | SIMATIC IPC MD-57A 15.6" display Full HD (1920x 1080); Wi-Fi 6E Bluetooth V5.3 2x USB-C Gen 4; 3x USB-A Gen 3.2 x 2 1x USB-A Gen 2 2x RJ45 1GbE 1x HDMI 1.4b Intel® Core i7-12800HE processor (20 threads, 24 MB cache, up to 4.60 GHz) Intel® Iris® Xe graphics eligible 64 GB DDR5 SDRAM SO-DIMM 2 TB power supply cord with power plug: Europe; keyboard: QWERTZ without slider Windows 10 IoT Enterprise 2021 LTSC, 64-bit; with recovery USB flash drive trial: STEP 7 Professional Combo, WinCC Advanced, Safety Advanced (TIA Portal & Distributed) V19 | SIEMENS/6ES7730-1AC20-0DA0 | 1 | kos |  | 0
6 | SIMATIC PCS 7, software, OS Software Server Redundancy V10.0 (PO 100) single license for 2 installations runtime software, without software, without documentation, license key on USB flash drive, class A, 5 languages (de, en, fr, it, es), executable in Windows Server 2019/2022 Standard Edition for more information, see PCS 7 V10.0 Readme reference hardware: PCS 7 IPC Bundle ******************************* content: 1x USB | SIEMENS/6ES7652-3BA78-2YA0 | 1 | kos |  | 0
7 | SIMATIC PCS 7, software, Upgrade Package Engineering from V8.X to V9.1 Floating License for 1 user E-SW, without SW, without docu. license key on USB flash drive, class A, 5 languages (de, en, fr, it,sp), executable in WIN 10 LTSC 2019 WIN Server 2019 for further information, see PCS 7 V9.1 Readme reference HW: PCS 7 IPC bundle ******************************* content: 1x USB | SIEMENS/6ES7651-5AX68-0YE5 | 1 | kos |  | 0
8 | SIMATIC PCS 7, software, Upgrade Package Engineering from V9.x to V10.0 floating license for 1 user engineering software, without software, without documentation license key on USB flash drive, class A, 5 languages (de, en, fr, it, es), executable in Windows 10 Enterprise 2019/2021 LTSC Windows Server 2019/2022 Standard Edition for more information, see PCS 7 V10.0 Readme, reference hardware: PCS 7 IPC Bundle ******************************* content: 1x USB | SIEMENS/6ES7651-5AX78-0YE5 | 1 | kos |  | 0
9 | SIMATIC PCS 7, software, upgrade package OS Single Station from V8.X to V9.1 Single License for 1 installation R-SW, without SW, without docu. license key on USB flash drive, class A, 5 languages (de, en, fr, it, sp), executable in WIN 10 LTSC 2019 for further information, see PCS 7 V9.1 Readme reference HW: PCS 7 IPC bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5AX68-0YE0 | 4 | kos |  | 0
10 | SIMATIC PCS 7, software, Upgrade Package OS Single Station from V9.x to V10.0 single license for 1 installation runtime software, without software, without documentation license key on USB flash drive, class A, 5 languages (de, en, fr, it, es), executable in Windows 10 Enterprise 2019/2021 LTSC for more information, see PCS 7 V10.0 Readme, reference hardware: PCS 7 IPC Bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5AX78-0YE0 | 4 | kos |  | 0
11 | SIMATIC PCS 7, software, upgrade package client, SFC Visualization from V8.X to V9.1 Floating License for 1 user R-SW, without SW, without docu. license key on USB flash drive, class A, 5 languages (de, en, fr, it, sp), executable in WIN 10 LTSC 2019 for further information, see PCS 7 V9.1 Readme reference HW: PCS 7 IPC bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5CX68-0YF5 | 2 | kos |  | 0
12 | SIMATIC PCS 7, software, Upgrade Package Client, SFC Visualization from V9.x to V10.0 floating license for 1 user runtime software, without software, without documentation license key on USB flash drive, class A, 5 languages (de, en, fr, it, es), executable in Windows 10 Enterprise 2019/2021 LTSC for more information, see PCS 7 V10.0 Readme, reference hardware: PCS 7 IPC Bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5CX78-0YF5 | 2 | kos |  | 0
13 | SIMATIC PCS 7, software, Upgrade Package Web Server from V8.X to V9.1 Single License for 1 installation R-SW, without SW, without docu. license key on USB flash drive, class A, 3 languages (de, en, fr), executable in WIN 10 LTSC 2019 WIN Server 2019 for further information, see PCS 7 V9.1 Readme reference HW: PCS 7 IPC bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5DX68-0YF0 | 1 | kos |  | 0
14 | SIMATIC PCS 7, software, Upgrade Package Web Server from V9.x to V10.0 single license for 1 installation runtime software, without software, without documentation, license key on USB flash drive, class A, 3 languages (de, en, fr), executable in Windows 10 Enterprise 2019/2021 LTSC Windows Server 2019/2022 Standard Edition for more information, see PCS 7 V10.0 Readme, reference hardware: PCS 7 IPC Bundle ******************************* content: 1x USB | SIEMENS/6ES7652-5DX78-0YF0 | 1 | kos |  | 0
15 | SIMATIC PCS 7 CPU410 Redundant bundle as order option preassembled and checked, consisting of: 2xCPU410-5H V8 (6ES7410-5HX08-0AB0), AS RT PO 100 (6ES7653-2BA00-0XB5), 2xSEC PO100 (.653-2CA00-0XB0), 4xIF960 near XTR (6ES7960-1AA08- 0XA0), 2x fiber-optic cable 1 m (6ES7960- 1AA04-5AA0), 4xCP443-1 (6GK7443-1EX30-0XE1) conformal coating, UR2H (.400-2JA00-0AA0), 2xPS405R 10A XTR (.405-0KR02 -0AA1), bundle release F; without CP443-5 | SIEMENS/6ES7656-6CJ34-2HF0 | 1 | kos |  | 0
16 | SIMATIC PCS 7 CPU410 Single AS bundle as order option preassembled and checked, consisting of: CPU410-5H V8 (6ES7410-5HX08-0AB0), AS RT PO 100 (6ES7653-2BA00-0XB5), SEC PO100 (.653-2CA00-0XB0), 1xCP443-1 (6GK7443-1EX30-0XE1) conformal coating, UR2 ALU (.400-1JA11-0AA1), 1xPS405R 10A XTR (.405-0KR02 -0AA1), bundle release F; without CP443-5 | SIEMENS/6ES7654-6CJ03-3HF0 | 9 | kos |  | 0
17 | SIMATIC PCS 7, software, CPU 410 Expansion Pack (PO 100) upgrade option for 1 installation runtime software, without software, without documentation license key on USB flash drive, class A, reference hardware: PCS 7 IPC bundle ******************************* content: 1x USB | SIEMENS/6ES7653-2CA00-0XE0 | 10 | kos |  | 0
18 | SIPLUS RIC library for SIMATIC S7-4xx, runtime license for download | SIEMENS/6AG6003-3CF01-0AA0 | 2 | kos |  | 0
19 | HARDNET-IE S7 REDCONNECT upgrade from edition 2006; software for fail-safe S7 communication floating license; runtime software; software, electronic manual and license key for download; class A; 3 languages (de, en, zh-CHS); for 32/64-bit for maximum 4 CP 1613 A2, CP 1623. | SIEMENS/6GK1716-0HB00-3AK0 | 1 | kos |  | 0
20 | SOFTNET-IE S7 REDCONNECT V18; incl. S7 OPC Server, SOFTNET-IE S7 V18 software for fail-safe S7 communication floating license R-SW, software + electronic manual; license key for download; class A; 3 languages (de, en, zh-CHS); for Windows® 10 Professional/Enterprise version 21H2, 22H2; Windows® 11 Professional/Enterprise version 21H2, 22H2; Windows® Server 2016, 2019, 2022 (Standard Edition, Datacenter); Windows® 10(IoT) Enterprise 2016 LTSB Windows® 10(IoT) Enterprise 2019 LTSC Windows® 10(IoT) Enterprise 2021 LTSC | SIEMENS/6GK1704-0HB18-0AK0 | 2 | kos |  | 0
21 | SIMATIC PDM, software Upgrade Package complete from PDM V8.x / V9.x to V9.3 floating license for 1 user, engineering software, without software, without documentation, license key on USB flash drive, class A, 6 languages (de, en, fr, it, es, zh), executable in Windows 10 Enterprise 2019/2021 LTSC Windows Server 2019/2022 Standard Edition reference hardware: PC/PG ******************************* content: 1x USB | SIEMENS/6ES7651-5FX88-0YE5 | 1 | kos |  | 0
22 | SIMATIC HMI TP700 Comfort, Comfort Panel, touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | SIEMENS/6AV2124-0GC01-0AX0 | 5 | kos |  | 0
23 | SCALANCE XC216-4C G manageable Layer 2 IE switch; IEC 62443-4-2 certified; Full gigabit; 12x 10/100/1000 Mbps RJ45 ports; 4x 1000 Mbps combo ports (either 1000 Mbps/ SFPs or 10/100/1000 Mbps RJ45 ports can be used); 1x console port; diagnostics LED; redundant power supply; temperature range -40 °C to +70 °C; assembly: DIN rail/S7 mounting rail/wall; redundancy functions; office features (RSTP, VLAN,...); PROFINET IO device; Ethernet/IP-compliant; C-PLUG slot; IEEE 1588v2 PTP | SIEMENS/6GK5216-4GS00-2AC2 | 4 | kos |  | 0
24 | C-plug, removable data storage medium For simple device replacement in case of fault, for recording configuration or engineering and application data, can be used in the following SIMATIC NET products with C-plug slot: SCALANCE XC-200, XP-200, XM-400, XR-500, M-800, W-700, SC-600 and S615. | SIEMENS/6GK1900-0AB10 | 5 | kos |  | 0
25 | SCALANCE X accessory; Plug-in transceiver SFP992-1; 1x 1000 Mbit/s LC port, optical; multimode optical up to max. 750 m. | SIEMENS/6GK5992-1AL00-8AA0 | 17 | kos |  | 0
26 | Industrial Ethernet FastConnect RJ45 plug 180 2x 2, RJ45 plug-in connector (10/100 Mbit/s) with rugged metal enclosure and FC connection system, for IE FC TP cable 2x 2; 180° cable outlet 1 pack = 10 units. | SIEMENS/6GK1901-1BB10-2AB0 | 3 | kos |  | 0
27 | SCALANCE MUM853-1 (A1) 5G router, IP30, for wireless IP communication from Ethernet-based applications via public 3/4/5G mobile radio networks and private 5G networks, VPN, firewall, NAT, IPv6, connection to SINEMA RC via CLP, 4 SMA connections, 1x micro SIM slot, eSIM, 4x10/100/1000 Mbps RJ45 port, redundant DC 24 V, -30… +60 °C, CLP slot, 1x DI and 1x DO, observe national approvals: siemens.com/mobile-approvals CERT ID: MS5G16R-30-M1-RJ-E4-1 | SIEMENS/6GK5853-2EA10-2AA1 | 1 | kos |  | 0
28 | ANT794-4MR mobile wireless antenna for 2G/3G/4G EU, GSM/UMTS/ LTE EU networks, rod antenna; omnidirectional; weatherproof for indoors and outdoors; 5 m connection cable permanently connected to the antenna; SMA connector; national approval and data sheet to be observed; scope of supply: 1 antenna, 1 mounting bracket, screws, screw anchors. | SIEMENS/6NH9860-1AA00 | 2 | kos |  | 0
29 | CN 4100 station gateway rack for installing up to two CN 4100 station gateway CPUs | SIEMENS/9LA1110-6CN10-0AX0 | 1 | kos |  | 0
30 | Station Gateway based on CN4100 module for single/redundant connection of up to 64 intelligent electrical devices as per IEC 61850 MMS to SIMATIC PCS 7 automation systems including block library. Order only in combination with support agreement 9LA1110-6CN10-0AA2. Additional delivery and service conditions apply; service description available SIOS ID 109800036 | SIEMENS/9LA1110-6CN10-0AA0 | 2 | kos |  | 0
31 | 5-year support agreement for station gateway based on CN4100. Technical support for one station gateway. Contains hardware spare parts, software updates and individual expert support via email or support request, 2 hours for each individual case, no limitation of the number of individual cases. Can only be ordered in combination with station gateway hardware/software package. Additional delivery and service conditions apply; support provision available SIOS ID 109800036 SIOS ID 109800036 | SIEMENS/9LA1110-6CN10-0AA2 | 2 | kos |  | 0
32 | Podaljšanje garancije Siemens strojne opreme na skupno dobo 3 leta | / | 1 | kos |  | 0
33 | Časovni strežnik točnega časa za PCS7 z anteno za zunanjo montažo s kablom dolžine vsaj 25 metrov in prenapetostno zaščito | Burk Mobatime/DTS4138s | 1 | kos |  | 0
34 | Vrata za elektro omaro Rittal TS, kovinska, dimenzij 2000x800 mm (VxŠ) | RITTAL/DK TS 5050067 | 2 | kos |  | 0
35 | Vrata za stensko elektro omaro Rittal AE, kovinska, dimenzij 600x600 mm (VxŠ) | RITTAL/AE 5050466 | 1 | kos |  | 0
36 | HP Elite t655 thin client ( vsaj 2 DP, vsaj 16GB RAM, 256GB SSD, 1GB LAN) | HP Elite t655/(*potrebno dopolniti z naročniško številko) | 1 | kos |  | 0
37 | DP kabel dolžine 1 meter |  | 2 | kos |  | 0
38 | DP kabel dolžine 2 metra |  | 2 | kos |  | 0
39 | Slikovni zaslon velikost najmanj 27", hitrost osveževanja najmanj 100 Hz, HDMI in Display port, ločljivost 1920x1080 ali višja, format zaslona 16:9, kot na primer Monitor HP Series 5 Pro 527pf ali enakovredno |  | 3 | kos |  | 0
40 | USB žična tipkovnica, SI razpored tipk, dolžina kabla najmanj 1 m, črne barve, kot na primer HP 150 ali enakovredno |  | 2 | kos |  | 0
41 | USB žična miška, najmanj 3 tipke, dolžina kabla najmanj 1 m, črne barve, s podlogo za miško, kot na primer HP 150 ali enakovredno |  | 4 | kos |  | 0
42 | Izvlečljiva KVM konzola z zaslonom in tipkovnico, za montažo v 19" "rack" omaro, ki omogoča preklope med priključenimi strežniki, z možnostjo priključitve najmanj 5 strežnikov (zaslona preko Display Port, USB miško in tipkovnico), kot na primer Raritan MCD-LED17108 s priloženimi 5 MDCIM-DP adapterji ali enakovredno |  | 1 | kpl |  | 0
43 | 8-portno mrežno stikalo, podpora gigabitne hitrosti, kot na primer TP-Link TL-SG108 V2 ali enakovredno |  | 3 | kos |  | 0
44 | Mrežni patch kabel UTP ali FTP, vsaj CAT 6, dolžine 0,5 metra |  | 15 | kos |  | 0
45 | Mrežni patch kabel UTP ali FTP, vsaj CAT 6, dolžine 2 metra |  | 15 | kos |  | 0
46 | Mrežni patch kabel UTP ali FTP, vsaj CAT 6, dolžine 5 metrov |  | 15 | kos |  | 0
47 | Optični patch kabel, LC-LC, MM, OM4, 50/125, dolžine 2 metra |  | 20 | kos |  | 0
48 | Optični patch kabel, LC-ST, MM, OM4, 50/125, dolžine 5 metrov |  | 10 | kos |  | 0
49 | Spojnik za 2xRJ45, FTP, vsaj CAT 6, kovinski, kot na primer Digitus DN-93906 ali enakovredno |  | 5 | kos |  | 0
50 | Inštalacijski kabel FTP, CAT 6a, kot na primer Schrack HSEKP423HA |  | 200 | m |  | 0
51 | Pokrivna plošča za rack omaro, velikosti 6U, 19", kovinska, barva RAL7035, kot na primer Rittal 7156035 ali enakovredno |  | 1 | kos |  | 0
52 | Podaljšek z vsaj 6 schuko vtičnicami, s kablom dolžine vsaj 1,5 metra |  | 3 | kos |  | 0
Nepredvidene dobave
53 |  | Nepredvidene dobave - 5 % skupne vrednosti ostalih postavk | 1 | kpl |  | 0
[5 empty] | SKUPAJ (EUR) | 0
Opombe:
a) Ponudnik odgovarja za pravilnost izračuna.
b) Zatemnjenih polj v stolpcu "C" ni potrebno izpolnjevati (postavke 1 - 35). Pri postavkah 37 - 52 je potrebno nedvoumno izpolniti polje v stolpcu Proizvajalec/Tip. Pri postavki 36 je to polje potrebno nedvoumno dopolniti s točno naročniško številko izdelka.
c) Podrobnejši opis del je razviden iz tehničnih zahtev razpisne dokumentacije.
d) Nepredvidena dela se izvajajo in obračunajo zgolj ob predhodni pisni potrditvi ponudbe za ND s strani Naročnika.
V/na:……………………………. Podpis in žig:…………………………….