Datum prejema 07.08.2026 14:49

For the purpose of assessing the required device integration scope and associated implementation effort, please provide the complete list of meters and Data Concentrator Units (DCUs/PZ), if applicable, that are expected to be integrated with the HES solution. For each device type, please provide: -Manufacturer/vendor -Exact model/type -Firmware version(s) currently deployed -Approximate number of deployed devices -Communication technology -Applicable communication/data standards and versions (e.g. DLMS/COSEM) Please also indicate whether any additional meter or DCU models, firmware versions, communication technologies or protocols are planned to be introduced during the project implementation period.

- We are providing a list of meters and DCUs in a separate table as a Supplement/Corrigendum.